Winterization Tips for Tenants

As the year is coming close to an end, we are painfully close to the upcoming freezing temperatures. Included below are some easy tips on how to winterize your home and hopefully avoid any frozen or busted water lines. Please be sure and do your part to help keep this from happening to you. As a reminder. Tenant neglect is tenant responsibility!

- Water Lines – to prevent water lines from freezing and bursting during cold weather:

• Allow water to trickle, especially at night when the temperatures drop.

• Disconnect and drain all garden hoses from outside faucets and store, removing them from the harsh elements if possible.

• Always know where your water main is located in case you need to shut it off in emergencies.

• Shut off the water to the exterior hose bibs.

• Insulate hose bibs with Styrofoam insulators.

• Open up all cabinet doors to allow warm air to circulate and warm the pipes.

• If you go on vacation, leave the heat on, set to at least 55 degrees.

- Gutters and Downspouts:

• Wet leaves and debris remaining in the gutter over winter adds a significant weight and volume to the gutter when frozen and increases water build-up on the roof.

• Please report if your gutters are over-filled with debris and leaves.

- Heating and Cooling Systems:

• Replace the A/C and furnace filters regularly. This ensures the most efficient economical operation of your system. Clogged filters can inhibit the operation of the system and cause costly repairs.

• Clear obstacles from the vents so air can flow freely.

• Reverse the direction of the ceiling fans to increase energy efficiency and comfort.

• Test your smoke detectors and carbon monoxide detectors and refresh batteries if needed.

- Prepare an Emergency Kit:

• Buy flashlights or battery operated lanterns for use during power shortages. Other suggestions include: battery powered radio, drinking water, pre-packaged non-perishable food, propane camp stove fuel (NOT to be used indoors), non-electric can opener, charged cell phone, tool set, first aid kit, prescription medication plan in effect and pet food if you have a pet.

• Have an evacuation plan in place.

• Know where your main water shut off is located.

Following these easy tips will help ensure your home with low maintenance during the winter months. Be safe and enjoy the upcoming winter months and Holiday Season worry free!!! Thank you and we wish you a great holiday season!