## Slide 1: Most Frequently Cited Serious Violations
OSHA Federal Standards
October 1, 2016 – September 30, 2017

## Slide 2: Most Frequently Cited Serious Violations in Construction 2017
1926 Overall MFC
Fall Protection – Residential construction
Ladders – Not extended 3 feet above landing
Eye & face Protection – Use of appropriate protection
Fall Protection – Unprotected sides & edges
Fall Protection– Training for those exposed to fall hazards
Head Protection – Use of protection
Aerial Lifts – Fall protection
Scaffolds – Fall protection
_General Safety & Health Provision - Inspections by a competent person
Fall Protection – Roofing work on low-sloped roofs
29 CFR 1926 Subparts
Chart: 
| .20(b)(2) | .501(b)(10) | .451(g)(1) | .453(b)(2)(v) | .100(a) | .501(b)(1) | .503(a)(1) | .102(a)(1) | .1053(b)(1) | .501(b)(13) | C | M | L | L | E | M | M | E | X | M
 | 507 | 593 | 608 | 682 | 923 | 1061 | 1243 | 1389 | 1458 | 4273

## Slide 3: General Safety & Health [1926.20 – .35]
Chart: 
| 25(a) | 28(a) | 20(b)(1) | 21(b)(2) | 20(b)(2)
 | 94 | 104 | 267 | 406 | 507
Safety Training & Education - Employee Training Programs
Housekeeping – Work area shall be kept clean
General Safety & Health Provisions – Initiate &Maintain Accident Prevention Programs
General Safety & Health Provision – Inspections by a Competent Person
SUBPART C
Personal Protective Equipment – Employer Responsibility

## Slide 4: Occupational Health & Environmental Controls [1926.50 – .66]
Chart: 
| 52(d)(1) | 50(c) | 55(b) | 50(g) | 62(d)(1)(i)
 | 14 | 14 | 16 | 29 | 47
Gases, Vapors, Fumes, Dust & Mist – Implementing administrative or engineering controls first
Medical Service & First Aid – Suitable facilitates for quick drenching or flushing of the eyes and body
Medical Service & First Aid – Certified person available to render first aid
Occupational Noise Exposure – Effectives hearing conservation program
SUBPART D
Lead – Determining exposure at or above action levels

## Slide 5: Personal Protective & Life Saving Equipment [1926.95 – .107]
Chart: 
| 106(a) | 102(a)(2) | 95(a) | 100(a) | 102(a)(1)
 | 13 | 28 | 127 | 923 | 1389
Eye and Face Protection – Use of appropriate protection
Head Protection – Use of protection
PPE – Provided Used & Maintained
SUBPART E
Working over or Near Water – Where the danger of drowning exist
Required Eye & Face Protection – ANSI Requirements

## Slide 6: Fire Protection & Prevention [1926.150 – .159]
Chart: 
| 152(d)(4) | 150(c)(1)(viii) | 150(a)(4) | 150(c)(1)(vi) | 150(c)(1)(i)
 | 12 | 19 | 19 | 25 | 28
Fire Protection – 2A Fire Extinguisher Provided per 3000 sqft of Building
Fire Protection – Extinguishers with 50ft of 5 gallons of flammable liquids
Fire Protection – Firefighting equipment shall be periodically inspected
SUBPART F
Flammable Liquids – 20 B:C Provided on All Tank Trucks
Fire Protection – Portable extinguishers inspected periodically

## Slide 7: Signs, Signals & Barricades [1926.200 – .203]
Chart: 
| 200(a) | 202 | 201(a) | 200(g)(1) | 200(g)(2)
 | 2 | 3 | 4 | 13 | 16
Accident Prevention Signs – Traffic signs conforming with MUTCD
Accident Prevention Signs – Traffic signs at point of hazards
Signaling – Flaggers signaling & use
SUBPART G
Accident Prevention Signs – Signs shall be visible at all times
Barricades – Protection for employees shall conform with Part VI MUTCD

## Slide 8: Materials Handling, Storage, Use & Disposal [1926.250 – .252]
Chart: 
| 251(b)(1) | 251(a)(6) | 251(a)(2)(i) | 251(a)(1) | 252(a)
 | 8 | 8 | 12 | 14 | 19
Rigging Equipment – Slings & all fastenings shall be inspected
Rigging Equipment – Welding alloy steel chain sling identification
Disposal – exterior drop chutes
Rigging Equipment - Inspection & removal from service
Rigging Equipment – Permanently affixed identification
SUBPART H

## Slide 9: Tools: Hand & Power [1926.300 – .307]
Chart: 
| 300(b)(2) | 304(h)(1) | 304(i)(1) | 304(d) | 300(b)(1)
 | 29 | 31 | 32 | 41 | 78
General Requirements – Guarding of Rotating/Moving Parts
Woodworking Tools – Guarding of circular crosscut table saw
General Requirements – Tools Designed for Guards
Woodworking Tools – Guarding of portable circular saws
Woodworking Tools – Circular hand-fed ripsaw shall be guarded by a hood
SUBPART I

## Slide 10: Welding & Cutting [1926.350 -.354]
Chart: 
| 351(b)(4) | 352(d) | 351(b)(2) | 350(a)(9) | 350(a)(10)
 | 4 | 5 | 5 | 21 | 21
Arc Welding – Using cables needing repair
Fire Prevention – Fire extinguisher available
Gas Welding – Oxygen cylinder storage
Gas Welding – Cylinder secured upright
Arc Welding – Cables shall be free from repair or splice
SUBPART J

## Slide 11: Electrical [1926.400 – .449]
Chart: 
| 403(b)(2) | 416(e)(1) | 405(g)(2)(iv) | 416(a)(1) | 404(f)(6)
 | 95 | 112 | 121 | 138 | 144
General Requirements – Equipment installation & use
General Requirements – Worn &frayed cords and cables
Wiring Design – Grounding path
General Requirements – No employer shall permit work near any part of an electric circuit
Wiring Methods – Flexible cord strain relief
SUBPART K

## Slide 12: Scaffolds [1926.450 – .454]
Chart: 
| 451(g)(1)(vii) | 451(b)(1) | 451(e)(1) | 451(g)(1) | 453(b)(2)(v)
 | 298 | 374 | 484 | 608 | 682
General Requirements – All working levels shall be full planked
General Requirements – Protection by PFAS or Guard Rail system
Aerial Lifts – Fall protection while in basket
General Requirements – Fall protection above 10 feet
General Requirements – Safe access above 2 feet
SUBPART L

## Slide 13: Fall Protection [1926.500 – .503]
Chart: 
| 501(b)(11) | 501(b)(10) | 501(b)(1) | 503(a)(1) | 501(b)(13)
 | 486 | 593 | 1061 | 1243 | 4273
Fall Protection Roofing Work on Low-sloped Roofs
Fall Protection – Roofing Work on Steep Roofs
Fall Protection – Residential Construction
Training Requirements – Training for those exposed to fall hazards
Fall Protection – Unprotected sides & edges
SUBPART M

## Slide 14: Helicopters, Hoists, Elevators, and Conveyors [1926.550 – .556]
Chart: 
| 552(b)(3) | 552(b)(2) | 552(b)(1)(i) | 554(a)(6) | 552(a)(1)
 | 1 | 1 | 1 | 2 | 13
Hoists & Elevators – Complying with Manufacturer’s Recommendations
Hoists & Elevators – Overhead protective covering
Hoists & Elevators – Operating rules shall be established & posted
SUBPART N
Overhead Hoists – Shall meet the applicable requirements
Hoists & Elevators – All entrances of the hoist way shall be protected

## Slide 15: Motor Vehicles, Mechanized Equipment, & Marine Operations [1926.600 – .606]
Chart: 
| 602(a)(9)(ii) | 602(c)(1)(vii) | 602(c)(1)(ii) | 602(c)(1)(vi) | 602(d)
 | 11 | 12 | 34 | 36 | 49
Material Handling Equipment – Industrial truck operator training
Material Handling Equipment – Modifications that affect capacity rating
Material Handling Equipment – Industrial trucks ANSI B56.1 1969 requirements
Material Handling Equipment – Unauthorized personnel shall not be permitted to ride on PIT
SUBPART O
Material Handling Equipment – Equipment which as obstructed view cannot use reverse gear

## Slide 16: Excavations [1926.650 – .652]
Chart: 
| 651(k)(2) | 651(j)(2) | 651(k)(1) | 651(c)(2) | 652(a)(1)
 | 49 | 157 | 184 | 205 | 430
Excavation Requirements - Employee removal from trench by competent person
Excavation Requirements – Daily inspections by competent person
Excavation Requirements – Protection from Falling/Rolling Materials & Equipment
Excavation Requirements – Means of egress
Protective Systems – Cave-in Protection
SUBPART P

## Slide 17: Concrete & Masonry Construction [1926.700 – .706]
Chart: 
| 703(b)(3) | 703(a)(2) | 702(i)(1) | 703(a)(1) | 701(b)
 | 3 | 3 | 3 | 8 | 101
General Requirements – Reinforcing steel guarded
Cast-in-Place – Formwork designed to support loads
Equipment & Tools – Equipment shall be locked & tagged
Cast-in-Place – Drawing or plans available at the jobsite
Cast-in-Place – Erected shoring equipment shall be inspected
SUBPART Q

## Slide 18: Steel Erection [1926.750 – .761]
Chart: 
| 760(d)(1) | 760(b)(3) | 754(a) | 761(b) | 760(a)(1)
 | 4 | 6 | 6 | 35 | 132
Fall Protection – Criteria for fall protection equipment shall conform with 1926.502
Fall Protection – Connections for fall arrest systems
Fall Protection – Protection from fall hazards
Training – Fall hazard training
Structural Steel Assembly – Stability shall be maintained at all times
SUBPART R

## Slide 19: Underground Construction, Caissons, Cofferdams, and Compressed Air [1926.800 – .804]
Chart: 
| 800(k)(1)(i) | 800(j)(1)(i)(A) | 800(b)(1)
 | 1 | 1 | 1
Underground Construction – Employee shall provide & maintain safe means of access
Underground Construction – Atmosphere in all underground work areas shall be tested
Underground Construction – Fresh air shall be supplied to all underground work
SUBPART S

## Slide 20: Demolition [1926.850 – .860]
Chart: 
| 850(c) | 851(b) | 850(g) | 859(g) | 850(a)
 | 5 | 6 | 6 | 9 | 48
Chart: 
Stairs, Passageways & Ladders – Shall be periodically inspected
Preparatory Operations – Open Walls Protected by a Height of 42 Inches
Preparatory Operations - Engineering Survey Prior to Demolition Operations
Mechanical Demolitions – Inspections by a Competent Person
Preparatory Operations – Utilities Shut off or Capped
SUBPART T

## Slide 21: Blasting and the use of Explosives [1926.900 – .914]
Chart: 
| 901(e) | 900(h) | 905(h)
 | 1 | 1 | 2
Blaster Qualifications – Shall be knowledgeable & competent
General Provisions – Special precautions shall be taken when blasting in congested areas
Loading of Explosives – Equipment shall not be operated within 50 feet
SUBPART U

## Slide 22: Power Transmission and Distribution [1926.950 – .968]
Chart: 
| 960(c)(1)(iii)(B) | 959(d)(2) | 960(c)(1)(ii) | 954(b)(1)(i) | 952(a)(2)
 | 2 | 2 | 4 | 4 | 6
Working On or Near Exposed Energized Parts – Energized past is insulated from the employee
SUBPART V
PPE – Personal fall arrest systems shall meet the requirements of Subpart M
Job Briefing – Detailed discussions
Working On or Near Exposed Energized Parts – Employer shall establish minimum approach distances
Job Briefing – Briefing by the employee in charge

## Slide 23
ROPS on Equipment Manufactured on or After Sept 1, 1972
SUBPART W
Rollover Protective Structure; Overhead Protection [1926.1000 – .1003]
Chart: 
1000(b) | 1
1000(b)

## Slide 24: Stairways and Ladders [1926.1050 – .1060]
Chart: 
| 1053(b)(16) | 1060(a) | 1053(b)(13) | 1053(b)(4) | 1053(b)(1)
 | 110 | 218 | 220 | 335 | 1458
Ladders – Using Top Step as a Step
Ladders – Portable ladders with structural defects
Ladders – 3 feet Above Landing Surface
Ladders – Appropriate Use
Training – Ladder & Stairway Hazard Training
SUBPART X

## Slide 25: Toxic & Hazardous Substances [1926.1100 – .1152]
Chart: 
| 1101(k)(9)(i) | 1101(k)(3)(i) | 1101(k)(2)(i) | 1101(f)(1)(i) | 1101(f)(2)(i)
 | 10 | 11 | 14 | 14 | 24
Asbestos – Determine presence, location & quantity of ACM/PACM
Asbestos – Training program
Asbestos – Exposure monitoring
Asbestos – Identify presence, location & quantity of ACM/PACM
Asbestos – Exposure assessment by a competent person
SUBPART Z

## Slide 26: Confined Space in Construction [1926.1200 – .1212]
Chart: 
| 1204(b) | 1203(e)(2)(iii) | 1203(d) | 1207(a) | 1203(a)
 | 4 | 7 | 7 | 15 | 16
Training – employer must provide training
General Requirements – Written permit space program
General Requirements – Competent person identifies all confined spaces
General Requirements – Guarding of all entrance covers
SUBPART AA
Permit-Required Confined Space Program – Identify & evaluate the hazards

## Slide 27: Cranes and Derricks in Construction [1926.1400 – .1442]
Chart: 
| 1424(a)(2)(ii) | 1412(f)(1) | 1412(e)(1) | 1408(a)(2) | 1428(a)
 | 7 | 7 | 8 | 11 | 12
Power Line safety Equipment Operations – Part of equipment could get closer than 20 feet
Inspections – Equipment inspected each month it is in service
Signal Person Qualification – Must meet qualification requirements
Work Area Control– Maintain barriers around hazard area
Inspections – Equipment inspected every 12 months
SUBPART CC