NOTICE TO THE PUBLIC

#### IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards.  During the compliance period specified in the table below, we monitored outside the monitoring period for the contaminants listed.

| Contaminant group** | Facility ID NO./ Sample point ID | Compliance period begin Date | Number of samples/ sampling frequency | WHEN SAMPLES WERE OR WILL BE TAKEN (Water System to Complete) |
| --- | --- | --- | --- | --- |
| Disinfection Byproducts (dbp) | D01 / B02 | April 1 2024 | 2 / quarterly | May, 2024 |

**  (TTHM) - Total Trihalomethanes - include Chloroform, Bromoform, Bromodichloromethane, and Dibromochloromethane.  (HAA5)- Haloacetic Acids - include Monochloroacetic Acid, Dichloroacetic Acid, Trichloroacetic Acid, Monobromoacetic Acid, Dibromoacetic Acid.

What should I do?

- There is nothing you need to do at this time.

What happened and what is being done?

Monitoring is required at 2 pre-established sample locations each quarter.  Samples were collected in May as required.  A different location was sampled because one of the preestablished sample site was not accessible.  Sample protocols were reviewed to ensure samples are collected at the pre-established locations.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

For more information, please contact:

| Responsible Person David McKew | System Name OAKWOOD HILLS WATER SYSTEM | System Address (Street) 325 East Baltimore |
| --- | --- | --- |
| Phone Number 336-403-7086 | System Number: NC0363151 | System Address (City, State, Zip) Pinebluff, NC 28373 |

Notice of Violation Date:  July 18, 2024

Date Notice Distributed:  ____________________           Method of Distribution:  _______________________

Public Notification Certification: The public water system named above hereby affirms that public notification has been provided to its consumer in accordance with all delivery, content, format, and deadline requirements specified in 15A NCAC 18C .1523. Owner/Operator: __________________________ _________________________ ______________ (Signature) (Print Name) (Date)