***Annual Drinking Water Quality Report for 2024***

***Harford Mills Water District***

***113 Route 200 Harford Mills, New York***

***(Public Water Supply NYID# 1101762 )***

**INTRODUCTION**

To comply with State regulations, Harford Mills Water District, will be annually issuing a report describing the quality of your drinking water. The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources. Last year, your tap water met all State drinking water health standards. We are proud to report that our system did not violate a maximum contaminant level or any other water quality standard. This report provides an overview of last year’s water quality. Included are details about where your water comes from, what it contains, and how it compares to State standards.

If you have any questions about this report or concerning your drinking water, please contact Garret J. VanDeWeert, water operator, 607-708-0909. We want you to be informed about your drinking water. If you want to learn more, please attend any of our regularly scheduled town board meetings. The meetings are held the first Monday of the month at 7:30pm, at the Harford Town Hall.

**WHERE DOES OUR WATER COME FROM?**

In general, the sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activities. Contaminants that may be present in source water include: microbial contaminants; inorganic contaminants; pesticides and herbicides; organic chemical contaminants; and radioactive contaminants. In order to ensure that tap water is safe to drink, the State and the EPA prescribe regulations which limit the amount of certain contaminants in water provided by public water systems. The State Health Department’s and the FDA’s regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Our water system serves 17 service connections. Our water source Owego Creek Basin and our two wells are located on Town property. The water is chlorinated for disinfection prior to entering the storage pipes. Upon attaining chlorine disinfection contact time, the water is then pumped from the storage into the distribution system to our taps.

**Source water assessment summary**

The NYS DOH has completed a source water assessment for this system, based on available information. Possible and actual threats to this drinking water source were evaluated. The state source water assessment includes a susceptibility rating based on the risk posed by each potential source of contamination and how easily contaminants can move through the subsurface to the wells. The susceptibility rating is an estimate of the potential for contamination of the source water, it does not mean that the water delivered to consumers is, or will become contaminated. See section “Are there contaminants in our drinking water?” for a list of the contaminants that have been detected. The source water assessments provide resource managers with additional information for protecting source waters into the future.

As mentioned before, our water is derived from 2 drilled wells. The source water assessment has rated these wells as having no susceptibility to various regulated contaminants. This is an excellent rating and primarily due to the protected nature of the deep, confined aquifer from which the water source is derived. A copy of the assessment, including a map of the assessment area, can be obtained by contacting the Cortland County Health Department.

**ARE THERE CONTAMINANTS IN OUR DRINKING WATER?**

As the State regulations require, we routinely test your drinking water for numerous contaminants. These contaminants include: total coliform, turbidity, inorganic compounds, nitrate, nitrite, lead and copper, volatile organic compounds, total trihalomethanes, haloacetic acids, radiological and synthetic organic compounds. The table presented below depicts which compounds were detected in your drinking water. The State allows us to test for some contaminants less than once per year because the concentrations of these contaminants do not change frequently. Some of our data, though representative, are more than one year old.

It should be noted that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791) or the Cortland County Health Department at 607-753-5035.

| **Table of Detected Contaminants** | | | | | | | |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation  Yes/No | Date of Sample | Level Detected  (Average)  (Range) | Unit  Measure-ment | MCLG | Regulatory Limit (MCL, TT or AL) | Likely Source of Contamination |
| Nitrate | No | 6/26/2024  Well 3  Well 4 | 0.356  0.407 | mg/L  mg/l | 10 | 10 | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |
| Copper | No | 9/3/2024 | 0.616  Range: 0.218-0.626 | mg/L | 1.3 | AL = 1.3 | Corrosion of household plumbing systems; Erosion of natural deposits; leaching from wood preservatives. |
| Chloride | No | 5/25/23  Well 3  Well 4 | 4.30  4.08 | mg/l | N/A | 250 | Naturally occurring or indicative of road salt contamination. |
| Sodium | No | 5/25/23  Well 3  Well 4 | 3.41  3.19 | mg/l | N/A | N/A | Naturally occurring; Road salt; Water softeners; Animal waste. |
| Sulfate | No | 4/7/20  Well 3 | 7.99 | mg/l | N/A | 250 | Naturally occurring. |
| Iron | No | 4/7/20  Well 3  Well 4 | 19.3  21.4 | ug/l | N/A | 300 | Naturally occurring |
| Zinc | No | 4/7/20  Well 3  Well 4 | 0.187  0.123 | mg/l | N/A | 5 | Naturally occurring; Mining waste. |
| Barium | No | 2023 Ann. Average  Well 3  Well 4 | .00828  .00838 | mg/l | 2 | 2 | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Chromium | No | 4/7/20  Well 4 | 1.6 | ug/l | 100 | 100 | Discharge from steel and pulp mills; Erosion of natural deposits. |
| Total Trihalomethanes (TTHMs- chloroform, bromodichlorome- thane,and bromoform | No | 8/6/2024 | 5.37 | ug/l | NA | 80 | By-product of drinking water chlorination needed to kill harmful organisms. TTHMs are formed when source water contains large amounts of organic matter. |
| Haloacetic Acids (mono-, di-, and trichloroacetic  acid, and mono- and di- bromoacetic acid) | No | 8/6/2024 | 2.44 | ug/L | NA | 60 |  |
| Beta particle and photon activity from manmade radionuclides | No | 4/7/20 | 0.193 | pCi/L | 0 | 503 | Decay of natural deposits and man-made emissions. |
| Gross alpha activity (including radium – 226 but excluding radon and uranium) | No | 4/7/20 | 0.935 | pCi/L | 0 | 15 | Erosion of natural deposits |
| Combined radium – 226 and 228 | No | 4/7/20 | 0.808 | pCi/L | 0 | 5 | Erosion of natural deposits. |

1 – The level presented is the 90th percentile of the 5 sites tested. A percentile is a value on a scale of 100 that indicates the percent measurements that is equal to or below it. This means in our system copper levels in 5 sites are below the 90th percentile value. The action level for copper was not exceeded at any of the sites tested.

**Definitions:**

***Maximum Contaminant Level (MCL)***: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible.

***Maximum Contaminant Level Goal (MCLG)***: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

***Maximum Residual Disinfectant Level (MRDL)***: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

***Maximum Residual Disinfectant Level Goal (MRDLG)***: The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.

***Action Level (AL)***: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

***Non-Detects (ND)***: Laboratory analysis indicates that the constituent is not present.

***Milligrams per liter (mg/l)***: Corresponds to one part of liquid in one million parts of liquid (parts per million - ppm).

***Micrograms per liter (ug/l)***: Corresponds to one part of liquid in one billion parts of liquid (parts per billion - ppb).

***Picograms per liter (pg/l)***: Corresponds to one part per of liquid to one quadrillion parts of liquid (parts per quadrillion – ppq).

***Picocuries per liter (pCi/L)***: A measure of the radioactivity in water.

***Millirems per year (mrem/yr****)*: A measure of radiation absorbed by the body.

**WHAT DOES THIS INFORMATION MEAN?**

As you can see by the table, our system had no violations. We have learned through our testing that some contaminants have been detected; however, these contaminants were detected below the level allowed by the State.

**IS OUR WATER SYSTEM MEETING OTHER RULES THAT GOVERN OPERATIONS?**

During 2024, our system was in compliance with applicable State drinking water operating, monitoring and reporting requirements.

**INFORMATION ON LEAD SERVICE LINE INVENTORY**

Sample statement for systems that have submitted a lead service line inventory:

A Lead Service Line (LSL) is defined as any portion of pipe that is made of lead which connects the water main to the building inlet. An LSL may be owned by the water system, owned by the property owner, or both. The inventory includes both potable and non-potable SLs within a system. In accordance with the federal Lead and Copper Rule Revisions (LCRR) our system has prepared a lead service line inventory and have made it publicly accessible by contacting the town clerk requesting to view the Lead Service Line Inventory and/or visiting the state website at: <https://health.data.ny.gov/d/fkii-zkcq> .

**DO I NEED TO TAKE SPECIAL PRECAUTIONS?**

Although our drinking water met or exceeded state and federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice from their health care provider about their drinking water. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbial pathogens are available from the Safe Drinking Water Hotline (800-426-4791).

**WHY SAVE WATER AND HOW TO AVOID WASTING IT?**

Although our system has an adequate amount of water to meet present and future demands, there are a number of reasons why it is important to conserve water:

* Saving water saves energy and some of the costs associated with both of these necessities of life;
* Saving water reduces the cost of energy required to pump water and the need to construct costly new wells, pumping systems and water towers; and
* Saving water lessens the strain on the water system during a dry spell or drought, helping to avoid severe water use restrictions so that essential firefighting needs are met.

You can play a role in conserving water by becoming conscious of the amount of water your household is using, and by looking for ways to use less whenever you can. It is not hard to conserve water. Conservation tips include:

* Automatic dishwashers use 15 gallons for every cycle, regardless of how many dishes are loaded. So get a run for your money and load it to capacity.
* Turn off the tap when brushing your teeth.
* Check every faucet in your home for leaks. Just a slow drip can waste 15 to 20 gallons a day. Fix it and you can save almost 6,000 gallons per year.
* Check your toilets for leaks by putting a few drops of food coloring in the tank, watch for a few minutes to see if the color shows up in the bowl. It is not uncommon to lose up to 100 gallons a day from one of these otherwise invisible toilet leaks. Fix it and you save more than 30,000 gallons a year.

**CLOSING**

Thank you for allowing us to continue to provide your family with quality drinking water this year. In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers. The costs of these improvements may be reflected in the rate structure. Rate adjustments may be necessary in order to address these improvements. We ask that all our customers help us protect our water sources, which are the heart of our community. Please call our office if you have questions.