## Legend
Title: | Job Plan Form
Project ID: | DORM
Project: | University Residential Housing
Location: | East Healey St, Champaign, IL
Source File: | E:/Dropbox/COBieForms2025/src/Dorm-PSC-XX-XX-FED-13-R01.xlsx
Requirements File: | E:/Dropbox/COBieForms2025/src/COBieForms2025-Rqmts.xlsx
Template Form File: | Forms2025Submit.xlsx
Time/Date: | 2024-07-19
Prepared By: | Bill East(bill.east@prairieskyconsulting.com)
Basis: | NBIMS-US, V3, C4.2 | https://www.nationalbimstandard.org/files/NBIMS-US_V3_4.2_COBie.pdf
| NBIMS-US, V3, C4.2, Annex A | https://www.nationalbimstandard.org/files/NBIMS-US_V3_4.2_COBie_Annex_A.pdf
Prerequisites: | Lean Handover©: COBie For Contractors | https://tinyurl.com/LeanHandover
| COBie Practitioner Knowledge | https://tinyurl.com/COBieCurriculum
| COBie Certified Professional | https://cobiecert.buildingsmart.org/
Instructions: | See PDF User's Manual provided with registration
Help also available by clicking on form top headers & data cells
Form Color Codings: | Format | Meaning
| gray (and bold) | Header information - do not change
| white | Data derived from associated COBie file - do not change
| yellow | Data entry cells to be completed, per User's Manual, by the addressee
Copyright | © 2022-2025 Prairie Sky Consulting

## JobPlans
JOB PLAN FORM
PART 1. ROUTING
1.1 FROM
Name |  | Email |  | Phone |  | Address Line 1 | Address Line 2 | State/ Province | Postal Code | Country Code
Prairie Sky Consulting |  | contact@prairieskyconsulting.com |  | +01 217 552 8732 |  | 1104 Parkview Drive | Mahomet | IL | 61853 | US
1.2 TO
Name |  | Email |  | Phone |  | Address Line 1 | Address Line 2 | State/ Province | Postal Code | Country Code
SES (Engineering Services) |  | contact@ses-ltd.co.uk |  | 2073 801 8000 |  | First Floor | 184-192 Drummond Street | London | NW1 3HP | UK
PART 2. SUBJECT
|  | Project Name: | University Residential Housing
|  | Project Location: | East Healey St, Champaign, IL
|  | Type Category: | 23-35 37 00 : Electrical Switches
|  | Submittal ID: | JP-ElectricalSwitches-R00
PART 3. VERSION CONTROL
Revision Number | Revision Code | Status | Date |  | Description
0 | I | T | 2024-07-19 |  | Initial Template
1 | I |  | 2024-07-22 |  | Initial Template
1 | I | A | 2024-07-23 |  | Receipt Acknowledged
PART 4. TYPE JOB PLANS
Part 4.1 Type Name: Lighting Switches Four Way (Lighting Switches Four Way_Four Way Switch)
Part 4.1.a Model
Model Number |  |  | Notes
Plateswitch 4 way |  |  | n/a
Part 4.1.b Manufacturer
Name |  | Email |  | Phone |  | Address 1/ Street | Address 2/ City | State/ Province | Postal Code | Country Code
MK Electrical Ltd |  | MK.technical@honeywell.com |  | 126 856 3000 |  | The Arnold Centre | Basildon | Essex | SS14 3EA | UK
Part 4.1.c Job Plan Task List
Job Name |  | Job Type |  | Job Frequency (mon.) | Task Description |  |  |  |  | Task Dur. (min.)
Cleaning |  | OM : Operation |  | as-needed | Switch off the MCB: Naturally, most people recognize the dangers of using a soaked cloth or a spray solution on a live circuit. To solve this, switch off theminiature circuit breakerof the room your outlet is in. This removes the fatal risk involved in the process. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Remove the Plates: Use the appropriate screwdriver to remove the switch plates as well as the outlet cover plates. This will expose the concealed electrical box and receptacle for cleaning. But you might want to still check if the circuit is dead. You can further confirm its inactivity by using a non-contact electrical voltage tester. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Prepare a Cleaning Solution: There is a bevy of liquid cleaning solutions one can prepare at home. Before you prepare one, look up OEM recommendations for the electrical outlet, electrical receptacle, and concealed electrical box, to find out which compounds are damaging to the plate material (usually polycarbonate plastic). You could use a home vinegar solution, window cleaner, or detergent mixed in water. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Soak & Use a Cloth: Depending on the type of plate, you will have to choose your method of cleaning. The cover plates and switch plates can directly soak in a tub of solution. After soaking, rub it with a cloth and dry for half an hour. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Vacuum or Brush: For the receptacle and concealed electrical box in the wall, you should avoid using water for fear of rust in the metallic receptacle contacts. Gently vacuum the open outlet for detritus. If you do not have a vacuum cleaner, you can use a brush to remove hair, lint, and dust. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Screw Plates Back On: Take around half an hour to dry the components. Once dried, you can screw them back in and turn on the circuit again. Now, your outlet will match the cleanliness of your walls! |  |  |  |  | 2
Inspection |  | IN : Inspection |  | as-needed | Receptacle Tension Tester: Often, you might find your receptacle contacts loose. A plug that attaches to the outlet cannot be fixed in place because of this, and you need to adjust the plug until it does—a tedious task. Receptacles should be replaced if this happens. Because a loose plug can cause a fire. However, you can prevent this from happening altogether by using a special device called a receptacle tension tester. Available on the electrical manufacturer and eCommerce websites, you can buy these to test the looseness of a receptacle contact at regular intervals. |  |  |  |  | 5
Maintenance |  | PM : Preventative Maintenance |  | as-needed | Replacing Parts: Charred receptacles and cracked plates are taboo. As soon as you see any major gaps between the cover plate and the electrical outlet’s interior, you need to replace it to ensure safety in the household. You could look into purchasing better quality material like modular switches and outlet plates. In the case of a faulty receptacle, know that newer, high-quality receptacles have internal parts made of more durable materials that are rated for many more plug insertions than the low-cost contractor-grade receptacles most likely were initially installed. |  |  |  |  | 15
Part 4.2 Type Name: Lighting Switches One Way (Lighting Switches One Way_One Way Switch)
Part 4.2.a Model
Model Number |  |  | Notes
Plateswitch 1 way |  |  | n/a
Part 4.2.b Manufacturer
Name |  | Email |  | Phone |  | Address 1/ Street | Address 2/ City | State/ Province | Postal Code | Country Code
MK Electrical Ltd |  | MK.technical@honeywell.com |  | 126 856 3000 |  | The Arnold Centre | Basildon | Essex | SS14 3EA | UK
Part 4.2.c Job Plan Task List
Job Name |  | Job Type |  | Job Frequency (mon.) | Task Description |  |  |  |  | Task Dur. (min.)
Cleaning |  | OM : Operation |  | as-needed | Switch off the MCB: Naturally, most people recognize the dangers of using a soaked cloth or a spray solution on a live circuit. To solve this, switch off theminiature circuit breakerof the room your outlet is in. This removes the fatal risk involved in the process. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Remove the Plates: Use the appropriate screwdriver to remove the switch plates as well as the outlet cover plates. This will expose the concealed electrical box and receptacle for cleaning. But you might want to still check if the circuit is dead. You can further confirm its inactivity by using a non-contact electrical voltage tester. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Prepare a Cleaning Solution: There is a bevy of liquid cleaning solutions one can prepare at home. Before you prepare one, look up OEM recommendations for the electrical outlet, electrical receptacle, and concealed electrical box, to find out which compounds are damaging to the plate material (usually polycarbonate plastic). You could use a home vinegar solution, window cleaner, or detergent mixed in water. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Soak & Use a Cloth: Depending on the type of plate, you will have to choose your method of cleaning. The cover plates and switch plates can directly soak in a tub of solution. After soaking, rub it with a cloth and dry for half an hour. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Vacuum or Brush: For the receptacle and concealed electrical box in the wall, you should avoid using water for fear of rust in the metallic receptacle contacts. Gently vacuum the open outlet for detritus. If you do not have a vacuum cleaner, you can use a brush to remove hair, lint, and dust. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Screw Plates Back On: Take around half an hour to dry the components. Once dried, you can screw them back in and turn on the circuit again. Now, your outlet will match the cleanliness of your walls! |  |  |  |  | 2
Inspection |  | IN : Inspection |  | as-needed | Receptacle Tension Tester: Often, you might find your receptacle contacts loose. A plug that attaches to the outlet cannot be fixed in place because of this, and you need to adjust the plug until it does—a tedious task. Receptacles should be replaced if this happens. Because a loose plug can cause a fire. However, you can prevent this from happening altogether by using a special device called a receptacle tension tester. Available on the electrical manufacturer and eCommerce websites, you can buy these to test the looseness of a receptacle contact at regular intervals. |  |  |  |  | 5
Maintenance |  | PM : Preventative Maintenance |  | as-needed | Replacing Parts: Charred receptacles and cracked plates are taboo. As soon as you see any major gaps between the cover plate and the electrical outlet’s interior, you need to replace it to ensure safety in the household. You could look into purchasing better quality material like modular switches and outlet plates. In the case of a faulty receptacle, know that newer, high-quality receptacles have internal parts made of more durable materials that are rated for many more plug insertions than the low-cost contractor-grade receptacles most likely were initially installed. |  |  |  |  | 15
Part 4.3 Type Name: Lighting Switches Three Way (Lighting Switches Three Way_Three Way Switch)
Part 4.3.a Model
Model Number |  |  | Notes
Plateswitch 3 way |  |  | n/a
Part 4.3.b Manufacturer
Name |  | Email |  | Phone |  | Address 1/ Street | Address 2/ City | State/ Province | Postal Code | Country Code
MK Electrical Ltd |  | MK.technical@honeywell.com |  | 126 856 3000 |  | The Arnold Centre | Basildon | Essex | SS14 3EA | UK
Part 4.3.c Job Plan Task List
Job Name |  | Job Type |  | Job Frequency (mon.) | Task Description |  |  |  |  | Task Dur. (min.)
Cleaning |  | OM : Operation |  | as-needed | Switch off the MCB: Naturally, most people recognize the dangers of using a soaked cloth or a spray solution on a live circuit. To solve this, switch off theminiature circuit breakerof the room your outlet is in. This removes the fatal risk involved in the process. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Remove the Plates: Use the appropriate screwdriver to remove the switch plates as well as the outlet cover plates. This will expose the concealed electrical box and receptacle for cleaning. But you might want to still check if the circuit is dead. You can further confirm its inactivity by using a non-contact electrical voltage tester. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Prepare a Cleaning Solution: There is a bevy of liquid cleaning solutions one can prepare at home. Before you prepare one, look up OEM recommendations for the electrical outlet, electrical receptacle, and concealed electrical box, to find out which compounds are damaging to the plate material (usually polycarbonate plastic). You could use a home vinegar solution, window cleaner, or detergent mixed in water. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Soak & Use a Cloth: Depending on the type of plate, you will have to choose your method of cleaning. The cover plates and switch plates can directly soak in a tub of solution. After soaking, rub it with a cloth and dry for half an hour. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Vacuum or Brush: For the receptacle and concealed electrical box in the wall, you should avoid using water for fear of rust in the metallic receptacle contacts. Gently vacuum the open outlet for detritus. If you do not have a vacuum cleaner, you can use a brush to remove hair, lint, and dust. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Screw Plates Back On: Take around half an hour to dry the components. Once dried, you can screw them back in and turn on the circuit again. Now, your outlet will match the cleanliness of your walls! |  |  |  |  | 2
Inspection |  | IN : Inspection |  | as-needed | Receptacle Tension Tester: Often, you might find your receptacle contacts loose. A plug that attaches to the outlet cannot be fixed in place because of this, and you need to adjust the plug until it does—a tedious task. Receptacles should be replaced if this happens. Because a loose plug can cause a fire. However, you can prevent this from happening altogether by using a special device called a receptacle tension tester. Available on the electrical manufacturer and eCommerce websites, you can buy these to test the looseness of a receptacle contact at regular intervals. |  |  |  |  | 5
Maintenance |  | PM : Preventative Maintenance |  | as-needed | Replacing Parts: Charred receptacles and cracked plates are taboo. As soon as you see any major gaps between the cover plate and the electrical outlet’s interior, you need to replace it to ensure safety in the household. You could look into purchasing better quality material like modular switches and outlet plates. In the case of a faulty receptacle, know that newer, high-quality receptacles have internal parts made of more durable materials that are rated for many more plug insertions than the low-cost contractor-grade receptacles most likely were initially installed. |  |  |  |  | 15
Part 4.4 Type Name: Lighting Switches Two Way (Lighting Switches Two Way_Two Way Switch)
Part 4.4.a Model
Model Number |  |  | Notes
Plateswitch 2 way |  |  | n/a
Part 4.4.b Manufacturer
Name |  | Email |  | Phone |  | Address 1/ Street | Address 2/ City | State/ Province | Postal Code | Country Code
MK Electrical Ltd |  | MK.technical@honeywell.com |  | 126 856 3000 |  | The Arnold Centre | Basildon | Essex | SS14 3EA | UK
Part 4.4.c Job Plan Task List
Job Name |  | Job Type |  | Job Frequency (mon.) | Task Description |  |  |  |  | Task Dur. (min.)
Cleaning |  | OM : Operation |  | as-needed | Switch off the MCB: Naturally, most people recognize the dangers of using a soaked cloth or a spray solution on a live circuit. To solve this, switch off theminiature circuit breakerof the room your outlet is in. This removes the fatal risk involved in the process. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Remove the Plates: Use the appropriate screwdriver to remove the switch plates as well as the outlet cover plates. This will expose the concealed electrical box and receptacle for cleaning. But you might want to still check if the circuit is dead. You can further confirm its inactivity by using a non-contact electrical voltage tester. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Prepare a Cleaning Solution: There is a bevy of liquid cleaning solutions one can prepare at home. Before you prepare one, look up OEM recommendations for the electrical outlet, electrical receptacle, and concealed electrical box, to find out which compounds are damaging to the plate material (usually polycarbonate plastic). You could use a home vinegar solution, window cleaner, or detergent mixed in water. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Soak & Use a Cloth: Depending on the type of plate, you will have to choose your method of cleaning. The cover plates and switch plates can directly soak in a tub of solution. After soaking, rub it with a cloth and dry for half an hour. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Vacuum or Brush: For the receptacle and concealed electrical box in the wall, you should avoid using water for fear of rust in the metallic receptacle contacts. Gently vacuum the open outlet for detritus. If you do not have a vacuum cleaner, you can use a brush to remove hair, lint, and dust. |  |  |  |  | 2
Cleaning |  | OM : Operation |  | as-needed | Screw Plates Back On: Take around half an hour to dry the components. Once dried, you can screw them back in and turn on the circuit again. Now, your outlet will match the cleanliness of your walls! |  |  |  |  | 2
Inspection |  | IN : Inspection |  | as-needed | Receptacle Tension Tester: Often, you might find your receptacle contacts loose. A plug that attaches to the outlet cannot be fixed in place because of this, and you need to adjust the plug until it does—a tedious task. Receptacles should be replaced if this happens. Because a loose plug can cause a fire. However, you can prevent this from happening altogether by using a special device called a receptacle tension tester. Available on the electrical manufacturer and eCommerce websites, you can buy these to test the looseness of a receptacle contact at regular intervals. |  |  |  |  | 5
Maintenance |  | PM : Preventative Maintenance |  | as-needed | Replacing Parts: Charred receptacles and cracked plates are taboo. As soon as you see any major gaps between the cover plate and the electrical outlet’s interior, you need to replace it to ensure safety in the household. You could look into purchasing better quality material like modular switches and outlet plates. In the case of a faulty receptacle, know that newer, high-quality receptacles have internal parts made of more durable materials that are rated for many more plug insertions than the low-cost contractor-grade receptacles most likely were initially installed. |  |  |  |  | 15
(c) 2021-2025 Prairie Sky Consulting