## Legend
Title: | Job Plan Form
Project ID: | DORM
Project: | University Residential Housing
Location: | East Healey St, Champaign, IL
Source File: | E:/Dropbox/COBieForms2025/src/Dorm-PSC-XX-XX-FED-13-R01.xlsx
Requirements File: | E:/Dropbox/COBieForms2025/src/COBieForms2025-Rqmts.xlsx
Template Form File: | Forms2025Submit.xlsx
Time/Date: | 2024-07-19
Prepared By: | Bill East(bill.east@prairieskyconsulting.com)
Basis: | NBIMS-US, V3, C4.2 | https://www.nationalbimstandard.org/files/NBIMS-US_V3_4.2_COBie.pdf
| NBIMS-US, V3, C4.2, Annex A | https://www.nationalbimstandard.org/files/NBIMS-US_V3_4.2_COBie_Annex_A.pdf
Prerequisites: | Lean Handover©: COBie For Contractors | https://tinyurl.com/LeanHandover
| COBie Practitioner Knowledge | https://tinyurl.com/COBieCurriculum
| COBie Certified Professional | https://cobiecert.buildingsmart.org/
Instructions: | See PDF User's Manual provided with registration
Help also available by clicking on form top headers & data cells
Form Color Codings: | Format | Meaning
| gray (and bold) | Header information - do not change
| white | Data derived from associated COBie file - do not change
| yellow | Data entry cells to be completed, per User's Manual, by the addressee
Copyright | © 2022-2025 Prairie Sky Consulting

## JobPlans
JOB PLAN FORM
PART 1. ROUTING
1.1 FROM
Name |  | Email |  | Phone |  | Address Line 1 | Address Line 2 | State/ Province | Postal Code | Country Code
Prairie Sky Consulting |  | contact@prairieskyconsulting.com |  | +01 217 552 8732 |  | 1104 Parkview Drive | Mahomet | IL | 61853 | US
1.2 TO
Name |  | Email |  | Phone |  | Address Line 1 | Address Line 2 | State/ Province | Postal Code | Country Code
SES (Engineering Services) |  | contact@ses-ltd.co.uk |  | 2073 801 8000 |  | First Floor | 184-192 Drummond Street | London | NW1 3HP | UK
PART 2. SUBJECT
|  | Project Name: | University Residential Housing
|  | Project Location: | East Healey St, Champaign, IL
|  | Type Category: | 23-35 47 13 : Emergency Lighting
|  | Submittal ID: | JP-EmergencyLighting-R00
PART 3. VERSION CONTROL
Revision Number | Revision Code | Status | Date |  | Description
0 | I | T | 2024-07-19 |  | Initial Template
1 | I |  | 2024-07-22 |  | Initial Submittal
1 | I | A | 2024-07-23 |  | Receipt Acknowledged
PART 4. TYPE JOB PLANS
Part 4.1 Type Name: Ceiling Light - Linear Box emergency light 300x1200mm 1Lamp 230 v (Ceiling Light - Linear Box emergency light 300x1200mm 1Lamp 230 v_300x1200mm(1 Lamp) - 230V)
Part 4.1.a Model
Model Number |  |  | Notes
Selene 1200 standalone with 3hr Battery pack |  |  | n/a
Part 4.1.b Manufacturer
Name |  | Email |  | Phone |  | Address 1/ Street | Address 2/ City | State/ Province | Postal Code | Country Code
WhiteCroft Lighting Ltd |  | email@whitecroftlight.com |  | 870 508 7087 |  | Burlington Street | Ashton-under-Lyne | Lancashire | OL7 0AX | UK
Part 4.1.c Job Plan Task List
Job Name |  | Job Type |  | Job Frequency (mon.) | Task Description |  |  |  |  | Task Dur. (min.)
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | A qualified electrician, in accordance with IEE wiring regulations, should carry out the connection to the mains wiring. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Ensure that the rated voltage and the frequency requirements are compatible with the available mains supply. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | This luminaire must be earthed. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Observe ESD precautions during installation. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | The Luminaire must be isolated before commencing any necessary maintenance work or emergency battery connection. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Do not carry out a high voltage insulation test, i.e. 500/1000v this may damage internal components. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | The light source within this luminaire shall only be replaced by the manufacturer, their agent, or a suitably qualified person. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Batteries used in emergency versions of this luminaire range are replaceable by a qualified electrician only. |  |  |  |  | 15
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Dali control cables must be double insulated & have an equivalent insulation rating to the supply cable. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Ensure that the ceiling is of sufficient strength to support the luminaire weight. Fit secondary suspensions where necessary. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | It is recommended that a minimum of two people undertake the installation of luminaires. |  |  |  |  | 0
Part 4.2 Type Name: CeilingLight-RoundEmergencyA (CeilingLight-RoundEmergency_60W - 230V)
Part 4.2.a Model
Model Number |  |  | Notes
Horizon 360 with 3hr Battery pack |  |  | n/a
Part 4.2.b Manufacturer
Name |  | Email |  | Phone |  | Address 1/ Street | Address 2/ City | State/ Province | Postal Code | Country Code
WhiteCroft Lighting Ltd |  | email@whitecroftlight.com |  | 870 508 7087 |  | Burlington Street | Ashton-under-Lyne | Lancashire | OL7 0AX | UK
Part 4.2.c Job Plan Task List
Job Name |  | Job Type |  | Job Frequency (mon.) | Task Description |  |  |  |  | Task Dur. (min.)
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | A qualified electrician, in accordance with IEE wiring regulations, should carry out the connection to the mains wiring. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Ensure that the rated voltage and the frequency requirements are compatible with the available mains supply. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | This luminaire must be earthed. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Observe ESD precautions during installation. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | The Luminaire must be isolated before commencing any necessary maintenance work or emergency battery connection. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Do not carry out a high voltage insulation test, i.e. 500/1000v this may damage internal components. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | The light source within this luminaire shall only be replaced by the manufacturer, their agent, or a suitably qualified person. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Batteries used in emergency versions of this luminaire range are replaceable by a qualified electrician only. |  |  |  |  | 15
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Dali control cables must be double insulated & have an equivalent insulation rating to the supply cable. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Ensure that the ceiling is of sufficient strength to support the luminaire weight. Fit secondary suspensions where necessary. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | It is recommended that a minimum of two people undertake the installation of luminaires. |  |  |  |  | 0
Part 4.3 Type Name: CeilingLight-RoundEmergencyB (CeilingLight-RoundEmergency_100W - 230V)
Part 4.3.a Model
Model Number |  |  | Notes
Horizon 360 with 3hr Battery pack |  |  | n/a
Part 4.3.b Manufacturer
Name |  | Email |  | Phone |  | Address 1/ Street | Address 2/ City | State/ Province | Postal Code | Country Code
WhiteCroft Lighting Ltd |  | email@whitecroftlight.com |  | 870 508 7087 |  | Burlington Street | Ashton-under-Lyne | Lancashire | OL7 0AX | UK
Part 4.3.c Job Plan Task List
Job Name |  | Job Type |  | Job Frequency (mon.) | Task Description |  |  |  |  | Task Dur. (min.)
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | A qualified electrician, in accordance with IEE wiring regulations, should carry out the connection to the mains wiring. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Ensure that the rated voltage and the frequency requirements are compatible with the available mains supply. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | This luminaire must be earthed. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Observe ESD precautions during installation. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | The Luminaire must be isolated before commencing any necessary maintenance work or emergency battery connection. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Do not carry out a high voltage insulation test, i.e. 500/1000v this may damage internal components. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | The light source within this luminaire shall only be replaced by the manufacturer, their agent, or a suitably qualified person. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Batteries used in emergency versions of this luminaire range are replaceable by a qualified electrician only. |  |  |  |  | 15
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Dali control cables must be double insulated & have an equivalent insulation rating to the supply cable. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | Ensure that the ceiling is of sufficient strength to support the luminaire weight. Fit secondary suspensions where necessary. |  |  |  |  | 0
Battery Replacement |  | PM : Preventative Maintenance |  | 60 | It is recommended that a minimum of two people undertake the installation of luminaires. |  |  |  |  | 0
(c) 2021-2025 Prairie Sky Consulting