## Legend
Title: | Job Plan Form
Project ID: | DORM
Project: | University Residential Housing
Location: | East Healey St, Champaign, IL
Source File: | E:/Dropbox/COBieForms2025/src/Dorm-PSC-XX-XX-FED-13-R01.xlsx
Requirements File: | E:/Dropbox/COBieForms2025/src/COBieForms2025-Rqmts.xlsx
Template Form File: | Forms2025Submit.xlsx
Time/Date: | 2024-07-19
Prepared By: | Bill East(bill.east@prairieskyconsulting.com)
Basis: | NBIMS-US, V3, C4.2 | https://www.nationalbimstandard.org/files/NBIMS-US_V3_4.2_COBie.pdf
| NBIMS-US, V3, C4.2, Annex A | https://www.nationalbimstandard.org/files/NBIMS-US_V3_4.2_COBie_Annex_A.pdf
Prerequisites: | Lean Handover©: COBie For Contractors | https://tinyurl.com/LeanHandover
| COBie Practitioner Knowledge | https://tinyurl.com/COBieCurriculum
| COBie Certified Professional | https://cobiecert.buildingsmart.org/
Instructions: | See PDF User's Manual provided with registration
Help also available by clicking on form top headers & data cells
Form Color Codings: | Format | Meaning
| gray (and bold) | Header information - do not change
| white | Data derived from associated COBie file - do not change
| yellow | Data entry cells to be completed, per User's Manual, by the addressee
Copyright | © 2022-2025 Prairie Sky Consulting

## JobPlans
JOB PLAN FORM
PART 1. ROUTING
1.1 FROM
Name |  | Email |  | Phone |  | Address Line 1 | Address Line 2 | State/ Province | Postal Code | Country Code
Prairie Sky Consulting |  | contact@prairieskyconsulting.com |  | +01 217 552 8732 |  | 1104 Parkview Drive | Mahomet | IL | 61853 | US
1.2 TO
Name |  | Email |  | Phone |  | Address Line 1 | Address Line 2 | State/ Province | Postal Code | Country Code
Commercial Services |  | contact@commercialservices.com |  | 812-339-9114 |  | 4710 W Vernal Pike | Bloomington | IN | 47404 | US
PART 2. SUBJECT
|  | Project Name: | University Residential Housing
|  | Project Location: | East Healey St, Champaign, IL
|  | Type Category: | 23-70 50 24 : Rainwater Removal
|  | Submittal ID: | JP-RainwaterRemoval-R00
PART 3. VERSION CONTROL
Revision Number | Revision Code | Status | Date |  | Description
0 | I | T | 2024-07-19 |  | Initial Template
1 | I |  | 2024-07-22 |  | Initial Template
1 | I | A | 2024-07-23 |  | Receipt Acknowledged
PART 4. TYPE JOB PLANS
Part 4.1 Type Name: Roof Drain (Roof Drain_380 mm Strainer - 80mm Drain)
Part 4.1.a Model
Model Number |  |  | Notes
1015 |  |  | n/a
Part 4.1.b Manufacturer
Name |  | Email |  | Phone |  | Address 1/ Street | Address 2/ City | State/ Province | Postal Code | Country Code
J.R. Smith |  | info@jrsmith.com |  | 334-277-8520 |  | BOX 3237 | MONTGOMERY | AL | 36109-0237 | US
Part 4.1.c Job Plan Task List
Job Name |  | Job Type |  | Job Frequency (mon.) | Task Description |  |  |  |  | Task Dur. (min.)
Semi-Annual Maintenance |  | PM : Preventative Maintenance |  | 6 | Clear Drains and Inspect/Maintain Roof Membrane |  |  |  |  | 120
Semi-Annual Maintenance |  | PM : Preventative Maintenance |  | 6 | Look for Debris. Some debris can be found on a roof usually after a storm. Debris can scratch, puncture or cause serious damage to your roof so it needs to be removed immediately. You should inspect for any visible damage when removing debris. |  |  |  |  | 15
Semi-Annual Maintenance |  | PM : Preventative Maintenance |  | 6 | Clearing Clogging. Clogging may occur in drains, vents and scuppers,especially after storms. Scuppers allow water to run off the roof, directing water to flow from the side of the roof down into a drainage system. All drains, scuppers or gutters need to be kept clear. |  |  |  |  | 15
Semi-Annual Maintenance |  | PM : Preventative Maintenance |  | 6 | Repairing Seams & Membranes. Seams are where 2 pieces of roofing material are adjoined. Both seams and membranes can be vulnerable to leaks, specifically in places on the roof that have accessories built into it such as air vents, skylights and air conditioner units. The sun’s harsh UV rays can also break down the membrane overtime, causing cracks to form. Any seam or membrane that is damaged or rendered ineffective needs to be repaired immediately to prevent further problems. |  |  |  |  | 30
Semi-Annual Maintenance |  | PM : Preventative Maintenance |  | 6 | Replacing the Flashings. Flashings are installed into areas of the roof where where two opposing surfaces meet such as parapet walls. These areas require the extra protection that flashing provides.They help prevent water from leaking through the vulnerable areas. Over time, flashings can become loose or deteriorated from excess exposure to moisture and will need to be replaced. |  |  |  |  | 30
Semi-Annual Maintenance |  | PM : Preventative Maintenance |  | 6 | Plumbing Stacks. Plumbing stacks are pipes on the roof that direct air flow into the building’s plumbing system. Check that they are clear of obstructions and properly sealed. |  |  |  |  | 15
Semi-Annual Maintenance |  | PM : Preventative Maintenance |  | 6 | ﻿Look for Blistering. Check for leaks and blistering – blistering is roofing spots that are raised and spongy/soft looking. They happen when air is trapped between the layers of felt or the felt substrate. If a blister ‘pops’, then water can enter through and damage roofing material. |  |  |  |  | 15
Semi-Annual Maintenance |  | PM : Preventative Maintenance |  | 6 | Check for Ponding. Ponding is standing pools of water that sit on your flat roof and are unable to drain or dry out. Some ponding that has eventually dried out will leave a concave area with a water mark or dirt ring surrounding it. If you notice these marks, then it means that your flat roof ponds regularly, and a proper drainage system may need to be installed to prevent further damage. |  |  |  |  | 15
Semi-Annual Maintenance |  | PM : Preventative Maintenance |  | 6 | Check For Splits & Cracks. Splitting and cracking of roofing material can be caused by weather changes, added stress or pressure, ponding or simply poor workmanship. Any area that is cracking or splitting needs to be filled. |  |  |  |  | 15
Semi-Annual Maintenance |  | PM : Preventative Maintenance |  | 6 | Fill Pitch Pockets. Pockets pans protect and encase supporting connections roof penetrations. They are filled with “pourable sealer,” a more environmentally friendly material and easier to work with than the previously used “pitch”. Though they are simple to build and fix,pitch pans play a key role in maintaining the overall health of the roof because they seal out water in vulnerable areas. So they must be kept cleaned and filled. |  |  |  |  | 30
(c) 2021-2025 Prairie Sky Consulting