Nakul Bellezza - Specifications

STRUCTURE

- Cement- UltraTech/Zuwari/Sagar or any Reputed Brand

- Steel – Vizag/Tirupathi TMT or any Reputed Brand

SUPERSTRUCTURE

- Brick Masonry with First Class Bricks, outer wall 9” thick and others 4” thick.

MAIN DOOR

- Teak Wood frame & shutter aesthetically designed with melamine polishing and brass fittings Godrej lock.

INTERNAL DOORS

- Wood frame with foam shutters with SS Aldrop & SS hardware.

WINDOWS

- UPVC WINDOWS 3 slide tack with Mosquito mesh.

PAINTINGS

- Smooth finish with Wall Care Putty on internal walls, Balconies with Two coat Internal paint and two coat Paints of on Primer (Texture)  on external surfaces of make.

RAILING

- MS / SS Railing for steps.

FLOORING

- Vitrified Tiles of min 2X4 size.

TILE CLADDING & DADOING

- Vitrified Tiles (2x4) Dadoing up to 7'0" height in Toilets.

- Up to 2'0 Vitrified Tiles (2x4) height above Kitchen platform.

- Granite/ 15mm Tile slabs for platform to House Stainless steel sink (18”x24”) in Kitchen.

- Parking tiles of 16x16.

- Steps with step and riser 4’.

ELECTRICAL

- Concealed copper wiring and of gold medal/ finolex / Havells / RR Cables or Any Reputed Brand.

- Power Points for Air conditioner & Two switch Boards in Hall, Bedrooms.

- Power point for geyser.

- Power Points for Cooking range chimney, refrigerator, microwave ovens, mixer/ grinders in kitchen

- One Plug point for TV in Hall & MB.

- All electrical fittings of Gold medal /Any Reputed Brand.

- Light points at Parking Area.

TOILETS:

- Kerovit by Kazaria Taps and Sanitaryware with 10 years warranty One piece suit of kerovit .

False CEILING

- False ceiling with putty of contemporary Design in hall, Dining and two Bedrooms.  Plane Design in kitchen.

COMMON AMINITIES

- Cc Surveillance

- Solar Fencing.

- Watchmen Room.

- Generator for 24x7 power backup

- Rainwater harvesting.

- Parking for every Flat.

- Prime location with 3 side roads.

NOTE: All the Designs and Material Selection is with Builder only.

PAYMENT TERMS:

ADVANCE:

1ST INSTALMENT:

2ND INSTALMENT:

FINAL PAYMENT: