## Master
Survey list of guidance, rescue sheets, potential tools, and materials for EV fire fighting
First release and revision of December 13, 2022 by R. Swaim, HowItBroke.com. Permission is given for public use or distribution. This is a continuously changing document.
SURVEY SECTION for manufacturer recommendations &/or responses regarding each device:
Manufacturers may elect to comment on technique applicable to individual tools. For example, views on extinguishing as opposed to defensive external cooling, submerging vehicle, or puncturing of battery container.
|  |  | 2018 by US Mfg 1 | 2021 by US Mfg 1 | 2022 by US Mfg 1 | 2023 by US group 2.1 | 2017 by US group 2.2 | 2022 by US group 2.2 | 2022 by US group 3.1 | 2021 by US group 3.2 | 2022 by US Mfg 4 | 2022 by US Mfg 5 | 2017 by US Mfg 6 | 2021 by US Mfg 6 | 2022 by US Mfg 6 | 2022 by Asian group 1.1 and 1.2 | 2022 by Asian 3 | 2022 by Asian 4 | 2022 by Asian 5 | Asian group 6, Multiple models and years | 2021 by Euro mfr 1 | 2018 by Euro group 2.1 | 2019 by Euro group 2.2 | 2021 Multiple models and years by Euro group 3.1 | 2017 by Euro group 3.2 | 2021 by Euro group 4.1 | 2020 by Euro group 4.2 | 2020 by Euro group 4.3 | 2020 by Euro 1.1 | Euro 1.2 2016-2018 Multiple models | 2022 by Euro 1.3
| Purpose / Comments | Websites Showing Examples (may be other sources and models available) | Ford 2018 CMax | Ford Mach-E 2021 | Ford F150 Lightning 2022 | GM Cadillac 2023 Lyriq | GM Chevrolet 2017-2021 Bolt EV | GM Chevrolet Bolt EV 2022 | Chrysler 2022 Pacifica PHEV | Jeep Wrangler Hybrid 2021 | Lucid Air Sedan 2022 | Rivian R1T 2022 | Tesla Model 3 2022 | Tesla Model S 2022 | Tesla Model Y 2022 | KIA Hyundai Kona & Niro Electric 2022 | Honda CR-V Hybrid 2020-2022 | Mitsubishi Outlander PHEV 2022 | Nissan Leaf 2022 | Toyota, Scion, Lexus various years | BMW i4 2021 | IVECO Heuliez Bus GX 337 ELEC 2018 - | IVECO EWAY Electric Urban bus 12m 2019 - | MB 2022 Model C-Class V206, Model Z223, and Model EQE revewed of 191 rescue sheets | MB 2017 Smartfortwo Model 453 coupe | Audi 2021 e-tron 2021 | Porsche 2020 Taycan Y1A | VW ID.4 2020 | Volvo VNR truck 2020 | Volvo 2016-20018 S90 PHEV S90L 2018 XC60 PHEV | Polestar 2 2022
MISC ADDITIONAL NOTES: | (S=Info in separate document), Y=Tool specifically listed, I=Implied by calling for an action, such as removal of battery connection or cutting, N=Do not cut or attempt, |  | Remove watches, rings, and worn metals | Remove watches, rings, and worn metals | Remove watches, rings, and worn metals | Pre-2023 vehicles cut 12V cables. 2023 vehicles state NOT to cut 12V unless extrication requires disabling air bags. "In the event of a “In the event of a “Battery Danger Detected” notification, DO NOT cut or disable the 12-volt system, unless you need to disable the airbags for occupant extrication." | [9 empty] | Remove watches, rings, and worn metals |  |  | Vehicle magnets may affect pacemakers |  | NFPA shows only BMW before 2018. Google search found 2021 i4 found on BMW site only with terms BMW i4 rescue sheet. No tools listed beyond TIR and implied use of cable cutter. | Inconspicuos link among other displayed blocks and only on lower right of IVECO Home page. Not found in SEARCH block. | Inconspicuos link among other displayed blocks and only on lower right of IVECO Home page. Not found in SEARCH block. Has rescue QR code and emergency phone numbers. | Rescue sticker in fuel door and on B pillar since 1990. Typo on Pg 44 of separate document: "Do sever high-voltage cables (orange)." | Typo on Pg 44 of separate document: "Do sever high-voltage cables (orange)." | Similar to VW ID.4 |  | Similar to post 2020 Audi |  |  | Google to find on Polestar site, not NFPA
ISO 17840 Format? | NOTE: The NFPA website shows information for many but not all vehicles. Web searches do not find some whichc are not on NFPA site. Moditech (Netherlands) has an active database claimed to include all known vehicles. https://www.moditech.com/crash-recovery-system/rescue-vehicle-extrication/ |  | No | No. General similarities to ISO-17840 | Yes. Pictogram with guidance on same document | Yes. Pictogram with guidance on same document | Yes. Pictogram and minimal guidance | Yes in format not using a singular pictogram | Yes. Pictogram with guidance on same document | Yes. Pictogram with guidance on same document | Yes. Pictogram with guidance on same document | Yes. Pictogram with guidance on same document | Yes. Pictogram with guidance on same document | Yes. Pictogram with guidance on same document | Yes. Pictogram with guidance on same document | Yes. Pictogram with guidance on same document | Yes. 44 page guide with pictogram on page 42 | Yes. Pictogram with guidance on same document | No | Yes, Pictograms to 2018 on NFPA. Separate unlinked 84 page non-17840 ERG document combines all types of power (hybrid & hydrogen) accessible only on techinfo.toyota.com. Cites SAE J2990. | Yes, Pictogram | Yes. 3 page ERG Rescue Sheet. | Yes. 26 page ERG Rescue Sheet and guide. | Yes, Pictogram with separate (linked) guidelines for all vehicles mentioning tools in 161 page document. | Yes, Pictogram with separate (linked) guidelines for all vehicles mentioning tools in 161 page document. | Yes starting 2020. Pictogram with separate (not linked) guidelines for all vehicles mentioning tools in 82 page document. | Yes. Pictogram with separate (not linked) 94 page document for all Porsche vehicles. A third rescue and towing document is linked to an ERROR 404 PAGE NOT VALID | Yes. Pictogram with separate (not linked) guidelines for all vehicles mentioning tools in 74 page document. | Yes. Pictogram with guidance on same document | No | Yes. Pictogram with guidance on same document
Colored items below are cited in at least one manufacturer document
PERSONAL PROTECTION:
PPE - Undefined |  |  | Y | Y | Y |  |  | Y |  | Y | Y | Y | Y | Y | Y | Y | Y | Y |  | (SY) |  |  | Y | (SY) "personal protective equipment should be adjusted as appropriate for the situation." | (SY) "personal protective equipment should be adjusted as appropriate for the situation." | (SY) "suitable safety equipment" |  | (SY) "suitable safety equipment" | Y |  | Y
Gloves, electrically insulated for high voltage (not extrication gloves) |  |  | Y | Y | Y |  |  | Y | Y | Y |  | Y |  |  |  | Y | Y | (Y High Voltage) (Y "solvent resistant") | (Y High Voltage) (Y "solvent resistant") | (Y High Voltage) (Y Acid resist) |  |  | Y. High Voltage | (Y High Voltage) (Y Acid resist) | (Y High Voltage) (Y Acid resist) | [5 empty] | (Y High Voltage) (Y Acid resist)
Boots, electrically insulated for high voltage |  |  | Y | Y | Y |  |  |  | Y | Y | [5 empty] | Y | Y | Y plus "solvent resistant" | Y plus "solvent resistant" |  |  |  | Y | [7 empty] | (Y Acid resist) (Y High Voltage)
Turn-out gear mentioning various combinations of coat, hood, splash shield, goggles, apron, overcoat |  |  | Y | Y | Y |  |  |  | Y | Y | [9 empty] | (SY) |  |  | Y. Goggles and arc rated clothing
SCBA | Due to lengthy nature of vehicle fires, have more than typical spare bottles or refill station available. |  | Y | Y | Y | N. Pictogram for "Potential for eye, nose, and throat irritation with prolonged exposure." |  |  | Y | Y |  | Y | Y | Y | Y | Y |  | Y | Y | (SY) |  |  |  | (SY) | (SY) | (SY) |  | (SY) |  |  | Y
Hand Tools, Universal & small
Cable cutter, electrically insulated for high voltage | [5 empty] | I | I | I | I | I | I | Y | I | I | I |  | Y |  | Y |  | I |  |  | I |  | (SI) |  | (SI) | I |  | Y
Small tool set such as wrenches and screw drivers | Removal of battery cables from terminal when access is otherwise limited. |  |  | I "use a suitable tool" | I "use a suitable tool" |  |  |  | I | [7 empty] | Y | I | Y | (SY) |  |  | Y | I (SY) | (SY)
Circular saw | Cutting through sheet metal | [10 empty] | Y |  | Y (2013 Model S)
Hydraulic cutting device |  |  |  | Y | Y | [6 empty] | Y | Y | Y | Y | Y |  | Y |  | (SY) |  |  | Y | I (SY) | (SY) | (SI) |  | (SI) |  |  | Y
Hydraulic spreader | [11 empty] | Y | [5 empty] | Y | [5 empty] | I (SY) | (SY) | (SI) |  | (SI) |  |  | I
Camera, thermal imaging | [5 empty] | Y |  |  | I | Y | Y | Y | Y | Y | Y | Y | Y |  |  |  | Y |  | Y | Y |  | Y | (SY) | Y |  |  | Y
Halligan bar | Prying off panels to access cut loops, straightening metal sufficiently for access to essential components, | [10 empty] | Y | [11 empty] | (SY) | (SY) | (SY)
1.5 m ( 5 ft) non-conductive object | To push victims off of high voltage conductors |  | Y | Y | Y
Glass saw | [23 empty] | (SY) | (SY)
Reciprocating jigsaw | [23 empty] | (SY) | (SY)
Adhesive tape | [23 empty] | (SY) | (SY)
Spring center punch | [23 empty] | (SY) | (SY)
Crowbar | [23 empty] | (SY) | (SY)
"Use spark-protected tools and explosion-proof equipment." | [23 empty] | (SY) | (SY)
"Blow in CO2" to suffocate fire | [23 empty] | (SY) | (SY)
Emergency hammer for glass | [23 empty] | (SY) | (SY) | (SY) |  | (SY)
Insulated tape | To cover bare or damaged wire | [17 empty] | Y
Electrical Devices
AC "Hotstick" electric current detector | For damaged charging stations | https://www.bigredtruck.com.au/manufacturers/ac-hotstick-usa-voltage-detector-live-wire
AC Pen style detector | For damaged charging stations | https://www.firefactory.com.au/led-light-ac-electric-voltage-tester-volt-pen-dete
DC Detector (Austria) |  | https://glmcgavin.com.au
On-Scene Items
Wheel chocks or wood blocks | Immobilization and shoring |  | Y | Y | Y |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | (SY) |  |  | Y | (SY) | (SY) |  |  |  | Y |  | Y
Chain | Move to safer location or to create a break in a line of vehicles
Jacks | Stabilization | [10 empty] | Y |  |  |  | Y |  | Y | [5 empty] | (SY) | (SY) |  | Y
Straps for recovery or tie-down | [10 empty] | Y | [12 empty] | (SY) | (SY)
Nozzles, Hose
FireBug Maxi A-1 nozzle (UK) | Handheld firefighting nozzle with water misting capability | https://firebuggroup.com/mistnozzle-maxi-fire-fighting-nozzle/
MURER Piercing nozzle (Germany) a.k.a. E-Löschlanze | Piercing from top with sledge hammer | https://www.youtube.com/watch?v=VgHCy_8ShbY | N | N | N |  |  |  | N | N | N |  | N | N | N |  | N | N | N | N |  | Towing section states "NEVER cut, breach, or touch high voltage components or cabling" |  |  |  |  | N | N |  |  | N
Rosenbauer battery extinguishing system (US) | Punctures battery from below to inject water. Car may need to be lifted to slide device beneath. | https://www.rosenbaueramerica.com/rosenbauer-battery-extinguishing-system-technology/ | N | N | N |  |  |  | N | N | N |  | N | N | N |  | N | N | N | N |  | Towing section states "NEVER cut, breach, or touch high voltage components or cabling" |  |  |  |  | N | N |  |  | N
Cobra cold cut (Sweden) | Piercing water mist device, hand held and vehicle mounted | https://www.coldcutsystems.com/products | N | N | N |  |  |  | N | N | N |  | N | N | N |  | N | N | N | N |  | Towing section states "NEVER cut, breach, or touch high voltage components or cabling" |  |  |  |  | N | N |  |  | N
AWG Monsoon Nozzle (Germany) | Handheld firefighting nozzle with water misting capability | https://www.youtube.com/watch?v=EvL_IKlvnEc&list=PLff4o8iH9hJX_VmkS0YdZmKC3ZeNcrufH&index=10
SUDZ-IT EV Utility nozzle | Tube with nozzles to slide beneath EV battery for cooling | https://www.toxicsuppression.com/ev-utility-nozzle
Extinguishing/Encapsulating Agents
ABC Fire extinguishers for general firefighting (not HV battery) |  |  | Y | Y | Y |  |  | N | N | N | Yes - Until water available |  | Y | Y | Y | YES - For non HV parts | Y | Y |  | YES - For non HV parts |  | Yes - If other materials are involved | Yes - If other materials are involved | (SY) | (SY) | SY - For non HV parts |  | (SY) |  |  | YES - For non HV parts
Aqueous enhancements (general note) | [12 empty] | N | N | N | [10 empty] | (SY) |  | (SY)
Extover glass fire fighting granules | Expanded glass smothers burning items by encapsulation and melting over surfaces | https://www.youtube.com/watch?v=Yv_ZpTTrUTU
https://www.hacker-motor-shop.com/Batteries-and-accessories/Extover-fire-protection.htm?shop=hacker_e&SessionId=&a=catalog&p=10770
Hazard Control Technologies water additives based on spherical micelle encapsulating agents | F-500 EA Spherical Micelle technology encapsulates the fuel and vapors on a molecular level rendering them nonflammable. This makes F-500 EA the perfect solution for three-dimensional fires, plus F-500 EA is recommended for Class A, Class B (polar and nonpolar), Class K, Class D and Lithium-ion Battery fires. | https://hct-world.com Hazard Control Technologies, 150 Walter Way, Fayetteville, GA 30214
Fire Ice gel agent | FireIce® breaks the fire triangle by creating an oxygen barrier. It remains effective at extremely high temperatures and can last for up to 48 hours, can be easily rehydrated, has excellent adhesion on virtually all surfaces, including vertical surfaces, and instantly cools. | https://www.fireicesolutions.com
FireAde extinguishing agent | Foaming agent | https://pro.fireade.com/products/fireade/
FireBull extinguishing agent | Foaming agent | https://enforcerone.com/products/firebull-fluorine-free-foam/
FireExo | Extinguishing agent | https://firexo.com
Novacool | Foaming agent | https://novacool.com
Stranded energy drain devices
Water bath to de-energize HV battery | [8 empty] | Do not attempt to discharge in field | [6 empty] | To de-energize HV battery soak in plain water 90 hours then 3.5% salt for 48 hours | Detailed instructions to discharge fire damaged HV battery include never to use salt | Fill from provided top port or place in pool of plain water for 3.5 days minimum. Do NOT add salt.
Specialty Tools
Dunk tank | Various depths to submerge vehicle battery or complete vehicle | [11 empty] | Never submerge vehicle | Never submerge vehicle | Never submerge vehicle | [12 empty] | (SY)
Emergency plug (on trial in Austria) | Plugs into charge port to disable EV from moving | https://emergency-plug.com/en/
Insulating sheet | [17 empty] | Place on metal surface of transport vehicle
Vehicle Fire Blankets and Bags
Bridgehill blanket | Blanket | https://vehiclefireblanket.com
EFahrer bag | Full bag with lift straps | https://efahrer.chip.de/news/gefahr-bei-brennenden-e-autos-44-jaehriger-feuerwehrmann-hat-zuendende-idee_107665
Vetter E Vehicle Isolation System (Germany) (HURST/USA) | Full bag with lift straps | https://www.youtube.com/watch?v=kGaJOCAOaCc
WEBER Recover E-Bag (Germany) | Waist height bag with lift straps | https://www.youtube.com/watch?v=WVCGb5ZYlBw
Special transport container for battery parts | [23 empty] | (SY) | (SY)
Links:
Links to Rescue sheets |  |  | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Ford/Ford-C-Max-PHEV-and-HEV-2013-2018-ERG.ashx | https://www.fleet.ford.com/showroom/resources/ | https://www.fleet.ford.com/showroom/resources/ | https://www.boronextrication.com/wp-content/uploads/sites/20/2022/04/2023-Cadillac-LYRIQ_Emergency-Response-Guide_english.pdf | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Chevrolet/Chevrolet-Bolt-EV-2017-2019-QRG.ashx | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Chevrolet/2022-Chevrolet-Bolt-EV_Emergency-Response-Guide_English.ashx | https://www.mopar.com/es-us/mp-assets/content/dam/mopar/images/first-responders/pdf/2022_RU_ERG_Final-12NOV21.pdf | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Jeep/2021-Jeep-4xe-JL-ERG-17840--Version-2B.ashx | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Lucid/Lucid-Air-Emergency-Response-and-Towing-Guide.ashx | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Rivian/emergency-response-guide-r1t.ashx | https://www.tesla.com/sites/default/files/downloads/2017_Model_3_Emergency_Response_Guide_en.pdf | https://www.tesla.com/sites/default/files/downloads/2021_Model_S_Emergency_Response_Guide_en.pdf | https://www.tesla.com/sites/default/files/downloads/Model_Y_Emergency_Response_Sheet_en.pdf | https://owners.hyundaiusa.com/us/en/emergency-guide.html | https://techinfo.honda.com/rjanisis/pubs/web/AER14177.pdf | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Mitsubishi/2022-OUTLANDER-PHEV-ERG-MMNA.ashx | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Nissan/2022-nissan-leaf-first-responders-guide.ashx |  | https://aos.bmwgroup.com/web/oss/service/rescue-info/bmwi/i4 |  |  | https://rk.mb-qr.com/en/206.078/ | https://rk.mb-qr.com/en/453.09/ | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Audi/2022-AudiQ4e-tron.ashx | https://www.porsche.com/usa/accessoriesandservices/porscheservice/vehicleinformation/emergencyresponseguides/ | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Volkswagen/Volkswagen-ID4.ashx | https://www.volvotrucks.com/content/dam/volvo/volvo-trucks/markets/global/our-values/safety/emergency-information/FL-Electric-and-FE-Electric-English.pdf | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Volvo/Volvo-S90-PHEV-2016-2018-QRG.ashx | https://cdn.polestartechhub.com/vehicle-extrication-guide/Safety+Instructions+for+Rescue+Work+–+PS2.pdf
Links to separate guidance | [14 empty] | https://www.tesla.com/sites/default/files/downloads/Model_Y_Emergency_Response_Guide_en.pdf |  |  |  |  | https://h2tools.org/sites/default/files/T-ERG-016-D_Overall%20ERG_Toyota.pdf | https://aos.bmwgroup.com/web/oss/service/rescue-info/bmwi/i4 |  |  | https://rk.mb-qr.com/en/ | https://rk.mb-qr.com/en/ | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Audi/Audi-Emergency-Response-Guide---ISO-format.ashx | https://www.porsche.com/usa/accessoriesandservices/porscheservice/vehicleinformation/emergencyresponseguides/ | https://www.morongovalleyfire.org/files/14f9d9a5c/Volkswagen+Emergency+Response+Guide.pdf | https://www.volvotrucks.com/en-en/about-us/who-we-are/our-values/safety/emergency-information.html
[26 empty] | https://www.nfpa.org/-/media/Files/Training/AFV/Emergency-Response-Guides/Audi/Audi-e-tron-emergency-response-guide.ashx |  | https://www.volkswagen.co.uk/idhub/content/dam/onehub_pkw/importers/gb/downloads/need-help-faqs/High-voltage-systems-accident_assistance_recovery_faq.pdf
[German language] https://www.volkswagen.de/de.html