Woodley

Pre-School

28 Fire safety and emergency evacuation

Policy statement

We ensure our premises present no risk of fire by ensuring the highest possible standard of fire precautions. The person in charge and staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as our Fire Officer, or Fire Safety professional and liaise with the school.

Procedures

- The basis of fire safety is risk assessment. These are carried out by a ‘competent person’.

- Staff have received training in fire safety sufficient to be competent to carry out risk assessment; this will be written as there are more than five staff.

- Fire doors are clearly marked, never obstructed and easily opened from the inside.

- Smoke detectors/alarms and fire fighting appliances conform to BSEN standards, are fitted in appropriate high-risk areas of the building and are checked as specified by the manufacturer.

- Our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- practised regularly once every half term.

- Records are kept of fire drills and the servicing of fire safety equipment.

Emergency evacuation procedure

The evacuation procedure and drill ensure:

- Children are familiar with the sound of the fire alarm or whistle.

- Children, staff and parents know where the fire exits are.

- Children are led from the building to the assembly point fully supervised.

- All persons are/will be accounted for and by the Leader and Deputy in charge.

- We record how long it takes to get the children out safely.

- At the time an allocated member of staff would call the emergency services and when in the event of a real fire.

- How parents are contacted in the event of a real fire, which will be either from the pre-school mobile, our land line or the infant or junior school landlines.

The fire drill record book contains:

- Date and time of the drill.

- How long it took to safely evacuate.

- Whether there were any problems that delayed evacuation.