2025 PLEASANT HOME WATER DISTRICT

DRINKING WATER QUALITY REPORT

(Contaminants Last Detected in 2017)

Dear Pleasant Home Water District Customer,

The attached Water Quality Report is for your information.  This report is designed to inform you about your water quality and what it means.

This publication complies with the federal law which requires all water systems to send an annual water quality report to its customers.

Pleasant Home Water District’s water is purchased from the City of Portland. Portland’s primary source of water is the Bull Run watershed, a surface water supply.  A groundwater supply with 24 production wells in five different aquifers provides a second source of water for Portland.  Pleasant Home’s water meets or exceeds state and federal standards.  The District tests the water regularly through a state certified laboratory. The District also completed a service line inventory. The results are available by calling our office.

If you have questions or comments about the information in this report, please call the Pleasant Home Water District office at 503-201-4341 or E-mail Customerservice@pleasanthomewater.com.

The Distribution System Data in the report is unique to each water district.  The table below indicates Pleasant Home Water District’s test results.

| Regulated Contaminant | Minimum Detected | Maximum Detected | Maximum Contaminant Level (MCL) or Treatment Technique | Maximum Contaminant Level Goal (MCLG) | Sources of Contaminant |  |
| --- | --- | --- | --- | --- | --- | --- |
| Distribution System of Reservoirs, Tanks and Mains |  |  |  |  |  |  |
| Total Coliform Bacteria | Not detected | 0% of samples with detectable coliform bacteria | Must not detect coliform bacteria in more than 5.0% of samples in any month | 0% of samples with detectable coliform bacteria |  | Found throughout the environment |
| E. coli Bacteria | Not detected | Zero samples with detectable E. coli bacteria | One routine sample and a repeat sample are total coliform positive and one sample is also fecal coliform or E coli positive | Zero samples with detectable E. coli bacteria |  | Animal wastes |
| Disinfection Byproducts Total Trihalomethanes | 27 parts per billion | 36 parts per billion | 80 parts per billion | Not Applicable |  | Byproducts of drinking water disinfection |
| Haloacetic Acids | 26 parts per billion | 33 parts per billion | 60 parts per billion | Not Applicable |  | Byproducts of drinking water disinfection |
| At any one site | Not Applicable |  |  |  |  |  |
| Regulated Contaminant | Minimum Detected | Maximum Detected | Maximum Residual Disinfectant Level (MRDL) | Maximum Residual Disinfectant Level Goal (MRDLG) |  | Sources of Contaminant |
| Distribution System of Reservoirs, Tanks and Mains |  |  |  |  |  |  |
| Total Chlorine Residual | 0.6 parts per million | 1.2 parts per million | 4 parts per million | 4 parts per million | Chlorine and ammonia are used to disinfect water |  |