| Room: | Decontamination Area | Circle one: |
| --- | --- | --- |
| Air: | Humidity / temperature: *see footnote - What is the acceptable range? - How is it monitored, and on what frequency? - Actions to be taken when measures are out of acceptable range? | YES Compliant? NO ? - BAS monitored - Call Facilities |
| Air | Pressures: Positive / Negative - How is it monitored, and on what frequency? - Actions to be taken when measures are not complaint with expectations? | YES Compliant? NO |
| Ceiling | - Clear of water stains / damage? - Air vents: dusty / dirty? | YES Compliant? NO |
| Walls | - Intact? - Clear of dust / dirt / cobwebs? - Stored supplies kept within 18 inches of ceiling? - Eyewash station in place? - Fire alarms. Shut-off valves not blocked? | YES Compliant? NO Eyewash station to be checked weekly – ANSI Z358.1-2014 |
| Sinks | See Decontamination Equipment list |  |
| Doors | - Is door blocked from functioning - Barriers blocking door; door jam in place to keep door from closing during a fire - Does the spring-hinged door close & latch as expected? | YES Compliant? NO |
| Windows | - Intact? - Exterior: secure to prevent opening? - Interior: operating correctly? | YES Compliant? NO |
| Surfaces / countertops | - No chips / damage that would prevent cleaning? | YES Compliant? NO |
| Floors | - Intact? | YES Compliant? NO |
| Area care | - What is the room cleaning schedule? - How is cleaning monitored for completion? | YES Compliant? NO |
| Staff | - Correct PPE / employee dress code expectations in place? | YES Compliant? NO |

- AAMI & ASHRE sources state Temp ranges of  60 º-75º and humidity range of 30%-60% in patient care areas, and 30%-70% in sterile supply storage areas.

| Room: | Decontamination Area Equipment | Circle one: |
| --- | --- | --- |
| Sinks | - No cleaning supplies kept in a cabinet under the sink? - Cleaning brushes kept separate per IFU? - 3 feet space or solid barrier shield from supplies? | - YES Compliant? NO |
| Detergents / cleaning solutions | - Any expired solutions? - Sufficient warning labels present on any solution re-packaged into a non-manufacturer-produced container? | - YES Compliant? NO |
| Ultrasonic washer |  | - YES Compliant? NO |
| Instrument washer |  | - YES Compliant? NO |
| Cart washer |  | - YES Compliant? NO |