| Room: | IUSS Room / Area | ROOMS INSPECTED |  |
| --- | --- | --- | --- |
| Air: | Humidity / temperature: *see footnote - What is the acceptable range? - How is it monitored, and on what frequency? - Actions to be taken when measures are out of acceptable range? |  | YES Compliant? NO - BAS monitored - Call Facilities |
| Air | Pressures: Positive / Negative - How is it monitored, and on what frequency? - Actions to be taken when measures are not complaint with expectations? |  | YES Compliant? NO |
| Ceiling | - Clear of water stains / damage? - Air vents: dusty / dirty? - OR lights: dusty / dirty? |  | YES Compliant? NO |
| Walls | - Intact? - Clear of dust / dirt / cobwebs? - Stored supplies kept within 18 inches of ceiling? - Cabinets: - Dusty found inside? - Expired supplies? - Cleaning schedule? |  | YES Compliant? NO |
| Supplies | - Storage containers: items stored in corrugated cardboard shipping containers? - Check: - Package integrity - Expiration dates - Have staff describe any applicable inventory rotation process - Any applicable temperature storage expectation |  | YES Compliant? NO |
| Doors | - Is door blocked from functioning - Barriers blocking door; door jam in place to keep door from closing during a fire - Does the spring-hinged door close & latch as expected? |  | YES Compliant? NO |
| Windows | - Intact? - Exterior: secure to prevent opening? - Interior: operating correctly? |  | YES Compliant? NO |
| Floors | - Intact? |  | YES Compliant? NO |
| Area care | - What is the room cleaning schedule? - How is cleaning monitored for completion? |  | YES Compliant? NO |
| Equipment logs | - Is the case information & items that undergoes IUSS logged per policy expectations? - Is daily testing of IUSS sterilizer performed & logged? |  | YES Compliant? NO |

- AAMI & ASHRE sources state Temp ranges of  60 º-75º and humidity range of 30%-60% in patient care areas, and 30%-70% in sterile supply storage areas.