| Room: | Oxygen Storage | ROOMS INSPECTED |  |
| --- | --- | --- | --- |
| Air: | Humidity / temperature: *see footnote - What is the acceptable range? - How is it monitored, and on what frequency? - Actions to be taken when measures are out of acceptable range? |  | YES Compliant? NO - BAS monitored - Call Facilities |
| Ceiling | - Clear of water stains / damage? - Air vents: dusty / dirty? |  | YES Compliant? NO |
| Walls | - Intact? - Clear of dust / dirt / cobwebs? - Stored supplies kept within 18 inches of ceiling? |  | YES Compliant? NO |
| Oxygen tanks | - Full & empty cylinders stored separately? - A maximum of 12 oxygen cylinders stored in one hospital compartment area (firewall contained area) - Unless stored in a certified Oxygen Storage room - All cylinders are clean & free of rust? |  | YES Compliant? NO |
| Dedicated Oxygen Rooms | - Is vent unblocked / clear to operate appropriately? |  | YES Compliant? NO |
| Doors | - Correct type of door (fire rating?) - Door is locked / secured? - Is door blocked from functioning - Barriers blocking door; door jam in place to keep door from closing during a fire - Does the spring-hinged door close & latch as expected? |  | YES Compliant? NO |
| Surfaces / countertops | - No chips / damage that would prevent cleaning? |  | YES Compliant? NO |
| Floors | - Intact? - No items stored touching floors (linen, supplies, storage containers) |  | YES Compliant? NO |
| Area care | - What is the room cleaning schedule? - How is cleaning monitored for completion? |  | YES Compliant? NO |