| Room: | Endoscopy Procedure Room | ROOMS INSPECTED |  |
| --- | --- | --- | --- |
| Air: | - Humidity / temperature: *see footnote - What is the acceptable range? - How is it monitored, and on what frequency? - Actions to be taken when measures are out of acceptable range? |  | YES Compliant? NO - BAS monitored - Call Facilities |
| Air | Pressures: Positive / Negative - How is it monitored, and on what frequency? - Actions to be taken when measures are not complaint with expectations? |  | YES Compliant? NO |
| Ceiling | - Clear of water stains / damage? - Air vents: dusty / dirty? - OR lights: dusty / dirty? |  | YES Compliant? NO |
| Walls | - Intact? - Clear of dust / dirt / cobwebs? - Stored supplies kept within 18 inches of ceiling? - Cabinets: - Dented/damaged edges / surfaces that prevent cleaning? - Dusty found inside? - Expired supplies? - Cleaning schedule? |  | YES Compliant? NO |
| Supplies | - Storage containers: items stored in corrugated cardboard shipping containers? - Check: - Package integrity - Expiration dates - Have staff describe any applicable inventory rotation process - Any applicable temperature storage expectation - Single-use supplies disposed of? |  | YES Compliant? NO |
| Doors | - Is door blocked from functioning - Barriers blocking door; door jam in place to keep door from closing during a fire - Does the spring-hinged door latch as expected? |  | YES Compliant? NO |
| Surfaces / countertops | - No chips / damage that would prevent cleaning? |  | YES Compliant? NO |
| Floors | - Intact? |  | YES Compliant? NO |
| Area care | - What is the room cleaning schedule? - How is cleaning monitored for completion? |  | YES Compliant? NO |
| Equipment | - Electrical cords intact? - Extension cords plugged into other extension cords? - Preventative maintenance scheduled adhered to? - Rental equipment inspected before use? - Patient care surfaces torn / laden with tape residue which would impede cleaning? - Endoscopes hanging free / not touching cabinet or other scopes? |  | YES Compliant? NO |