| Pre-op / Post-op Room / Bays |  | ROOM NUMBERS |  |
| --- | --- | --- | --- |
| Air | Isolation / Negative Pressure Rooms: - How is it monitored, and on what frequency? - Can staff describe actions to be taken when measures do not meet expectations? |  | YES Compliant? NO |
| Ceiling | - Clear of water stains / damage? - Air vents: dusty / dirty? - OR lights: dusty / dirty? |  | YES Compliant? NO |
| Walls | - Intact? - Clear of dust / dirt / cobwebs? - Stored supplies kept within 18 inches of ceiling? - Cabinets: - Dusty found inside? - Expired supplies? - Cleaning schedule? - Doors locked / secured for patient safety? - Curtains: being cleaned per IFU? - Sinks: 3 feet space or solid barrier shield from supplies? |  | YES Compliant? NO |
| Supplies | - Check: - Package integrity - Expiration dates - Can staff describe any applicable inventory rotation process - Any applicable temperature storage expectation - Single-use supplies disposed of? |  | YES Compliant? NO |
| Point-of-Care testing | - Device kept in clean condition? - All supplies labeled correctly per policy? - No expired supplies present? |  | YES Compliant? NO |
| Doors | - Is door blocked from functioning - Barriers blocking door; door jam in place to keep door from closing during a fire - Does the spring-hinged door close & latch as expected? |  | YES Compliant? NO |
| Windows | - Intact? - Exterior: secure to prevent opening? - Interior: operating correctly? |  | YES Compliant? NO |
| Surfaces / countertops | - No chips / damage that would prevent cleaning? - Patient care surfaces torn / laden with tape residue |  | YES Compliant? NO |
| Floors | - Intact? |  | YES Compliant? NO |
| Patient toys | - If using toys between patients, is the cleaning process per IFU? |  | YES Compliant? NO |
| Area care | - What is the room cleaning schedule? - Is there a method in place for monitoring the cleaning for completion? |  | YES Compliant? NO |
| Equipment | - Electrical cords intact? - Extension cords plugged into other extension cords? - Preventative maintenance scheduled adhered to? - Rental equipment inspected before use? - which would impede cleaning? |  | YES Compliant? NO |
| PPE | - PPE supplies available for: - Airborne - Contact - Droplet |  | YES Compliant? NO |