| Room: | Case cart preparation / tray storage | Circle one: |
| --- | --- | --- |
| Air: | Humidity / temperature: *see footnote - What is the acceptable range? - How is it monitored, and on what frequency? - Actions to be taken when measures are out of acceptable range? | YES Compliant? NO - BAS monitored - Call Facilities |
| Air | Pressures: Positive / Negative - How is it monitored, and on what frequency? - Actions to be taken when measures are not complaint with expectations? | YES Compliant? NO |
| Ceiling | - Clear of water stains / damage? - Air vents: dusty / dirty? | YES Compliant? NO |
| Walls | - Intact? - Clear of dust / dirt / cobwebs? - Stored supplies kept within 18 inches of ceiling? - Fire alarms. Shut-off valves not blocked? | YES Compliant? NO |
| Single instrument storage wall | - Instruments stored appropriately. - No single-use bags used as containers | YES Compliant? NO |
| Instrument washers | (clean side) - Floor area under instrument rolling racks clear of debris? - Equipment & rolling rack surfaces clear of breakdown, surface degradation, or rust? | YES Compliant? NO |
| Doors | - Is door blocked from functioning - Barriers blocking door; door jam in place to keep door from closing during a fire - Does the spring-hinged door close & latch as expected? | YES Compliant? NO |
| Windows | - Intact? - Exterior: secure to prevent opening? - Interior: operating correctly? | YES Compliant? NO |
|  |  | YES Compliant? NO |
| Floors | - Intact? - No items stored touching floors (linen, supplies, storage containers) | YES Compliant? NO |
| Area care | - What is the room cleaning schedule? - How is cleaning monitored for completion? | YES Compliant? NO |

- AAMI & ASHRE sources state Temp ranges of  60 º-75º and humidity range of 30%-60% in patient care areas, and 30%-70% in sterile supply storage areas.