Lurie Children’s Hospital Operating Room Logs

| 6th Floor Log types | Log locations | Completion Frequency | Completed per expectations? |
| --- | --- | --- | --- |
| Code cart logs | 6-West Core | Monthly | Y / N |
|  | 6-East Core | Monthly | Y / N |
|  | Procedural Suite: 06-C32 | Monthly | Y / N |
| Defibrillator checks: | 6-West core, Procedural Suite: 06-C32 | Daily | Y / N |
|  | 6-East Core | Daily | Y / N |
|  | Procedural Suite: 06-C32 | Daily | Y / N |
| Blanket warmers: | 6W Core | Daily | Y / N |
|  | 6E Core | Daily | Y / N |
|  | Specimen Room | Daily | Y / N |
|  | 06-414A between OR 14 &15 | Daily | Y / N |
|  | Procedural Suite 06C32 | Daily | Y / N |
| Fluids stored in blanket warmers: | 6W Core | Daily | Y / N |
|  | Trach Room 06455 | Daily | Y / N |
|  | 6E Core | Daily | Y / N |
|  | Procedural Suite 06C32 | Daily | Y / N |
| Eyewash station log | 6th floor Scope Intake Room 06-431 (Adjacent to the GI Scope Room) | Checked weekly by Facilities | N/A |
| Tissue storage refrigerator / freezer: | Kept on 7th floor in Sub-sterile 07-367 | Continuous centralized monitoring by facilities | N/A |
| Specimen storage refrigerator: | Room 06-414A (between OR 14 and 15) | Continuous centralized monitoring by facilities | N/A |
|  | Procedural Suite Rm: 06338 | Continuous centralized monitoring by facilities | N/A |
| Blood/Medication refrigerator: | 6W core | Continuous centralized monitoring by facilities | N/A |
|  | Procedural Suite near Pyxis and Ice Machine | Continuous centralized monitoring by facilities | N/A |
| GI Scope Cabinets cleaning logs | GI/Pulm/ENT scope Rm: 06429 | 3 days/wk M/W/F (logged on back of doors) | Y / N |
|  | ENT Storage Room: 0644A (between ORs 19 & 20) | 3 days/wk M/W/F (logged on back of doors) | Y / N |
|  | Procedural Suite Core Rm:06332 | 3 days/wk M/W/F (logged on back of doors) | Y / N |

| 7th Floor Log types | Completion Frequency | Completion Frequency | Completed per expectations? |
| --- | --- | --- | --- |
| Code cart logs: | 7E | Monthly | Y / N |
|  | 7W | Monthly | Y / N |
|  | OR: 9 | Monthly | Y / N |
|  | OR: 10 | Monthly | Y / N |
|  | OR: 11 | Monthly | Y / N |
| Defibrillator checks: | 7E | Daily | Y / N |
|  | 7W | Daily | Y / N |
|  | OR: 9 | Daily | Y / N |
|  | OR: 10 | Daily | Y / N |
|  | OR: 11 | Daily | Y / N |
| Blanket warmers: | 7E | Daily | Y / N |
|  | 7W Core | Daily | Y / N |
| Fluids stored in blanket warmers: | 7E | Daily | Y / N |
|  | 7W Core | Daily | Y / N |
| Eyewash station log | Removed due to 2025 risk assessment | Weekly | N/A |
| Tissue storage refrigerator / freezer: | Sub-sterile 07-367 | Continuous centralized monitoring by facilities | N/A |
| Specimen storage refrigerator: | Sub-sterile 07-366 | Continuous centralized monitoring by facilities | N/A |
| Blood/Medication refrigerator: | 7E & 7W Pyxis & Core | Continuous centralized monitoring by facilities | N/A |
| GI Scope Cabinets cleaning logs | Kept on 6th floor | 3 days/wk M/W/F (on back of doors) | N/A |

Lurie Children’s Hospital OR Tissue Log

| Tissue Log expectations |  |  |  |
| --- | --- | --- | --- |
| Inspection point | Question | Answers | Findings |
| Expectations when facility receives the tissue from the vendor | Package integrity verified? | No breaks or creases in packaging should be noted | Y / N |
|  | Package temperature verified to be within acceptable range? | Package should denote acceptable temperature range | Y / N |
|  | For temperature-sensitive tissue, are controls in place to assure temperature is protected during transit? | If 3rd party transport is used, ensure contract is in place to assure temperature expectations are maintained. | Y / N |
| Storage refrigerator / freezer monitoring | Refrigerator / freezer temp noted per expectations? | Daily log expected | Y / N |
|  | Storage Room temperature noted per expectations? | Daily log expected | Y / N |
| Tissue log | Date / time tissue received? | Individual log point expected | Y / N |
|  | Date / time tissue removed? | Individual log point expected | Y / N |
|  | Patient ID listed | Individual log point expected | Y / N |
| Patient record | Tissue ID’d in the patient’s record? | Review the patient’s medical record, tissue identifier should be listed | Y / N |
| Inventory audit | As tissue is often unsecured, a risk of removing or implanting tissue with out logging removal or charting implantation exists | Review evidence of routine inspection of tissue inventory to assure that all inventory is accounted for and tracked / charted appropriately | Y / N |

Westchester ASTC Logs

| Log | Inspection Finding | Findings |
| --- | --- | --- |
| PRE-OP: Refrigerator logs: | Reviews charted per policy? | Y / N |
| PRE-OP: Eyewash station: | Checked weekly by Facilities | NA |
| PACU: Code cart logs: PACU | Reviews charted once per operational day | Y / N |
| PACU: Defibrillator check: PACU | Performed weekly | Y / N |
| PACU: Blanket warmer logs: PACU | Reviews charted per policy? | Y / N |
| OR: Code cart logs: OR | Reviews charted per policy? | Y / N |
| OR: Defibrillator check: OR | Performed weekly | Y / N |
| OR: Room temp & humidity | Checked daily | Y / N |
| OR: Room positive pressure | Checked daily | Y / N |
| MRI: Code cart logs: MRI | Reviews charted per policy? | Y / N |
| MRI: Defibrillator check: MRI | Performed weekly | Y / N |
| Fluids stored in blanket warmers | Fluid bag time restrictions accounted for? | Y / N |

Westchester ASTC Tissue Logs

| Tissue Log expectations |  |  |  |
| --- | --- | --- | --- |
| Inspection point | Question | Answers | Findings |
| Expectations when facility receives the tissue from the vendor | Package integrity verified? | No breaks or creases in packaging should be noted | Y / N |
|  | Package temperature verified to be within acceptable range? | Package should denote acceptable temperature range | Y / N |
| Tissue log | Date / time tissue received? | Individual log point expected | Y / N |
|  | Patient ID listed | Individual log point expected | Y / N |