## Input
General Instructions:
1. Modify the value of blue cells only. Don't alter the values of the other cells. |  |  |  |  | State | PSH | Battery Choice
2. Read the instructions for better understanding while providing inputs. |  |  |  |  | Alaska | 3 | Yes
3. Do not change the data in the Assumptions section unless you are absolutely sure. |  |  |  |  | Arizona | 6.5 | No
[5 empty] | Arkansas | 4.5
Inputs |  |  | PROJECT ONE |  | California | 5.5
[5 empty] | Colorado | 5.5
| State | PSH |  |  | Connecticut | 4
Enter your location | Indiana | 4.5 | 4.5 | Enter your state by clicking on the cell C10 and choose from dropdown options. Cell D10 value will be updated automatically. | Delaware | 4
[5 empty] | Florida | 5
Parameter | Unit | Value |  |  | Georgia | 4.5
Monthly electric Bill (yearly peak) | $ | 368 | 368 | Enter your monthly maximum electric bill here. This is usually the maxmimum electric bill you have during summer. | Hawaii | 5.5
Monthly Electric Bill (yearly average) | $ | 224 | 224 | Enter your monthly average electric bill here. This is the amount you spend for electricity on an average. | Indiana | 4.5
Average day time operational hour | hr | 6 | 6 | Enter how many hours of day time operation does your facility/building have. | Louisiana | 4.5
Average night time operational hour | hr | 1.5 | 1.5 | Enter how many hours of night time operation does your facility/building have. | Iowa | 4.5
[5 empty] | Kansas | 5
Monthly heating fuel Bill (winter peak) | $ | 250 | 250 | Enter your monthly maximum heating fuel bill here. This is usually the maxmimum heating bill you have during winter. | Maine | 4
Monthly heating fuel Bill (yearly average) | $ | 120 | 120 | Enter your monthly average heating fuel bill here. This is the amount you spend for heating fuel on an average. | Maryland | 4
Building area for heating | sq. ft. | 6270 | 6270 | Enter the space area of your building. | Massachusetts | 4
[5 empty] | Missouri | 4.5
Amount of daily kitchen waste generated | kg | 0 | 0 | Enter 0 if you do not have kitechen waste or not interested to install a biomass system. | Minnesota | 4.5
[5 empty] | Mississippi | 4.5
Available land/rooftop area for solar installation | sq. ft. | 1500 | 1500 | Enter how much available land or rooftop area you can allocate to install solar panels. | Montana | 5.5
Available land for geothermal installation (length) | ft | 80 | 80 | Enter how much available land you can allocate to install geothermal heating system. | Nebraska | 5
Available land for geothermal installation (width) | ft | 40 | 40 | Enter how much available land you can allocate to install geothermal heating system. | Michigan | 4
[5 empty] | New Jersey | 4
Maximum CAPEX budget | USD | 25000 | 25000 | Enter your maxmimum budget allocated for installing hybrid RE system. | New Mexico | 6
Equity | % | 15 | 15 | Enter the percentage of your budget that you can spend from your own money. | New York | 4
Debt | % | 85 |  | Do not alter the value of Debt%. It is automatically calculated based on your Equity% input. | North Carolina | 4.5
Return on Equity (ROE) | % | 7.13 |  | Do not alter the value of ROE. This is a standrard return you can expect on your equity. | North Dakota | 4.5
Project life | years | 25 | 25 | Enter how many years of project commitment you intend to make. Higher the project life, higher is your benefit. | South Carolina | 4.5
Interest rate | % | 7.5 | 7.5 | Enter the bank interest reate you have been offered on your bank loan (debt amount). | South Dakota | 4.5
Debt payback period | years | 15 | 15 | Enter how many years of debt payback period you have to pay off your loan. Lower the debt payback period, higher is your benefit. | Tennessee | 4.5
Number of installments per year | # | 12 | 12 | Enter the number of installments you will be paying each year. | Texas | 5.5
Do you want battery bank to meet night time load? |  | Yes | Yes | Enter your choice by clicking on the cell C37 and choose from dropdown options. If you want grid electricity to meet night time load enter "No". | Utah | 5.5
[5 empty] | Virginia | 4.5
[5 empty] | West Virginia | 4
Assumptions |  |  |  |  | Wisconsin | 4
[5 empty] | Wyoming | 5.5
Parameter | Unit | Value
Price of natural gas | $/1000 c ft | 10
Price of propane | $/gallon | 2.5
Price of electricity purchased from grid | $/kWh | 0.15
Price of electricity sold to grid | $/kWh | 0.085
Discount rate | % | 12 | 12
Federal Incentive for green energy installation | % | 40 | 40 | Higher the incentive, higher is your benefit.
Intital Cost of Solar PV system Installation (before incentive) | $/kW | 2500
Initial Cost of Battery Installation (before incentive) | $/kWh | 1000
Intital Cost of Geothermal system Installation (before incentive) | $/ton | 3500
Intital Cost of Biomass system Installation (before incentive) | $/kW | 3000
Intital Cost of Solar PV system Installation (After incentive) | $/kW | 1500
Initial Cost of Battery Installation (After incentive) | $/kWh | 600
Intital Cost of Geothermal system Installation (After incentive) | $/ton | 2100
Intital Cost of Biomass system Installation (After incentive) | $/kW | 1800
Miscellenious cost (% of CAPEX) | % | 2
Yearly O&M cost (% of CAPEX) | % | 2
Average land/roof area required for solar installations | sq. ft./ kW | 120
Average heating load | BTU/1000 sq. ft. | 20000
Average perimeter of geothermal loop | ft/ton | 200
Efficiency of solar PV system (solar ==> load) | % | 85
Efficiency of battery (round-trip AC efficiency) | % | 85
Battery bank voltage | V | 48
Efficiency of Biomass to electricity | % | 40
Efficiency of Biomass to heat | % | 50
Efficiency of natural gas furnace | % | 90
Natural gas energy | BTU/c. ft. | 1000
Biomass energy | MJ/kg | 18.71
Biomass generator operational time | hour | 4
Note on D29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Banks prefer 15-20% up-front equity.
Note on D31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://tradethatswing.com/average-historical-stock-market-returns-for-sp-500-5-year-up-to-150-year-averages/
Note on D33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Similar to mortgage rates in June 2024
Note on D34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is about the longest a rural bank will consider, and is rational given both the typical ROI for R.E. and the guarantee for solar which is 30 years typically.
Note on D48: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://www.forentrepreneurs.com/discount-rate-for-dcf/ Reply: https://mercercapital.com/article/understand-the-discount-rate-used-in-a-business-valuation/
Note on D49: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 40% requires stacking multiple incentives, such as local labor rates and US-mfg.

## System Sizing
General Instructions:
1. Please do not try to alter any formula or cell values in this sheet.
Parameter | Unit | Value
Daily electrical energy consumption (yearly peak) | kWh | 81.7778
Daily electrical energy consumption (yearly average) | kWh | 49.7778
Day time electrical energy consumption (yearly average) | kWh | 39.8222
Night time electrical energy consumption (yearly average) | kWh | 9.9556
Daily heating load (yearly peak) | BTU | 261250 | ton | 21.7708
Daily heating load (yearly average) | BTU | 125400 | ton | 10.45
System Sizing
bi 20
Parameter | Unit | Value
Required Size of Solar Panel (DC) | kW | 13.0138
Required Size of Inverter | kW | 13.0138
Required Size of battery bank | kWh | 12 | Yes
Required area for solar installation | sq. ft | 1561.6558
Available area for solar installation | sq. ft | 1500
Possible solar PV size | kW | 12.5 |  |  |  | "+ve: grid>home" | Cost
Installed solar PV size | kW | 12.5 |  | Net-Metering |  | "-ve: home>grid" | Benefit
Installed battery size | kWh | 7.9903
Daily energy from served from installed solar PV (yearly average) | kWh | 47.8125 | Demand | Day time electrical energy taken from grid | kWh | 0 | USD | 0 | Price of electricity purchased from grid | $/kWh | 0.13
Day time energy served from installed solar PV | kWh | 39.8222 | 39.8222 | Night time electrical energy taken from grid | kWh | 1.9653 | USD | 0.29479 | Price of electricity sold to grid | $/kWh | 0.035
Night time energy served from installed battery | kWh | 7.9903 | 9.9556 | Net Daily energy taken from grid | kWh | 1.9653 | USD | 0.29479
Required perimeter of horizontal geothermal loop | ft | 1145 |  | Net annual energy from grid | kWh | 717.3264 | USD | 106.125
Available land perimeter for geothermal installation | ft | 440
Max possible geothermal capacity | ton | 3.4
Max possible daily heating energy from geothermal | BTU | 40800 |  | Daily heating energy from heating fuel | BTU | 84600 | USD | 2.6986
|  |  |  | Net annual energy heating fuel | BTU | 30879000 | USD | 971.4833
Electricity from biomass (day time) | kWh | 0
Biomass system generator size | kW | 0
Federal credit
Total CAPEX optimize!
Net Present Value

## Cost
CAPEX |  |  | Debt Service
Parameter | Unit | Value | Parameter | Unit | Value
Cost of Solar PV system installation | USD | 18750 | Equity amount | USD | 4695
Cost of Battery bank installation | USD | 4794.1667 | Debt amount | USD | 26604
Cost of geothermal system installation | USD | 7140
Cost of biomass system installation | USD | 0 | Monthly equity return amount | USD | 27.8961
Miscellaneous cost | USD | 613.6833 | Monthly debt installment amount | USD | 246.6224
Total CAPEX | USD | 31297.85 | Toal interest+principal amount | USD | 44392.0263
O&M |  |  | Cash Flow Analysis | Cash Flow Analysis |  |  |  | Cash Flow Analysis |  |  | Cash Flow Analysis |  |  |  | Cash Flow Analysis |  |  |  | Cash Flow Analysis
O&M cost | USD | 625.957
|  |  |  | Particulars | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Grid Electricity and Heating Fuel |  |  | Costs (Hybrid system) | Equity + Return on equity | 5029.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535 | 334.7535
|  |  |  | Debt service | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 2959.4684 | 0 | 0 | 0 | 0 | 0
Net annual cost of grid electricity | USD | 106.125 |  | O&M | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957 | 625.957
Net annual cost of heating fuel | USD | 971.4833 |  | Grid electricity | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125 | 106.125
|  |  |  | Heating fuel | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833 | 971.4833
Project Lifetime Cost |  |  | Benefits (Existing system) | Grid electricity | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688
|  |  |  | Heating fuel | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440
Lifetme cost for equity return | USD | 8368.8375 |  | O&M of existing system | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12
Lifetme cost for debt installments | USD | 44392.0263
Lifetme cost for O&M of hybrid system | USD | 15648.925
Lifetme cost for electrical energy unmet from hybrid system | USD | 2653.125 | Total costs |  | 9692.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 4997.7872 | 2038.3188 | 2038.3188 | 2038.3188 | 2038.3188 | 2038.3188
Lifetme cost for heating energy unmet from hybrid system | USD | 24287.0813
Lifetme cost for new hybrid system | USD | 95349.9951 | Total benefits |  | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12
Lifetime cost for existing electrical system | USD | 67200 | Net benefits |  | -5399.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | -704.6672 | 2254.8012 | 2254.8012 | 2254.8012 | 2254.8012 | 2254.8012
Lifetime cost for existing heating system | USD | 3000
Lifetime cost for O&M of existing system | USD | 15648.925 | Discounted costs |  | 8654.2743 | 3984.2053 | 3557.3262 | 3176.1841 | 2835.8787 | 2532.0345 | 2260.7451 | 2018.5224 | 1802.2522 | 1609.1537 | 1436.7444 | 1282.8075 | 1145.3638 | 1022.6463 | 913.077 | 332.4939 | 296.8696 | 265.0621 | 236.6626 | 211.3059
Lifetme cost for existing system | USD | 85848.925
|  |  | Discounted benefits |  | 3833.1429 | 3422.449 | 3055.758 | 2728.3554 | 2436.0316 | 2175.0282 | 1941.9895 | 1733.9192 | 1548.1421 | 1382.2697 | 1234.1694 | 1101.937 | 983.8723 | 878.4574 | 784.337 | 700.3009 | 625.2686 | 558.2756 | 498.4603 | 445.0539
Lifetime net savings | USD | -9501.0701
|  |  | Discounted net benefits |  | -4821.1314 | -561.7564 | -501.5682 | -447.8287 | -399.8471 | -357.0063 | -318.7556 | -284.6033 | -254.11 | -226.884 | -202.575 | -180.8705 | -161.4915 | -144.1889 | -128.7401 | 367.8069 | 328.399 | 293.2134 | 261.7977 | 233.748
Total discounted cost | USD | 39573.6097
Total discounted benefit | USD | 32067.2178 | Cumulative Discounted cash flow |  | -4821.1314 | -5382.8878 | -5884.4559 | -6332.2847 | -6732.1317 | -7089.1381 | -7407.8937 | -7692.497 | -7946.607 | -8173.491 | -8376.0659 | -8556.9365 | -8718.428 | -8862.6169 | -8991.3569 | -8623.55 | -8295.1509 | -8001.9375 | -7740.1398 | -7506.3919
Net present value (NPV) | USD | -7506.3919
Payback period | years | Payback not reached | Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
|  |  | NPV with RE | -7506.3919
|  |  | NPV without RE | 1233.3545 | 2: Discounted cost=Actual cost/(1+Discount rate/100)^year

## Cost wo RE
CAPEX |  |  | Debt Service
Parameter | Unit | Value | Parameter | Unit | Value
Cost of Solar PV system installation | USD | 0 | Equity amount | USD | 0
Cost of Battery bank installation | USD | 0 | Debt amount | USD | 0
Cost of geothermal system installation | USD | 0
Cost of biomass system installation | USD | 0 | Monthly equity return amount | USD | 0
Miscellaneous cost | USD | 0 | Monthly debt installment amount | USD | 0
Total CAPEX | USD | 0 | Toal interest+principal amount | USD | 0
O&M |  |  | Cash Flow Analysis | Cash Flow Analysis |  |  |  | Cash Flow Analysis |  |  | Cash Flow Analysis |  |  |  | Cash Flow Analysis |  |  |  | Cash Flow Analysis
O&M cost | USD | 0
|  |  |  | Particulars | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Grid Electricity and Heating Fuel |  |  | Costs (Hybrid system) | Equity return | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Debt service | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net annual cost of grid electricity | USD | 106.125 |  | O&M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net annual cost of heating fuel | USD | 971.4833 |  | Grid electricity | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688
|  |  |  | Heating fuel | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440
Project Lifetime Cost |  |  | Benefits (Existing system) | Grid electricity | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688
|  |  |  | Heating fuel | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440
Lifetme cost for equity return | USD | 0 |  | O&M of existing system | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12
Lifetme cost for debt installments | USD | 0
Lifetme cost for O&M of hybrid system | USD | 0
Lifetme cost for electrical energy unmet from hybrid system | USD | 0 | Total costs |  | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128 | 4128
Lifetme cost for heating energy unmet from hybrid system | USD | 0
Lifetme cost for new hybrid system | USD | 0 | Total benefits |  | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12
Lifetime cost for existing electrical system | USD | 67200 | Net benefits |  | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12
Lifetime cost for existing heating system | USD | 3000
Lifetime cost for O&M of existing system | USD | 0 | Discounted costs |  | 3685.7143 | 3290.8163 | 2938.2289 | 2623.4186 | 2342.3381 | 2091.3733 | 1867.2976 | 1667.23 | 1488.5982 | 1329.1055 | 1186.7014 | 1059.5548 | 946.0311 | 844.6706 | 754.1702 | 673.3662 | 601.2198 | 536.8034 | 479.2888 | 427.9364
Lifetme cost for existing system | USD | 70200
|  |  | Discounted benefits |  | 3833.1429 | 3422.449 | 3055.758 | 2728.3554 | 2436.0316 | 2175.0282 | 1941.9895 | 1733.9192 | 1548.1421 | 1382.2697 | 1234.1694 | 1101.937 | 983.8723 | 878.4574 | 784.337 | 700.3009 | 625.2686 | 558.2756 | 498.4603 | 445.0539
Lifetime net savings | USD | 70200
|  |  | Discounted net benefits |  | 147.4286 | 131.6327 | 117.5292 | 104.9367 | 93.6935 | 83.6549 | 74.6919 | 66.6892 | 59.5439 | 53.1642 | 47.4681 | 42.3822 | 37.8412 | 33.7868 | 30.1668 | 26.9346 | 24.0488 | 21.4721 | 19.1716 | 17.1175
Total discounted cost | USD | 30833.8633
Total discounted benefit | USD | 32067.2178 | Cumulative Discounted cash flow |  | 147.4286 | 279.0612 | 396.5904 | 501.5271 | 595.2206 | 678.8756 | 753.5675 | 820.2567 | 879.8006 | 932.9648 | 980.4329 | 1022.8151 | 1060.6563 | 1094.4431 | 1124.6099 | 1151.5446 | 1175.5934 | 1197.0655 | 1216.2371 | 1233.3545
Net present value (NPV) | USD | 1233.3545
Payback period | years | 1 | Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20

## Optimization
Important Instructions:
1. You need the "Solver" tool to run optimization. You can search "Solver" in the "Help" or "Search"tab. You can go to "Add-ins" and get "Solver".
2. For Mac PC: Go to "Tools" ----> "Solver" ----> Click Solve on the Solver Parameters window (Do not change any formula) -----> Click OK on the Results window
2. For Windows PC: Go to "Data" ----> "Solver" ----> Click Solve on the Solver Parameters window (Do not change any formula) -----> Click OK on the Results window | [13 empty] | Size | Unit Cost | Total Cost
[13 empty] | Solar | p | a | p*a
Load Specification | Unit | Day | Night | Total | [8 empty] | Battery | q | b | q*b
Electrical Energy | kWh | 39.8222 | 9.9556 | 49.7778 | [8 empty] | Geo | r | c | r*c
Heating Energy | ton | 8.36 | 2.09 | 10.45 | [8 empty] | Biomass | s | d | s*d
[13 empty] | Objective function: |  | To maximize | Net Present Value | To minimze | Payback period
Constraints | Unit | Value
Available land/ rooftop area for solar PV | sq.ft. | 1500
Available land perimeter for geothermal | ft. | 240
Maximum CAPEX budget | USD | 25000
[13 empty] | i) | Total CAPEX | pa+qb+rc+sd < budget
|  | within limited area | [10 empty] | ii) | electricity | hybrid+grid>=demand
Optimizing System Size to meet CAPEX budget | Unit | Max Possible Size | Size (Unit) | Required land | Day Energy | Night Energy | Total Energy | Unit Cost ($/Unit) | InstallationCost ($) | CAPEX ($) | Spare ($) |  | iii) | heat | hybrid+NG>=demand
Solar PV | kW | 12.5 | 10.411 | 1249.3246 | 39.8222 | 0 | 39.8222 | 1500 | 15616.5577 | 15928.8889
Battery | kWh | 7.9903 | 0 | N/A | 0 | 0 | 0 | 600 | 0
Biomass | kW | 0 | 0 | N/A | 0 | 0 | 0 | 1800 | 0 |  | 9071.1111
Geothermal | ton | 3.4 | 0 | 0 | 0 | 0 | 0 | 2100 | 0
Miscellaneous cost | $ | N/A | N/A | N/A | N/A | N/A | N/A | 2% | 312.3312
[8 empty] | Unit Cost ($/Unit) | Yearly Cost ($)
Grid Electricity | kWh | N/A | N/A | N/A | 4.6709e-08 | 9.9556 | N/A | N/A | 537.6
Heating Fuel (NG) | ton | N/A | N/A | N/A | 8.36 | 2.09 | N/A | 0.38278 | 1440
O&M | $ | N/A | N/A | N/A | N/A | N/A | N/A | 2% | 318.5778
Debt Service
Parameter | Unit | Value
Equity amount | USD | 2389.3333 | 15 | %
Debt amount | USD | 13539.5555 | 85 | %
Monthly equity return amount | USD | 14.1966
Monthly debt installment amount | USD | 125.5134
Toal debt+equity amount | USD | 139.71
Cash Flow Analysis | Cash Flow Analysis |  |  |  | Cash Flow Analysis |  |  | Cash Flow Analysis |  |  |  | Cash Flow Analysis |  |  |  | Cash Flow Analysis
| Particulars | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Costs (Hybrid system) | Equity + ROE | 2559.6928 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595 | 170.3595
| Debt service | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 1506.1602 | 0 | 0 | 0 | 0 | 0
| O&M | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778 | 318.5778
| Grid electricity | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6 | 537.6
| Heating fuel | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440
Benefits (Existing system) | Grid electricity | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688 | 2688
| Heating fuel | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440
| O&M of existing system | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12 | 165.12
Total costs |  | 6362.0308 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 3972.6975 | 2466.5372 | 2466.5372 | 2466.5372 | 2466.5372 | 2466.5372
Total benefits |  | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12 | 4293.12
Net benefits |  | -2068.9108 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 320.4225 | 1826.5828 | 1826.5828 | 1826.5828 | 1826.5828 | 1826.5828
Discounted costs |  | 5680.3847 | 3167.0101 | 2827.6876 | 2524.7211 | 2254.2152 | 2012.6922 | 1797.0466 | 1604.5059 | 1432.5945 | 1279.1023 | 1142.0556 | 1019.6925 | 910.4397 | 812.8926 | 725.797 | 402.3457 | 359.2372 | 320.7475 | 286.3817 | 255.6979
Discounted benefits with RE |  | 3833.1429 | 3422.449 | 3055.758 | 2728.3554 | 2436.0316 | 2175.0282 | 1941.9895 | 1733.9192 | 1548.1421 | 1382.2697 | 1234.1694 | 1101.937 | 983.8723 | 878.4574 | 784.337 | 700.3009 | 625.2686 | 558.2756 | 498.4603 | 445.0539
Discounted net benefits with RE |  | -1847.2418 | 255.4389 | 228.0704 | 203.6343 | 181.8163 | 162.336 | 144.9429 | 129.4133 | 115.5476 | 103.1675 | 92.1138 | 82.2445 | 73.4326 | 65.5648 | 58.54 | 297.9552 | 266.0314 | 237.5281 | 212.0786 | 189.3559
Cumulative Discounted cash flow with RE |  | -1847.2418 | -1591.8029 | -1363.7325 | -1160.0982 | -978.2819 | -815.9459 | -671.003 | -541.5897 | -426.0421 | -322.8747 | -230.7609 | -148.5164 | -75.0838 | -9.519 | 49.021 | 346.9762 | 613.0076 | 850.5357 | 1062.6144 | 1251.9703
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Total discounted cost | USD | 1: 30815.2475
Total discounted benefit | USD | 1: 32067.2178
Net present value (NPV) | USD | 1: 1251.9703
Payback period | years | 1: 15; 2: 15
1e-06
2
2
0.01
0.0001
2
100
0
0.075
30
2
1
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?