Barn Centre – Fire Risk Assessment – February 2026

Carried out by Anthony Bailey

| RISK | HAZARD RATING | HAZARD UPDATE | RECTIFICATION ACTION | NAMED PERSON | ACTION DATE | COMPLETION DATE | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CORRIDORS |  |  |  |  |  |  |  |
| Escape Hazard | 5 |  | Keep external and internal doors unlocked during use | AB |  | Regular Checks | All users advised |
| Escape Hazard | 5 |  | Maintain safety lighting and signs | AB |  | Regular Checks | Emergency lighting retest April 2026 |
| Fire Alarm | 5 | Weekly checks | Regularly tested with emergency lighting | AB |  | Regular Checks |  |
| CART LODGE |  |  |  |  |  |  |  |
| Lighting & points | 3 |  | Regular check on circuits |  |  |  | DONE 2025 |
| Underfloor heating | 3 |  | Regular check on circuits |  |  |  | DONE 2025 |
| Flammables | 3 |  | No candles |  |  |  | See conditions of use |
| Flammables | 3 |  | Minimise use of inflammable materials during use |  |  |  |  |
| Escape Hazard | 5 |  | Maintain double doors egress |  |  |  | All users advised Safety Doors are easily opened |
| LIBRARY |  |  |  |  |  |  |  |
| Electricals | 3 |  | Regular check on circuits |  |  |  | DONE 2025 |
| Flammables | 2 |  | Keep room tidy |  |  |  |  |
| Flammables | 3 |  | Minimise use of inflammable materials during use |  |  |  |  |
| Escape Hazard | 5 |  | Keep door free to open |  |  |  | All users advised |
| ANTE ROOM |  |  |  |  |  |  |  |
| Electricals | 3 |  |  |  |  |  | PAT test due 2026 |
| Escape Hazard | 5 |  | Keep doors free to open |  |  |  |  |
| UPPER ROOM |  |  |  |  |  |  |  |
| Electricals | 3 |  | Check circuits Check plug in heaters |  |  |  | PAT test due 2026 |
| Flammables | 3 |  | Ensure all seating/curtains has safety material | AB to fireproof curtains |  | Overdue | AB |
| Escape Hazard | 5 |  | Maintain staircase and exterior doors egress |  |  |  | All users advised |
| TOILETS |  |  |  |  |  |  |  |
| Electricals | 3 |  | Regularly check |  |  |  | DONE 2025 |
| Escape Hazard | 5 |  | Maintain internal and external door egress |  |  |  | All users advised |
| KITCHEN |  |  |  |  |  |  |  |
| Electricals | 4 |  | PAT test portable appliances |  |  |  | DONE 2025 |
| Electricals | 4 |  | Check cooker and other fixed appliances |  |  |  | DONE 2025 |
| Flammables | 4 |  | Keep cooking oils and fats safe |  |  |  | Hygiene training carried out – 14 persons have up to date certificates |
| Flammables | 4 |  | Maintain extinguishers, fire blanket |  |  |  | Annual |
| Escape Hazard | 5 |  | Keep door closed when cooking – no more that 4 people Max |  |  |  | Hygiene training carried out – 14 persons have up to date certificated |
| BUILDING |  |  |  |  |  |  |  |
| Fire Extinguishers and fire notices | 5 |  | Check extinguishers throughout building regularly |  |  |  |  |

Hazard Ratings

0 – No Risk

1 – Low Risk

2,3,4 Grades in between

5 – High Risk

Fire alarms have been reinstated and most emergency lights replaced in 2019. Regular weekly tests done by a volunteer.

Barn Fire risk assessment

The entire fire alarm system is professionally inspected and tested in January and July each year

Fire extinguishers are tested in September each year next in 2026

Reviewed by Anthony Bailey