## Sheet1
TABLE 1: USE THIS TABLE TO INPUT ESTIMATED GENERATOR SIZE AND CALCULATE ENERGY OUTPUT
Type your input parameters in the yellow boxes. Only change the yellow boxes.
Required Solar Generator Size (MW) |  |  | 100 | Example: 30
Expected PPA Price $ |  |  | 0.0956 | Example: 0.06
Based on the inputs of Generator Size and PPA Price, estimates are: |  |  |  |  | Assumptions/Constants
Capacity monthly |  | 60833333.3333 | kWH |  | Annually Divided by 12
Capacity annually |  | 730000000 | kWH |  | 7300000 | kWh per MW size
Total lifetime capacity |  | 14600000000 | kWH |  | Expected Life 20 years
System cost |  | 450000000 | $ |  | 4500000 | cost per MW | ??????
Maintenance |  | 50000 | $/year |  | Estimated solar panel maintenance, electrical upkeep |  | 1000 | per MW
Lifetime Income at PPA (input) |  | 1395760000 | $ |  | Total Lifetime Capacity X $PPA
Netprofit 20 yrs |  | 944760000 | $ |  | Lifetime Income - System Cost
RoI |  | 6.4481 | years |  | System Cost / (Annual Capacity * $PPA)
TABLE 2: USE THIS TABLE TO INPUT REQIURED ENERGY OUTPUT, AND ESTIMATE GENERATOR SIZE NEEDED TO SUPPLY THIS
Type your input parameters in the yellow boxes. Only change the yellow boxes.
Annual Capacity Required (kWH) |  |  | 3600000 | Example: 50,000kWH
Expected PPA Price $ |  |  | 0.08 | Example: 0.06
Based on the inputs of Generator Size and PPA Price, estimates are: |  |  |  |  | Assumptions/Constants
Capacity monthly |  | 300000 | kWH |  | Annually Divided by 12
Generator Size Required |  | 0.49315 | MW |  | 7300000 | kWh per MW size
Total lifetime capacity |  | 72000000 | kWH |  | Expected Life 20 years
System cost |  | 1578082.1918 | $ |  | 3200000 | cost per MW
Maintenance |  | 493.1507 | $/year |  | Estimated solar panel maintenance, electrical upkeep |  | ??????
Lifetime Income at PPA (input) |  | 5760000 | $ |  | Total Lifetime Capacity X $PPA |  | 1000 | per MW
Netprofit 20 yrs |  | 4172054.7945 | $ |  | Lifetime Income - System Cost
RoI |  | 4.5853 | years |  | System Cost / (Annual Capacity * $PPA)
COPY ROWS ABOVE INTO FINAL DOC. DELETE ROW F AS APPROPRIATE
TEST TO CHECK
30 | 0.08 |  | 100 | 0.08
Solar generator 30 MW |  |  | Solar generator farm 100 MW
Capacity monthly | 18.250.000 kWh |  | Capacity monthly | 60.833.333 kWh
Capacity annually | 219.000.000 kWh |  | Capacity annually | 730.000.000 kWh
Total lifetime capacity | 4.380.000.000 kWh |  | Total lifetime capacity | 14.600.000.000 kWh
System cost | USD 96.000.000 |  | System cost | USD 320.000.000
Income at PPA $ 0,08 | USD 350.400.000 |  | Income at PPA $ 0,08 | USD 1.168.000.000
Netprofit 20 yrs | USD 254.400.000 |  | Netprofit 20 yrs | USD 768.000.000
RoI | 5,4 years |  | RoI | 5,4 years