## Slide 1
Enhanced Image Quality and Features of the
*This PowerPoint contains audio; please be sure your volume is on.

## Slide 2: Agenda
Image Customization
Exposure Settings for X-Ray Unit
Field Replaceable Cable Technology

## Slide 3: 1. Image Customization
CDR

## Slide 4
Dynamic Imaging feature allows for the customization of the image to the desired resolution.
1. Image Customization

## Slide 5
Dynamic Imaging feature allows for the customization of the image to the desired resolution.
1. Image Customization

## Slide 6
General Dentistry
Endodontic
Periodontic
Restorative
1. Image Customization

## Slide 7: 1. Image Customization

## Slide 8
2. Exposure Settings for X-Ray Unit
0.06s
0.08s
Under-Exposed
Over-Exposed
Correct Exposure
0.10s

## Slide 9
2. Exposure Settings for X-Ray Unit
http://www.youtube.com/watch?v=EppZLei7OVk&list=UUv3afAz_wVQpzs-fwlAobiw&index=19

## Slide 10
Each Schick 33 sensor comes with an extra sensor cable that can be replaced in the office if damage occurs to a cable.
Simple process and it takes less than 5 minutes.
Remember where you place the extra sensor cable.
Please click link below for access to sensor care video tutorial
3. Field Replaceable Cable Technology
https://www.youtube.com/watch?v=PinZo3ZdDGc&t=78s

## Slide 11
http://www.youtube.com/playlist?list=UUv3afAz_wVQpzs-fwlAobiw
Please call the Patterson Technology Center with any
questions at (800) 475-5036 or contact your local Patterson branch.

## Slide 12: Thank You