|  |  |  |
| --- | --- | --- |
|  | **Item Number** | **Description** |
|  | **6211143** | * **Provides electronic and visual feedback when the jaw of the patient is set in a predefined angle**
 |
|  | **6094242** | * **Patient can be positioned at any height -plane**
* **Steps are marked with colors that correspond to standard heights, yellow, blue, but also additional heights for special situations**
 |
| **Disposable Bite Block (100)** | **6141449** | * **Refill pack of 100 blocks**
 |
|  | **8921843** | * **Standard positioner for all units and programs (except TMJ and sinus) that do not allow for the occlusal auto positioner**
* **Patient is positioned forFrankfurt Horizontal Plane (FH)**
 |