**Emergency and Maintenance Services**

**Water Distribution and Waste Water Collection System**

Request for Bids (“RFB”)

**LETTER OF CLARIFICATION**

**Issue Date: July 21, 2022**

**Question:**

**What material is used for Backfill in paved areas?**

*Clean compacted backfill made of “crush & run” and/or clean gravel shall be used for backfill in paved areas. Final material shall be a minimum depth of 8 inches and consist of concrete or asphalt to final grade.*

**Question**

**Who supplies Traffic Control, is basic traffic control (IE) cones, barricades, sufficient or do we need to submit traffic control plans for approval?**

*Traffic control shall be provided by bidder and consist of barricades, cones or blockades sufficient to redirect traffic and maintain the safety of all workers, Traffic control plans need to be submitted to the City Hall and shall be forwarded to the Village of Ferrelview Police Department only in the event that the traffic control deemed necessary is on a main road within the community, which are Garrison Avenue and Heady Avenue.*

*In the event of a major blockage of a roadway, the Village of Ferrelview may supply additional barricades and signage for a detour at the request of the contractor.*

**Question:**

**Who does restoration, street, sidewalk, grass, ETC.?**

*Restoration of streets and sidewalks shall be the contractor’s responsibility and may be subcontracted. All subcontractors are required to submit a “Certificate of Liability Insurance” meeting the minimum insurance requirements set forth in Ordinance 354. All licensing fees shall be waived for subcontractors, only during the duration of the contract.*

*In the event that repairs are in a green area the contractor shall restore the land to a like condition, which will include final grading of disturbed soils.**Should the areas that were disturbed settle in the future, the contractor will again regrade those areas. The Village of Ferrelview shall reseed along with straw or mulch cover to those yards containing grass that were disturbed.*

**Question:**

**Do we assume the bid tab equipment rates include operator?**

*Yes, the bid tab equipment rates should include the operator.*