## Welcome & Instructions
Welcome to Our Solar Powered System Worksheet!*
We've created this resource to help you plan, learn about the components you'll need, and compile an order to build out a solar powered system which meets your energy needs.
This comprehensive resources combines a Learning Center, Solar Calculator, and Planning Worksheet all-in-one. It is designed with DIY beginners in mind.
Watch our Video: | How To Use this Worksheet
Directions
1. Along the bottom of this worksheet, you will see 10 colored-coded tabs. Each tab is a step in building out your system.
2. Start with Total Watt Hours Calculations and work through each tab in order. Information that you enter will be compiled automatically in the last tab, Total Order.
3. There is an example worksheet for each section to help guide you. Use the worksheet BELOW the example to build your own system. Use the Learning Center in each section to learn more!
4. This worksheet is designed for use with Renogy products. We are Renogy Ambassadors, and the spreadsheets contain affiliate links. However, many companies offer similarly
rated products, so use this worksheet to build the order that meets your needs. With our links and promo code, "CANLIFE," you will receive an additional 6% on your Renogy order.
5. Open the Renogy website in a separate tab as you will be moving back and forth between this worksheet and the website to build your system at: | [8 empty] | renogy.com
A Guide to the Tables within the Worksheet
1. Within each worksheet tab, there are cells in which you will need to input some information; these are indicated by cells with no color shading (clear background).
2. Some cells are set up as a drop down menu from which you need to make a selection. When you click on these cells, use the small arrow to make your selection.
3. Most gray cells will auto-populate based on your selection and data that you enter. Many of these will show a "0" if you don't enter anything on that line. Don’t sweat it.
4. Some cells have a small red triangle in the upper right corner, this indicates a "note" with some additional information about the calculation or data.
EXAMPLE
Entertainment | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours
TV | AC |  |  | 160 | 2 | 320 | 0 | 320
DVD Player |  |  |  | 0 |  | 0 | 0 | 0
Sound System |  |  |  | 0 |  | 0 | 0 | 0
Other | DC | 12 | 3 | 36 | 3 | 0 | 108 | 108
Total Entertainment WH | [7 empty] | 428
What This Worksheet WON'T Do For You
1. It will not make decisions for you. You'll need to do the homework, and we have provided a Learning Center in each tab with resources for each step to explore your options.
2. Based on your unique situation/vehicle, you will need to determine the length and size of wiring, fuses needed, tools required, etc.
3. It will not place your order. This is designed to help you compile a comprehensive order, but you will still need to place it online.
Contact Info
Shari & Hutch
freedominacan.com
freedominacan1957@gmail.com
Sign up for our "Almost Monthly" Newsletter for RV travel stories & solar insights!
*Disclaimer: This worksheet is intended to help users plan, organize, and calculate a personal DIY solar powered electrical system. We, Shari & Hutch (Freedom in a Can, LLC), are neither professional electricians nor solar installers; we are educators who have learned enough to install our own system and to empower others to do the same. That is our purpose in putting this resource together. Please help us make this a better resource and give us your feedback. Feel free to share it with others! Let's help rid the campgrounds of the world of noisy gas-powered generators! If you have questions, reach out to us. If you need additional assistance, consult a solar professional or certified electrician. Do your homework, take it one step at a time, and good luck!
Copyright 2026, Freedom in a Can, LLC. All rights reserved.

## Total Watt Hours Calculations
Step 1: Calculate YOUR Total Watt Hours -- "Magic Number"
The first step is determining YOUR daily total watt hours based on your appliaces* (aka, your average daily energy usage or average watt hours). The resources and chart below will
help you determine your magic number. Watch this helpful |  |  |  |  | tutorial video | for more information.
1. The chart below will automatically calculate the Watts of a DC appliance, when you enter the Volts and Amps.
2. For AC appliances, skip to the Watts column, and enter the specs for that appliance.
*RV Appliance Chart | (This chart may help you fill in the numbers below, but we recommend that you use YOUR appliances' actual numbers whenever possible.)
3. Enter the hours per day that you will use each appliance. If not a whole number, enter as a decimal (15 min = 0.25 hours, 90 min = 1.5 hours).
4. Your TOTAL WATT HOURS will automatically populate in the Solar System Calculator (next tab) to determine the number of panels, batteries, and size of the charge controller.
5. Your possible MAX AC LOAD (in Watts) will also automatically populate in the Solar System Calculator (next tab), but it's up to you to determine if you'll be running all of these appliances simulataneously.
Calculate YOUR Average Daily Total Watt Hours | [9 empty] | Learning Center
Important Formulas: |  | Volts x Amps = Watts |  |  | Watts x # of Hours/Day = Watt Hours (WH)
Blogs:
Appliances | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH) |  |  | Unscrambling the Alphabet Soup of Solar Terminology
Going Solar: The Complete Guide for New RVers
EXAMPLE 1: LED Strips | DC | 12 | 0.8 | 9.6 | 4.5 | 0 | 43.2 | 43.2 |  |  | 12V, 24V, or 48V System: Which Voltage is Best for You?
EXAMPLE 2: 19" TV | AC |  |  | 160 | 2 | 320 | 0 | 363.2 |  |  | Small RV System Provides Big Power
Lighting | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH) |  |  | Videos:
Bulbs |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | Solar 101
Strips |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | RV Solar: To DIY or Not?
Lamps |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | Renogy Solar Calculator Tutorial
Recessed Lighting |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | Our Solar RV Tour
Other |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | How to Use This Worksheet
Total Lighting WH | [7 empty] | 0 |  |  | Complete Solar Build: School Bus Off-Grid Power
Renogy 3000W REGO System Installation Playlist
Fans/Cooling | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Bathroom Fan |  |  |  | 0 |  | 0 | 0 | 0 | 0
Composting Toilet Fan |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | Additional Calculators:
Kitchen Fan |  |  |  | 0 |  | 0 | 0 | 0 | 0 |  | Renogy Solar Calculators
Window A/C |  |  |  | 0 |  | 0 | 0 | 0 | 0
Central A/C |  |  |  | 0 |  | 0 | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0 | 0
Total Fans/Cooling WH | [7 empty] | 0
Heating | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Portable Heater |  |  |  | 0 |  | 0 | 0 | 0 | 0
Heater Fan/Blower |  |  |  | 0 |  | 0 | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0 | 0
Total Heating WH | [7 empty] | 0 | 0
Kitchen Appliances | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Coffee Maker |  |  |  | 0 |  | 0 | 0 | 0 | 0
Refrigerator/Cooler |  |  |  | 0 |  | 0 | 0 | 0 | 0
Toaster |  |  |  | 0 |  | 0 | 0 | 0 | 0
Blender |  |  |  | 0 |  | 0 | 0 | 0 | 0
Microwave |  |  |  | 0 |  | 0 | 0 | 0 | 0
Stove |  |  |  | 0 |  | 0 | 0 | 0 | 0
Oven |  |  |  | 0 |  | 0 | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0 | 0
Total Kitchen Appliances WH | [7 empty] | 0
Portable Devices | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Smartphone |  |  |  | 0 |  | 0 | 0 | 0 | 0
Laptop |  |  |  | 0 |  | 0 | 0 | 0 | 0
E Reader / Tablet |  |  |  | 0 |  | 0 | 0 | 0 | 0
Internet Router |  |  |  | 0 |  | 0 | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0 | 0
Total Portable Devices WH | [7 empty] | 0
Entertainment | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
TV |  |  |  | 0 |  | 0 | 0 | 0 | 0
Media Player |  |  |  | 0 |  | 0 | 0 | 0 | 0
Sound System |  |  |  | 0 |  | 0 | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0 | 0
Total Entertainment WH | [7 empty] | 0
Personal | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Hair Dryer |  |  |  | 0 |  | 0 | 0 | 0 | 0
Curling Iron |  |  |  | 0 |  | 0 | 0 | 0 | 0
C-PAP |  |  |  | 0 |  | 0 | 0 | 0 | 0
Heating Pad |  |  |  | 0 |  | 0 | 0 | 0 | 0
Trimmer / Groomer |  |  |  | 0 |  | 0 | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0 | 0
Total Personal WH | [7 empty] | 0
Rechargable Batteries | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
AA/AAA |  |  |  | 0 |  | 0 | 0 | 0 | 0
Camera Batteries |  |  |  | 0 |  | 0 | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0 | 0
Total Rechargable Batteries WH | [7 empty] | 0
Tools | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Cordless Drill Charger |  |  |  | 0 |  | 0 | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0 | 0
Total Tools WH | [7 empty] | 0
Additional Appliances | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Water Heater |  |  |  | 0 |  | 0 | 0 | 0 | 0
Water Pump |  |  |  | 0 |  | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | 0 | 0 | 0
|  |  |  | 0 |  | 0 | 0 | 0
|  |  |  | 0 |  | 0 | 0 | 0
|  |  |  | 0 |  | 0 | 0 | 0
Total Additional Appliances WH | [7 empty] | 0
TOTAL WATT HOURS | [7 empty] | 0
(Total DC Watt Hours) | [7 empty] | 0
(Total AC Watt Hours) | [7 empty] | 0
Max AC Load in Watts | [7 empty] | 0

## Solar System Calculator
Step 2: Calculate the Size of Your Solar Powered System | [7 empty] | Hidden #s
1. We have designed this calculator using data from several online resources as well as personal experience.
2. It automatically calculates the size of battery bank, solar array, and charge controller you will need based on your total daily watt hours and sun availability.
3. YOU will need to enter some numbers along the way, which are indicated by cells outlined in color in each section.
TOTAL WATT HOURS CALCULATION (From Previous Tab)
Total Watt Hours (Daily) | 0 | [6 empty] | 0
Max AC Load Watts | 0
SUNLIGHT AVAILABILITY
# of Days Without Sunlight | 0
Hours of Sunlight Per Day* | 5
*Find your insolation (USA)
*Find your insolation (WORLD)
BATTERY BANK | Lead Acid | AGM | Gel | LiFePO4
Watt Hours Needed for (DoD) | 0 | 0 | 0 | 0
Total Amp Hours Needed | 0 | 0 | 0 | 0 |  |  |  | 100W
Battery Capacity (Amp Hours) | 100 | 100 | 100 | 100
# of Batteries | 0 | 0 | 0 | 0 |  |  |  | 5.2
200W
SOLAR ARRAY - Photovoltaic (PV)
Total PV Array Wattage | 0 | [6 empty] | 0
Watts per Panel (100W-320W) | 100
# of Panels | 0 | Series or Parallel? See below for how your configuration impacts charge controller size. | [5 empty] | 320W
0
| Solar Panel Array in Parallel |  |  |  | Solar Panel Array in Series
| 100W | 200W | 320W |  | 100W | 200W | 320W
CHARGE CONTROLLER
PV Output Amps | 0 | 0 | 0 |  | 6.5 | 0 | 0
PV Output Volts | 0 | 0 | 0 |  | 0 | 0 | 0
INVERTER
Max AC Load Watts | 0
Simultaneus AC Load Watts | 0
Minimum Inverter Size | 0
REFERENCES
Alt E Store
Renogy
Note on B9: Freedom In A Can: Populated from page 1 of your worksheet.
Note on B10: Freedom In A Can: From page 1 of your worksheet
Note on B14: Freedom In A Can: 0 days of w/o sunlight assumes that you have some sun everyday. 1 day w/o sunlight assumes that you'll need a battery bank large enough to power 2 days based on your energy needs. 2 days w/o sunlight assumes that you'll need a battery bank large enough to power 3 days based on your energy needs. 3 days w/o sunlight assumes that you'll need a battery bank large enough to power 4 days based on your eneergy needs.
Note on B15: Freedom In A Can: This number is based upon not only where you are, but what time of year you are there. Use the links below to enter an average daily charging hours based on your projected travels or use.
Note on C15: Freedom In A Can: Must be greater than 0 for the calculator to work, can include decimals.
Note on B20: Freedom In A Can: All Lead Acid (Flooded, AGM, Gel) batteries have a depth of discharge (DoD) of 50% - allowing you to safely use half of the capacity. Lithium Iron Phosphate (LiFePO4) batteries have a DoD of 80% - allowing you to safely use 80% of the capacity.
Note on B22: Freedom In A Can: Accounts for battery inefficiency factors: Lead Acid (Flooded, AGM, Gel) = 1.2 LiFePO4 = 1.05
Note on B28: Freedom In A Can: Solar array size is calculated based upon daily watt hours x hours of sunlight per day x an inefficiency factor of 1.15 to account for losses due to inverters, wiring, shading, etc. Efficiency can also be improved by angling your panels to the sun during the fall, winter, and spring as well as reducing any shading.
Note on B30: Freedom In A Can: Connecting panels in parallel, series, or a combination will impact the power output parameters. See the Learning Center in the Solar Panel tab to learn more.
Note on C33: Freedom In A Can: Solar panels connected in parallel will increase the amperage of the array; this will affect wiring size. Greater amps means larger gauge wire, which is more expensive. See Solar Panel Learning Center.
Note on G33: Freedom In A Can: Solar panels connected in series will increase the voltage of the array; this can reduce transmission loss and keep the wire gauge smaller, making it less expensive. However, panel arrays wired in series are more greatly impacted by shading - when one stops generating power due to shade, so do the others. See Solar Panel Learning Center.
Note on B35: Freedom In A Can: Charge Controllers need to be able to handle the total solar array amps and volts, but does not need to necessarily match the voltage of your battery bank. You can have a 12V battery bank with a 24V panel array. Most modern charge controllers also have options for battery chemistry. These calculations include a 1.25 multiplier to account for inefficiency and safety margin.
Note on B36: Freedom In A Can: The Charge Controller input amperage must be greater than the PV output (e.g. if PV Output = 58.5A, choose a CC with an input of 60A or larger)
Note on B37: Freedom In A Can: The Charge Controller input votage must be greater than the PV output (e.g. if PV Output = 24.3V choose a CC with an input of 30V or larger)
Note on B40: Freedom In A Can: Your total AC watts assumes that you will run ALL of your AC appliances AT THE SAME TIME. This is highly unlikely, so it's up to you to determine your total possible load based on your own appliance usage. To properly size your inverter, you need to total the watts of all AC appliances that you would LIKELY run at the same time. This would be your "AC Load." The worksheet will then multiply your load by 1.25 for a safety margin. We recommend that you do not oversize your inverter unless you plan to expand because the power needed to run the inverter will impact your battery bank size.
Note on B41: Freedom In A Can: From page 1 of your worksheet
Note on C42: Freedom In A Can: Remember: Don't just take this number from your worksheet, add up the Watts from all the AC appliances that you are most likely to run at the same time. Be sure this number is greater than your highest wattage AC appliance, and enter here.
Note on C43: Freedom In A Can: Your likely AC load multiplied by a factor of 1.25 for a safety margin. Select a unit larger than this number

## Solar Panel Options
Step 3: Choose Your Solar Panels
Determine how many and which style of panel will work best for your situation and application.
1. Use the links below to explore the variety within each style (rigid, flexible, folding solar suitcase, portable), then use the drop down arrows to choose the Model/Watts.
REMEMBER: Use the Solar System Calculator to choose the correct number of watts and panels for your system. For 400 watts, you can choose two 200W panels OR four 100W panels .
2. Determine if you will be setting your solar panels up in parallel or in series. See Learning Center for more information.
3. Enter the current price of each product that you select and the calculator will total your solar panel order.
SOLAR ARRAY - Photovoltaic (PV)
Total PV Array Wattage | 0
Watts per Panel (100W-320W) | 100
# of Panels | 0
Panel Options (EXAMPLE) | Model/Watts | # of Panels |  | Total Price | Total w/ CANLIFE Promo Code | Learning Center
Rigid |  |  |  | 0 | 0 |  | Blogs:
Flexible | 100W | 2 | 139 | 278 | 261.32 |  | Rigid vs. Flexible Solar Panels: The Pros and Cons of Different Styles
Portable | 100W w/o Controller | 1 | 160 | 160 | 150.4 |  | How Efficient Are Bi-Facial Panels?
How to Install Solar Panels on an RV
Total Cost for Panels (EXAMPLE) |  |  |  | 438 | 411.72 |  | Road Warriors Share Their Systems
Parallel vs Series Explanation
Wire Panels in Parallel or Series
Panel Options | Model/Watts | # of Panels | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code |  | How Shade Affects Our Off-Grid Lives
Rigid |  |  |  | 0 | 0 |  | Combine Roof Panels w/ Portable Panels
Flexible |  |  |  | 0 | 0 |  | N-Type Solar Panels - Find the Perfect Fit
Portable |  |  |  | 0 | 0
Other Panel |  |  |  | 0 | 0 |  | Videos:
Install Rigid Solar Panels on your RV
Total Cost for Panels |  |  |  | 0 | 0 |  | Install Flexible Solar Panels on your RV
Maximize Solar Power on a Small RV
Solar Panel Effeciency Explained: Get More Power In Shade
Renogy 400W Lightweight Portable Panel Review
Solar Panel Effeciency Explained
Extreme Testing Renogy's 100W Portable Panel
Connect Portable Solar Panels to your "Solar Ready RV"
Bifacial Solar Panel Effeciency
Our Solar RV Tour
Note on B11: Freedom In A Can: Solar array size is calculated based upon daily watt hours x hours of sunlight per day x an inefficiency factor of 1.15 to account for losses due to inverters, wiring, shading, etc. Efficiency can also be improved by angling your panels to the sun during the fall, winter, and spring as well as reducing any shading.
Note on B13: Freedom In A Can: Connecting panels in parallel, series, or a combination will impact the power output parameters. See the Learning Center in the Solar Panel tab to learn more.
Note on E18: Freedom In A Can: Price as of January 2025, subject to change.
Note on E19: Freedom In A Can: Price as of January 2025, subject to change.

## Charge Controller Options
Step 4: Choose Your Charge Controller
Next up, select the type of Charge Controller that will best meet your needs.
1. Use the links below to explore PWM (Pulse Width Modulation) and MPPT (Maximum Power Point Tracking) charge controllers. See Learning Center for more information.
REMEMBER: Max Amps is determined by the total solar panel array output in amps, not voltage.
2. Enter the Model you choose into the cell, then select the corresponding amps from the drop down list.
3. Consider a DC to DC charger with Solar Input (MPPT) instead if you plan to combine a vehicle's engine charge with your solar panel array. See Learning Center for more information.
4. Enter the current price of each product that you select and the calculator will total your charge controller order.
| Solar Panel Array in Parallel |  |  | Solar Panel Array in Series
| 100W | 200W | 320W | 100W | 200W | 320W
CHARGE CONTROLLER
PV Output Amps | 0 | 0 | 0 | 6.5 | 0 | 0
PV Output Volts | 0 | 0 | 0 | 0 | 0 | 0
Charge Controller Options (EXAMPLE) | Model | Max Amps | # of Controllers | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code | Learning Center
PWM |  |  |  |  | 0 | 0
MPPT | Rover Li | 40A | 1 | 180 | 180 | 169.2 |  | Blogs:
DC to DC Charger w / MPPT |  |  |  |  | 0 | 0 |  | What Does a Charge Controller Do?
Total Cost for Charge Controller (EXAMPLE) |  |  |  |  | 180 | 169.2 |  | Choose & Size the Right Charge Controller (PWM or MPPT)
Choose & Size a DC to DC Charger
The Difference Between Two Models of Battery Chargers
Charge Controller Options | Model | Max Amps | # of Controllers | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code |  | Videos:
PWM |  |  |  |  | 0 | 0 |  | Install 50A DC to DC Charger w/ MPPT
MPPT |  |  |  |  | 0 | 0 |  | Install a Dual Input DC to DC Charge Controller
DC to DC Charger w / MPPT |  |  |  |  | 0 | 0 |  | Install Solar Charge Controller (MPPT @ 10:36)
Other Charge Controller |  |  |  |  | 0 | 0 |  | Upgrade Charge Controller from PWM to MPPT
Total Cost for Charge Controller |  |  |  |  | 0 | 0
Note on C12: Freedom In A Can: Solar panels connected in parallel will increase the amperage of the array; this will affect wiring size. Greater amps means larger gauge wire, which is more expensive. See Solar Panel Learning Center.
Note on F12: Freedom In A Can: Solar panels connected in series will increase the voltage of the array; this can reduce transmission loss and keep the wire gauge smaller, making it less expensive. However, panel arrays wired in series are more greatly impacted by shading - when one stops generating power due to shade, so do the others. See Solar Panel Learning Center.
Note on B14: Freedom In A Can: Charge Controllers need to be able to handle the total solar array amps and volts, but does not need to necessarily match the voltage of your battery bank. You can have a 12V battery bank with a 24V panel array. Most modern charge controllers also have options for battery chemistry. These calculations include a 1.25 multiplier to account for inefficiency and safety margin.
Note on B15: Freedom In A Can: The Charge Controller input amperage must be greater than the PV output (e.g. if PV Output = 58.5A, choose a CC with an input of 60A or larger)
Note on B16: Freedom In A Can: The Charge Controller input votage must be greater than the PV output (e.g. if PV Output = 24.3V choose a CC with an input of 30V or larger)
Note on F21: Freedom In A Can: Price as of January 2025, subject to change.

## DC to DC Charger Options
Step 5: Choose Your DC to DC Battery Charger
To take advantage of an engine charge, select the type of DC to DC Battery Charger that will best meet your needs.
1. Use the links below to explore the Standard and DC to DC Charger w/ MPPT Solar Input options. See Learning Center for more information.
2. Enter the Model you choose into the cell, then select the corresponding Max Amps from the drop down list.
3. Enter the current price of each product that you select and the calculator will total your DC to DC battery charger order.
DC to DC Charger Options (EXAMPLE) | Model | Max Amps | # of Controllers | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code | Learning Center
Standard | REGO | 60A | 1 | 280 | 280 | 263.2 |  | Blogs:
DC to DC Charger w / MPPT |  |  |  |  | 0 | 0 |  | Got an Engine? Get a DC to DC Charger
Total Cost for DC to DC Charger (EXAMPLE) |  |  |  |  | 280 | 263.2 |  | Choosing & Sizing a DC to DC Charger
The Difference Between Two Models of Battery Chargers
DC to DC Charger Options | Model | Max Amps | # of Controllers | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code |  | Videos:
Standard |  |  |  |  | 0 | 0 |  | Install 50A DC to DC Charger w/ MPPT
DC to DC Charger w / MPPT |  |  |  |  | 0 | 0 |  | Install Standard DC to DC Battery Charger
Other DC to DC Charger |  |  |  |  | 0 | 0 |  | Install Dual Input DC to DC Charger
Total Cost for DC to DC Charger |  |  |  |  | 0 | 0 |  | Install REGO DC to DC Charger (DC to DC @ 8:43)
Note on F11: Freedom In A Can: Price as of January 2025, subject to change.

## Battery Options
Step 6: Choose Your Batteries
Now you need to choose the type of batteries that will power your off-grid adventures.
1. Use the links below to compare the various options available (LFP, AGM, or Gel). Note: Renogy does not sell FLOODED Lead Acid nor GEL batteries.
2. Determine if you will be setting your batteries up in parallel or in series. LFP batteries have specific requirements when using more than one together, so be sure to check specs. See Learning Center for more information.
3. Enter the current price of each product that you select and the calculator will total your battery order.
BATTERY BANK | Lead Acid | AGM | Gel | LiFePO4
Watt Hours Needed for (DoD) | 0 | 0 | 0 | 0
Total Amp Hours Needed | 0 | 0 | 0 | 0
Battery Capacity (Amp Hours) | 100 | 100 | 100 | 100
# of Batteries | 0 | 0 | 0 | 0
Battery Options (EXAMPLE) | Voltage | Amp Hours | Watt Hours | Available Watt Hours / Battery | # of Batteries | Total Available Watt Hours | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code | Learning Center
Lithium Iron Phosphate (LFP) | 12.8 | 100 | 1280 | 1024 | 2 | 2048 | 250 | 500 | 470 |  | Blogs:
AGM |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  | Comparison of 4 Types of Deep Cycle Batteries
Gel |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  | Selecting the Right Battery for Your Solar Installation
Total Cost for Batteries | [7 empty] | 500 | 470 |  | Making Sense of Battery Voltages & Percentages
Why Intall Self-Heating LiFePo4 Batteries?
Why Choose 48V Batteries?
Battery Options | Voltage | Amp Hours | Watt Hours | Available Watt Hours / Battery | # of Batteries | Total Available Watt Hours | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code |  | Winter Adventures Made Ease with Solar Power
Lithium Iron Phosphate (LFP) |  |  | 0 | 0 |  | 0 |  | 0 | 0
AGM |  |  | 0 | 0 |  | 0 |  | 0 | 0
Gel |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | Videos:
Other Battery | [7 empty] | 0 | 0 |  | Best RV Solar Battery
Total Cost for Batteries | [7 empty] | 0 | 0 |  | Can A Mini Battery Power Your Off-Grid Adventures
Install Renogy 100Ah LiFePo4 Battery
Install REGO Battery (400Ah LiFePo4 @ 12:25)
Winter Solar Power: Renogy Self-Heating LiFePO4 Test
48V LiFePO4 Golf Cart Battery Installation
Charts:
Battery Banks Wired in Series vs. Parallel & Combination
Note on B9: Freedom In A Can: All Lead Acid (Flooded, AGM, Gel) batteries have a depth of discharge (DoD) of 50% - allowing you to safely use half of the capacity. Lithium Iron Phosphate (LiFePO4) batteries have a DoD of 80% - allowing you to safely use 80% of the capacity.
Note on B11: Freedom In A Can: Accounts for battery inefficiency factors: Lead Acid (Flooded, AGM, Gel) = 1.2 LiFePO4 = 1.05
Note on I16: Freedom In A Can: Price as of January 2025, subject to change.

## Inverter Options
Step 7: Choose Your Inverter
If you want to run appliances that use Alternating Current (AC), then you will need an Inverter to transfer the DC power in your batteries to AC for your household appliances.
1. To calculate your inverter size, start with your MAX AC Watts, then determine how many watts you expect to use AT THE SAME TIME. This is your Expected AC Load.
2. Your inverter size must be 25% larger than your expected AC Load (multiply AC Load by 1.25).
3. Use the links below to decide if you prefer a standard Battery Inverter or Inverter Charger.
4. Select the appropriately sized Model for your system.
5. Enter the current price of each product you select and the calculator will total your inverter order.
INVERTER
Max AC Load Watts | 0
Expected AC Load Watts | 0
Minimum Inverter Size | 0
Inverter Options (EXAMPLE) | Model | # of Inverters | Price/Unit | Total Price | Total w/ CANLIFE Promo Code | Learning Center
Battery Inverters | 1000W |  | 169 | 169 | 158.86
Inverter Chargers |  |  |  | 0 | 0 |  | Blogs:
Total Cost for Inverter (EXAMPLE) |  |  |  | 169 | 158.86 |  | Inverter Sizing Chart
Calculate Your Inverter Size
Inverter Options | Model | # of Inverters | Price/Unit | Total Price | Total w/ CANLIFE Promo Code |  | RV Inverter Installation Guide
Battery Inverters |  |  |  | 0 | 0 |  | Converters, Inverters, Inverter Chargers Explained
Inverter Chargers |  |  |  | 0 | 0
Other Inverter |  |  |  | 0 | 0 |  | Videos:
Total Cost for Inverter |  |  |  | 0 | 0 |  | Install Battery Inverter
3000W RV Inverter / Charger Installation
Install REGO Inverter Charger (Inverter Charger @ 5:52)
Note on B11: Freedom In A Can: Your total AC watts assumes that you will run ALL of your AC appliances AT THE SAME TIME. This is highly unlikely, so it's up to you to determine your total possible load based on your own appliance usage. To properly size your inverter, you need to total the watts of all AC appliances that you would LIKELY run at the same time. This would be your "AC Load." The worksheet will then multiply your load by 1.25 for a safety margin. We recommend that you do not oversize your inverter unless you plan to expand because the power needed to run the inverter will impact your battery bank size.
Note on B12: Freedom In A Can: From page 1 of your worksheet
Note on C13: Freedom In A Can: Remember: Don't just take this number from your worksheet, add up the Watts from all the AC appliances that you are most likely to run at the same time. Be sure this number is greater than your highest wattage AC appliance, and enter here.
Note on C14: Freedom In A Can: Your likely AC load multiplied by a factor of 1.25 for a safety margin. Select a unit larger than this number
Note on E17: Freedom In A Can: Price as of January 2025, subject to change.

## Wiring & Accessories
Step 8: Choose Your Wiring, Accessories, Mounts & Brackets, and Monitoring Devices
Finally, you'll need wiring and accessories to connect components and protect each component with fuses, as well as mounts/brackets for your panels and a way to monitor your system.
This category is very specific to your unique installation and there are many factors to consider. Just like all components need to be appropriately sized and rated, so do the cables,
wires, fuses, and connections between all the components. See an example located BELOW the worksheet, which includes a diagram and parts list for our 300W solar powered system.
Check out the video of that installation in the Learning Center.
Important Considerations
*Electrical Cables: length, gauge, and type of cable, plus all the connectors needed to link the panels togther and to all the other components in the system.
*Component & Cable Protection: fuses, bus bars, fuse boxes, and switches will help protect each piece within the system from electrical surges or overloading.
*Mounts & Brackets: corner brackets, Z brackets, and tilt mounts to attach panels to the roof.
*Monitoring Devices: Bluetooth modules connect components to the DC Home App, other battery monitors and screens have a wired LCD display.
1. Use the links below to explore wiring, accessories, mounts & brackets, and monitoring options to familiarize yourself with products.
2. Estimate all wiring and accessories, select mounts & brackets (if applicable), and monitoring devices. See Learning Center for more information.
3. Enter the Style/Description, AWG, Length/Size, etc. and the current price of each product you select and the calculator will total your order.
Note: We've included extra lines for you to enter additional items. Feel free to add more lines as necessary.
Wiring, Accessories, Mounts & Brackets & Monitoring
Wiring | Style/Description | AWG | Length/Size | # per Pack | # of Packs Needed | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code
Extension Cables | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Tray Cables | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Adaptor Kits | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Additional Wiring | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Total Wiring | [6 empty] | 0 | 0
Accessories | Style/Description | Amp Rating |  | # per Pack | # of Packs Needed | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code
MC4 Connectors | [6 empty] | 0 | 0
Branch Connectors | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Fuses (Inline & ANL) | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Fuse Box | [6 empty] | 0 | 0
[7 empty] | 0 | 0
Bus Bar | [6 empty] | 0 | 0
[7 empty] | 0 | 0
Switches | [6 empty] | 0 | 0
[7 empty] | 0 | 0
Total Accessories | [6 empty] | 0 | 0
Mounts & Brackets | Style/Description |  |  | # per Pack | # of Packs Needed | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code
Corner Brackets | [6 empty] | 0 | 0
Z Brackets | [6 empty] | 0 | 0
Tilt Mounts | [6 empty] | 0 | 0
Cable Entry Housing | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Total Mounts & Brackets | [6 empty] | 0 | 0
Monitoring Devices & Smart Accessories | Style/Description |  |  |  |  | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code
Renogy ONE M1 | [6 empty] | 0 | 0
Renogy ONE Core | [6 empty] | 0 | 0
Monitoring Screen | [6 empty] | 0 | 0
Battery Monitor w/ Shunt | [6 empty] | 0 | 0
BT Module (BT-1 or BT-2) | [6 empty] | 0 | 0
Communication Hub | [6 empty] | 0 | 0
Data Module for Solar Charge Controller | [6 empty] | 0 | 0
Smart Accessories (Relay / Plug / Sensor) | [6 empty] | 0 | 0
Total Monitoring Devices | [6 empty] | 0 | 0
Total Cost for Wiring, Accessories, Mounts & Brackets, and Monitoring | [6 empty] | 0 | 0
Example: Our Solar Installation
By way of example, here is the diagram for our recent (April 2021) solar upgrade to our vintage camper. Below is a wiring diagram, and parts list meeting our specifications for the distance between the panels, the distance to the charge controller, and all the other components within the system (list below does NOT include components). To see this installation, watch this video.
Since 2021 we added another battery, a Renogy ONE Core Monitor, and a DC to DC charging option. Check out our system upgrade here.
2021 Wiring Diagram
Learning Center
Blogs:
Wire Sizing Chart
BT Module vs Battery Monitor: Watts Best for Your Solar Powered System?
Different Ways to Mount Solar Panels
How to Mount Solar Panels on the Roof of a Camper
Videos:
Complete System Installation
Interactive Solar Wiring Diagrams for Camper Vans, RV, and Truck Campers
How to Size Wires for a DIY Camper Van Electrical Setup
Install Renogy ONE Core Monitor
Program Smart Accessories
(2021) Wiring, Accessories, Mounts & Brackets & Monitoring (EXAMPLE) | Style/Description | AWG | Length/Size | # per Pack | # of Packs Needed | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code
Wiring
Extension Cables for Panel Connection | Extention Cable w/ MC-4 | 10 | 5ft | 1 | 2 | 18.99 | 37.98 | 35.7012
Tray Cables from Charge Controller to Battery | Battery to CC Tray Cables w/ 3/8" Lugs | 12 | 8ft | 2 | 1 | 22.99 | 22.99 | 21.6106
Adaptor Kit (Panels to CC via Branch Connector) | Solar Panel to Charge Controller Adaptor Kit | 10 | 20ft | 2 | 1 | 49.99 | 49.99 | 46.9906
Adaptor Kit (Portable Panel to CC via Branch Connector) | Solar Panel to Charge Controller Adaptor Kit | 10 | 20ft | 2 | 1 | 49.99 | 49.99 | 46.9906
Adaptor Kit (Branch Connector to CC) | Solar Panel to Charge Controller Adaptor Kit | 10 | 9in | 2 | 1 | 5.99 | 5.99 | 5.6306
Battery Cable for Fuse | 2ft ANL Fuse Cable w/ Double Ring Terminals for 3/8" Lugs | 10 | 2 | 1 | 2 | 17.99 | 35.98 | 33.8212
Total Wiring | [6 empty] | 202.92 | 190.7448
Accessories
Branch Connectors | 2 to 1 Solar Y Branch Connectors MMF + FFM Pair | NA | NA | 2 | 2 | 12.99 | 25.98 | 24.4212
Fuses (Panels to CC - for Parallel Connection) | Solar Connector Waterproof Inline Fuse w/ Holder | NA | 15A | 1 | 1 | 15.99 | 15.99 | 15.0306
Fuse (CC to Battery) | 40A ANL Fuse Set w/ Fuse | NA | 40A | 1 | 1 | 15.99 | 15.99 | 15.0306
Total Accessories | [6 empty] | 57.96 | 54.4824
Mounts & Brackets
Cable Entry Housing | Solar Double Cable Entry Gland | NA | NA | 1 | 1 | 12.99 | 12.99 | 12.2106
Total Mounts & Brackets | [6 empty] | 12.99 | 12.2106
Monitoring Devices & Smart Accessories
Battery Monitor w/ Shunt | 500A Battery Monitor | NA | 500A | 1 | 1 | 99.99 | 99.99 | 93.9906
Total Monitoring | [6 empty] | 99.99 | 93.9906
Total Cost for Wiring, Accessories & Monitoring | [6 empty] | 373.86 | 351.4284

## Total Order
Step 9: Place Your Order
Ready to Hit the Go Button?
1. The items you inputed in the 5 previous tabs will automatically auto-populate on this spreadsheet. Please check for any errors or discrepancies.
2. If you are purchasing these items with Renogy, be sure to use our Affiliate Link and Promo Code to receive an additional 10% off most items.
Our Affiliate Link: | renogy.sjv.io/LPEyNY |  | Promo Code: | CANLIFE
Your Total Order | Item Description or Capacity | # of Items | Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code
Panels
Rigid | 0 | 0 | 0 | 0 | 0
Flexible | 0 | 0 | 0 | 0 | 0
Portable | 0 | 0 | 0 | 0 | 0
Charge Controller
PWM | 0 | 0 | 0 | 0 | 0
MPPT | 0 | 0 | 0 | 0 | 0
Dual Input | 0 | 0 | 0 | 0 | 0
DC to DC Battery Charger
Standard | 0 | 0 | 0 | 0 | 0
Dual Input | 0 | 0 | 0 | 0 | 0
Batteries
Lithium Iron Phosphate | 0 | 0 | 0 | 0 | 0
AGM | 0 | 0 | 0 | 0 | 0
Gel | 0 | 0 | 0 | 0 | 0
Inverter
Battery Inverters | 0 | 0 | 0 | 0 | 0
Inverter Chargers | 0 | 0 | 0 | 0 | 0
Wiring & Accessories (refer back to the "Wiring & Accessories" tab for your product list)
Total Wiring |  |  |  | 0 | 0
Total Accessories |  |  |  | 0 | 0
Total Mounts & Brackets |  |  |  | 0 | 0
Total Monitoring |  |  |  | 0 | 0
Other
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
Total Projected Cost for Solar Powered System* |  |  |  | 0 | 0
*Not Including Shipping & Applicable Taxes
Disclaimer: This worksheet is intended to help users plan, organize, and calculate a personal DIY solar powered electrical system. We, Shari & Hutch (Freedom in a Can, LLC), are neither professional electricians nor solar installers; we are educators who have learned enough to install their own system and to empower others to do the same. That is our purpose in putting this together. Please help us make this a better resource and give us your feedback. Feel free to share it with others! Let's help rid the campgrounds of the world of noisy gas-powered generators! If you have questions, reach out. If you need assistance, consult a solar professional or certified electrician. Do your homework, take it one step at a time, and good luck!
Copyright 2026, Freedom in a Can, LLC. All rights reserved.
Note on G11: Freedom In A Can: This is a projection only. Our CANLIFE code qualifies for up to 10% off most products. Sales, promotions, and certain products which may not qualify might impact your savings.