## Welcome & Instructions
Welcome to Our Solar Powered System Worksheet!*
We've created this resource to help you plan, learn about the components you'll need, and compile an order to build out a solar powered system which meets your energy needs.
This comprehensive resources combines a Learning Center, Solar Calculator, and Planning Worksheet all in one. It is designed with DIY beginners in mind.
How To Use this Worksheet
1. Along the bottom of this worksheet, you will see 8 colored-coded tabs. Each tab is a step in building out your system.
2. Start with Total Watt Hours Calculations and work through each tab in order. Information that you enter will be compiled automatically in the last tab, Total Order.
3. There is an example worksheet for each section to help guide you. Use the worksheet BELOW the example to build your own system. Use the Learning Center in each section, too!
4. This worksheet is designed for use with Renogy products. We are Renogy Ambassadors, and the spreadsheets contain affiliate links. However, many companies offer similarly
rated products, so use it to build the order that meets your needs. With our links and promo code, "CANLIFE," you will receive 10% off your non-sale Renogy items.
5. Open the Renogy website in a separate tab as you will be moving back and forth between this worksheet and the website to build out your order. | [8 empty] | renogy.com
A Guide to the Tables within the Worksheet
1. Within each worksheet, there are cells in which you will need to input some information; these are indicated by cells with no color shading (clear background).
2. Some cells are set up as a drop down menu from which you need to make a selection. When you click on these cells, use the small arrow to make your selection.
3. Any gray cell will auto-populate based on your selection and data that you enter. Many of these will show a "0" if you don't enter anything on that line. Don’t sweat it.
EXAMPLE
Entertainment | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours
TV | AC | 115 | 1.4 | 161 | 2 | 322 | 0 | 322
DVD Player |  |  |  | 0 |  | 0 | 0 | 0
Sound System |  |  |  | 0 |  | 0 | 0 | 0
Other | DC | 12 | 3 | 36 | 3 | 0 | 108 | 108
Total Entertainment WH | [7 empty] | 430
What This Worksheet WON'T Do For You
1. It will not make decisions for you. You'll need to do the homework, and we have provided a Learning Center with resources for each step to explore your options.
2. Based on your unique situation/vehicle, you will need to determine the length and size of wiring, fuses needed, tools required, etc.
3. It will not place your order. This is designed to help you compile a comprehensive order, but you will still need to place it online.
Contact Info
Shari & Hutch
freedominacan.com
freedominacan1957@gmail.com
*Disclaimer: This worksheet is intended to help users plan, organize, and calculate a personal DIY solar powered electrical system. We, Shari & Hutch (Freedom in a Can, LLC), are neither professional electricians nor solar installers; we are educators who have learned enough to install their own system and to empower others to do the same. That is our purpose in putting this together. Please help us make this a better resource and give us your feedback. Feel free to share it with others! Let's help rid the campgrounds of the world of noisy gas-powered generators! If you have questions, reach out. If you need assistance, consult a solar professional or certified electrician. Do your homework, take it one step at a time, and good luck!
Copyright 2021, Freedom in a Can, LLC. All rights reserved.

## Total Watt Hours Calculations
Step 1: Calculate YOUR Total Watt Hours
The first step is determining YOUR total watt hours, which is your average daily energy usage. The resources and chart below will help you determine your "magic number."
1. Complete the chart below with the Volts and Amps for YOUR actual appliances, the watts will be automatically calculated. Use the Typical RV Appliance Chart below for numbers
you can't locate, but be aware that they can vary widely.
2. If you only know the Watts of an appliance, simply enter it and leave the Volts and Amps blank.
3. Transfer your TOTAL WATT HOURS number to the Solar System Calculator to determine the number of panels, batteries, etc. that you will need to build your system.
4. Keep the Solar System Calculator website open as you move through the various tabs at the bottom of the screen.
Resources To Assist with Calculations
| Typical RV Appliance Chart |  |  | Use this chart to help fill in the numbers below. Use YOUR appliances' actual numbers whenever possible.
| Solar System Calculator |  |  | Use this website AFTER you've done the calculations below. Enter your TOTAL WATT HOURS into the calculator.
Calculate YOUR Average Daily Total Watt Hours | [8 empty] | Learning Center
Important Formulas: |  | Volts x Amps = Watts |  |  | Watts x # of Hours/Day = Watt Hours (WH)
Blogs:
Appliances | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH) |  | Unscrambling the Alphabet Soup of Solar Terminology
Going Solar: The Complete Guide for New RVers
EXAMPLE 1: LED Strips | DC | 12 | 0.8 | 9.6 | 4.5 | 0 | 43.2 | 43.2 |  | 12V, 24V, or 48V System: Which Voltage is Best for You?
EXAMPLE 2: 19" TV | AC | 115 | 1.4 | 161 | 2 | 322 | 0 | 365.2
Videos:
Lighting | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH) |  | Solar 101
Bulbs | AC |  |  | 0 |  | 0 | 0 | 0 |  | RV Solar: To DIY or Not?
Strips |  |  |  | 0 |  | 0 | 0 | 0
Lamps |  |  |  | 0 |  | 0 | 0 | 0 |  | Additional Calculators:
Recessed Lighting |  |  |  | 0 |  | 0 | 0 | 0 |  | Renogy Solar Calculators
Other |  |  |  | 0 |  | 0 | 0 | 0
Total Lighting WH | [7 empty] | 0
Fans/Cooling | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Bathroom Fan |  |  |  | 0 |  | 0 | 0 | 0
Composting Toilet Fan |  |  |  | 0 |  | 0 | 0 | 0
Kitchen Fan |  |  |  | 0 |  | 0 | 0 | 0
Window A/C |  |  |  | 0 |  | 0 | 0 | 0
Central A/C |  |  |  | 0 |  | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0
Total Fans/Cooling WH | [7 empty] | 0
Heating | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Portable Heater |  |  |  | 0 |  | 0 | 0 | 0
Heater Fan/Blower |  |  |  | 0 |  | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0
Total Heating WH | [7 empty] | 0
Kitchen Appliances | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Coffee Maker |  |  |  | 0 |  | 0 | 0 | 0
Refrigerator/Cooler |  |  |  | 0 |  | 0 | 0 | 0
Toaster |  |  |  | 0 |  | 0 | 0 | 0
Blender |  |  |  | 0 |  | 0 | 0 | 0
Microwave |  |  |  | 0 |  | 0 | 0 | 0
Stove |  |  |  | 0 |  | 0 | 0 | 0
Oven |  |  |  | 0 |  | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0
Total Kitchen Appliances WH | [7 empty] | 0
Portable Devices | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Smartphone |  |  |  | 0 |  | 0 | 0 | 0
Laptop |  |  |  | 0 |  | 0 | 0 | 0
e Reader |  |  |  | 0 |  | 0 | 0 | 0
Tablet |  |  |  | 0 |  | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0
Total Portable Devices WH | [7 empty] | 0
Entertainment | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
TV |  |  |  | 0 |  | 0 | 0 | 0
DVD Player |  |  |  | 0 |  | 0 | 0 | 0
Sound System |  |  |  | 0 |  | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0
Total Entertainment WH | [7 empty] | 0
Personal | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Hair Dryer |  |  |  | 0 |  | 0 | 0 | 0
Curling Iron |  |  |  | 0 |  | 0 | 0 | 0
C-PAP |  |  |  | 0 |  | 0 | 0 | 0
Heating Pad |  |  |  | 0 |  | 0 | 0 | 0
Trimmer / Groomer |  |  |  | 0 |  | 0 | 0 | 0
Other | [5 empty] | 0 | 0 | 0
Total Personal WH | [7 empty] | 0
Rechargable Batteries | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
AA/AAA |  |  |  | 0 |  | 0 | 0 | 0
Camera Batteries |  |  |  | 0 |  | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0
Total Rechargable Batteries WH | [7 empty] | 0
Tools | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
Cordless Drill Charger |  |  |  | 0 |  | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0
Other |  |  |  | 0 |  | 0 | 0 | 0
Total Tools WH | [7 empty] | 0
Additional Appliances | AC / DC? | Volts | Amps | Watts | Hours / Day | AC Watt Hours | DC Watt Hours | Total Watt Hours (WH)
|  |  |  | 0 |  | 0 | 0 | 0
|  |  |  | 0 |  | 0 | 0 | 0
|  |  |  | 0 |  | 0 | 0 | 0
Total Additional Appliances WH | [7 empty] | 0
TOTAL WATT HOURS | This is the number to enter into the Solar System Calculator. | [6 empty] | 0
(Total AC Watt Hours) | [7 empty] | 0
(Total DC Watt Hours) | [7 empty] | 0

## Solar Panel Options
Step 2: Choose Your Solar Panels
Now it's time to determine how many and which style of panel will work best for your situation and application.
1. Use the links below to explore the variety within each style (rigid, flexible, folding solar suitcase, portable), then use the drop down arrows to choose the Model/Watts.
REMEMBER: Use the Solar System Calculator to choose the correct number of watts and panels for your system. For 400 watts, you can choose two 200W panels OR four 100W panels .
2. Determine if you will be setting your solar panels up in parallel or in series. See Learning Center for more information.
3. Enter the current price of each product that you select and the calculator will total your solar panel order.
Panel Options (EXAMPLE) | Model/Watts | # of Panels |  | Total Price | Total w/ CANLIFE Promo Code | Learning Center
Rigid* |  |  |  | 0 | 0
Flexible | 100W | 2 | 189.99 | 379.98 | 341.982 |  | Blogs:
Folding Solar Suitcase* | 100W w/o controller | 1 | 219.99 | 219.99 | 197.991 |  | Rigid vs. Flexible Solar Panels: The Pros and Cons of Different Styles
Portable |  |  |  | 0 | 0 |  | Busting Myths About Flexible Panels
*Options Available: Eclipse panels have more efficient cells and are therefore more expensive. | [6 empty] | Solar Panel References
Total Cost for Panels |  |  |  | 599.97 | 539.973 |  | Selecting Between Series & Parallel
12V, 24V, or 48V System: Which Voltage is Best for You?
Panel Options | Model/Watts | # of Panels | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code |  | Videos:
Rigid* |  |  |  | 0 | 0 |  | How to Install a Solar Panel System on Your RV
Flexible |  |  |  | 0 | 0 |  | Installing Portable Solar Panels on Your "Solar Ready RV"
Folding Solar Suitcase* |  |  |  | 0 | 0
Portable |  |  |  | 0 | 0
*Options Available: Eclipse panels have more efficient cells and are therefore more expensive.
Total Cost for Panels |  |  |  | 0 | 0

## Charge Controller Options
Step 3: Choose Your Charge Controller
Next up, select the type of Charge Controller that will best meet your needs.
1. Use the links below to explore PWM (Pulse Width Modulation) and MPPT (Maximum Power Point Tracking) charge controllers. See Learning Center for more information.
REMEMBER: Max Amps is determined by the total solar panel array output inamps, not voltage.
2. Enter the Model you choose into the cell, then select the corresponding amps from the drop down list.
3. Consider a Dual Input DC to DC charger (MPPT) instead if you plan to combine a vehicle's engine charge with your solar panel array. See Learning Center for more information.
4. Enter the current price of each product that you select and the calculator will total your charge controller order.
Charge Controller Options (EXAMPLE) | Model | Max Amps | # of Controllers | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code | Learning Center
PWM |  |  |  |  | 0 | 0
MPPT | Rover Elite | 40A | 1 | 129.99 | 129.99 | 116.991 |  | Blogs:
Dual Input* |  |  |  |  | 0 | 0 |  | Choosing & Sizing the Right Charge Controller
*Option Available: Dual Input DC to DC Charger w/ MPPT instead of Charge Controller | [7 empty] | Choosing & Sizing a DC to DC Charger
Total Cost for Charge Controller |  |  |  |  | 129.99 | 116.991
Videos:
Installation of a Dual Input DC to DC Charge Controller
Charge Controller Options | Model | Max Amps | # of Controllers | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code |  | How to Size Your Charge Controller
PWM |  |  |  |  | 0 | 0
MPPT |  |  |  |  | 0 | 0
Dual Input* |  |  |  |  | 0 | 0
*Option Available: Dual Input DC to DC Charger w/ MPPT instead of Charge Controller
Total Cost for Charge Controller |  |  |  |  | 0 | 0

## Battery Options
Step 4: Choose Your Batteries
Now you need to choose the type of batteries that will power your off-grid adventures.
1. Use the links below to compare the various options available (LFP, AGM, or Gel). Note: Renogy does not sell Lead Acid batteries.
2. Determine if you will be setting your batteries up in parallel or in series. Note: LFP batteries have specific requirements when using more than one together, so be sure to check specs.
See Learning Center for more information.
3. Enter the current price of each product that you select and the calculator will total your battery order.
Battery Options (EXAMPLE) | Voltage | Amp Hours | Watt Hours | Available Watt Hours / Battery | # of Batteries | Total Available Watt Hours | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code | Learning Center
Lithium Iron Phosphate (LFP) | 12 | 100 | 1200 | 960 | 2 | 1920 | 800 | 1600 | 1440
AGM |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  | Blogs:
Gel |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  | A Comparison of 4 Types of Deep Cycle Batteries
Total Cost for Batteries | [7 empty] | 1600 | 1440 |  | Selecting the Right Battery for Your Solar Installation
Making Sense of Battery Voltages
Battery Options | Voltage | Amp Hours | Watt Hours | Available Watt Hours / Battery | # of Batteries | Total Available Watt Hours | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code |  | Videos:
Lithium Iron Phosphate (LFP) |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | LiFePo Battery Bank Installation with Homemade Bracket
AGM |  |  | 0 | 0 |  | 0 |  | 0 | 0
Gel |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | Charts:
Total Cost for Batteries | [7 empty] | 0 | 0 |  | Battery Banks Wired in Series vs. Parallel & Combination

## Inverter Options
Step 5: Choose Your Inverter
If you want to run appliances that use Alternating Current (AC), then you will need an Inverter to transfer the DC power in your batteries to AC for your household appliances.
Your Total AC Watt Hours | 0
1. Determine the maximum amount of AC watts you intend to use at any one time together; your inverter size will need to be at least 25% larger. See Learning Center for more information.
2. Use the links below to decide if you prefer a standard Battery Inverter or want to splurge on an Inverter Charger.
3. Select the appropriately sized Model for your system.
4. Enter the current price of each product you select and the calculator will total your inverter order.
Inverter Options (EXAMPLE) | Model | # of Inverters | Price/Unit | Total Price | Total w/ CANLIFE Promo Code | Learning Center
Battery Inverters | 1000W |  | 189 | 189 | 170.1
Inverter Chargers |  |  |  |  | 0 |  | Blogs:
Total Cost for Inverter |  |  |  | 189 | 170.1 |  | The Only Inverter Size Chart You'll Ever Need
Calculating Inverter Size
Inverter Options | Model | # of Inverters | Price/Unit | Total Price | Total w/ CANLIFE Promo Code |  | Inverter Chargers (see Q&A section below products)
Battery Inverters |  |  |  | 0 | 0
Inverter Chargers |  |  |  | 0 | 0 |  | Videos:
Total Cost for Inverter |  |  |  | 0 | 0 |  | Installing an Inverter

## Wiring & Accessories
Step 6: Choose Your Wiring, Accessories, Mounts & Brackets, and Monitoring Devices
Finally, you'll need wiring and accessories to connect components and protect each component with fuses, as well as mounts/brackets for your panels and a way to monitor your system.
This category is very specific to your unique installation and there are many factors to consider. Just like all components need to be appropriately sized and rated, so do the cables,
wires, fuses, and connections between all the components. See an example located BELOW the worksheet, which includes a diagram and parts list for our 300W solar powered system.
Check out the video of that installation in the Learning Center.
Important Considerations
*Electrical Cables: length, gauge, and type of cable, plus all the connectors needed to link the panels togther and to all the other components in the system.
*Component & Cable Protection: fuses, bus bars, fuse boxes, and switches will help protect each piece within the system from electrical surges or overloading.
*Mounts & Brackets: corner brackets, Z brackets, and tilt mounts to attach panels to the roof.
*Monitoring Devices: Bluetooth modules connect components to the DC Home App, other battery monitors and screens have a wired LCD display.
1. Use the links below to explore wiring, accessories, mounts & brackets, and monitoring options to familiarize yourself with products.
2. Estimate all wiring and accessories, select mounts & brackets (if applicable), and monitoring devices. See Learning Center for more information.
3. Enter the Style/Description, AWG, Length/Size, etc. and the current price of each product you select and the calculator will total your order.
Note: We've included extra lines for you to enter additional items. Feel free to add more lines as necessary.
Wiring, Accessories, Mounts & Brackets & Monitoring | Style/Description | AWG | Length/Size | # per Pack | # of Packs Needed | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code
Wiring
Extension Cables | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Tray Cables | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Adaptor Kits | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Additional Wiring | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Total Wiring | [6 empty] | 0 | 0
Accessories
MC4 Connectors | [6 empty] | 0 | 0
Branch Connectors | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Fuses (Inline & ANL) | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Fuse Box | [6 empty] | 0 | 0
[7 empty] | 0 | 0
Bus Bar | [6 empty] | 0 | 0
[7 empty] | 0 | 0
Switches | [6 empty] | 0 | 0
[7 empty] | 0 | 0
Total Accessories | [6 empty] | 0 | 0
Mounts & Brackets
Corner Brackets | [6 empty] | 0 | 0
Z Brackets | [6 empty] | 0 | 0
Tilt Mounts | [6 empty] | 0 | 0
Cable Entry Housing | [6 empty] | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
Total Mounts & Brackets | [6 empty] | 0 | 0
Monitoring Devices
Monitoring Screen | [6 empty] | 0 | 0
Battery Monitor w/ Shunt | [6 empty] | 0 | 0
BT Module (BT-1 or BT-2) | [6 empty] | 0 | 0
Communication Hub | [6 empty] | 0 | 0
Data Module for Solar Charge Controller | [6 empty] | 0 | 0
[7 empty] | 0 | 0
Total Monitoring Devices | [6 empty] | 0 | 0
Total Cost for Wiring, Accessories, Mounts & Brackets, and Monitoring | [6 empty] | 0 | 0
Example: Our Solar Installation
By way of example, here is the diagram for our recent (April 2021) solar upgrade to our vintage camper. Below is a basic wiring diagram, and parts list meeting our specifications for the distance between the panels, the distance to the charge controller, and all the other components within the system. To view this complete installation, see the first video link in the Learning Center.
Diagram
Learning Center
Blogs:
Wire Sizing Chart
BT Module vs Battery Monitor: Watts Best for Your Solar Powered System?
Different Ways to Mount Solar Panels
How to Mount Solar Panels on the Roof of a Camper
Videos:
Complete Solar Panel Installation
Interactive Solar Wiring Diagrams for Camper Vans, RV, and Truck Campers
How to Size Wires for a DIY Camper Van Electrical Setup
Wiring, Accessories, Mounts & Brackets & Monitoring (EXAMPLE) | Style/Description | AWG | Length/Size | # per Pack | # of Packs Needed | Enter Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code
Wiring
Extension Cables for Panel Connection | Extention Cable w/ MC-4 | 10 | 5ft | 1 | 2 | 10.99 | 21.98 | 19.782
Tray Cables from Charge Controller to Battery | Battery to CC Tray Cables w/ 3/8" Lugs | 12 | 8ft | 2 | 1 | 12.99 | 12.99 | 11.691
Adaptor Kit (Panels to CC via Branch Connector) | Solar Panel to Charge Controller Adaptor Kit | 10 | 20ft | 2 | 1 | 29.99 | 29.99 | 26.991
Adaptor Kit (Portable Panel to CC via Branch Connector) | Solar Panel to Charge Controller Adaptor Kit | 10 | 20ft | 2 | 1 | 29.99 | 29.99 | 26.991
Adaptor Kit (Branch Connector to CC) | Solar Panel to Charge Controller Adaptor Kit | 10 | 9in | 2 | 1 | 5.99 | 5.99 | 5.391
Battery Cable for Fuse | 2ft ANL Fuse Cable w/ Double Ring Terminals for 3/8" Lugs | 10 | 2 | 1 | 2 | 12.99 | 25.98 | 23.382
Total Wiring | [6 empty] | 126.92 | 114.228
Accessories
Branch Connectors | 2 to 1 Solar Y Branch Connectors MMF + FFM Pair | NA | NA | 2 | 2 | 12.99 | 25.98 | 23.382
Fuses (Panels to CC - for Parallel Connection) | Solar Connector Waterproof Inline Fuse w/ Holder | NA | 15A | 1 | 1 | 15.99 | 15.99 | 14.391
Fuse (CC to Battery) | 40A ANL Fuse Set w/ Fuse | NA | 40A | 1 | 1 | 15.99 | 15.99 | 14.391
Total Accessories | [6 empty] | 57.96 | 52.164
Mounts & Brackets
Cable Entry Housing | Solar Double Cable Entry Gland | NA | NA | 1 | 1 | 14.99 | 14.99 | 13.491
Total Mounts & Brackets | [6 empty] | 14.99 | 13.491
Monitoring Devices
Battery Monitor w/ Shunt | 500A Battery Monitor | NA | 500A | 1 | 1 | 99.99 | 99.99 | 89.991
Total Monitoring | [6 empty] | 99.99 | 89.991
Total Cost for Wiring, Accessories & Monitoring | [6 empty] | 299.86 | 269.874

## Total Order
Step 7: Place Your Order
Ready to Hit the Go Button?
1. The items you inputed in the 5 previous tabs will automatically auto-populate on this spreadsheet. Please check for any errors or discrepancies.
2. If you are purchasing these items with Renogy, be sure to use our Affiliate Link and Promo Code to receive 10% off most non-sale items.
Note: If the sale price is more than 10% off, you will save even more money!
Our Affiliate Link: | https://renogy.sjv.io/c/3222611/1200179/14864 |  |  | Promo Code: | CANLIFE
Your Total Order | Item Description or Capacity | # of Items | Current Price/Unit | Total Price | Total w/ CANLIFE Promo Code
Panels
Rigid |  |  |  | 0 | 0
Flexible |  |  |  | 0 | 0
Folding Solar Suitcase |  |  |  | 0 | 0
Portable |  |  |  | 0 | 0
Charge Controller
PWM |  |  |  | 0 | 0
MPPT |  |  |  | 0 | 0
Dual Input |  |  |  | 0 | 0
Batteries
Lithium Iron Phosphate |  |  |  | 0 | 0
AGM |  |  |  | 0 | 0
Gel |  |  |  | 0 | 0
Inverter
Battery Chargers |  |  |  | 0 | 0
Inverter Chargers |  |  |  | 0 | 0
Wiring & Accessories (refer back to the "Wiring & Accessories" tab for your product list)
Total Wiring |  |  |  | 0 | 0
Total Accessories |  |  |  | 0 | 0
Total Mounts & Brackets |  |  |  | 0 | 0
Total Monitoring |  |  |  | 0 | 0
Other
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
Total Projected Cost for Solar Powered System* |  |  |  | 0 | 0
*Not Including Shipping & Applicable Taxes
Disclaimer: This worksheet is intended to help users plan, organize, and calculate a personal DIY solar powered electrical system. We, Shari & Hutch (Freedom in a Can, LLC), are neither professional electricians nor solar installers; we are educators who have learned enough to install their own system and to empower others to do the same. That is our purpose in putting this together. Please help us make this a better resource and give us your feedback. Feel free to share it with others! Let's help rid the campgrounds of the world of noisy gas-powered generators! If you have questions, reach out. If you need assistance, consult a solar professional or certified electrician. Do your homework, take it one step at a time, and good luck!
Copyright 2021, Freedom in a Can, LLC. All rights reserved.