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3446 S. Business Hwy 71
PO Box 366
Pineville, Mo 64856
417-223-4351
417-223-4109 fax
www.mcdonaldcountyhealth.com




The following steps are necessary for obtaining a permit.
ELECTRIC- If you need electricity please contact or have your installer contact the Health Department for an electric wavier or continue reading for a permit. 417-223-4351
This Permit is a two-part written authorization issued by the health department.
Step 1: you will need to contact a soil scientist so that you can obtain a ‘Complete site evaluation’. Based on the soils you have the trench depth and location of the system can be determined. Sizing of the lateral field is based upon the number of bedrooms in the home alone with the ‘loading rate’ or your specific soil.
Step 2: you will need to contact an installer that is registered in the state or if installing as a landowner contact the health department to schedule a time to take our homeowner’s quiz. 
Step 3: Submit a fully completed ‘permit application’. 
This includes the permit application, complete soil evaluation, and fee.
	Single family dwelling            $105.00
	Non-single family dwelling    $140.00
	Repair Permit		        $25.00
Note- Repair permits need to be approved by health department.
Step 4: McDonald County Health Department will review the application within 7 working days after receiving the completed application and determine that the application meets at least the minimum standards set forth by the state and McDonald County wastewater ordinance.
Step 5: The McDonald County Health Department will conduct a ‘Pre-site’ inspection of the property, the tank, laterals, and d-box if applicable need to be marked or drawn out. 
Once notified of approval the landowner or licensed Missouri installer may begin construction. 
Step 6: The installer must notify the health department 24 hours before completion of the system so a representative from the health department can evaluate the completed system. 
Step 7: an “as installed or as repaired” final drawing must be submitted to the health department if different from what was planned on application. 
Step 8: The McDonald County Health Department will issue a permit number and an “permit to use construction inspection report” letter. 

If you have any questions, please contact the Environmental Staff of the McDonald County Health Department at 417-223-4351
Office hours are Monday- Wednesday 7:30 am- 5pm and Thursday 7:30am-4:30pm 

A completed permit application/drawing must contain the following:
· Owners name/address/signature
· Precise directions to site
· Installers name/signature/phone number
· Legal description of property/parcel ID
· 911 address of property
· Number of bedrooms
· Number of people served
· Septic tank size/manufacturer
· Slope of ground in lateral field
· Setback to property lines
· Setback to wells
· Locations of wells/water lines
· Direction north indicated
· Lot dimensions/acreage 
· Later lines on contour
· System must be in area of soil test pit
· Length of pipe between house & tank
· Length of pipe between tank & field 
· Sept downs indicated
· Type of D- Box (plastic or concrete)/ manufacturer
· Width of trenches 
· Depth of trenches 
· Distance between trenches 
· Depth of gravel below/above pipe in pipe and gravel system
· Type of barrier material for conventional system
· End caps must be indicated
· Ends must be connected if lines are at equal elevation
· Linear feet of lateral lines
· Square feet of lateral lines
· Cleanouts 
· Typer of system (Ez Flow, infiltrator, rock and pipe, 
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