SPECIFICATION

Section 07 95 00

(Formerly Sections 05810)

Seismic Expansion Joint Systems

###### Master Specification for Traffic Bearing Joints

# PART 1 – GENERAL

  - Work Included

- The work shall consist of furnishing and installing seismic expansion joints for wide joints with multi-directional movement in accordance with the details shown on the plans and the requirements of this specification.  Watertightness is achieved through a seismic slide plate with integral waterstops that provides impact resistance and sound dampening. A seismic centering device with load impact dampeners and displacement springs allow the slide plate to displace and return to its natural position after a seismic occurrence.

- Related Work

- Section 03 30 00 - Cast-in-place concrete

- Section 07 60 00 – Flashing and sheet metal

- Section 07 90 00 – Joint Protection

- Section 07 95 00 – Expansion Control

  - Submittals

- General – Submit the following according to Division 1 Specification Section.

- Standard Drawings – Submit typical expansion joint drawings indicating pertinent dimensions, general construction, blockout dimensions and product information.

  - Product Delivery, Storage and Handling

- Deliver products to site in Manufacturer’s original, intact, labeled containers and store under cover in a dry location until installed.  Store off the ground in temperatures above 40ºF, protect from weather and construction activities.

  - Basis of Design

- All joints shall be designed to meet the specified performance criteria of the project as manufactured by MM Systems Corp., 50 MM Way, Pendergrass, GA, 30567 / Tel. 866.506.6929 / Fax. 706.824.7501 / Web www.mmsystemscorp.com

- Alternate manufacturers will not be considered for this project due to insufficient product evaluation time. Submit for future evaluation, products that meet the design criteria and exhibit performance features that are equal to or superior to those called for in the base product specification. Submittal of alternates must be made two weeks prior to bid opening on future projects to allow proper evaluation time. Alternate products not adhering to all listed design features will not be considered. Final decision will be at the sole discretion of the architect or consultant.

- Submit verifiable list of prior installations, along with owner contact information, showing successful experience with the proposed systems that must incorporate solid aluminum seismic centering devices (centering bars) and rubber dampeners that provide impact, sound and water infiltration resistance.

## Quality Assurance

[SPEC WRITERS NOTE: The following notes represent quality assurance measures necessary to insure the long-term success of the expansion joint systems specified.]

- Pre-construction – the General Contractor, Engineer/Architect, Concrete Subcontractor, Manufacturer’s Representative and Certified Contractor, will conduct a pre-construction meeting to discuss blockout construction, joint gap settings and construction phasing. This meeting shall be held prior to any concrete placement at expansion joint locations and may be held in conjunction with the concrete pre-pour meeting.

- Joint Opening Adjustment – the Project Engineer shall provide calculations to the concrete subcontractor to adjust the nominal joint opening the day of the concrete placement. Use a “temperature adjustment table” with expansion joint openings calculated in five (5ºF) degree increments based on a temperature range of [adjust for project] -20ºF to 120ºF. Some expansion joints can not be installed until the structure has undergone its anticipated short-term shortening and creep – check with manufacturer.

[SPEC WRITERS NOTE: Expansion Joints that are recessed into the deck require blockouts and must include notes C & D.]

- Expansion Joint Blockouts - shall be floated and troweled before final cure to remove all air pockets, voids and spalls caused by formwork.

- Leveling Bed – shall be comprised of structural grout and is recommended to compensate for elevation changes along the length of the expansion joint. This will require the blockout depth to be set below the specified system height.

- Expansion Joint Surface Areas - two feet on each side of joint gap shall be finished and graded perpendicular to joint gap creating flush slab-to-slab transition.  Elevations on each side of the joint opening shall be identical.

- Pre-installation Inspection – the General Contractor, Engineer/Architect, Manufacturer’s Representative and Certified Contractor, will conduct a pre-installation project site inspection. The General Contractor shall provide a field report that summarizes the project conditions and any remedial action necessary to correct field conditions (substrate, joint size, blockout, vertical offsets, etc.) that may affect expansion joint system performance.

- Service Condition - insure that anticipated service conditions (loads, speed of traffic, movement, vertical offsets, turning lanes, etc) are part of the expansion joint system selection criteria.

- Certification / Installation – a factory-trained and “certified” contractor shall install the specified expansion joint system. The contractor shall provide proof of certification from the manufacturer.

- Warranty – the Manufacturer and Certified Contractor jointly warrant to the Owner that the expansion joint system shall be free from manufacturing, material and installation defects for a period of two (2) years from the date of installation, based on specified movements and design conditions for normal traffic use as recommended by the National Parking Association’s “Parking Facility Maintenance Manual” and subject to the terms and conditions of the manufacturer’s standard written limited warranty. The Certified Contractor and Manufacturer shall provide at no charge, all materials and labor needed to properly repair defective expansion joint within the term of the warranty. No liability or responsibility is accepted due to defects in the concrete.

## PART 2 – PRODUCT

  - General

#### [SPEC WRITER'S NOTE: Building codes now require that expansion joint openings in seismic areas provide special consideration that prevent building elements from hitting together during a seismic event. Seismic expansion joint systems must accommodate movement in excess of that experienced with typical volume change forces (two to four inches). Typical seismic applications require a four-inch to eighteen-inch multi-directional movement capability. Expansion joint designs should prevent adjacent concrete damage during seismic event and maintain a functioning slide plate after the seismic event. Waterproofing ability after the seismic event should not be a primary design concern.

- Provide seismic expansion joint sealing system that meets the specified movement requirements and is capable of HS-20 loading and able to accommodate vehicular and pedestrian traffic.

- The system shall achieve watertightness through a seismic slide plate with integral waterstops that provides impact resistance and sound dampening. A fabric reinforced rubber gutter provides additional watertightness. The seismic centering device with load impact dampeners and displacement springs shall allow the slide plate to displace and return to its natural position after a seismic occurrence.

- Select the system size at each joint location based on the movement and design requirements that meet the project specification or as defined by the structural engineer of record.

- The Certified Contractor must provide written confirmation, utilizing manufacturer’s product data, that the model and size selected will comply with and accommodate expansion, contraction, vertical displacement and lateral shear throughout the full movement cycle.

  - Expansion Joint System Types

#### [SPEC WRITER'S NOTE: Proper joint selection is dependent on determining the anticipated movement of the joint. It is the architect/engineers responsibility to compute this value. The required joint size and joint type can vary from location to location. If this is the case, the specification and drawings need to be edited accordingly to clearly designate what specified joint types and sizes are to be installed at what locations.]

[SPEC WRITER'S NOTE: Select and edit the following approved vehicular bearing seismic expansion joint system types based on the project requirements.]

- Approved Cast-In Seismic System (CIS Series), as manufactured by MM Systems Corporation - the CIS Series for post-tensioned concrete decks eliminates slab-to-slab vertical offsets and the need for blockouts. High strength hook bolts adjust around post tension cables. Provide removable lock-down extrusions allowing access and replacement of a fabric reinforced rubber gutter. A seismic centering device must allow the slide plate to displace and return to its natural position after a seismic occurrence.

- Approved Seismic Slide Plate System (SSP Series), as manufactured by          MM Systems Corporation - the SSP Series for blockout recessed expansion joints utilizes extension plates that permit a seismic slide plate to remain flush with finished deck surface. Seismic sliding cover plate shall incorporate impact and sound dampeners. A seismic centering device must allow the slide plate to displace and return to its natural position after a seismic occurrence. LokCrete Elastomeric Concrete shall be used as infill material to waterproof and lock the aluminum joint system into the concrete blockout.

- Approved Surface Mount Seismic System (SMS Series), as manufactured by    MM Systems Corporation - the SMS Series for joint openings without blockouts is surface mounted to the finished deck. Aluminum base member shall incorporate a tire impact deflection design and an integral flexible fabric reinforced rubber gutter. A seismic centering device must allow the slide plate to displace and return to its natural position after a seismic occurrence. LokCrete Bedding Compound shall be used to prevent water migration and to adhere the aluminum base member to the concrete deck.

- Approved Hinged Safety Cover System (HSC Series), as manufactured by       MM Systems Corporation - the HSC Series for expansion joints with vertical offsets in opposing concrete decks. Aluminum safety cover shall incorporate integral hinge allowing for vertical and lateral shear movement. Seismic safety cover plate shall incorporate impact and sound dampeners.

[SPEC WRITER'S NOTE: Select and edit the following approved vertical seismic expansion joint system types based on the project requirements.]

- Approved Vertical Sealing System (VSS Series), as manufactured by                MM Systems Corporation - for vertical expansion joint openings shall include a primary visual seal and a secondary moisture barrier. Seals shall be supplied in continuous lengths and snap locked into aluminum mounting frames.

- Approved Aluminum Seismic Cover System (ASC Series), as manufactured by MM Systems Corporation - for vertical expansion joint openings shall incorporate an aluminum wall cover plate and seismic centering bar.

- Approved Engineered Silicone Sealing System (ESS Series), ColorJoint as manufactured by MM Systems Corporation - for vertical expansion joint openings requiring a waterproof seal. The ColorJoint system shall combine a factory cured silicone seal fused to a cellular polyurethane / polyester binary backer block creating a monolithic seal.

  - Components and Materials

A.	Base Member  - capable of HS-20 loading from aluminum alloy 6005 -T5.

- Extension Plates  - 3/16” minimum plate thickness from aluminum alloy 6005 -T5.

[SPEC WRITERS NOTE: Evaluate manufacturers seismic slide plates. Specify designs that incorporate high-density rubber dampeners on the underside and at each end of the plate. These dampeners serve the following functions – load impact dampening, sound dampening and waterstop. Select from notes below.

C.	Aluminum Slide Plate  (standard horizontal) – 3/8” minimum plate thickness from aluminum alloy 6005 -T5 with ADA compliant beveled edges. Top surface shall provide non-slip V-groove finish. Underside of plate shall have continuous end cavities to receive integral high-density rubber waterstop that provides impact resistance and sound dampening.

- Stainless Steel Slide Plate  (custom horizontal) - for openings greater than 12 inches provide 3/8” thick stainless steel plate with standard mill finish. Slide plate must have ADA compliant beveled edges.

- Aluminum Wall Plate  (standard vertical) – 1/8” minimum plate thickness from aluminum alloy 6005 -T5 with standard mill finish.

[SPEC WRITERS NOTE: Evaluate manufacturers seismic centering devices. Single member spring steel bars may not provide sufficient tension to secure the slide plate during normal traffic impact loads. Designs that employ heavy-duty displacement springs and impact dampeners are better suited for expansion joint openings 4 inches and larger. Designs that utilize metal ball ends are less susceptible to failure than nylon or plastic ends that tend to crack and separate.

- Seismic Centering Bar Device  - shall have solid aluminum circular ball ends integral with a structural aluminum bar design that lock and slide into the base member that freely rotates. Provide stainless steel hardware connected through rubber impact dampeners and single or dual heavy-duty displacement springs.

- Corner Hinge Assembly – shall have solid aluminum support arm with circular ball end that locks into a wall mount hinge frame. Assembly shall utilize tension springs to securely hold down the slab-to-wall slide plate. Angle plates that do not permit free rotation will not be allowed.

- Rubber Gutter  - continuous fabric reinforced 60-mil EPDM rubber attached into an integral cavity in the base member. Provide flexible down spout and drain tubes as required.

- Accessories - Provide necessary assembly hardware required for complete installation.

[SPEC WRITER'S NOTE: Expansion Joints that are recessed into the deck require blockouts and must be as watertight as possible. Insure that expansion joint elevations are above those of the finished deck. Water should drain away from and not across the joint whenever possible. Water integrity is significantly increased through the use of elastomeric concrete as a blockout filler material. Elastomeric concrete bonds securely to both the concrete and the metal expansion joint as well as acting as a thermal expansion buffer between the dissimilar materials. Include note “I” if water tightness is a project requirement]

- Waterproofing  – provide LokCrete( elastomeric concrete as manufactured by MM Systems Corporation as the blockout filler material. LokCrete( consists of polyurethane liquid components “A” and “B” and a proprietary aggregate component “C”.  LokCrete( cures exothermically and bonds to concrete, aluminum and steel.

  - Elastomeric concrete binder must exhibit the following physical properties of after seven-day cure at room temperature.

##### Property				Requirement	           ASTM Method

Tensile Strength			4750 psi		D412

Ultimate Elongation			10% 			D412

Hardness, Shore D			78 +/- 5		D2240

Tear Resistance			200 pli / 35 kN/m	D624

Water Absorption			3%			D570

Heat Shrinkage, max.			2%			D1299

Compression Set			48%			D395

Pot Life				5 minutes 		(after mixing)

  - Elastomeric concrete binder & aggregate mix must exhibit the following physical properties.

##### Physical Property			Requirements          ASTM Method

Compressive strength			9200 psi 		D695

Resilience @ 5% deflection		95%			D695

Compressive stress, psi		800 psi min.		D695

Impact resistance, ft-lb, @ -20(F	No Cracks		Ball drop

Adhesion				Concrete Failure	D421

[SPEC WRITERS NOTE: Building codes now require that many expansion joint openings be fire rated as part of life safety design criteria. Manufacturer should be able to demonstrate verifiable experience that they have been manufacturing, designing and testing fire barriers for a minimum of ten years.  Include Section 2.04 if fire rated expansion joints are a project requirement.]

  - Life Safety – Fire Barrier Systems

- Approved PyroFlex( Fire Barrier Systems (PF Series), as manufactured by MM Systems Corporation - Supply fire-resistive barrier systems that have ratings equal to or greater than the rating of adjacent construction when tested in accordance with ASTM E1966 and ASTM E119. Provide specified (2, 3, 4 or 5 hour) rated fire barrier expansion joint assembly.

- Fire Barrier System shall be capable of anticipated movement and maintain fire rating through precondition cycling and fire performance testing in accordance with ASTM E1966. System shall have factory and field splices tested in accordance with ASTM E1966.  Manufacturer shall provide field-splicing instructions.

- Fire Barrier System shall have been tested in accordance with ASTM E1966 at a maximum joint opening as defined by ASTM E1399 which meets or exceeds the maximum joint opening required by the project design requirements. System and manufacturer shall be listed with an accredited independent laboratory.

  - Fabrication

- Metal Frames and Plates – shall be shipped in standard 10 ft. lengths and shall be cut to length at jobsite where required. All profiles shall be miter cut in the field to conform to directional changes unless otherwise contracted with expansion joint manufacturer.

- Fabric Reinforced Rubber Gutter – shall be shipped in the longest practical continuous length in manufacturer’s standard shipping carton.

- Elastomeric Concrete (blockout filler) – Ship in manufacturer’s approved containers shrink-wrapped on wooden pallets.

- Wall Mount (slab-to-wall condition) – aluminum ball and socket corner hinge extrusions shall be shipped in standard 10 ft. lengths and shall be cut to length on jobsite where required.

- Fire Barriers (as required) – Ship manufacturer’s standard assembly for the required hourly rating with ends prepared for field splicing.  Assemblies shall be miter cut in the field to accommodate changes in direction.

  - Finishes

- Aluminum Plates (standard) - top surface of aluminum slide plate shall have non-slip V-groove profile and standard mill finish. Extension plates shall be standard mill finish.

- Stainless Steel Plates (custom) - top surface of stainless steel slide plate and extension plates shall be standard mill finish.

- Elastomeric Concrete (blockout filler as required) - shall be supplied in standard black or custom gray colors.

## PART 3 – EXECUTION

  - Installation

- Preparation of the Work Area

- The contractor shall provide properly formed concrete blockouts and expansion joint openings constructed to the exact dimensions and elevations shown on manufacturer’s standard system drawings or as shown on the contract drawings. Deviations from these dimensions will not be allowed without the written consent.

- Actual field conditions of existing expansion joint blockouts may be deeper and wider than the proposed new expansion joint system as detailed on the contract drawings. Blockout size shall be corrected by filling it with an approved structural concrete patching material or elastomeric concrete. Blockout size may not be reduced by spacers, shimming, etc. When blockout size is smaller it shall be made larger by saw cutting.

- The base of the blockout recess must be formed level and at the same elevation across the joint. Any edge or area in need of repair shall utilize structural concrete repair materials.

- Surface areas two feet on each side of the expansion joint opening shall be finish graded perpendicular to joint opening creating flush slab-to-slab transition.  Elevations on each side shall be identical. Concrete at the two-foot expansion joint transition area shall have elevations above those of the finished deck insuring a downward slope.

- Install expansion joint systems in strict accordance with the manufacturer's typical details and instructions along with the advice of their qualified representative. Refer to Manufacturers Installation Guide for detailed step-by-step installation instructions.

- Elastomeric Concrete (blockout filler & bedding compound) Installation

- The contractor shall clean the concrete blockout of all contaminants by abrasive blasting immediately prior to installation of expansion joint system.  Concrete form release agents, water repellents, laitance, surface dirt, rust, old sealants and other surface treatments and protective coatings must be removed from the blockout substrate surface in order to obtain the proper elastomeric concrete bond.

- Do not install elastomeric concrete until the concrete has been air-dried at temperatures at or above 45 degrees F. for at least 28 days minimum and the concrete must have a measured moisture content that is below 4 percent. The blockout area must be completely dry prior to placement of the elastomeric concrete.  Blockouts requiring the use of structural repair materials must be cured for 72 hours.  Blow out the area thoroughly using compressed air.

- Mask adjacent concrete surfaces to provide neat, workmanlike appearance.

- Refer to Manufacturers Installation Guide for detailed step-by-step instructions on how to properly mix and install elastomeric concrete filler.

- Once placed and cured, the elastomeric concrete can be opened to traffic in approximately 2 - 6 hours (when possible - 24 hours is suggested).

- Expansion Joint System Installation

- Cease installation of expansion joints under adverse weather conditions, or when temperatures are below Manufacturer's recommended limitations for installation.

- The contractor shall clean the expansion joint installation area of all contaminants by abrasive blasting immediately prior to installation of expansion joint system in order to obtain the proper system bond.

- Refer to section 1.05 of this specification on Quality Assurance.

- Refer to Manufacturers Installation Guide for detailed step-by-step installation instructions.

  - Clean and Protect

- Protect the system and its components during construction.  Heavy construction vehicles will not be permitted to cross the expansion joint. Subsequent damage to the expansion joint system will be repaired at the general contractor’s expense. After work is complete, clean exposed surfaces with a suitable cleaner that will not harm or attack the finish.

END OF SECTION