| Developed By | Reviewed By | Updated |
| --- | --- | --- |
| Russell Eisenhauer Wayne Farrell | WAGPI JOHS Committee | 03/30/2018 |

| Equipment Required | Material Required | Personal Protective Equipment |
| --- | --- | --- |
| Ladder / Bucket truck |  | Steel toe footwear |
| 2 People |  | Hard Hat |
| Rake |  | Eye Protection |
| Tarp |  | Hearing protection |
| Blower |  | Gloves |
|  |  | Fall Protection |

Job Steps

- Hazard Assessment

- Lay Tarp On Ground Under Rain Gutter. Position Bucket Truck Or Ladder

- If Using Bucket Truck Refer to Bucket Truck Job Procedure.  If Using Ladder Have Someone Hold Ladder

- If Using Ladder, Maintain Three Points Of Contact. Two Feet & 1 Hand. Do Not Over Reach.

- When Section Is Clean, Continue Working Around House.

- Clean Up And Remove Any Mess From Ground.