| Developed By | Reviewed By | Updated |
| --- | --- | --- |
| Blair Rawding | WAGPI JOHS Committee |  |

| Equipment Required | Material Required | Personal Protective Equipment |
| --- | --- | --- |
| Excavator | Crushed Rock | Steel toe footwear |
| Dump truck | Sand | Hard hat |
| Shovel | Tank | Safety Vest |
| Rake | Pipe | Eye Protection |
| Saw | Glue |  |
| Transit |  |  |

Job Steps

- Hazard Assessment

- Plot Plan

- Permit

- Dig Hole

- Ground Work For Disposal Field

- Place Tank

- Put Sand & Gravel In Field

- Lay Pipe

- Hook Up Pipe To Tank & House

- Inspection

- Back Fill