## Abstract
ABSTRACT
Name of the work:: Annual Maintenance Estimate of Gandikota Lift Irrigation Scheme Stage-I & Stage-II Pump Houses for the Year FY:2023-24 in YSR District .
S.No | Description of material | Quantity | Unit | Per Rate | Amount
.1. | .2. | .3. | .4. | .5. | .6.
A. | Staff Persons: |  |  |  |  | Item Rate | Check
1 | Supply of Staff personnel in different engineering streams of Graduates & Diploma Holders, ITI persons, non Technical personnel, Vehicle with Drive, Security staff & mazdoors and other staff persons required for site for maintaining the Operation & Maintenance of 2 No of Pump Houses for entire year. | Required as per G.O
a | Team Leader | 9 | Months | 37650 | 338850 | 37650 | OK
b | Graduate Engineer | 60 | Months | 37650 | 2259000 | 37650 | OK
c | Diploma Engineer | 84 | Months | 29250 | 2457000 | 29250 | OK
d | ITI Holder | 1100 | Days | 705 | 775500 | 705 | OK
e | Vehicle with Driver | 14 | Months | 35000 | 490000 | 35000 | OK
f | Crane Operator | 635 | Days | 690 | 438150 | 690 | OK
g | Accountant | 12 | Months | 21600 | 259200 | 21600 | OK
h | Computer Operator | 365 | Days | 770 | 281050 | 770 | OK
i | Office Sub Ordinate | 12 | Months | 16200 | 194400 | 16200 | OK
j | Security Persons | 6205 | Days | 525 | 3257625 | 525 | OK
k | Un Skilled Persons | 2920 | Days | 525 | 1533000 | 525 | OK
| Sub Total of Staff Personnel for the Year:2023-24 |  |  |  | 12283775 |  |  | 9494460 | SSR-2019-20
B. | Consumables for Maintenance Period-2023-24: | [6 empty] | 2789315 | SSR-2022-23
1 | Supply of Consumables required as per site condition for maintenance of the GKLI Stage-I & GKLI Stage-II Pump Houses for the complete maintenance period during the year-2020-21 including conveyance of material to site, other taxes but excluding GST as per the instructions of the Engineer-in-Charge. | 1 | Lot | 199000 | 199000 | 199000 | OK | 29.38% | 3.0534
C. | Small Spares costing lessthant 5000/-
1 | Supply of small spares costing lessthan Rs.5000/month required as per site condition for maintenance of the GKLI Stage-I & GKLI Stage-II Pump Houses for the entire maintenance period during the year-2020-21 including conveyance of material to site, other taxes but excluding GST as per the instructions of the Engineer-in-Charge. | 1 | Lot | 60000 | 60000 | 60000 | OK
D | Electrical Spares::
1 | Supply of FCMA Soft Starter module device with AC electrical motors to temporarily reduce the load and torque in the powertrain and electric current surge of the motor during start-up complete material including Transportation to site. | 1 | No | 480000 | 480000 | 480000 | OK
2 | Supply of 175 A Fuses of 6.6kv used for protection of motor breaker & 80 A fuses are Used for capacitor bank protection complete material including Transportation to site. | 6 | Set | 17383.3333 | 104300 | 17383.3333 | OK
3 | Supply of 283.33 kvar, 6.35Kv,1 ph, 50 Hz type APP HT Capacitor for maintainaing the maximum power factor with low consumption of power by motors. | 18 | Nos | 32500 | 585000 | 32500 | OK
4 | Supply of spares in battery charger for providing DC supply in the control panel room complete material including Transportation to site. | 1 | Set | 15950 | 15950 | 15950 | OK
5 | Supply of 110 V DC tripping coils & Closing Coils to release & closing the energy componentsin circuit breakers for switching the high currents used in HT panel - Motor breaker and 12 KV 100A fuse is a high votage fuseinterrupt fault currents used in the electrical circuits-Capacitor banks with all Complete material including Transportation to site. | 1 | Lot | 333950 | 333950 | 333950 | OK
6 | Supply of Digital insulation tester used for Motor insulation testing purpose | 1 | Nos | 64102 | 64102 | 64102 | OK
7 | Supply of MFM( Multifunctional Module) used for various functions in the electrical installations such as measurementof rated voltage,currrent ,frequency ,power and is used in HT panel motor feeder & incomer | 25 | Nos | 10925 | 273125 | 10925 | OK
8 | Supply of digital Clamp Meter is a type of testing equipment used to measure voltage & current values in a Live conductor without power loss and interruption. | 5 | Nos | 36570 | 182850 | 36570 | OK
9 | a.Supply of 7.2KV 175 A MOTOR BREAKER FUSE using at stage-2 6.6kv motor breaker | 6 | Nos | 11350 | 68100 | 11350 | OK
| b.Supplying of 7.2KV 80A CAPACITOR BANK FUSE using stage-2 capacitor bank | 9 | Nos | 5550 | 49950 | 5550 | OK
10 | supply of 6 sqmm X 4 core cu cable used to EOT crane motor supply purpose & general purpose | 1 | Lot | 206977 | 206977 | 206977 | OK
11 | Supply of silica gel used in the breather of Power Transformers for controlling the moisture entering the equipment in the substation. | 50 | Kg | 240 | 12000 | 240 | OK
12 | Supply of Exide XP800 Battery used for for lighting back up in the pumphouse including discount. | 20 | Nos | 4867.1 | 97342 | 4867.1 | OK
13 | Supply of 1000 SQMM CABLE KIT Transformer to HT panel cable | 20 | Nos | 2654 | 53080 | 2654 | OK
| Sub Total of Electrical Spares Amount for the Year:2023-24 |  |  |  | 2526726
E | Mechanical Spares for the Year-2023-24::
1 | Supply of RD70B & RD180B Gearboxes For controlling water located near surge tanks | 2 | Sets | 186900 | 373800 | 186900 | OK
2 | Supply of cast iron Stool used In small spaces, stools provide extra seating and are easily tucked away when they're not needed. They double as ottomans, | 2 | Nos | 96000 | 192000 | 96000 | OK
3 | Supply of Rubber Bearings used as part of the steel frames and also for bridges, and are designed to minimise resistance resulting from movement within metal or steel frames, and function as structural bearings. | 12 | Nos | 26000 | 312000 | 26000 | OK
4 | Supply of Shafts & other accessories for rectifying the repairs occurred during the pumping for Stage-I Pumps. | 15.1 | Mts | 175854.3046 | 2655400 | 175854.3046 | OK
5 | Supply of gate valve is generally used to completely shut off fluid flow or, in the fully open position, provide full flow in a pipeline | 10 | Nos | 3759 | 37590 | 3759 | OK
6 | Supply of white metals are a series of often decorative bright metal alloys used as a base for plated silverware, , as well as any of several lead-based or tin-based alloys used for things like bearings, fusible plugs,etc.., | 6 | Nos | 54800 | 328800 | 54800 | OK
7 | Supply of the Rubber seals are suitable for a wide range of applications. Versatile features of rubber include flexibility, elasticity, strength and friction. Rubber seals also prevents vibration and are airtight and watertight near gates. | 1 | Lot | 24505 | 24505 | 24505 | OK
8 | Supply of Nut and Bolts For jointing column pipes during mainteance. | 1 | Lot | 24347 | 24347 | 24347 | OK
9 | Supply of HT rods full thread REJ Tie rod purpose and Supply of Nuts and Bolts for tightning. | 1 | Lot | 15450 | 15450 | 15450 | OK
10 | Supply of 29444E Roller bearings accommodate very heavy axial loads and considerable radial loads Used in pump bearing housing. | 6 | No's | 200000 | 1200000 | 200000 | OK
11 | Supply of Shaft couplings are used for power and torque transmission between two rotating shafts such as on motors and pumps, compressors, and generators. | 7.24 | Mts | 211602.2099 | 1532000 | 211602.2099 | OK
12 | Supply of Welding Materials Used for General welding works | 1 | Lot | 144340 | 144340 | 144340 | OK
13 | Supply of Rubber expansion joints are used in piping installations to compensate for thermal growth, relieve piping stress during operation, and reduce vibration and noise caused by rotating equipment. | 4 | sets | 690000 | 2760000 | 690000 | OK
14 | Supply of Safety material for Use electrical gloves and footwear while handling electrical materials as they provide basic safety. Take extra precautions like using a face shield, fire-resistant helmet and protective eyewear and earmuffs while working with wiring or if you are in close contact with electrical equipment. | 1 | Lot | 80400 | 80400 | 80400 | OK
| Sub-Total of Mechanical Spares for the Year:2023-24 |  |  |  | 9680632
Total Estimate Value put to Tender for the year:2023-24 (ECV) |  |  |  |  | 24750133
Part-B: Department Provisions::
a | Provision for GST @18% |  |  |  | 4455024
b | Provision towards NAC @ 0.1% |  |  |  | 24750
c | Provision for Price Variation @ 2% on D & E Items |  |  |  | 244147
d | Provision for tender publishing charges & other Unforeseen items. |  |  |  | 25946
| Sub total of LS Items |  |  |  | 4749867
Total Estimate Amount |  |  |  |  | 29500000 |  | 29500000
Rupees Two Crores Ninety Five Lakhs Only | [6 empty] | 0

## Staff-2023-24
Abstract of Staff Quantity for the year:2023-24
S.No | Type of Staff | Non Pumping |  |  |  |  | Pumping |  |  |  |  | Total | Units | Attended | Units
|  | Working Months/Days |  |  |  |  | Working Months/Days
.1. | .2. | .3. |  |  |  |  | .4. |  |  |  |  | .5. |  | .6.
1 | Team Leader | 1 | x | 9 | = | 9 | - | - | - | - | - | 9 | Months | 9 | Months
2 | Graduate Engineer | 4 | x | 9 | = | 36 | 8 | x | 3 | = | 24 | 60 | Months | 60 | Months
3 | Diploma Engineer | 4 | x | 9 | = | 36 | 16 | x | 3 | = | 48 | 84 | Months | 84 | Months
4 | ITI Holder | 4 | x | 275 | = | 1100 | 0 | x | 90 | = | 0 | 1100 | Days | 897 | Days
5 | Vehicle with Driver | 1 | x | 8 | = | 8 | 2 | x | 3 | = | 6 | 14 | Months | 14 | Months
6 | Crane Operator | 1 | x | 275 | = | 275 | 4 | x | 90 | = | 360 | 635 | Days | 594 | Days
7 | Accountant | 1 | x | 9 | = | 9 | 1 | x | 3 | = | 3 | 12 | Months | 12 | Months
8 | Computer Operator | 1 | x | 275 | = | 275 | 1 | x | 90 | = | 90 | 365 | Days | 318 | Days
9 | Office Sub Ordinate | 1 | x | 9 | = | 9 | 1 | x | 3 | = | 3 | 12 | Months | 12 | Months
10 | Security Persons | 17 | x | 275 | = | 4675 | 17 | x | 90 | = | 1530 | 6205 | Days | 6116 | Days
11 | Un Skilled Persons | 8 | x | 275 | = | 2200 | 8 | x | 90 | = | 720 | 2920 | Days | 2742 | Days

## Consumables
4. PROCUREMENT OF LUBRICANTS AND CONSUMABLES FOR EACH PUMP HOUSE FOR MAINTENANCE WORK DURING OPERATION OF PUMPS
For each pump house the material is to be maintained at site store and should be used as per requirement. Other sites material can be adjusted in case of excess requirement.
Sl.No. | Consumable Item | Quantity | Unit | Rate | Ref | Amount
.1. | .2. | .3. | .4. | .5. | .6. | .7.
1 | Lubrication oil | 200 | Ltr | 267 | As per SSR | Rs. | 53400
2 | Grease | 50 | Kg | 282 | As per SSR | Rs. | 14100
3 | white Cotton waste | 200 | kg | 75 | As per market | Rs. | 15000
4 | Distilled water and acid | 2 | Lot | 2000 | As per market | Rs. | 4000
5 | Petrolium gelly | 20 | Kg | 650 | As per market | Rs. | 13000
| TOTAL |  | per year / 1 Pump House is |  |  | Rs. | 99500
| For 2 Pump Houses x Rs. 89350 per pumping season = |  |  |  | 2 | x | 99500
|  | Total= Rs. |  |  |  | 199000
| Grand Total Per Year for 2 PH's = |  |  |  |  | 199000

## Electrical Spares
GKLIS STAGE -1 & 2 Pump Houses
A. Electrical Spares Quotations Rates as per the year-2020-21 & 2021-22::
S.No | Description of material | Invoice No. | Invoice Date | Supplying Agency Name | Material Name | Qty | Unit | Per Rate | Amount
.1. | .2. | .3. | .4. | .5. | .6. | .7. | .8. |  | .9.
1 | Supply of FCMA Soft Starter module device with AC electrical motors to temporarily reduce the load and torque in the powertrain and electric current surge of the motor during start-up complete material including Transportation to site. | DSO 01/20-21 | 2020-05-21 | ELTECH ENGINEERING | FCMA SOFT STATER MODULE | 1 | No | 480000 | 480000
2 | Supply of 175 A Fuses of 6.6kv used for protection of motor breaker & 80 A fuses are Used for capacitor bank protection complete material including Transportation to site. | 30 | 2020-06-08 | ADLB | 6.6KV 175A MOTOR BREAKER FUSES | 6 | Nos | 11350 | 104300 | 480000
.6.: 6.6KV 80A MOTOR CAPACITOR BANK FUSES; .7.: 6; .8.: Nos | 5550 |  | 101400
.6.: COURIER CHARGES; .8.: Lot | 2900
3 | Supply of 283.33 kvar, 6.35Kv,1 ph, 50 Hz type APP HT Capacitor for maintainaing the maximum power factor with low consumption of power by motors. | 1154 | 16.06.2020 | Megha Engineering | 283.33 kvar, 6.35Kv,1 ph, 50 Hz type APP HT Capacitor | 18 | Nos | 32500 | 585000
4 | Supply of spares in battery charger for providing DC supply in the control panel room complete material including Transportation to site. | G0052 | 2020-07-29 | SERVILINK ENG | BATTERY CHARGER SPARES (PCB BOARD) | 2 | Nos | 7500 | 15950
.6.: COURIER CHARGES; .8.: Lot | 950
5 | Supply of 110 V DC tripping coils & Closing Coils to release & closing the energy componentsin circuit breakers for switching the high currents used in HT panel - Motor breaker and 12 KV 100A fuse is a high votage fuseinterrupt fault currents used in the electrical circuits-Capacitor banks with all Complete material including Transportation to site. | 37 | 2020-09-02 | ADLB | 110 V DC TRIPPING COIL | 15 | Nos | 3300 | 333950
.6.: 110 V DC CLOSING COIL; .7.: 15; .8.: Nos | 3300 |  | 550 | 49500
.6.: 12 KV 100A FUSE; .7.: 40; .8.: Nos | 5850 |  | 9100 | 234000
6 | Supply of Digital insulation tester used for Motor insulation testing purpose | 796 | 2020-09-08 | MOHAN MARKETING | KYORITSU DIGITAL INSULATION TESTER | 1 | Nos | 64102 | 64102 | 333950
7 | Supply of MFM( Multifunctional Module) used for various functions in the electrical installations such as measurementof rated voltage,currrent ,frequency ,power and is used in HT panel motor feeder & incomer | 39 | 2020-09-12 | ADLB | SCHNEIDER MFM METER | 25 | Nos | 10925 | 273125
8 | Supply of digital Clamp Meter is a type of testing equipment used to measure voltage & current values in a Live conductor without power loss and interruption. | 848 | 2020-09-16 | MOHAN MARKETING | FLUKE DIGITAL CLAMP METER | 5 | Nos | 36570 | 182850
9 | Supply of 7.2KV 175 A MOTOR BREAKER FUSE using at stage-2 6.6kv motor breaker | 48 | 2020-11-16 | ADLB | 7.2KV 175 A MOTOR BREAKER FUSE | 6 | Nos | 11350 | 118050 | 68100
.2.: Supplying of 7.2KV 80A CAPACITOR BANK FUSE using stage-2 capacitor bank; .6.: 7.2KV 80A CAPACITOR BANK FUSE; .7.: 9; .8.: Nos | 5550 |  | 49950
10 | supply of 6 sqmm X 4 core cu cable used to EOT crane motor supply purpose & general purpose | 100 | 14/04/2021 | SUN ELECTRICALS | 6 SQMM X 4 C CU CABLE | 200 | Mtr | 216 | 206977
.2.: supply of 4 sqmm cu cable used to EOT crane motor supply purpose & general purpose; .6.: 4 SQMM CU WIRE; .7.: 180; .8.: Mtr | 31.86
.2.: supply of 2.5sqmm cu cable used to HT panel control wiring & general purpose; .6.: 2.5SQMM CU WIRE; .7.: 180; .8.: Mtr | 21.62
.2.: Supply of 25 sqmm 4 core cable used for general purpose lightning & suge tank valve supply pupose in the Pump house; .6.: 4 C X 25 SQMM AL CABLE; .7.: 966; .8.: Mtr | 138.04
.2.: Transportation to site.; .6.: COURIER CHARGES; .8.: Lot | 14796
11 | Supply of silica gel used in the breather of Power Transformers for controlling the moisture entering the equipment in the substation. | 844 | 2020-11-19 | HONESTY TOOL | SILCA GEL | 50 | Kg | 240 | 12000 | 273125
12 | Supply of Exide XP800 Battery used for for lighting back up in the pumphouse Including Discount. | 6130 | 2020-12-09 | SK TRADERS | EXIDE XP800 BATTERY | 20 | Nos | 4867.1 | 97342 | 118050
13 | Supply of 1000 SQMM CABLE KIT Transformer to HT panel cable | TG20200939 | 2021-01-23 | RITHVIK ENTERPRISES | 1000 SQMM CABLE KIT | 20 | Nos | 2654 | 53080
.1.: Total Electrical Spares Amount for the Year:2023-24 |  | 2526726

## Mech Spares
B.Mechanical Spares Quotations as per the Year-2020-2021 & 2021-22::
S.No | Description of material | Invoice No. | Invoice Date | Supplying Agency Name | Material Name | Qty | Unit | Rate/Unit | Amount
.1. | .2. | .3. | .4. | .5. | .6. | .7. |  | .8. | .9.
1 | Supply of RD70B & RD180B Gearboxes For controlling water located near surge tanks | 20211230 | 2020-05-11 | R&D MULTIPLES | RD70B GEAR BOX | 2 | No's | 6933 | 127866
[5 empty] | RD 180B GEAR BOX | 2 | No's | 122967 | 245934
2 | Supply os cast iron Stool used In small spaces, stools provide extra seating and are easily tucked away when they're not needed. They double as ottomans, | 134 | 2022-01-04 | SIVA ENGINEERING WORKS | Cast iron stool | 2 | Nos | 96000 | 192000
3 | Supply of Rubber Bearings used as part of the steel frames and also for bridges, and are designed to minimise resistance resulting from movement within metal or steel frames, and function as structural bearings. | 135 | 2022-01-06 | SIVA ENGINEERING WORKS | rubber metal filling and machining of rubber bearing | 12 | Nos | 26000 | 312000
4 | Supply of Shafts & other accessories for Stage-I Pumps. | 1410 | 2022-01-23 | MEIL | MS STRUCTURES | 15.1 | MT | 175854 | 2655400
5 | Supply of gate valve is generally used to completely shut off fluid flow or, in the fully open position, provide full flow in a pipeline | 124 | 2022-02-16 | General supply agencies | 40mm Gate valve | 10 | Nos | 6265 | 37590
6 | Supply of white metals are a series of often decorative bright metal alloys used as a base for plated silverware, , as well as any of several lead-based or tin-based alloys used for things like bearings, fusible plugs,etc.., | 105 | 2022-03-24 | DEEPTHI INDUSTRIES | White metal filling and machining of bearing | 6 | Nos | 54800 | 328800
7 | Supply of the Rubber seals are suitable for a wide range of applications. Versatile features of rubber include flexibility, elasticity, strength and friction. Rubber seals also prevents vibration and are airtight and watertight near gates. | 70 | 2020-06-18 | HYDERABAD RUBBER PRODUCT | 83*10 MM FLAT Rubber seal | 11 | Mts | 290 | 24505
[5 empty] | Bulb Rubber Seal | 30 | Mts | 710.5
8 | Supply of Nut and Bolts For jointing column pipes during mainteance. | 103 | 2020-07-20 | ARAVETI MOTOR WORKS | 16 X 70 BOLT | 50 | No's | 3800 | 24347
[5 empty] | 16 X 80 BOLT | 50 | No's | 4650
[5 empty] | 27 X 100 BOLT | 20 | No's | 8300
[5 empty] | E LENKY BOLT | 30 | No's | 2280
[5 empty] | 28 MM BOLT | 2 | No's | 1100
[5 empty] | WD 40 | 5 | No's | 1778
9 | Supply of HT rods full thread REJ Tie rod purpose and Supply of Nuts and Bolts for tightning. | 717 | 2020-07-21 | FASTENERS4U ENTERPRISES | 16MM HT RODS FULL THREAD | 5 | No's | 750 | 15450
[5 empty] | 8MM HT RODS FULL THREAD | 10 | No's | 250
[5 empty] | 8MM HT NUTS | 50 | No's | 4
[5 empty] | 16 X 75 COUNTER ELNKEY BOLTS | 120 | No's | 75
10 | Supply of 29444E Roller bearings accommodate very heavy axial loads and considerable radial loads Used in pump bearing housing | 7991 | 2020-07-22 | SUNRISE BERING CORAPORATION | 29444E Roller Bearing | 6 | No's | 200000 | 1200000
11 | Supply of Shaft couplings are used for power and torque transmission between two rotating shafts such as on motors and pumps, compressors, and generators. | TS/3857 | 2020-10-22 | MEIL | SS STRUCTURES(SHAFT AND COUPLINGS) | 7.24 | Mts | 21602.21 | 1532000
12 | Supply of Welding Materials Used for General welding works | 1153 | 2020-12-05 | SANTOSH ENTERPRISES | SUPERON 6013 WELLDING RODS 3.15*350MM | 30 | Sets | 1324 | 144340
[5 empty] | SUPERCAST AC 55 3.15MM | 6 | Kg | 3140
[5 empty] | SUPERON 7018 WELLDING RODS 4MM | 20 | Sets | 1925
[5 empty] | SUPERON WELLDING RODS 6013 4MM | 30 | Sets | 1576
13 | Supply of Rubber expansion joints are used in piping installations to compensate for thermal growth, relieve piping stress during operation, and reduce vibration and noise caused by rotating equipment. | 1964 | 2021-01-11 | CORI ENG PVT LTD | 1500x380 MM REJ | 4 | No's | 340000 | 2760000
[5 empty] | 1500x400 MM REJ | 4 | No's | 350000
14 | Supply of Safety material for Use electrical gloves and footwear while handling electrical materials as they provide basic safety. Take extra precautions like using a face shield, fire-resistant helmet and protective eyewear and earmuffs while working with wiring or if you are in close contact with electrical equipment. | 543 | 2021-03-15 | WORKMATE WORK PLACE SOLU | T TROP BEN-09-06 | 3 | PRS | 795 | 80400
[5 empty] | T TROP BEN-09-07 | 10 | PRS | 795
[5 empty] | T TROP BEN-09-08 | 20 | PRS | 795
[5 empty] | T TROP BEN-09-09 | 20 | PRS | 795
[5 empty] | T TROP BEN-09-10 | 25 | PRS | 795
[5 empty] | T TROP BEN-09-11 | 12 | PRS | 795
[5 empty] | WM STEEL 01-08 | 10 | PRS | 295
[5 empty] | WM STEEL 01-09 | 10 | PRS | 295
[5 empty] | WM STEEL 01-10 | 10 | PRS | 295
Total Mechanical Spares Amount for the Year:2020-21 | [8 empty] | 9680632

## Data
DATA
(As per AP SSR 2022-23)
Sl.No | DESCRIPTION OF ITEM | Quantity | Unit | Rate/Day | ITEM CODE
.1. | .2. | .3. | .4. | .5. | .6.
1 | Supervisor (ITI certificate holder) | 1 | per day | 705 | Sl.no 9 (other category) | LAB-00132
2 | Lift/crane operator | 1 | per day | 690 | Sl no 20 of(skilled ) | LAB-00020
3 | Semi skilled fitter | 1 | per day | 565 | Sl no 9 of(semi-skilled ) | LAB-00065
4 | Electrician | 1 | per day | 700 | Sl no 5 of(skilled category ) | LAB-00005
5 | Fitters | 1 | per day | 660 | Sl no 6 of(skilled category ) | LAB-00006
6 | Non-ITI helpers | 1 | per day | 565 | Sl no 23 of (semi-skilled ) | LAB-00079
7 | Store Keeper with Computer knowledge | 1 | per day | 770 | SI No.11 ( other category) | LAB-00134
8 | Team Leader-Graduate | 1 | per day | 1255 | Sl.No.09 (other costs on material/machinery/Equipment) | MAT-00696
9 | Graduate Engineer | 1 | per day | 1255 | Sl.no 29 (other costs on material/ machinery/Equipment) | MAT-00712
10 | Diploma Engineer | 1 | Per day | 975 | Sl .no.07 (other category) | LAB-00130
11 | Graduate/Accounts Officer | 1 | Per day | 720 | Sl .no.07 (other category) | LAB-00130
12 | Literate Mazdoor | 1 | Per day | 540 | sl .no.04( other category) | LAB-00127
13 | Man Mazdoor/Unskilled worker | 1 | Per day | 525 | sl .no.06( other category) | LAB-00129
14 | Lubricants | 1 | Ltr | 267 | sl .no.10 ( other category) | LAB-00133
15 | Grease | 1 | Kg | 282 | sl .no.3 ( Unskilled Category) | LAB-00120 | 1