Client/Body name:_______________________________________				Date:________________

Basic Information:

What kind of Body: Pool   Spa   Wading Pool   Kiddie Pool   Lazy River   Splash Pad   Slide Pool   Wave Pool

Body Style:    Plaster     Vinyl     Fiberglass		 Rectangular Dimensions: ____’ L x ____’ W x Avg D ____’ x 7.5 = ________ Gallons.

Filter media:   Sand     Cartridge      D.E       Other _________________________            Round Dimensions: π x ____2x 7.5 = ________Gallons.

Required Flow rate = Total Gallons x 5 turnovers per day = ____________ Gallons per day. (GPD)       Test Log Present?:  Yes  or  No

____________GPD / 24 hours = ________ GPH     ________GPH / 60 minutes = ________ MINIMUM Gallons per minute (GPM)

Maximum Allowed Bather Load Allowed: _______ Bathers (1 bather/ 5 gpm turnover for pool/day) (1 bather/ 10 sq ft of surface area)

# of returns: _________	# of skimmers ________       Brand/Style of skimmers _________________________________

# of main drains ________            Brand/Style/Production year of main drain covers ____________________________________

# of vacuum lines ________           Automatic Cleaner?    Pressure side        Suction Side      Independent Unit      None

# of lights ________                Brand/Size/voltage of lights ______________________________

# of Rope Anchors _______   Are wall anchors corrosion resistant and recessed (do not protrude past flush with the wall)  Yes  or  No

# of access ladders ______     # of handrails ______

Is there both side access ladders for pools over 30’ wide?  Yes  or  No  or  N/A

Are any ladders or handrails loose/unable to be tightened?  Yes  or  No

Do ladders have loose or missing treads?  Yes  or  No

Is there a thermometer present to check temperature?   Yes  or  No

Is there a shower located within 100’ of the pool specifically for the use of guests/residents to rinse off before entering the water?  Yes  or  No

Does all of the equipment have the required clearances around them?  Yes or No

Are there junction boxes located on the deck behind the light fixtures?  Yes  or  No

Is/Are the pool light(s) gfci protected?  Yes  or  No

Is there a working emergency LAND LINE phone located within 200’ of the pool, with a sign next to the phone which gives dialing instructions, the exact location of the pool, the phone number, and other directions to help give guidance to the EMS personnel (tested and verified)?  Yes  or  No

Is there a working water spigot within 50’ of all areas of the pool and pool deck?  Yes  or  No

Are there written instructions in the pump area to operate the system?  Yes  or  No

Are MSDS sheets for all chemicals provided visibly and easily accessible in the pump room?  Yes  or  No

Are there at least (2) “No Diving” signs and (2) “No Lifeguard on Duty" signs posted visibly from all areas of the pool deck?  Yes  or  No

Is the pool deck AND inside waterline of the pool marked with 6” depth tiles indicating the “feet” the “inches” AND a no diving tile that uses the diving symbol with a red circle around it on all 4 sides of the pool, located at “the shallow-end minimum depth”; “At every break or change in floor slope”; “At the deep-end wall and the maximum/deepest point if it is more than 5 feet from that wall”;  “On both sides of the pool, with additional perimeter locations as needed so no two markers are more than 25 feet apart?“  Yes  or  No

Is there a “Pool Rules” sign including maximum swimmers allowed filled out and conspicuously posted?  Yes  or  No

Is there at least (1) 16’ solid, NON-CONDUCTIVE pole with a Shepard’s crook through bolted located on the pool deck?  Yes  or  No

Is there at least (1) 24” life ring, with at least 75’ of 3/8” thick rope?  Yes  or  No

Is there a properly stocked First Aid kit present and accessible, mounted on the pool deck?  Yes  or  No

Is there a floating backboard with straps and a head immobilizer present?  Yes  or  No

Is/Are there wheelchair lift(s) located to permit access to disabled guests/residents/members/visitors?  Yes  or  No

Does the property have its own basic equipment in good working shape to maintain the pool? (8-16’ pole, vacuum hose, vac head, skimmer net, nylon bristle brush, test kits capable of checking free chlorine, ph, alkalinity, calcium and cyanuric acid, salt, phosphates and metals where applicable)  Yes  or  No

Is there a logbook on site to record chemical readings, temperature readings, chemical dosages added, and record tasks completed and observations made?   Yes  or  No

Is there a DIGITAL logbook kept somewhere to record chemical readings, temperature readings, chemical dosages added, and record tasks completed and observations made?   Yes  or  No

Is there a fence around the pool area?  Yes  or  No

Does the fence have self-closing, self-latching gates at least 60” tall with a handle or access at, AT LEAST 54” high off the ground?  Yes  or  No

Are openings in the fence around the pool 4” or less?  Yes  or  No

Are there any breaks, bends, or missing or incomplete sections of fence that could allow unintentional access?  Yes  or  No

Pump(s):

Circulation Pump:           Single Spd   2 spd   VSP   EQ commercial     Pump Make/Model/HP ___________________________    SVRS?  Yes  or  No

Is the pump DOE Compliant?  Yes  or  No                   External SVRS device installed, tested and operating properly? ________________________

Properly Installed and functional Flow Meter working? ___________________________________        Flow Meter reading ___________GPM

Pump GFCI Protected?  Yes  or  No             Pump properly electrically Bonded?  Yes  or  No             Total HP ____     SF____

Pump basket present and fully intact?  Yes  or  No

2nd Pump:           Single Spd   2 spd   VSP   EQ commercial     Pump Make/Model/HP ___________________________    SVRS?  Yes  or  No

Is the pump DOE Compliant?  Yes  or  No                   External SVRS device installed, tested and operating properly? ________________________

Properly Installed and functional Flow Meter working? ___________________________________        Flow Meter reading ___________GPM

Pump GFCI Protected?  Yes  or  No             Pump properly electrically Bonded?  Yes  or  No              Total HP ____     SF____

Pump basket present and fully intact?  Yes  or  No

3rd Pump:           Single Spd   2 spd   VSP   EQ commercial     Pump Make/Model/HP ___________________________    SVRS?  Yes  or  No

Is the pump DOE Compliant?  Yes  or  No                   External SVRS device installed, tested and operating properly? ________________________

Properly Installed and functional Flow Meter working? ___________________________________        Flow Meter reading ___________GPM

Pump GFCI Protected?  Yes  or  No             Pump properly electrically Bonded?  Yes  or  No               Total HP ____     SF____

Pump basket present and fully intact?  Yes  or  No

4th Pump:           Single Spd   2 spd   VSP   EQ commercial     Pump Make/Model/HP ___________________________    SVRS?  Yes  or  No

Is the pump DOE Compliant?  Yes  or  No                   External SVRS device installed, tested and operating properly? ________________________

Properly Installed and functional Flow Meter working? ___________________________________        Flow Meter reading ___________GPM

Pump GFCI Protected?  Yes  or  No             Pump properly electrically Bonded?  Yes  or  No               Total HP ____     SF____

Pump basket present and fully intact?  Yes  or  No

Filter(s)

Filter #1

Filter media:   Sand      Glass     Cartridge      D.E       Other _________________________

Filter Make: _______________________          Last time filter media was replaced? ________________

Filter Model:_______________________               Flow:     Flow through           Multiport          Manifold              Backwash/Drain Line?  Yes  or  No

Filtration Area: _______________             Maximum Flow Rate/Sq Ft. _________GPM          Maximum Operating Pressure __________ Psi

__________lbs of sand         ___________ Scoops of D.E               ___________ Filter Elements

Filter #2

Filter media:   Sand      Glass     Cartridge      D.E       Other _________________________

Filter Make: _______________________          Last time filter media was replaced? ________________

Filter Model:_______________________               Flow:     Flow through           Multiport          Manifold              Backwash/Drain Line?  Yes  or  No

Filtration Area: _______________             Maximum Flow Rate/Sq Ft. _________GPM          Maximum Operating Pressure __________ Psi

__________lbs of sand         ___________ Scoops of D.E               ___________ Filter Elements

Filter #3

Filter media:   Sand      Glass     Cartridge      D.E       Other _________________________

Filter Make: _______________________          Last time filter media was replaced? ________________

Filter Model:_______________________               Flow:     Flow through           Multiport          Manifold              Backwash/Drain Line?  Yes  or  No

Filtration Area: _______________             Maximum Flow Rate/Sq Ft. _________GPM          Maximum Operating Pressure __________ Psi

__________lbs of sand         ___________ Scoops of D.E               ___________ Filter Elements

Filter #4

Filter media:   Sand      Glass     Cartridge      D.E       Other _________________________

Filter Make: _______________________          Last time filter media was replaced? ________________

Filter Model:_______________________               Flow:     Flow through           Multiport          Manifold              Backwash/Drain Line?  Yes  or  No

Filtration Area: _______________             Maximum Flow Rate/Sq Ft. _________GPM          Maximum Operating Pressure __________ Psi

__________lbs of sand         ___________ Scoops of D.E               ___________ Filter Elements

Heating

Heater #1

Heater Manufacturer __________________________         Heating Method:   Natural Gas (ng)     Liquid Propane (LP)   Electric Heat Pump    Solar

Heater Model ________________________________         Electric Element    Geothermal     Hydronic Heat Exchanger    Other _______________

BTU _______________           Heater GFCI Protected?  Yes  or  No        Heater Properly Electrically Bonded?  Yes  or  No

Heater Ducting properly installed?  Yes  or  No    Notes_________________________________________________________________________

Is there a check valve installed AFTER the heater and BEFORE any chemical injections?  Yes  or  No

Is the Heater ASME compliant?  Yes  or  No

Does the heater have positive vent pressure  Yes  or  No

Heater #2

Heater Manufacturer __________________________                Heating Method:   Natural Gas (ng)     Liquid Propane (LP)   Electric Heat Pump    Solar

Heater Model ________________________________                Electric Element    Geothermal     Hydronic Heat Exchanger    Other ___________

BTU _______________           Heater GFCI Protected?  Yes  or  No        Heater Properly Electrically Bonded?  Yes  or  No

Heater Ducting properly installed?  Yes  or  No    Notes_________________________________________________________________________

Is there a check valve installed AFTER the heater and BEFORE any chemical injections?  Yes  or  No

Is the Heater ASME compliant?  Yes  or  No

Does the heater have positive vent pressure  Yes  or  No

Heater #3

Heater Manufacturer __________________________                Heating Method:   Natural Gas (ng)     Liquid Propane (LP)   Electric Heat Pump    Solar

Heater Model ________________________________                Electric Element    Geothermal     Hydronic Heat Exchanger    Other ___________

BTU _______________           Heater GFCI Protected?  Yes  or  No        Heater Properly Electrically Bonded?  Yes  or  No

Heater Ducting properly installed?  Yes  or  No    Notes_________________________________________________________________________

Is there a check valve installed AFTER the heater and BEFORE any chemical injections?  Yes  or  No

Is the Heater ASME compliant?  Yes  or  No

Does the heater have positive vent pressure  Yes  or  No

Heater #4

Heater Manufacturer __________________________                Heating Method:   Natural Gas (ng)     Liquid Propane (LP)   Electric Heat Pump    Solar

Heater Model ________________________________                Electric Element    Geothermal     Hydronic Heat Exchanger    Other ___________

BTU _______________           Heater GFCI Protected?  Yes  or  No        Heater Properly Electrically Bonded?  Yes  or  No

Heater Ducting properly installed?  Yes  or  No    Notes_________________________________________________________________________

Is there a check valve installed AFTER the heater and BEFORE any chemical injections?  Yes  or  No

Is the Heater ASME compliant?  Yes  or  No

Does the heater have positive vent pressure?  Yes  or  No

Plumbing:

Plumbing sizes (circle all that apply):  ¼”   ½”   ¾”   1”   1.25”   1.5”   2”   2.5”   3”   4”   5”   6”   7”   8”   9”   10”  11”   12”   13”   14”   15”  16”

Plumbing Materials (circle all that apply):    Schedule 40 PVC hard pipe     Schedule 80 PVC hard pipe     Poly Pipe    Copper Pipe

Hollow Core/Drain Plumbing           Schedule 40 Flexible Pipe          Other________________________

Is there a fill line plumbed in?  Yes  or  No           Fill line size? ________          Manual or Auto Fill? ____________

Fill line Material? ________________           Is fill line installed on suction side or pressure side? ____________________________

Is the system open loop? (Are there any closeable valves on the return side plumbing that can cause pressure to build in the system while running – requiring an HVAC company to inspect it as a pressurized system and have a current inspection tag)  Yes  or  No

Does fill line have a back flow preventer installed if on pressure side?  Yes  or  No

Is all plumbing securely and properly supported?  Yes  or  No

Does plumbing use positive sealing valves?  Yes  or  No           Is there a properly installed flow meter reading accurately?  Yes  or  No

Is the system designed to reduce friction losses to a minimum? This means reducing the number of elbows, unnecessary valves, detours, fittings, etc. Are the lines plumbed in a clean direct fashion, maximizing access, serviceability, stability and promoting good flow and fluid dynamics?   Yes  or  No

Is the plumbing schedule 40 or schedule 80 pvc “hard pipe” and fittings? “Flex-PVC”,  “hollow core” or “drain pipe” fittings are not rated for pool/spa applications.   Yes   or   No

Is there 1 Surface skimmer/ every 400 sq ft of surface area?  Yes or No

Do all skimmers have proper strainer basket, fully seated with no broken parts or cracks?  Yes or No

Is the plumbing insulated to protect it from UV, temperature and other environmental factors?  Yes  or  No

Is the plumbing labeled to identify flow direction?  Yes  or  No

Is there a vertical air gap in the backwash line at least 2× the diameter of the discharging pipe diameter, for drainage air gaps backwash line diameter?  Yes  or  No

If a backwash surge tank is present, is it able to hold a volume of water sufficient to 5 minutes of backwash run time for the given system  N/A  or  Yes  or  No

Chemicals

- Chemical Readings – See separate skimmer report via email

- Body of water has an automatic or mechanical disinfectant feeder?  Yes  or  No

- Sanitizer equipment has an adjustable feed-rate control and is designed to provide the required disinfectant residual?  Yes  or  No

- Is the Department-approved disinfectant, automated, metered, and controlled?  Yes  or  No

- If the pool is 50k+ gallons, is there automatic or mechanical chemical-feed equipment for pH control?  Yes  or  No  or N/A

- Does the pH feed system shut off automatically when circulation flow is interrupted?  Yes  or  No  or  N/A

- If chemical injection is present, are the injectors located AFTER a check valve in the return line?  Yes  or  No  or  N/A

- Are chemicals stored in their own room – NOT the pump/equipment room?  Yes  or  No

- Is chemical room locked and unavailable to swimmers or the public?  Yes  or  No

- Are chemicals stored out of sunlight in a cool ( <95F ), dry, environment?  Yes  or  No

- Are any bulk bagged chemicals stored in CLEARLY MARKED, CORROSION RESISTENT containers with TIGHT LIDS?  Yes  or  No  or N/A

- Are chemicals packaged in absorbent containers at least 6 inches off the floor on non-flammable surfaces?  Yes  or  No  or  N/A

- Pool chemicals not stored with:  Insecticides, Herbicides, Fertilizers, or Liquid petroleum products?  Yes  or  No

- Are acids stored separately from bases and oxidizers?  Yes  or  No

- Are any liquid chemicals stored above or adjacent to dry chemicals?   Yes  or  No

- Is any chemical room storage shelving stable/secure? Are any chemicals stored above eye level?   Yes  or  No

Electrical

- All powered equipment wired to their own circuit breakers, with gfci circuit breakers?  Yes  or  No

- All electrical equipment, as well as metal housings, light niches, handrail/ladder anchors, pool shell all properly bonded?  Yes   or   No

- Outlets and switches are properly sized and rated for their assigned use?  Yes  or  No

- Are electrical connections properly run in liquid tight conduit and fittings?  Yes  or  No

- Is all equipment wired correctly and fed with the proper voltage?  Yes  or  No

- Wiring clean organized, and properly supported as required by code?  Yes  or  No

- Is there an accessible-but-public-secured emergency shutdown station that disables circulation, mechanical, chemical-feed, and electrical devices?  Yes  or  No

Surface/Finish

- Overall condition of the surface (1-10) 1 being “completely failed” and 10 being “new condition”):

- Surface has a smoothe and even tone and appearance?  Yes  or  No

- Surface has no visible cracking, pitting, chipping, flaking or freeze damage?  Yes  or  No

- Edges of stairs, benches, sun shelves, etc. straight and even?  Yes  or  No

- Visible staining or chemicals burns?  Yes  or  No

- Visible signs of “trowel burn” or overworking plaster around edges?  Yes  or  No

- Visible signs of “mottling” or “hydration” issues during the curing of the plaster?  Yes  or  No

- Visible staining to the surface?  Yes  or  No   Color?:   Blue   Green   Brown   Purple   Black  Yellow   White

- Waterline tile grout clean and full throughout all joints without any gaps or missing section which allow water behind the tile?  Yes  or  No

- Waterline tile surface is maintaining its intended finish and is not foggy, cracked, or have surface spalding?  Yes  or  No

- Waterline tile is not “popping off” or showing any lack of bonding at any points?  Yes  or  No

- Is there contrasting stair or bench step edges?  Yes  or  No

Deck Area:

Is there a flex joint of at least ½” located between the pool coping and concrete deck?  Yes  or  No

Is pool coping of a safety style designed to be both non-slip and a “hand hold” for swimmers in the pool?  Yes  or  No

Is pool deck sloped away from the pool edge to either the surrounding landscape or a drain?  Yes  or  No

Is there 5’ of unobstructed space between the edge of the pool and any furniture or obstructions on the deck?  Yes  or  No

Does the deck have standing water, or is it ponding anywhere?  Yes  or  No

Does the deck have any broken, chipped, pitting or flaking concrete?    Yes  or  No

Are there proper control joints at about every 8’-12’ in the slab pour?   Yes  or  No

Does the deck have a non-slip finish?  Yes  or  No

Does the deck have a thermal insulative coating such as a “Kool deck”?  Yes  or  No

Color of the deck?  ________________________________

Are there deck drains present, clean and functioning?  Yes  or  No

# Recommended Items to Correct

Urgent (Needed for system to function safely and to code, or work is past its regularly recommended service interval):

a)

b)

c)

d)

e)

f)

Should Do (Is highly recommended for optimal functionality or work is AT its regularly recommended service interval):

a)

b)

c)

d)

e)

f)

Can Do (Things that are NOT urgently required for safety or normal operation but may optimize, enhance, exceed or stay ahead of potential issues):

a)

b)

c)

d)

e)

f)