## Panasonic Dist Net
New Items
Effective Date October 15, 2025 |  | Price Change
Supersedes all Previous Price Lists
Order Placement, Email to: PESNA-IAQ@us.panasonic.com
Order Support : (866) 292-7299, Follow prompts for Region
Model Number | Product Family | Product Family / Description | Country of Origin | UPC | Unit of Measure | Pallet Qty. / Notes | List | MAP
FV-0511VK3 | WhisperGreen® Select | WhisperGreen®Select Single Speed Fan, high speed 50/80/110 CFM, <0.3/<0.3/<0.3 sone, ENERGY STAR® Most Efficient - qualified, 2x8 construction | MX | 8 85170 41842 4 | 1 | 30 | 289 | 192.99
FV-0511VKL3 | WhisperGreen® Select | WhisperGreen®Select Single Speed Fan/Dimmable LED Light & Night-light, high speed 50/80/110 CFM, <0.3/<0.3/<0.3 sone, ENERGY STAR® Most Efficient -qualified, 2x8 construction | MX | 8 85170 41846 2 | 1 | 30 | 428 | 270.99
FV-1115VK3 | WhisperGreen® Select | WhisperGreen®Select Single Speed Fan, high speed 110/130/150 CFM, <0.3/<0.3/<0.3 sone, ENERGY STAR® Most Efficient - qualified, 2x8 construction | MX | 8 85170 41844 8 | 1 | 30 | 363 | 240.99
FV-1115VKL3 | WhisperGreen® Select | WhisperGreen®Select Single Speed Fan/Dimmable LED Light & Night-light, high speed 110/130/150 CFM, <0.3/<0.3/0.4 sone, ENERGY STAR® Most Efficient - qualified, 2x8 construction | MX | 8 85170 41848 6 | 1 | 30 | 541 | 331.99
FV-0511VKS3 | WhisperGreen® Select | WhisperGreen®Select Dual Speed Fan, high speed 50/80/110 CFM, low speed 30-100 CFM for continuous operation, <0.3/<0.3/<0.3 sone, ENERGY STAR® Most Efficient-qualified, 2x8 construction | MX | 8 85170 41843 1 | 1 | 30 | 323 | 213.99
FV-0511VKSL3 | WhisperGreen® Select | WhisperGreen®Select Dual Speed Fan/Dimmable LED Light & Night-light , high speed 50/80/110 CFM, low speed 30-100 CFM for continuous operation, <0.3/<0.3/<0.3 sone, ENERGY STAR® Most Efficient-qualified, 2x8 construction | MX | 8 85170 41847 9 | 1 | 30 | 462 | 281.99
FV-0511VKS3S | WhisperGreen® Select | WhisperGreen®Select Dual Speed Fan/Architectural Grille, high speed 50/80/110 CFM, low speed 30-100 CFM for continuous operation, <0.3/<0.3/<0.3 sone, ENERGY STAR® Most Efficient-qualified, 2x8 construction | MX | 8 85170 41845 5 | 1 | 30 | 350 | 232.99
FV-0511VKSL3K | WhisperGreen® Select | WhisperGreen®Select Dual Speed Fan/Architectural Grille with 5 CCT LED Light and Night Light , high speed 50/80/110 CFM, low speed 30-100 CFM for continuous operation, <0.3/<0.3/<0.3 sone, ENERGY STAR® Most Efficient, 2x8 construction | MX | 8 85170 41878 3 | 1 | 30 | 590 | 392.99
FV-CMVK3 | WhisperGreen® Select Motion/Condensation Sensor Module | Smart Action® Combined Motion Sensor + Condensation Sensor; For all New WhisperGreen® Select Models FV-0511VK3; FV-0511VKL3; FV-1115VK3; FV-1115VKL3; FV-0511VKS3; FV-0511VKSL3; FV-0511VKS3S; FV-0511VKSL3K | MX | 8 85170 41966 7 | 5* | Single Piece Price/ Case Quantity of 5 *Subject to Broken Pack Service Charge if MOQ not met | 90 | 76.99
FV-0511VK2 | WhisperGreen® Select | WhisperGreen®Select Single Speed Fan, high speed 50/80/110 CFM, <0.3/<0.3/<0.3 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 33734 3 | 1 | 30 | 289 | 192.99
FV-0511VKL2 | WhisperGreen® Select | WhisperGreen®Select Single Speed Fan/Dimmable LED Light & Night-light, high speed 50/80/110 CFM, <0.3/<0.3/0.4 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 33735 0 | 1 | 30 | 441 | 278.99
FV-1115VK2 | WhisperGreen® Select | WhisperGreen®Select Single Speed Fan, high speed 110/130/150 CFM, <0.3/<0.3/<0.3 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 33738 1 | 1 | 30 | 363 | 240.99
FV-1115VKL2 | WhisperGreen® Select | WhisperGreen®Select Single Speed Fan/Dimmable LED Light & Night-light, high speed 110/130/150 CFM, <0.3/<0.3/0.4 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 33739 8 | 1 | 30 | 541 | 331.99
FV-0511VKS2 | WhisperGreen® Select | WhisperGreen®Select Dual Speed Fan, high speed 50/80/110 CFM, low speed down to 30 CFM for continuous operation, <0.3/<0.3/<0.3 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 33736 7 | 1 | 30 | 323 | 213.99
FV-0511VKSL2 | WhisperGreen® Select | WhisperGreen®Select Dual Speed Fan/Dimmable LED Light & Night-light, high speed 50/80/110 CFM, low speed down to 30 CFM for continuous operation, <0.3/<0.3/0.4 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 33737 4 | 1 | 30 | 475 | 288.99
FV-VS15VK1 | WhisperGreen® Select | WhisperGreen®Select Variable Speed Module; For all WhisperGreen Models- FV-0511VK3; FV-0511VKL3; FV-1115VK3; FV-1115VKL3; FV-0511VKS3; FV-0511VKSL3; FV-0511VKS3S; FV-0511VKSL3K; FV-0511VK2; FV-0511VKL2; FV-0511VKS2; FV-0511VKSL2; FV-1115VK2; FV-1115VKL2 | MX | 8 85170 18005 5 | 8* | Single Piece Price/ Case Quantity of 8 *Subject to Broken Pack Service Charge if MOQ not met | 26 | 21.99
FV-MSVK1 | WhisperGreen® Select | WhisperGreen®Select Motion Sensor Module; For all WhisperGreen Models- FV-0511VK3; FV-0511VKL3; FV-1115VK3; FV-1115VKL3; FV-0511VKS3; FV-0511VKSL3; FV-0511VKS3S; FV-0511VKSL3K; FV-0511VK2; FV-0511VKL2; FV-0511VKS2; FV-0511VKSL2; FV-1115VK2; FV-1115VKL2 | MX | 8 85170 18006 2 | 8* | Single Piece Price/ Case Quantity of 8 *Subject to Broken Pack Service Charge if MOQ not met | 30 | 26.99
FV-CSVK1 | WhisperGreen® Select | WhisperGreen®Select Condensation Sensor Module; For all WhisperGreen Models- FV-0511VK3; FV-0511VKL3; FV-1115VK3; FV-1115VKL3; FV-0511VKS3; FV-0511VKSL3; FV-0511VKS3S; FV-0511VKSL3K; FV-0511VK2; FV-0511VKL2; FV-0511VKS2; FV-0511VKSL2; FV-1115VK2; FV-1115VKL2 | MX | 8 85170 18007 9 | 8* | Single Piece Price/ Case Quantity of 8 *Subject to Broken Pack Service Charge if MOQ not met | 76 | 64.99
FV-15NLFS1H | WhisperFresh™ Select | WhisperFresh®Select Customizable Fresh Air Supply Fan, adjustable for 50/60/70/80/90/100/110/130/150 CFM, adjustable relative humidity level setting from 30% to 80% (RH), 6" duct, MERV 13 filter included, ENERGY STAR®-qualified, | MX | 8 85170 43013 6 | 1 | 15 | 792 | 472.99
FV-FL0815NL1 | WhisperFresh® Select | WhisperFresh® Select MERV 8 Supply Air Replacement Filter | CN | 8 85170 33727 5 | 4* | 640 -Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 65.56 | 56.99
FV-FL1315NL1 | WhisperFresh™ Select | WhisperFresh® Select MERV 13 Supply Air Replacement Filter | CN | 8 85170 33726 8 | 4* | 640 -Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 70.16 | 59.99
WP100PBA | WhisperGreen® Select & WhisperFresh® Select Wi-Fi Control; BalancedHome™ and Intelli-Balance® Elite/Elite Plus+ ERV models | Wi-Fi Control Module- For WhisperGreen® Select Models FV-0511VK3; FV-0511VKL3; FV-1115VK3; FV-1115VKL3; FV-0511VKS3; FV-0511VKSL3; FV-0511VKS3S; FV-0511VKSL3K; WhisperFresh® Select (FV-15NLFS1H); BalancedHome™ ERV Models FV-16VEC1T; FV-16VEC1S; FV-13VEC1T; FV-13VEC1S; FV-15VE1T; FV-15VE1S; FV-12VE1T; FV-12VE1S; Intelli-Balance® ERV Models FV-15ESC1; FV-12ESC1; FV-14ES1; FV-11ES1 | CA | 6 28504 66516 9 | 8* | Single Piece Price/ Case Quantity of 8 *Subject to Broken Pack Service Charge if MOQ not met | 100 | 69.99
FV-0511VQ1 | WhisperCeiling® DC | WhisperCeiling®DC Fan, 50/80/110 CFM, <0.3/<0.3/<0.3 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 32493 0 | 1 | 30 | 250 | 167.99
FV-0511VQL1 | WhisperCeiling® DC | WhisperCeiling®DC Fan/Dimmable LED Light & Night-light, 50/80/110 CFM, <0.3/<0.3/0.4 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 32495 4 | 1 | 30 | 365 | 246.99
FV-1115VQ1 | WhisperCeiling® DC | WhisperCeiling®DC Fan, 110/130/150 CFM, <0.3/<0.3/<0.3 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 32494 7 | 1 | 30 | 327 | 245.99
FV-1115VQL1 | WhisperCeiling® DC | WhisperCeiling®DC Fan/Dimmable LED Light & Night-light, 110/130/150 CFM, <0.3/<0.3/0.4 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 32496 1 | 1 | 30 | 438 | 288.99
FV-0511VQC1 | WhisperSense® DC | WhisperCeiling®DC Fan/Motion & Condensation Sensor, 50/80/110 CFM, <0.3/<0.3/<0.3 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 32497 8 | 1 | 30 | 339 | 223.99
FV-0511VQCL1 | WhisperSense® DC | WhisperCeiling®DC Fan/Dimmable LED Light & Night-light/Motion & Condensation Sensor, 50/80/110 CFM, <0.3/<0.3/0.4 sone, ENERGY STAR®-qualified, 2x8 construction | MX | 8 85170 32639 2 | 1 | 30 | 449 | 310.99
FV-20VQ3 | WhisperCeiling® | WhisperCeiling® Fan, 190 CFM, 0.8 sone, 6" duct, ENERGY STAR®-qualified | CN | 0 92281 13449 9 | 1 | 30 | 410.54 | 246.99
FV-30VQ3 | WhisperCeiling® | WhisperCeiling® Fan, 290 CFM, 2.0 sones, 6" duct, ENERGY STAR®-qualified | CN | 0 92281 13450 5 | 1 | 30 | 430.1 | 271.99
FV-40VQ4 | WhisperCeiling® | WhisperCeiling® Fan, 390 CFM, 3.0 sones, 6" duct. | CN | 8 85170 10876 9 | 1 | 20 | 652.02 | 394.99
FV-0511VF1 | WhisperFit® DC | WhisperFit®DC Fan, 50/80/110 CFM, <0.3/<0.3/0.8 sone, ENERGY STAR®-qualified, 2x6 construction, repair & remodeling | MX | 8 85170 37546 8 | 1 | 36 | 228 | 135.99
FV-0511VFL1 | WhisperFit® DC | WhisperFit®DC Fan/Dimmable LED Light, 50/80/110 CFM, <0.3/<0.3/0.4 sone, ENERGY STAR®-qualified, 2x6 construction, repair & remodeling | MX | 8 85170 37547 5 | 1 | 36 | 315 | 188.99
FV-0511VFC1 | WhisperFit® DC | WhisperFit®DC Fan/Condensation Sensor, 50/80/110 CFM, <0.3/0.3/0.8 sone, ENERGY STAR®-qualified, 2x6 construction, repair & remodeling | MX | 8 85170 37548 2 | 1 | 36 | 298 | 176.99
FV-0511VFBL1 | WhisperFit® DC | WhisperFit®DC Fan w/ Bluetooth Speakers, 50/80/110 CFM, <0.3/.4/1.1 sone, ENERGY STAR®-qualified, 2x6 construction, repair & remodeling | MX | 8 85170 44900 8 | 1 | 36 | 384 | 239.99
FV-0510VS1 | WhisperValue® DC | WhisperValue®DC Single Speed Fan, high speed 50/80/100 CFM, <0.3/0.4/0.9 sone, ENERGY STAR®-qualified, 2x4 construction, ceiling or wall mount, multi-family | MX | 8 85170 30629 5 | 1 | 54 | 143 | 94.99
FV-0510VSA1 | WhisperValue® DC | WhisperValue®DC Fan Contractor Pack/4 Housings only. Use with FV-0510VSB1, FV-0810VSSB1 & FV-0510VSCB1 Motor/Grille Assembly Contractor Packs | MX | 8 85170 30631 8 | 4** | 96 -Single Piece Price/ Case Quantity of 4 **Must be ordered in Case quantity | 41 | 26.99
FV-0510VSB1 | WhisperValue® DC | WhisperValue®DC Fan Contractor Pack/4 Motor/Grille Assembly. Use with FV-0510VSA1 Housing Contractor Pack. WhisperValue®DC Single Speed Fan, high speed 50/80/100 CFM, <0.3/0.4/0.9 sone, ENERGY STAR®-qualified, 2x4 construction, ceiling or wall mount, multi-family | MX | 8 85170 30633 2 | 4** | 96 -Single Piece Price/ Case Quantity of 4 **Must be ordered in Case quantity | 102 | 64.99
FV-0510VSL1 | WhisperValue® DC | WhisperValue®DC Fan/Dimmable LED Light & Night-light, 50/80/100 CFM, <0.3/0.4/0.9 sone, ENERGY STAR®-qualified, 2x4 construction, multi-family | MX | 8 85170 31782 6 | 1 | 54 | 243 | 165.99
FV-0810VSS1 | WhisperValue® DC | WhisperValue®DC Dual Speed Fan, high speed 50/80/100 CFM, low speed down to 30 CFM for continuous operation, <0.3/0.4/0.9 sone, ENERGY STAR®-qualified, 2x4 construction, ceiling or wall mount, multi-family | MX | 8 85170 31784 0 | 1 | 54 | 176 | 106.99
FV-0810VSSB1 | WhisperValue® DC | WhisperValue®DC Fan Contractor Pack/4 Motor/Grille Assembly. Use with FV-0510VSA1 Housing Contractor Pack. Dual Speed Fan, high speed 50/80/100 CFM, low speed down to 30 CFM for continuous operation, <0.3/0.4/0.9 sone, ENERGY STAR®-qualified, 2x4 construction, ceiling or wall mount, multi-family NEW! | MX | 8 85170 31794 9 | 4** | 96 -Single Piece Price/ Case Quantity of 4 **Must be ordered in Case quantity | 135 | 80.99
FV-0810VSSL1 | WhisperValue® DC | WhisperValue®DC Dual Speed Fan/Dimmable LED Light & Night-light, high speed 50/80/100 CFM, low speed down to 30 CFM for continuous operation, <0.3/0.4/0.9 sone, ENERGY STAR®-qualified, 2x4 construction, multi-family | MX | 8 85170 31788 8 | 1 | 54 | 276 | 181.99
FV-0510VSC1 | WhisperValue® DC | WhisperValue®DC Single Speed Fan/Condensation Sensor, high speed 50/80/100 CFM, <0.3/0.4/0.9 sone, ENERGY STAR®-qualified, 2x4 construction, ceiling or wall mount, multi-family | MX | 8 85170 31786 4 | 1 | 54 | 214 | 128.99
FV-0510VSCB1 | WhisperValue® DC | WhisperValue®DC Fan Contractor Pack/4 Motor/Grille Assembly. Use with FV-0510VSA1 Housing Contractor Pack. Single Speed Fan/Condensation Sensor, high speed 50/80/100 CFM, <0.3/0.4/0.9 sone, ENERGY STAR®-qualified, 2x4 construction, ceiling or wall mount, multi-family NEW! | MX | 8 85170 31796 3 | 4** | 96 -Single Piece Price/ Case Quantity of 4 **Must be ordered in Case quantity | 173 | 102.99
FV-0510VSCL1 | WhisperValue® DC | WhisperValue®DC Fan/Dimmable LED Light & Night-light/Condensation Sensor, 50/80/100 CFM, <0.3/0.4/0.9 sone, ENERGY STAR®-qualified, 2x4 construction, multi-family | MX | 8 85170 31790 1 | 1 | 54 | 313 | 213.99
FV-VS43R | WhisperValue Accessory | WhisperValue®DC 4" Oval to 3" Round Duct Adapter, 24 gauge, fire code rated | CA | 8 85170 13654 0 | 8* | 640 -Single Piece Price/ Case Quantity of 8 *Subject to Broken Pack Service Charge if MOQ not met | 16 | 15.99
FV-JD | WhisperValue Accessory | WhisperValue®DC Transfer Register Box for room-to-room powered ventilation, wall mount, 2x4 construction | US | 8 85170 20165 1 | 4* | 256 - Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 44 | 48.99
FV-0709VB1 | EcoVent® | EcoVent® Fan, Single Pack, 70/90 CFM, 0.7/1.5 sone, ENERGY STAR®-qualified, 2x6 construction, production builders/ manufactured housing | MX | 8 85170 415249 | 1 | 96 | 110 | 97.99
FV-07VBA1A | EcoVent® | EcoVent® Fan Contractor Pack/4 Housings only with pre-attached junction box and duct adapter. Use with FV-07VBB1 Motor/Grille Assembly Contractor Pack | MX | 8 851703 7020 3 | 4** | 160 - Single Piece Price/ Case Quantity of 4 **Must be ordered in Case quantity | 48 | 28.99
FV-07VBB1 | EcoVent® | EcoVent® Fan Contractor Pack/4 Motor/Grille Assembly. Use with FV-07VBA1A Housing Contractor Pack | MX | 8 85170 18635 4 | 4** | 160 -Single Piece Price/ Case Quantity of 4 **Must be ordered in Case quantity | 62 | 36.99
FV-08VRE2 | WhisperRecessed® LED | WhisperRecessed®LED Fan/Dimmable LED Light, 80 CFM, ENERGY STAR®-qualified, 1.0 sone. | CN | 8 85170 30273 0 | 1 | 40 | 289.8 | 185.99
PC-RD05C5 | FlexDamper™ | FlexDamper™ Ceiling Radiation Damper for Combustible and Non-Combustible Assemblies; for WhisperGreen® Select models FV-0511VK2; FV-0511VKL2; FV-1115VK2; FV-1115VKL2; FV-0511VKS2; FV-0511VKSL2, WhisperCeiling®DC FV-0511VQ1; FV-0511VQL1; FV-1115VQ1; FV-1115VQL1; WhisperSense®DC FV-0511VQC1; FV-0511VQCL1; WhisperFit®DC FV-0511VF1; FV-0511VFC1; FV-0511VFL1; WhisperValue®DC FV-0510VS1; FV-0510VSL1; FV-0810VSS1; FV-0810VSSL1; FV-0510VSC1; FV-0510VSCL1 | US | 8 66083 00020 3 | 6** | Single Piece Price/ Case Quantity of 6 **Must be ordered in Case quantity | 93.8 | 75.99
PC-RD06C6 | FlexDamper™; AVAILABLE End of September 2025 | FlexDamper™ Ceiling Radiation Damper for Combustible and Non-Combustible Assemblies; for WhisperGreen® Select models FV-0511VK3; FV-0511VKL3; FV-1115VK3; FV-1115VKL3; FV-0511VKS3; FV-0511VKSL3; FV-0511VKS3S; FV-0511VKSL3K; FV-0511VK2; FV-0511VKL2; FV-0511VKS2; FV-0511VKSL2; FV-1115VK2; FV-1115VKL2 FV-0511VK2; FV-0511VKL2; FV-1115VK2; FV-1115VKL2; FV-0511VKS2; FV-0511VKSL2, WhisperCeiling®DC FV-0511VQ1; FV-0511VQL1; FV-1115VQ1; FV-1115VQL1; WhisperSense®DC FV-0511VQC1; FV-0511VQCL1; WhisperFit®DC FV-0511VF1; FV-0511VFC1; FV-0511VFL1; WhisperValue®DC FV-0510VS1; FV-0510VSL1; FV-0810VSS1; FV-0810VSSL1; FV-0510VSC1; FV-0510VSCL1; NEW! | US | 1 99284 01630 9 | 6** | Single Piece Price/ Case Quantity of 6 **Must be ordered in Case quantity | 99.2 | 78.99
FV-0511VH1 | WhisperWarm® DC | WhisperWarm®DC Fan/1600W Heater, 50/80/110 CFM, <0.3/<0.3/0.7 sone | MX | 8 85170 37417 1 | 1 | 25 | 504 | 301.99
FV-0511VHL1 | WhisperWarm® DC | WhisperWarm®DC Fan/Dimmable LED Light & Night-light/1600W Heater, 50/80/110 CFM, <0.3/<0.3/0.7 sone, 20 amp service required | MX | 8 85170 37418 8 | 1 | 25 | 651 | 389.99
FV-06VE1 | WhisperComfort® 60 | WhisperComfort®60 Spot Energy Recovery Ventilator (ERV), 50/40/30/20 CFM on supply and exhaust with 60 CFM boost, MERV 13 filter included, 4" or 5" duct, ceiling and wall mount, for spaces <1,000 sq. ft. | MX | 8 85170 41768 7 | 1 | 15 | 860 | 608.99
FV-FL1306VE1 | WhisperComfort® 60 | WhisperComfort® 60 MERV 13 Supply Air Replacement Filter | CN | 8 8517043432 5 | 4* | Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 25.88 | 21.99
FV-FL0606VE1 | WhisperComfort® 60 | WhisperComfort® 60 MERV 6 Supply Air Washable Filter; NEW! | CN | 8 8517044101 9 | 4* | Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 46 | 39.99
FV-10VEC2R | Intelli-Balance® 100 | Intelli-Balance®100 Mirrored and Corded Any Climate Energy Recovery Ventilator (ERV), 30/50/60/70/80/90/100 CFM for exhaust and supply, occupant-controlled boost function; for residential, single-family installations with mirrored floor plans; MERV 8 filter included, ASHRAE 62.2 timing function, 4" or 6" duct | MX | 8 85170 40450 2 | 1 | 8 | 1736 | 1036.99
FV-10VEC2RH | Intelli-Balance® 100 | Intelli-Balance®100 Mirrored and Hardwired Any Climate Energy Recovery Ventilator (ERV), 30/50/60/70/80/90/100 CFM for exhaust and supply, occupant-controlled boost function; for residential, single-family installations with mirrored floor plans; MERV 8 filter included, ASHRAE 62.2 timing function, 4" or 6" duct | MX | 8 85170 41648 2 | 1 | 8 | 1736 | 1036.99
FV-10VEC2 | Intelli-Balance® 100 | Intelli-Balance®100 Corded Any Climate Energy Recovery Ventilator (ERV), 30/50/60/70/80/90/100 CFM for exhaust and supply, occupant-controlled boost function; MERV 8 filter included, ASHRAE 62.2 timing function, 4" or 6" duct | MX | 8 85170 37402 7 | 1 | 8 | 1736 | 1036.99
FV-10VEC2H | Intelli-Balance® 100 | Intelli-Balance®100 Hardwired Any Climate Energy Recovery Ventilator (ERV), 30/50/60/70/80/90/100 CFM for exhaust and supply, occupant-controlled boost function; MERV 8 filter included, ASHRAE 62.2 timing function, 4" or 6" duct | MX | 8 85170 41646 8 | 1 | 8 | 1736 | 1036.99
FV-10VE2 | Intelli-Balance® 100 | Intelli-Balance®100 Corded Temperate Climate Energy Recovery Ventilator (ERV), 30/50/60/70/80/90/100 CFM for exhaust and supply, occupant-controlled boost function; MERV 8 filter included, ASHRAE 62.2 timing function, 4" or 6" duct | MX | 8 85170 37401 0 | 1 | 8 | 1651 | 985.99
FV-10VE2H | Intelli-Balance® 100 | Intelli-Balance®100 Hardwired Temperate Climate Energy Recovery Ventilator (ERV), 30/50/60/70/80/90/100 CFM for exhaust and supply, occupant-controlled boost function; MERV 8 filter included, ASHRAE 62.2 timing function, 4" or 6" duct | MX | 8 85170 41647 5 | 1 | 8 | 1651 | 985.99
FV-WC10VE1 | WhisperVent™ Wall Cap | Wall Cap, Double chambers for 100 CFM exhaust and 100 CFM supply air; for WhisperComfort®60, Intelli-Balance® 100 | MX | 8 85170 41525 6 | 1 | 21 | 190 | 134.99
FV-FL0810VE1 | Intelli-Balance® 100 | Intelli-Balance® 100 MERV 8 Supply Air Replacement Filter. For use with All Intelli-Balance® 100 models. | CN | 8 85170 30742 1 | 4* | 1920 - Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 51.76 | 43.99
FV-FL1310VE1 | Intelli-Balance® 100 | Intelli-Balance® 100 MERV 13 Supply Air Replacement Filter. For use with All Intelli-Balance® 100 models. | CN | 8 85170 30744 5 | 4* | 1920 - Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 60.96 | 49.99
FV-15ESC1 | Intelli-Balance® Elite Plus+ ERV | Intelli-Balance® Elite Plus+ 150 Any Climate Energy Recovery Ventilator (ERV), 30-150 CFM for exhaust and supply, occupant-controlled boost function; MERV 13 filter included, ASHRAE 62.2 timing function, 6” duct, Corded, hardwire adaptor included; NEW! | MX | 8 85170 44896 4 | 1 | 6 | 1872 | 1122.99
FV-12ESC1 | Intelli-Balance® Elite Plus+ ERV | Intelli-Balance® Elite Plus+ 120 Any Climate Energy Recovery Ventilator (ERV), 30-120 CFM for exhaust and supply, occupant-controlled boost function; MERV 13 filter included, ASHRAE 62.2 timing function, 6” duct, Corded, hardwire adaptor included; NEW! | MX | 8 85170 44897 1 | 1 | 6 | 1736 | 1036.99
FV-14ES1 | Intelli-Balance® Elite ERV | Intelli-Balance® Elite 140 Temperate Climate Energy Recovery Ventilator (ERV), 30-140 CFM for exhaust and supply, occupant-controlled boost function; MERV 13 filter included, ASHRAE 62.2 timing function, 6” duct, Corded, hardwire adaptor included; NEW! | MX | 8 85170 44898 8 | 1 | 6 | 1760 | 1055.99
FV-11ES1 | Intelli-Balance® Elite ERV | Intelli-Balance® Elite 110 Temperate Climate Energy Recovery Ventilator (ERV), 30-110 CFM for exhaust and supply, occupant-controlled boost function; MERV 13 filter included, ASHRAE 62.2 timing function, 6” duct, Corded, hardwire adaptor included; NEW! | MX | 8 85170 44899 5 | 1 | 6 | 1652 | 985.99
FV-FL1315ES1 | Intelli-Balance® Elite ERV | Intelli-Balance® ERV Replacement filter, MERV 13; For use with Intelli-Balance® Elite Plus+ 150 & 120; Elite 140 & 110 ERV models; New! | CN | 8 85170 45025 7 | 4* | Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | $ 29.90 | 28.99
FV-FL0615ES1 | Intelli-Balance® Elite ERV | Intelli-Balance® ERV Washable filter, MERV 6; For use with Intelli-Balance® Elite Plus+ 150 & 120; Elite 140 & 110 ERV models; New! | CN | 8 85170 45026 4 | 4* | Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | $ 52.90 | 50.99
FV-SCVE2 | BalancedHome™ & Intelli-Balance® Elite/ Elite Plus+ ERV | BalancedHome™ & Intelli-Balance® Elite/Elite Plus+ Series ERV Wall Control for use with all BalancedHome ERV models & Intelli-Balance® Elite Plus+ 150 & 120; Elite 140 & 110 ERV models ; Occupant-controllable power on/off, air volume for supply and exhaust, ASHRAE intermittent timer and air volume, boost mode control, reset filter maintenance reminder; NEW! | CN | 8 85170 45083 7 | 1 | 1056 | 207 | 162.99
FV-20VEC1 | Intelli-Balance® 200 | Intelli-Balance®200 Corded Any Climate Energy Recovery Ventilator (ERV), 60/80/100/120/140/ 160/180/200 CFM for exhaust and supply, occupant-controlled boost function; MERV 13 filter included, ASHRAE 62.2 timing function, 6" duct; floor, ceiling, or wall mount | CN | 8 85170 38039 4 | 1 | 2 | 4347 | 3134.99
FV-SW20VEC1 | Intelli-Balance® 200 | Intelli-Balance® 200 LCD Wall Control for occupant-controllable power on/off, air volume for supply and exhaust, ASHRAE intermittent timer and air volume, boost mode control, reset filter maintenance reminder | CN | 8 85170 38040 0 | 1 | Single Piece Price | 338.1 | 325.99
FV-FL0820VE1 | Intelli-Balance® 200 | Intelli-Balance®200 MERV 8 Supply Air Replacement Filter | CN | 8 85170 38041 7 | 4* | 324 - Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 139.16 | 134.99
FV-FL1320VE1 | Intelli-Balance® 200 | Intelli-Balance®200 MERV 13 Supply Air Replacement Filter | CN | 8 85170 38042 4 | 4* | 324 - Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 149.5 | 143.99
FV-FLHP20VE1 | Intelli-Balance® 200 | Intelli-Balance®200 HEPA Supply Air Replacement Filter | CN | 8 85170 38043 1 | 4* | 324 - Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 162.16 | 156.99
FV-16VEC1S | BalancedHome™ Elite ERV Plus+ | BalancedHome™ 160 Elite Plus+ Any Climate Energy Recovery Ventilator (ERV), 30-160 CFM for exhaust and supply, occupant-controlled boost function; MERV 13 filter included, ASHRAE 62.2 timing function, 6” duct, Side Port; Corded, hardwire adaptor included | MX | 8 85170 43847 7 | 1 | 4 | 2215 | 1297.99
FV-16VEC1T | BalancedHome™ Elite ERV Plus+ | BalancedHome™ 160 Elite Plus+ Any Climate Energy Recovery Ventilator (ERV), 30-160 CFM for exhaust and supply, occupant-controlled boost function; MERV 13 filter included, ASHRAE 62.2 timing function, 6” duct, Top Port; Corded, hardwire adaptor included | MX | 8 85170 43848 4 | 1 | 6 | 2215 | 1297.99
FV-13VEC1S | BalancedHome™ Elite ERV Plus+ | BalancedHome™ 130 Elite Plus+ Any Climate Energy Recovery Ventilator (ERV), 30-130 CFM for exhaust and supply, occupant-controlled boost function; MERV 13 filter included, ASHRAE 62.2 timing function, 6” duct, Side Port; Corded, hardwire adaptor included | MX | 8 85170 43849 1 | 1 | 4 | 1975 | 1157.99
FV-13VEC1T | BalancedHome™ Elite ERV Plus+ | BalancedHome™ 130 Elite Plus+ Any Climate Energy Recovery Ventilator (ERV), 30-130 CFM for exhaust and supply, occupant-controlled boost function; MERV 13 filter included, ASHRAE 62.2 timing function, 6” duct, Top Port; Corded, hardwire adaptor included | MX | 8 85170 43850 7 | 1 | 6 | 1975 | 1157.99
FV-15VE1S | BalancedHome™ Elite ERV | BalancedHome™ 150 Elite Temperate Climate Energy Recovery Ventilator (ERV), 30-150 CFM for exhaust and supply, occupant-controlled boost function; MERV 8 filter included, ASHRAE 62.2 timing function, 6” duct, Side Port; Corded, hardwire adaptor included | MX | 8 85170 43851 4 | 1 | 4 | 2080 | 1218.99
FV-15VE1T | BalancedHome™ Elite ERV | BalancedHome™ 150 Elite Temperate Climate Energy Recovery Ventilator (ERV), 30-150 CFM for exhaust and supply, occupant-controlled boost function; MERV 8 filter included, ASHRAE 62.2 timing function, 6” duct, Top Port; Corded, hardwire adaptor included | MX | 8 85170 43852 1 | 1 | 6 | 2080 | 1218.99
FV-12VE1S | BalancedHome™ Elite ERV | BalancedHome™ 120 Elite Temperate Climate Energy Recovery Ventilator (ERV), 30-120 CFM for exhaust and supply, occupant-controlled boost function; MERV 8 filter included, ASHRAE 62.2 timing function, 6” duct, Side Port; Corded, hardwire adaptor included | MX | 8 85170 43853 8 | 1 | 4 | 1870 | 1095.99
FV-12VE1T | BalancedHome™ Elite ERV | BalancedHome™ 120 Elite Temperate Climate Energy Recovery Ventilator (ERV), 30-120 CFM for exhaust and supply, occupant-controlled boost function; MERV 8 filter included, ASHRAE 62.2 timing function, 6” duct, Top Port; Corded, hardwire adaptor included | MX | 8 85170 43854 5 | 1 | 6 | 1870 | 1095.99
FV-SC16VEC1 | BalancedHome™ Elite ERV | BalancedHome™ ERV Wall Control for use with all BalancedHome ERV models; REPLACED BY FV-SCVE2 | CN | 8 85170 43855 2 | 1 | 1056 | 207 | 162.99
FV-SWLV1060 | WhisperControl® | WhisperControl® Low Voltage Timer Switch. Occupant-controllable 10, 20 40, 60 minute timing segments; For use with all BalancedHome™ ERV models | CA | 8 85170 44804 9 | 1 | Single Piece Price | 51 | 45.99
FV-FL1316VE1 | BalancedHome™ Elite ERV | BalancedHome™ ERV Replacement filter, MERV 13; For use with all BalancedHome ERV models | CN | 8 85170 43429 5 | 4* | 360 - Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 31.06 | 29.99
FV-FL0815VE1 | BalancedHome™ Elite ERV | BalancedHome™ ERV Replacement filter, MERV 8; For use with all BalancedHome ERV models | CN | 8 85170 43430 1 | 4* | 360 - Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 27.6 | 26.99
FV-FL0616VE1 | BalancedHome™ Elite ERV | BalancedHome™ ERV Washable filter, MERV 6; For use with all BalancedHome ERV models | CN | 8 85170 43431 8 | 4* | 360 - Single Piece Price/ Case Quantity of 4 *Subject to Broken Pack Service Charge if MOQ not met | 55.2 | 52.99
FV-01VCN1 | WhisperAir Repair® | WhisperAir Repair® Spot Air Purifier, for spaces up to 200 sq. ft., maintenance-free with no ductwork or filter changes needed, ceiling mount | MX | 8 8517038076 9 | 1 | 108 | 300 | 212.99
FV-NLF46RES | Recessed Inlet® | Recessed Inlet® Exhaust or Supply Inlet Dimmable LED Light for remote mount in-line fans or Energy Recovery Ventilators (ERV's). Includes (1) replaceable 11W, ENERGY STAR® 2.0 certified, GU24 base LED lamp | CN | 8 85170 30275 4 | 1 | 40 | 166.45 | 128.99
FV-NLF04G | Atmosphere / ERV Accessories | Atmosphere In-line Fans Accessory 4" duct, ABS inlet grille and metal plate | CN | 0 92281 13452 9 | 1 | 160 | 52.9 | 37.99
FV-NLF06G | Atmosphere / ERV Accessories | Atmosphere In-line Fans Accessory 6" duct, ABS inlet grille and metal plate | CN | 0 92281 13453 6 | 1 | 160 | 52.9 | 37.99
PC-NLF04S | Atmosphere / ERV Accessories | Atmosphere In-line Fans Accessory 4" Single Inlet Kit, includes (1) ABS Inlet Grille, (1) Backdraft Damper: (6) Clamps | US | 0 92281 13454 3 | 1 | 64 | 88.24 | 74.99
PC-NLF06S | Atmosphere / ERV Accessories | Atmosphere In-line Fans Accessory 6" Single Inlet Kit, includes (1) ABS Inlet Grille, (1) Backdraft Damper: (6) Clamps | US | 0 92281 13455 0 | 1 | 64 | 96.18 | 79.99
PC-NLF04D | Atmosphere / ERV Accessories | Atmosphere In-line Fan Accessory 4" Double Pick-up Kit, includes (2) ABS Inlet Grilles: (2) Backdraft Dampers, (12) Clamps, (1) Y-Adapter ( (4" - 4" x 2) | US | 0 92281 13456 7 | 1 | 64 | 175.68 | 148.99
PC-NLF06D | Atmosphere / ERV Accessories | Atmosphere In-line Fan Accessory 6" Double Pick-up Kit, includes (2) ABS Inlet Grilles: (2) Backdraft Dampers, (12) Clamps, (1) Y-Adapter ( (6" - 6" x 2) | US | 0 92281 13457 4 | 1 | 64 | 193.18 | 158.99
PC-NLF64D | Atmosphere / ERV Accessories | Atmosphere In-line Fan Accessory 6" Double Pick-up Kit, includes (2) 6" - 4" Double ABS Inlet Grilles: (2) Backdraft Dampers, (12) Clamps, (1) Y-Adaptor (6" - 4" x 2) | US | 0 92281 13458 1 | 1 | 64 | 175.68 | 152.99
DBF-DEDPV | Atmosphere Inline Fans | Atmosphere Clothes Dryer Exhaust Duct Power Ventilator (DEDPV), all-in-one with integrated pressure switch, monitor, lint trap; UL705-certified | CA | 6 28507 10205 0 | 1 | N/A | 914.68 | 529.9894
VTX-DEDPV | Atmosphere Inline Fans | Atmosphere Clothes Dryer Exhaust Duct Power Ventilator (DEDPV), UL705-certified, with integrated pressure switch | CA | 6 28507 10206 7 | 1 | N/A | 733.34 | 423.9894
LT4 | Atmosphere Inline Fans | 4" Lint Trap for Atmosphere VTX-DEDPV Clothes Dryer Exhaust Duct Power Ventilator | CN | 6 28507 70006 5 | 1 | N/A | 88 | 34.99
LT4S | Atmosphere Inline Fans | 4" Lint Trap for 2x4 wall installations of Atmosphere VTX-DEDPV Clothes Dryer Exhaust Duct Power Ventilator | CN | 6 28507 70008 9 | 1 | N/A | 92.5 | 36.99
SLT | Atmosphere Inline Fans | Slim Lint Trap for stackable dryer installation of Atmosphere VTX-DEDPV Clothes Dryer Exhaust Duct Power Ventilator, 41 sq. in. filtering area increases dryer efficiency, 4" duct adapter | CN | 6 28507 70010 2 | 1 | N/A | 176 | 68.99
APS | Atmosphere Inline Fans | Pressure Sensing Switch with Timer Board for Atmosphere VTX-DEDPV Clothes Dryer Exhaust Duct Power Ventilator, integral delay timer with 10 minutes on, 15 seconds off cycle | CN | 6 28507 70003 4 | 1 | N/A | 141.7 | 75.99
ACS-5 | Atmosphere Inline Fans | Solid State Current Sensor for Atmosphere VTX-DEDPV Clothes Dryer Exhaust Duct Power Ventilator to control high current line-voltage AC loads, factory-set 5 minute turn-off time | CN | 6 28507 70004 1 | 1 | N/A | 67.8 | 36.99
VTX400 | Atmosphere Inline Fans | Atmosphere Corded In-line Fan, 200 CFM at 0.2 s.p., for high static pressure applications and long duct runs, 4" duct, backdraft damper not included; speed controller available separately | CA | 6 28507 10002 5 | 1 | 48 | 344 | 199.99
VTX400C | Atmosphere Inline Fans | Atmosphere Corded In-line Fan with Integrated Current Sensor, 200 CFM at 0.2 s.p., for high static pressure applications and long duct runs, 4" duct, backdraft damper not included, speed controller available separately | CA | 6 28507 60027 3 | 1 | 48 | 405.34 | 234.99
VTX400P | Atmosphere Inline Fans | Atmosphere Corded Centrifugal In-line Fan with Integrated Pressure Switch, 200 CFM at 0.2 s.p., for high static pressure applications and long duct runs, 4" duct, backdraft damper not included, speed controller available separately | CA | 6 28507 10201 2 | 1 | 18 | 493.34 | 286.99
VTX600L | Atmosphere Inline Fans | Atmosphere Corded Centrifugal In-line Fan, 257 CFM at 0.2 s.p., for high static pressure applications and long duct runs, 6" duct, backdraft damper not included, speed controller available separately | CA | 6 28507 10003 2 | 1 | 48 | 381.34 | 220.99
VTX600 | Atmosphere Inline Fans | Atmosphere Corded Centrifugal In-line Fan, 465 CFM at 0.2 s.p., for high static pressure applications and long duct runs, 6" duct, backdraft damper not included, speed controller available separately | CA | 6 28507 10004 9 | 1 | 18 | 488 | 280.99
VTX800L | Atmosphere Inline Fans | Atmosphere Corded Centrifugal In-line Fan, 602 CFM at 0.2 s.p., for high static pressure applications and long duct runs, 8" duct, backdraft damper not included, speed controller available separately | CA | 6 28507 10005 6 | 1 | 18 | 514.68 | 297.99
VTX800 | Atmosphere Inline Fans | Atmosphere Corded Centrifugal In-line Fan, 681 CFM at 0.2 s.p., for high static pressure applications and long duct runs, 8" duct, backdraft damper not included, speed controller available separately | CA | 6 28507 10006 3 | 1 | 18 | 578.68 | 334.99
VTX1000 | Atmosphere Inline Fans | Atmosphere Corded Centrifugal In-line Fan, 723 CFM at 0.2 s.p., for high static pressure applications and long duct runs, 10" duct, backdraft damper not included, speed controller available separately | CA | 6 28507 10007 0 | 1 | 18 | 642.68 | 370.9894
VTX1200L | Atmosphere Inline Fans | Atmosphere Corded centrifugal In-line Fan, 846 CFM at 0.2 s.p., for high static pressure applications and long duct runs, 12" duct, backdraft damper not included, speed controller available separately | CA | 6 28507 10010 0 | 1 | 12 | 744 | 428.99
VTX1200 | Atmosphere Inline Fans | Atmosphere Corded Centrifugal In-line Fan, 1067 CFM at 0.2 s.p., for high static pressure applications and long duct runs, 12" duct, backdraft damper not included, speed controller available separately | CA | 6 28507 10009 4 | 1 | 12 | 880 | 505.99
BDD-4 | Atmosphere Inline Fans | 4" Round Butterfly Back draft damper - Spring Loaded; For Models VTX400; VTX400C; VTX400P | CN | 6 28507 20001 5 | 1 | N/A | 28 | 15.99
BDD-6 | Atmosphere Inline Fans | 6" Round Butterfly Back draft damper - Spring Loaded; For Models VTX600; VTX600L | CN | 6 28507 20003 9 | 1 | N/A | 59.5 | 32.99
BDD-8 | Atmosphere Inline Fans | 8" Round Butterfly Back draft damper - Spring Loaded; For Models VTX800; VTX800L | CN | 6 28507 20004 6 | 1 | N/A | 62.5 | 33.99
BDD-10 | Atmosphere Inline Fans | 10" Round Butterfly Back draft damper - Spring Loaded; For Model VTX1000 | CN | 6 28507 20005 3 | 1 | N/A | 68.6 | 38.99
BDD-12 | Atmosphere Inline Fans | 12" Round Butterfly Back draft damper - Spring Loaded; For Models VTX1200; VTX1200L | CN | 6 28507 20006 0 | 1 | N/A | 84.5 | 48.99
S-600 | Atmosphere Inline Fans | Atmosphere Corded Mixed-Flow In-line Fan, 312 CFM at 0.2 s.p., 6" duct, sealed casing, compact design, backdraft damper included, speed controller available separately | CN | 6 28507 10501 3 | 1 | 12 | 558 | 303.99
S-800 | Atmosphere Inline Fans | Atmosphere Corded Mixed-flow In-line Fan, 688 CFM at 0.2 s.p., 8" duct, sealed casing, compact design, backdraft damper included, speed controller available separately | CN | 6 28507 10502 0 | 1 | 12 | 650 | 355.99
S-1000 | Atmosphere Inline Fans | Atmosphere Corded Mixed-Flow In-line Fan, 1032 CFM at 0.2 s.p., 10" duct, sealed casing, compact design, backdraft damper included, speed controller available separately | CN | 6 28507 10503 7 | 1 | 12 | 874 | 476.99
D-65Black | Atmosphere Inline Fans | Vortex Destratification Fan, 1082 CFM for facilities with 15'-75' high ceilings to create uniform air temperatures and energy savings; speed controller available separately; black | CN | 6 28507 10504 4 | 1 | 18 | 1116.9 | 631.99
D-65White | Atmosphere Inline Fans | Vortex Destratification Fan, 1082 CFM for facilities with 15'-75' high ceilings to create uniform air temperatures and energy savings; speed controller available separately; white | CN | 6 28507 10505 1 | 1 | 18 | 1116.9 | 631.99
AVR-5 | Atmosphere Inline Fans | Atmosphere Solid State Variable Speed AC Motor Speed Controller, rotary-style, fits in 2” X 4” electrical wall box, white | CN | 6 28507 40004 0 | 1 | N/A | 63.1 | 35.99
ADAT-2.5 | Atmosphere Inline Fans | Atmosphere Dial-a-Temp Solid State Variable Speed Control, plug-in design, on-off switch, high to low variable, black | HK | 6 28507 40001 9 | 1 | N/A | 89.4 | 50.99
MBK95 | Atmosphere Inline Fans | Replacement mounting brackets for VTX400, VTX400P, VTX500, or VTX600L | CN | 6 28507 10301 9 | 1 | N/A | 22.3 | 11.99
MBK13 | Atmosphere Inline Fans | Replacement mounting brackets for VTX1200, VTX1200L | CN | 6 28507 10302 6 | 1 | N/A | 26 | 12.99
MBK16 | Atmosphere Inline Fans | Replacement mounting brackets for VTX600, VTX800L, VTX800, and VTX1000 | CN | 6 28507 10303 3 | 1 | N/A | 30.7 | 14.99
ADC4 | Atmosphere Inline Fans | Adjustable Duct Clamp for 4" diameter product | CN | 6 28507 20007 7 | 1 | N/A | 36 | 15.99
ADC6 | Atmosphere Inline Fans | Adjustable Duct Clamp for 6" diameter product | CN | 6 28507 20009 1 | 1 | N/A | 44 | 19.99
ADC8 | Atmosphere Inline Fans | Adjustable Duct Clamp for 8" diameter product | CN | 628507 20010 7 | 1 | N/A | 52 | 23.99
ADC10 | Atmosphere Inline Fans | Adjustable Duct Clamp for 4" diameter product | CN | 6 28507 20011 4 | 1 | N/A | 60.1 | 26.9552
ADC12 | Atmosphere Inline Fans | Adjustable Duct Clamp for 4" diameter product | CN | 6 28507 20012 1 | 1 | N/A | 72 | 31.99
FV-WCCS1-W | WhisperControl® | WhisperControl® Condensation Sensor Plus Wall Switch, manual on/off, condensation sensor automatically activates exhaust fan to control humidity and turns off after desired combination of humidity and temperature is attained, 30-minute countdown timer, white, wall plate included | CN | 8 85170 05028 0 | 6* | Single Piece Price/ Case Quantity of 6 *Subject to Broken Pack Service Charge if MOQ not met | 81.14 | 65.99
FV-WCCS2-W | WhisperControl® | WhisperControl® Condensation Sensor Plus Wall Switch, manual on/off/light, condensation sensor automatically activates exhaust fan to control humidity and turns off after desired combination of humidity and temperature is attained, 30-minute countdown timer, white, wall plate included | CN | 8 85170 05030 3 | 6* | Single Piece Price/ Case Quantity of 6 *Subject to Broken Pack Service Charge if MOQ not met | 90.3 | 70.99
FV-WCDO1-W | WhisperControl® | WhisperControl® Preset Countdown and Hourly Timer, manual on/off, pre-set countdown timer from 5-60 minutes to operate fan for the selected period of time per hour, white, wall plate included | CN | 8 85170 05529 2 | 6* | Single Piece Price/ Case Quantity of 6 *Subject to Broken Pack Service Charge if MOQ not met | 74.6 | 58.99
FV-WCDO2-W | WhisperControl® | WhisperControl® Preset Countdown and Hourly Timer, manual on/off/light, pre-set countdown timer from 5-60 minutes to operate fan for the selected period of time per hour, white, wall plate included | CN | 8 85170 20752 3 | 6* | Single Piece Price/ Case Quantity of 6 *Subject to Broken Pack Service Charge if MOQ not met | 85 | 65.99
FV-WCSW21-W | EcoSwitch ™ | EcoSwitch™ 2 Function On/Off Fan/Light Rocker Switch, white, wall plate included | CN | 8 85170 05034 1 | 6* | Single Piece Price/ Case Quantity of 6 *Subject to Broken Pack Service Charge if MOQ not met | 17.2 | 15.99
FV-WCSW31-W | EcoSwitch ™ | EcoSwitch™ 3 Function On/Off Fan/Light/Night-light Rocker Switch, white, wall plate included | CN | 8 85170 05036 5 | 6* | Single Piece Price/ Case Quantity of 6 *Subject to Broken Pack Service Charge if MOQ not met | 19.1 | 16.99
FV-WCSW41-W | EcoSwitch ™ | EcoSwitch™ 4 Function On/Off Fan/Light/Night-light/Heater Rocker Switch, white, wall plate included, for FV-0511VHL1 WhisperWarm®DC Fan /Heater/LED Light | MX | 8 85170 05038 9 | 6* | Single Piece Price/ Case Quantity of 6 *Subject to Broken Pack Service Charge if MOQ not met | 85 | 65.99
FV-WCPT1-W | WhisperControl® | SmartExhaust™ Fan/LED Light Wall Control Delay Timer Switch. Programmable ventilation setting to set the number of minutes per hour the fan should run. Programmable delay setting to set the number of minutes the fan should run after the bathroom light has been turned off. White; wall plate not included. Broken pack option not available for this item. | CN | 8 851700 4859 1 | 6* | Single Piece Price/ Case Quantity of 6 *Subject to Broken Pack Service Charge if MOQ not met | 150.5 | 111.99
EZSV14 | EZ Soffit Vent™ | EZSoffitVent™ Soffit Termination System, for ventfans up to 110 CFM using 4" ducting | US | 8 66704 00030 8 | 1 | 140 | 39.8 | 39.99
EZSV14 | EZ Soffit Vent™ | EZSoffitVent™ Soffit Termination System, for ventfans up to 110 CFM using 4" ducting | US | 8 66704 00030 8 | +50 | Single Piece Price/ Must order qty 50 or more | 36.3 | 32.99
FV-GL3TDA | Designer Grille | Designer Replacement Grille, 13", fits WhisperCeiling®DC FV-0511VQ1, FV-1115VQ1 | CN | 0 37988 87057 8 | 1 | 60 | 42.54 | 37.99
FV-GL3TDB | Designer Grille | Designer Replacement Grille, 14-1/5", fits WhisperCeiling®DC FV-0511VQ1, FV-1115VQ1 | CN | 0 37988 87058 5 | 1 | 60 | 42.54 | 37.99
SACG2K-04 | SelectCycler™ System | Select Cycler® Whole House Ventilation Kit, includes wall mount controller, motorized supply damper with 4" duct and fan/light wall switch, white; wall plate not included. | CN | 8 57702 00115 2 | 1 | N/A | 686.24 | 540.99
SACG2K-06 | SelectCycler™ System | Select Cycler® Whole House Ventilation Kit, includes wall mount controller, motorized supply damper with 6" duct and fan/light wall switch, white; wall plate not included. | CN | 8 57702 00114 5 | 1 | N/A | 654 | 514.99
SACG2K-08 | SelectCycler™ System | Select Cycler® Whole House Ventilation Kit, includes wall mount controller, motorized supply damper with 8" duct and fan/light wall switch, white; wall plate not included. | CN | 8 57702 00116 9 | 1 | N/A | 713.4 | 564.99
VF-BPSC | N/A | *Broken Pack Service Charge Modules/Controls/Switches/Adapters/ Filters | N/A | N/A | 1 | N/A | 3.5 | 3.5

## Panasonic Terms and Conditions
PANASONIC TERMS & CONDITIONS OF SALE:
Break Pack Pricing: *
A $3.50 Broken Pack Service charge will be applied to any WhisperGreen Select Plug 'N Play Module,
WhisperControl/EcoSwitch, WhisperValue Duct Adapter, Transfer Register Box (TRB) or Filters ordered in less than standard Master Pack quantities.
Example: For Each Model #: Master Pack ordered= No Service Charge; Less than a Master Pack ordered=$3.50 Service Charge
Freight Policy:
All ventilation fan orders must exceed $1,500 .00 net to qualify for free freight. If under $1500.00, the customer pays the freight
Note: The $1,500.00 is after any discounts that may be applied to the order.
Note: If there are Special handling charges incurred beyond normal freight charges, you will be subject to additional charges added to your invoice.
If goods are purchased Freight Collect, the customer will need to address all claims directly with your Carrier.
Small Order Charge : $50.00 will be added to all orders under $500.00 Model FV-SOC should be listed as a line item on the purchase order.
Limited Warranty:
AC Motor and ALL other Parts: For 3 years (36 months) from the date of the original purchase.
DC/ECM Motor: For 6 years (72 months) from the date of the original purchase.
LED: For 5 years (60 months) from the date of the original purchase.
AC Motor and ALL other Parts: For 3 years (36 months) from the date of the original purchase.
Atmosphere In-Line Fans - Dryer Exhaust Duct Power Ventilators, VTX, and S-Series fans 10 years from the date of original purchase.
FV-SWLV1060 WhisperControl Timer Switch - 1 year (12 months) from date of original purchase.
Payment Terms: 1% 30 Net 60
Replacement Parts
All part orders (excluding warranty ) should be submitted on a separate PO to Panasonic Parts Center at pstcparts@us.panasonic.com
Purchase Orders must include your Panasonic account number. These orders cannot be combined with a regular stock order.
Parts are excluded from prepaid freight orders, therefore, will be charged freight.
All Price and availability inquiries for service parts can be emailed to pstcparts@us.panasonic.com
In Warranty Replacement Parts
Please contact your local manufacturer rep agency for assistance.
Freight Receiving Procedure & Freight Damage Policy and Reporting
Visible Loss or Damage
Shortage:
At the time of delivery; the consignee must:
1. Check the labels on all shipping boxes and/or pallets to be certain they belong to you.
2. Count the actual number of boxes and/or pallets and compare them to the shipping manifest.
3. Note all discrepancies before signing and have drivers verify the shortage and quantity of goods on the Delivery Receipt and Bill of Lading.
4. Requests for a replacement product on orders received short should be directed by phone or email to your regional customer service team representative.
Damage:
At the time of delivery; the consignee must:
1. Check each unit for visible signs of damage.
2. Open any shipment that shows signs of loss or damage while the driver is present.
3. Record exact, detailed descriptions of the results of the examination on both the driver's delivery receipt/bill of lading, and your copy of the delivery receipt/bill of lading.
***If visible damages occur that are unacceptable, we ask that you refuse these goods.
Items will be returned free astray to the origination warehouse - per contract. If the driver will not accept these items,
receive them notating on the delivery receipt the number of cartons damaged. Have the driver also sign this receipt.
Immediately notify, through email your Sales Representative or Panasonic Customer Service representative so that the
necessary return arrangements can be made to bring the damaged goods back to our warehouse.
Concealed Loss or Damage
Please adhere to the following guidelines:
1. Concealed loss or damage must be reported to the Carrier by the customer within 5 days of delivery to file a hidden, concealed damage claim.
Document and photograph the packaging and the damage. We ask that you also report this damage to your Panasonic Customer Service Representative.
2. Contact the carrier immediately requesting an Inspection Report. Per our Carrier Agreement, the Carrier will send an independent Inspector
or a Carrier Representative to review the shipment and prepare a report according to our agreement.
Keep the shipment (containers and contents) in the same condition that they were in when the damage was discovered.
3. Once the inspection is completed, you should return goods to the Panasonic origin listed on the Delivery Receipt
by the same Carrier, placing the following on the Bill of Lading:
• List-Original Pro #
• The notation “Damaged Goods to be Returned Free Astray” on paperwork. This information must be listed on the Bill of Lading to avoid freight charges.
4. If a Carrier refuses to accommodate this request, please contact our Panasonic Customer Service team for immediate assistance.
5. The “Carriers refusal to accommodate” must be documented in writing by letter or e-mail to ensure acknowledgment of this communication.
Note: Your signature on a delivering carrier’s freight Bill of Lading (BOL) constitutes acceptance of the merchandise in good order.
If you do not inspect before signing you are, for all practical purposes, waiving “our” mutual right to collect on a damage claim,
no matter if the damage is visible or “concealed”.
Do not contact your manufacturer sales representative to request a scrap credit for damaged goods.
We will not accept debits for damages and shortages that have not been reported. Claims of this type will be denied.
U.S. Government Work. If your project is for the government please let us know.
The following provision applies only to direct sales by Company to the US Government. The Parties acknowledge that Parts ordered and delivered under this Agreement are Commercial Items
as defined under Part 12 of the Federal Acquisition Regulation (FAR). In particular, Company agrees to be bound only by those Federal contracting clauses that apply to “commercial” suppliers
and that are contained in FAR 52.212-5 (a).
This provision applies only to indirect sales by Company to the US Government. Parts shall not be resold to or used in work for any government entity, unless notated on initial Purchase Order
or Contract to Company.
As a Commercial Item Subcontractor, Company accepts only the following mandatory FAR flow down provisions: 52.222-26; 52.222-35; 52.222-36; 52.222-21; 52.222-55; 52.222-62. If the sale
of the Parts is in connection with a U.S. Government contract, Customer certifies that it has provided and will provide current, accurate, and complete information, representations and
certifications to all government officials, including but not limited to the contracting officer and officials of the Small Business Administration, on all matters related to the prime contract,
including but not limited to all aspects of its ownership, eligibility, and performance.
Panasonic Eco Systems North America, Division of Panasonic Corporation of North America
Two Riverfront Plaza
Newark, NJ 07102
*Subject to Broken Pack Service Charge if MOQ not met (VF-BPSC)
**Must be ordered in its minimum quantities; can not be ordered with broken pack charge