Equipment Sanitization Process

- All equipment must be sanitized prior to and after completing all PMs and repairs

- Make a note in work order or PM that unit was sanitized upon completion of work

- The following guidelines highlight “high touch points” requiring special attention for sanitization

Please contact your Service or Branch Manager if you do not have an adequate supply of sanitizer or if a customer requires any special chemicals.