## Sheet1
Off Grid - Solar Load Calculator
One of the most important things to do BEFORE installing a solar system is to calculate the amount of electricity you will require. You will use this information to determine the size of solar power system you will need. Our Solar Load Calculator can help you calculate your system loads, number of PV Panels required and Optimal Battery Bank size.
Load Calculator Instructions: |  | Fill out each field for each appliance, estimating how many appliance will be in use and how frequently they will be used.
Electric System Load Calculator
| INPUTS |  |  |  |  | RESULTS
Appliance | Quantity | Watts | Minutes On/Hour | Hours On/Day | Days On/Week | Average Watt Hours/Day
|  |  | (0 - 60) | (0-24) | (0 - 7)
Clock radio |  | 10 |  |  |  | 0
Tower Oscillating Fan |  | 55 |  |  |  | 0
Hair dryer |  | 1540 |  |  |  | 0
Microwave oven |  | 1000 |  |  |  | 0
Laptop computer |  | 50 |  |  |  | 0
Phone Charger |  | 5 |  |  |  | 0
Freezer (17 cubic ft.) |  | 45 |  |  |  | 0
40" LED flatscreen tv |  | 45 |  |  |  | 0
50" Plasma flatscreen tv |  | 109 |  |  |  | 0
Toaster |  | 1100 |  |  |  | 0
1/2 hp well pump |  | 525 |  |  |  | 0
60 watt incandescent bulb |  | 60 |  |  |  | 0
100 watt incandescent bulb |  | 100 |  |  |  | 0
20 Watt LED bulb |  | 20 |  |  |  | 0
30 Watt LED Bulb |  | 30 |  |  |  | 0
9000 BTU Heat Pump |  | 800 |  |  |  | 0
Coffee maker |  | 1050 |  |  |  | 0
Natural gas clothes dryer |  | 300 |  |  |  | 0
Personal computer |  | 250 |  |  |  | 0
Home stereo |  | 100 |  |  |  | 0
Game console (XBOX 360) |  | 135 |  |  |  | 0
DVD/Blu Ray player |  | 30 |  |  |  | 0
Satellite receiver or cable box |  | 35 |  |  |  | 0
RV water pump |  | 100 |  |  |  | 0
Cable Modem or DSL |  | 6 |  |  |  | 0
Washing Machine |  | 425 |  |  |  | 0
Dishwasher |  | 1800 |  |  |  | 0
Ceiling fan |  | 120 |  |  |  | 0
Clothes iron |  | 1400 |  |  |  | 0
Computer monitor |  | 100 |  |  |  | 0
Refrigerator (24 cubic ft.) |  | 60 |  |  |  | 0
Hot plate |  | 1200 |  |  |  | 0
Vacuum cleaner |  | 1220 |  |  |  | 0
Smoke Detector |  | 5 |  |  |  | 0
1 hp well pump |  | 1050 |  |  |  | 0
Total Power Required: | [5 empty] | 0
Solar Panel Calculator
Solar Panel Calculator Instructions: |  | Fill out proposed solar panel rating (Watts), number of panels proposed and estimated hours of sunlight based on panels location and orientation. Efficiency estimate from 50% to 75% is reasonable for typical Savary Island summers
PV Panels | Quantity | Rating | Estimated Hours of sunlight | Estimated Efficiency | Resulting Total Watts generated per day** | ** Note: The total power (watts) generated from PV array should meet or exceed the Average Total Power Required above. In most Solar Energy systems, a small generator is used to make up any shortfall required for average daily demand.
|  | (Watts) | (hours) | (percentage) | (Watts hours)
| 6 | 400 | 5 | 75% | 9000
Battery Bank Size Calculator
Battery Bank Size Calculator: |  | Input voltage and number of proposed batteries (2 Volts or 6 Volts) to achieve Desired System Voltage (12, 24 or 48V), and days of Autonomy. Choose Batteries with Cell storage rating that meets or exceeds Minimum Battery Amp-hour Rating shown below:
Batteries | Battery Voltage | Proposed Number of Batteries | Desired System Voltage | Average Daily Total Power Required | Days of Autonomy | Minimum required Battery Amp-hour Rating
| (2V, 6V or 12V) |  | (V) | (Watts) | (days) | (amp-hrs)
| 2 | 12 | 24 | 0 | 2 | 0