Vertical Storage Tanks

Vertical storage tanks are most frequently used for bulk storage and mobile nursing applications. Norwesco vertical tanks feature tie-down slots, built-in graduated gallon indicators, an offset fill-opening and a self-vented, slosh-proof lid.

|  |
| --- |
| **Vertical Storage Tanks** |
| **Gallon Capacity** | **Diameter** | **Overall Height** | **Fill Opening** | **Outlet/Drain Specification** | **Premium Weight Part No. White** | **Avail** | **Heavy Weight Part No.Blue** | **Avail** |
| 10¤ | 12" | 26" | 8"-(63480) | 3/4"-(60401) | [44844](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10%20Gallon%20Vertical%20Tank.pdf) | I | NA | - |
| 20¤ | 16" | 28" | 8"-(63480) | 3/4"-(60401) | [44846](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/20%20Gallon%20Vertical%20Tank.pdf) | I | NA | - |
| 22¤ | 20" | 20" | 8"-(60032) | 3/4"-(60401) | [43608](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/22%20Gallon%20Vertical%20Tank.pdf) | I,X | NA | - |
| 25¤ | 18" | 29" | 5"-(63484) | 3/4"-(60401) | [41867](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/25%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 40¤ | 18" | 42" | 8"-(63480) | 3/4"-(60401) | [44848](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/40%20Gallon%20Vertical%20Tank.pdf) | I | NA | - |
| 45¤ | 20" | 37" | 5"-(63484) | 3/4"-(60401) | [44850](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/45%20Gallon%20Vertical%20Tank.pdf) | I | NA | - |
| 50¤ | 18" | 53" | 5"-(63484) | 3/4"-(60401) | [41865](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/50%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 65¤ | 23" | 43" | 8"-(63480) | 1 1/4"-(60403) | [45192](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/65%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 75¤ | 23" | 49" | 8"-(63480) | 1 1/4"-(60403) | [41863](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/75%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 100¤ | 28" | 43" | 8"-(63480) | 1 1/4"-(60403) | [41861](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/100%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 105¤ | 23" | 63" | 8"-(63480) | 2"-(63481) 2" siphon  (60335) | [40803](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/105%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 120 | 38" | 31" | 5"-(63484) | 1 1/4"-(60403) | [40318](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/120%20Gallon%20Vertical%20Tank.pdf) | C,D,E,G,I,L,T | NA | - |
| 130 | 32" | 46" | 8"-(63480) | 1 1/4"-(60403) | [44102](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/130%20Gallon%20Vertical%20Tank.pdf) | T | NA | - |
| 150 | 30" | 56" | 8"-(63480) | 1 1/4"-(60403) | [41859](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/150%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 160 | 28" | 69" | 8"-(63480) | 2"-(63481) 2" siphon(60335) | [44536](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/160%20Gallon%20Vertical%20Tank.pdf) | C,I | NA | - |
| 165 | 31" | 56" | 16"-(63485) | 2"-(63481) | [40281](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/165%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 200 | 30" | 72" | 8"-(63480) | 2"-(63481) 2" siphon (60335) | [41856](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/200%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 210 | 32" | 67" | 16"-(63485) | 2"-(63481) 2" siphon(60335) | [47401](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/210%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 220 | 42" | 44" | 5"-(63484) | 1 1/4"-(60403) | [40320](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/220%20Gallon%20Vertical%20Tank.pdf) | C,D,E,G,I,L,T | NA | - |
| 225 | 31" | 77" | 8"-(63480) | 2"-(63481) 2" siphon (60335) | [44538](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/225%20Gallon%20Vertical%20Tank.pdf) | C,I | NA | - |
| 250 | 30" | 89" | 8"-(63480) | 2"-(63481) 2" siphon(60335) | [41854](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/250%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 300 | 35" | 79" | 16"-(63485) | 2"-(63481) 2" siphon(60335) | [40213](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/300%20Gallon%20Vertical%20Tank.pdf)[40213-MN-IA-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/300%20Gallon%20Vertical%20Tank%20-%20MN-IA-TX.pdf) | A | NA | - |
| 300 | 42" | 58" | 8"-(63480) | 2"-(63481) 2" siphon(60335) | [42882](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/300%20%20Gallon%20x%2042%20Vertical%20Tank.pdf) | P | NA | - |
| 305 | 46" | 50" | 16"-(63485) | 2"-(63481) 2" siphon(60335) | [40302](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/305%20Gallon%20Vertical%20Tank.pdf) | C,D,E,F,G,H,L,T | NA | - |
| 310 | 32" | 94" | 16"-(63485) | 2"-(63481) 2" siphon(60335) | [43625](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/310%20Gallon%20Vertical%20Tank.pdf) | B,C | NA | - |
| 500 | 48" | 73" | 16"-(63485) | 2"-(63481) 2" siphon(60335) | [40148](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/500%20Gallon%20Vertical%20Tank.pdf) | B,C,D,E,F,G,H,L,T | [40150](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/500%20Gallon%20Vertical%20Tank.pdf) | F, H, L,T |
| 550 | 67" | 44" | 16"-(63485) | 2"-(63481) 2" siphon(60335) | [40023](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/550%20Gallon%20Vertical%20Tank.pdf) | A | NA | - |
| 750 | 48" | 103" | 16"-(63485) | 2"-(63481) 2" siphon (60335) | [40606](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/750%20Gallon%20Vertical%20Tank.pdf) | B, C, D, E, L,T | NA | - |
| 850 | 48" | 118" | 16"-(63485) | 2"-(63481) 2" siphon(60335) | [42214](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/850%20Gallon%20Vertical%20Tank.pdf) | C,D,E, L | NA | - |
| 1000 | 64" | 80" | 16"-(63485) | 2"-(63683) 2" siphon (60335) | [40152](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1000%20Gallon%20X%2064%20Vertical%20Tank.pdf) | B,C,D,E,F,G,H,L,T | [40154](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1000%20Gallon%20X%2064%20Vertical%20Tank.pdf) | B,C,D,E,F,G,H,L,T |
| 1000 | 72" | 66" | 16"-(63485) | 2"-(60405) 2" siphon(60335) | [44111](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1000%20Gallon%20X%2072%20Vertical%20Tank.pdf) | L | NA | - |
| 1050 | 48" | 134" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [44818](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1050%20Gallon%20Vertical%20Tank.pdf) | C,T | [44820](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1050%20Gallon%20Vertical%20Tank.pdf) | C,T |
| 1100 | 87" | 53" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [40070](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1100%20Gallon%20Vertical%20Tank.pdf) | A | [40081](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1100%20Gallon%20Vertical%20Tank.pdf) | C, E, F, G, H,I, L,T |
| 1100 G | 87" | 53" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [42591](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1100%20Gallon%20Vertical%20Tank%20w%20Gusset%20Dome.pdf) | D | [42593](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1100%20Gallon%20Vertical%20Tank%20w%20Gusset%20Dome.pdf) | D |
| 1250 | 60" | 114" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [44356](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1250%20Gallon%20Vertical%20Tank.pdf) | T | [44358](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1250%20Gallon%20Vertical%20Tank.pdf) | T |
| 1295 G | 84" | 64" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [44968](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1295%20Gallon%20Vertical%20Tank.pdf) | C | [44970](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1295%20Gallon%20Vertical%20Tank.pdf) | C |
| 1500 | 64" | 116" | 16"-(63485) | 2"-(63683)2" siphon(60335) | [40144](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1500%20Gallon%20Vertical%20Tank.pdf) | B,C,D,E,F,G,L,T | [40146](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1500%20Gallon%20Vertical%20Tank.pdf) | B, C, D,F, G, L,T |
| 1505 | 60" | 135" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [44259](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1505%20Gallon%20Vertical%20Tank.pdf) | T | [44261](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1505%20Gallon%20Vertical%20Tank.pdf) | T |
| 1550 | 87" | 67" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [40235](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1550%20Gallon%20Vertical%20Tank.pdf)[40235-IA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1550%20Gallon%20Vertical%20Tank%20-%20IA.pdf) | B,C,D,E,F,G,H,I,L,P,T | [40236](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1550%20Gallon%20Vertical%20Tank.pdf)[40236-IA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1550%20Gallon%20Vertical%20Tank%20-%20IA.pdf) | B,B,D,E,F,G,H,I,L,P,T |
| 1550 G | 87" | 67" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [42595](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1550%20Gallon%20Vertical%20Tank%20w%20Gusset%20Dome.pdf) | D | [42597](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1550%20Gallon%20Vertical%20Tank%20w%20Gusset%20Dome.pdf) | D |
| 1700 | 87" | 74" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [40010](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1700%20Gallon%20Vertical%20Tank.pdf) | C,I | [40012](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1700%20Gallon%20Vertical%20Tank.pdf) | C,I |
| **Vertical Storage Tanks** |
| **Gallon Capacity** | **Diameter** | **Overall Height** | **Fill Opening** | **Outlet/Drain Specification** | **Premium Weight Part No. White** | **Avail** | **Heavy Weight Part No.Blue** | **Avail** |
| 2000 | 64" | 152" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [47109-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2000%20Gallon%20X%2064%20Vertical%20Tank%20CA.pdf)[47109-GA-OH](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2000%20Gallon%20X%2064%20Vertical%20Tank%20GA-OH.pdf)[47109-MN](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2000%20Gallon%20X%2064%20Vertical%20Storage%20Tank%20MN.pdf) | B,C,D,L | [47564-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2000%20Gallon%20X%2064%20Vertical%20Tank%20CA.pdf)[47564-GA-OH](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2000%20Gallon%20X%2064%20Vertical%20Tank%20GA-OH.pdf)[47564-MN](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2000%20Gallon%20X%2064%20Vertical%20Storage%20Tank%20MN.pdf) | B,C,D,L |
| 2000 | 90" | 84" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [44125](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2000%20Gallon%20X%2090%20Vertical%20Tank.pdf) | H | [44127](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2000%20Gallon%20X%2090%20Vertical%20Tank.pdf) | H |
| 2100 | 87" | 89" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [40178](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2100%20Gallon%20X%2087%20Vertical%20Tank.pdf) | B,C,D,E,F,G,I,L,T | [40241](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2100%20Gallon%20X%2087%20Vertical%20Tank.pdf) | B,C,D,E,F,G,I,L,T |
| 2100 | 102" | 69" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [41399](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2100%20Gallon%20X%20102%20Vertical%20Tank.pdf) | J | NA | - |
| 2200 | 95" | 80" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [44904](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2200%20Gallon%20Vertical%20Tank.pdf) | L | [44906](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2200%20Gallon%20Vertical%20Tank.pdf) | L |
| 2500 | 95" | 91" | 16"-(63485) | 2"-(63683) 2" siphon(60335) | [40051](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20X%2095%20Vertica%20Tank.pdf) | A | [40052](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20X%2095%20Vertica%20Tank.pdf) | A |
| 2500 | 98" | 86" | 16"-(63485) | 2"-(63683) 2" siphon (60335) | [42950](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20x%2098%20Vertical%20Tank.pdf) | P | [42952](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20x%2098%20Vertical%20Tank.pdf) | P |
| 2500 | 102" | 79" | 22"-(63679) | 2"-(63683) 2" siphon(60335) | [42382](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20X%20102%20Vertical%20Tank.pdf) | L | [42384](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20X%20102%20Vertical%20Tank.pdf) | L |
| 3000 | 95" | 109" | 16"-(63485) | 2"-(63683) 2" siphon (60335) | [40754](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%2095%20Vertical%20Tank.pdf) | A | [40755](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%2095%20Vertical%20Tank.pdf) | A |
| 3000 | 95" | 109" | 16"-(63485) | 3"-(62299) 2" reducer (60330) 3" siphon(60327) | [43092](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%2095%20Vertical%20Tank.pdf) | A | [43093](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%2095%20Vertical%20Tank.pdf) | A |
| 3000 | 98" | 101" | 16"-(63485) | 2"-(63683)w/siphontube(60335) | [42956](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20x%2098%20Vertical%20Tank.pdf) | P | [42958](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20x%2098%20Vertical%20Tank.pdf) | P |
| 3000 | 102" | 93" | 16"-(63485) | 2"-(63683)w/siphontube(60335) | [45246](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%20102%20Vertical%20Tank%2C%2016%20Inch%20Lid.pdf) | T | [42380](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%20102%20Vertical%20Tank%2C%2016%20Inch%20Lid.pdf) | T |
| 3000 | 102" | 93" | 22"-(63679) | 2"-(63683)w/siphontube(60335) | [43136](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20x%20102%20Vertical%20TAnk%2022%20Inch%20Lid.pdf) | L | [43138](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20x%20102%20Vertical%20TAnk%2022%20Inch%20Lid.pdf) | L |
| 3450 | 96" | 120" | 16"-(63485) | 2"-(63683)w/siphontube(60335) | [44668](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3450%20Gallon%20Vertical%20Tank.pdf) | T | [44670](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3450%20Gallon%20Vertical%20Tank.pdf) | T |
| 3600 | 87" | 151" | 16"-(63485) | 3"-(62299) 2" reducer (60330) 3" siphon (60327) | [44790](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3600%20Gallon%20Vertical%20Tank.pdf) | L | NA | - |
| 4000 | 102" | 125" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [40312](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/4000%20Gallon%20Vertical%20Tank.pdf) | G | NA | - |
| 4200 | 102" | 131" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [41403-OH](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/4200%20Gallon%20Vertical%20Tank%20-OH.pdf)[41403-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/4200%20Gallon%20Vertical%20Tank%20TX.pdf) | C,T | NA | - |
| 4995 | 142" | 89" | 22"-(63679) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [44822](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/4995%20Gallon%20Vertical%20Tank.pdf) | T | [44824](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/4995%20Gallon%20Vertical%20Tank.pdf) | T |
| 5000 | 102" | 152" | 16"-(63485) | 3"/2"-(62299)-(63683) | [40164](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20X%20102%20Vertical%20Tank.pdf) | B,C,D,E,F,G,H,L | [40166](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20X%20102%20Vertical%20Tank.pdf) | B,C,D,E,F,G,H,L |
| 5000 | 102" | 158" | 16"-(63485) | 3"/2"-(62299)-(63683) | [40164-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20X%20102%20Vertical%20Tank%20TX.pdf) | T | [40166-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20X%20102%20Vertical%20Tank%20TX.pdf) | T |
| 5000 | 119" | 112" | 22"-(63679) | 3"-(62299) 2" reducer (60330) 3" siphon(60327) | [45355](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20x%20119%20Vertical%20Tank.pdf) | L | [45357](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20x%20119%20Vertical%20Tank.pdf) | L |
| 5000 | 141" | 86" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [40941](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20x%20141%20Vertical%20Tank%20CA%2022%20Lid.pdf) | L | [43833](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20x%20141%20Vertical%20Tank%20CA%2022%20Lid.pdf) | L |
| 6000 | 102" | 182" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [40226](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6000%20Gallon%20Vertical%20Tank.pdf)[40226-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6000%20Gallon%20Vertical%20Tank%20TX.pdf) | B,L,T | [40233](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6000%20Gallon%20Vertical%20Tank.pdf)[40233-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6000%20Gallon%20Vertical%20Tank%20TX.pdf) | B,L,T |
| 6100 | 119" | 140" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [40659](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6100%20Gallon%20Vertical%20Tank.pdf) | C,D,G,H | [40661](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6100%20Gallon%20Vertical%20Tank.pdf) | C,D,G,H |
| 6500 | 119" | 150" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [40224-CA-MN](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6500%20Gallon%20Vertical%20Tank%20CA%20MN.pdf)[40224-OK](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6500%20Gallon%20Vertical%20Tank%20OK.pdf) | B,E,L | [40232-CA-MN](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6500%20Gallon%20Vertical%20Tank%20CA%20MN.pdf)[40232-OK](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6500%20Gallon%20Vertical%20Tank%20OK.pdf) | B,E,L |
| 6500 | 120" | 147" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [42315](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6500%20Gallon%20Vertical%20Tank%20AL%20TX.pdf) | T,X | [42317](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6500%20Gallon%20Vertical%20Tank%20AL%20TX.pdf) | T,X |
| 6502 | 102" | 196" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [47618](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6502%20Gallon%20Vertical%20Tank.pdf) | X | [47620](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6502%20Gallon%20Vertical%20Tank.pdf) | X |
| 6600 | 144" | 101" | 16"-(63485) | 3"-(62299) 2" reducer (60330) 3" siphon(60327) | [45385](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6600%20Gallon%20Vertical%20Storage%20Tank%20.pdf) | L | [45387](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6600%20Gallon%20Vertical%20Storage%20Tank%20.pdf) | L |
| 7750 | 144" | 122" | 16"-(63485) | 3"-(62299) 2" reducer (60330) 3" siphon(60327) | [45389](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/7750%20Gallon%20%20Vertical%20Storage%20Tank.pdf) | L | [45391](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/7750%20Gallon%20%20Vertical%20Storage%20Tank.pdf) | L |
| 7800 | 119" | 176" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [40663-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/7800%20Gallon%20Vertical%20Tank%20CA.pdf)[40663-MN](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/7800%20Gallon%20Vertical%20Tank%20MN.pdf) | B,L | [40665-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/7800%20Gallon%20Vertical%20Tank%20CA.pdf)[40665-MN](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/7800%20Gallon%20Vertical%20Tank%20MN.pdf) | B,L |
| 8400 | 119" | 188" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [42060](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/8400%20Gallon%20Vertical%20Tank%20CA.pdf) | L | [42062](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/8400%20Gallon%20Vertical%20Tank%20CA.pdf) | L |
| 8400 | 120" | 187" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [44395](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/8400%20Gallon%20Vertical%20Tank%20AL%20TX.pdf) | T,X | [44397](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/8400%20Gallon%20Vertical%20Tank%20AL%20TX.pdf) | T,X |
| 9000 | 141" | 146" | 22"-(63679) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [43618-MN](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/9000%20Gallon%20Vertical%20Tank%20MN.pdf) | B | [43620-MN](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/9000%20Gallon%20Vertical%20Tank%20MN.pdf) | B |
| 10000 | 141" | 160" | 22"-(63679) | 3"-(62299) 2" reducer (60330) 3" siphon (60327) | [43128-MN](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20MN.pdf)[43128-WCH](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20WCH.pdf)[43128-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20CA.pdf)[43128-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20TX.pdf) | B,J,L,T | [43130-MN](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20MN.pdf)[43130-WCH](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20WCH.pdf)[43130-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20CA.pdf)[43130-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20TX.pdf) | B,J,L,T |
| 10500 | 130" | 202" | 16"-(63485) | 3"-(62299) 2" reducer(60330) 3" x 12" siphon (63263) | [47638](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10500%20Gallon%20Vertical%20Tank.pdf) | X | [47640](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10500%20Gallon%20Vertical%20Tank.pdf) | X |
| 11000 | 144" | 167" | 22"-(63679) | 3"-(62299) 2" reducer(60330) 3" siphon (60327) | [44009](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/11000%20Gallon%20Vertical%20Tank.pdf) | X | [44011](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/11000%20Gallon%20Vertical%20Tank.pdf) | X |
| 12000 | 141" | 193" | 22"-(63679) | \*\*3"-(64195) 3" x 12" siphon (63263) | [43919-MN-WCH](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/12000%20Gallon%20Vertical%20Tank%20MN%20WCH.pdf)[43919-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/12000%20Gallon%20Vertical%20Tank%20CA.pdf)[43919-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/12000%20Gallon%20Vertical%20Tank%20TX.pdf) | B,J,L,T | [43921-MN-WCH](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/12000%20Gallon%20Vertical%20Tank%20MN%20WCH.pdf)[43921-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/12000%20Gallon%20Vertical%20Tank%20CA.pdf)[43921-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/12000%20Gallon%20Vertical%20Tank%20TX.pdf) | B,J,L,T |
| 13000 | 144" | 198" | 22"-(63679) | \*\*3"-(64195) 3" x 12" siphon (63263) | [44015](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/13000%20Gallon%20Vertical%20Tank.pdf) | X | [44017](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/13000%20Gallon%20Vertical%20Tank.pdf) | X |
| 15000 | 165" | 186" | 22"-(63679) | \*\*3"-(64195) 3" x 12" siphon (63263) | [43821](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/15000%20Gallon%20Vertical%20Tank%20AL%20MN%20TX%20WCH.pdf) | B\*,J,T,X\* | [43823](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/15000%20Gallon%20Vertical%20Tank%20AL%20MN%20TX%20WCH.pdf) | B\*,J,T,X\* |
| 15000 YellowFertilizer Only | 165" | 186" | 22"-(63679) | \*\*3"-(64195) 3" x 12" siphon (63263) | [44942](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/15000%20Gallon%20Vertical%20Tank%20AL%20MN%20TX%20WCH.pdf) | B\*,J,T,X\* | N/A | - |
| 15500 | 141" | 244" | 22"-(63679) | \*\*3"-(64195) 3" x 12" siphon (63263) | [43941](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/15500%20Gallon%20Vertical%20Tank.pdf) | L | [43943](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/15500%20Gallon%20Vertical%20Tank.pdf) | L |
| 20000 | 165" | 242" | 22"-(63679) | \*\*\*3"-(64194) 3" x 12" siphon (63263) | [43825](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/20000%20Gallon%20Vertical%20Tank%20AL%20MN%20WCH.pdf) | B\*,J,X\* | [43827](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/20000%20Gallon%20Vertical%20Tank%20AL%20MN%20WCH.pdf) | B\*,J,X\* |
| 20000 YellowFertilizer Only | 165" | 242" | 22"-(63679) | \*\*\*3"-(64194) 3" x 12" siphon (63263) | [44926](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/20000%20Gallon%20Vertical%20Tank%20AL%20MN%20WCH.pdf) | B\*,J,X\* | N/A | - |
| \*\*3 Stainless Steel Bolted Fitting (64195) |
| \*\*\*3" Stainless Steel Bolted Fitting (64194) |
| G = Gusset top |