Black or Dark Green Water Tanks

Our water tanks are manufactured using resins that meet FDA specifications to ensure safe storage of potable water. The black or dark green color limits light penetration which reduces the growth of water-borne algae. These tanks are rated at 9.2 pounds per gallon, which means that they are for WATER STORAGE ONLY! They should not be used for chemicals, fertilizers or any other product. Where applicable, the tanks will carry the NSF approval. Please contact your distributor for more specific information regarding NSF approval.

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Black or Green Vertical Water Storage Tanks** | | | | | | | | | |
| **Gallon Capacity** | **Diameter** | **Overall Height** | **Fill Opening** | **Bottom Fitting** | **Top Fitting** | **Color** | **Water Weight  Part No.** | **Avail** |  |
| 120 | 38" | 31" | 5"-(63484) | 2"-(63481) | 1 1/2"-(63931) | Black CA Green Dark Green | [43858](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/120%20Gallon%20Vertical%20Tank.pdf) [43862](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/120%20Gallon%20Vertical%20Tank.pdf) [43860](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/120%20Gallon%20Vertical%20Tank.pdf) | D,E,G,L,T L D,E,G,T |  |
| 165\* | 31" | 56" | 16"-(63485) | 2"-(63481) | - | Black CA Green Dark Green | [43864](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/165%20Gallon%20Vertical%20Tank.pdf) [43868](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/165%20Gallon%20Vertical%20Tank.pdf) [43866](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/165%20Gallon%20Vertical%20Tank.pdf) | D,E,F,G,H,L,T L D,E,F,G,H,T |  |
| 200\* | 30" | 72" | 8"-(63480) | 2"-(63481) | - | Black CA Green | [44107](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/200%20Gallon%20Vertical%20Tank.pdf) [44109](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/200%20Gallon%20Vertical%20Tank.pdf) | L L |  |
| 220 | 42" | 44" | 5"-(63484) | 2"-(63481) | 1 1/2"-(63931) | Black CA Green Dark Green | [43870](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/220%20Gallon%20Vertical%20Tank.pdf) [43874](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/220%20Gallon%20Vertical%20Tank.pdf) [43872](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/220%20Gallon%20Vertical%20Tank.pdf) | D,E,G,L,T L D,E,G,T |  |
| 305 | 46" | 50" | 16"-(63485) | 2"-(63481) | 1 1/2"-(63931) | Black CA Green Dark Green | [40702](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/305%20Gallon%20Vertical%20Tank.pdf) [41362](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/305%20Gallon%20Vertical%20Tank.pdf) [40863](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/305%20Gallon%20Vertical%20Tank.pdf) | D,E,F,G,H,L,T L D,E,F,G,H,T |  |
| 500 | 48" | 73" | 16"-(63485) | 2"-(63481) | 1 1/2"-(63931) | Black CA Green Dark Green | [43101](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/500%20Gallon%20Vertical%20Tank.pdf) [43103](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/500%20Gallon%20Vertical%20Tank.pdf) [43105](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/500%20Gallon%20Vertical%20Tank.pdf) | D,E,F,G,H,L,T L D,E,F,G,H,T |  |
| 550 | 67" | 44" | 16"-(63485) | 2"-(63481) | 1 1/2"-(63931) | Black CA Green Dark Green | [40703](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/550%20Gallon%20Vertical%20Tank.pdf) [41364](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/550%20Gallon%20Vertical%20Tank.pdf) [40864](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/550%20Gallon%20Vertical%20Tank.pdf) | D,E,F,G,H,L,T L D,E,F,G,H,T |  |
| 600 | 64" | 50" | 8"-(63480) | 2"-(63481) | 1 1/2"-(63931) | Black Dark Green | [43800](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/600%20Gallon%20Vertical%20Tank.pdf) [43802](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/600%20Gallon%20Vertical%20Tank.pdf) | T T |  |
| 1000 | 64" | 80" | 16"-(63485) | 2"-(60405) | 1 1/2"-(63931) | Black CA Green Dark Green | [40892](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1000%20Gallon%20X%2064%20Vertical%20Tank.pdf) [43878](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1000%20Gallon%20X%2064%20Vertical%20Tank.pdf) [41686](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1000%20Gallon%20X%2064%20Vertical%20Tank.pdf) | E,H,L,T L E,H,T |  |
| 1000 | 72" | 66" | 16"-(63485) | 2"-(63481) | 1 1/2"-(63931) | Black CA Green | [44113](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1000%20Gallon%20X%2072%20Vertical%20Tank.pdf) [44115](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1000%20Gallon%20X%2072%20Vertical%20Tank.pdf) | L L |  |
| 1075 | 87" | 51" | 16"-(63485) | 2"-(63481) | 1 1/2"-(63931) | Black Dark Green | [43804](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1075%20Gallon%20Vertical%20Tank.pdf) [43806](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1075%20Gallon%20Vertical%20Tank.pdf) | T T |  |
| 1100 | 87" | 53" | 16"-(63485) | 2"-(60405) | 1 1/2"-(63931) | Black CA Green Dark Green | [40704](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1100%20Gallon%20Vertical%20Tank.pdf) [41365](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1100%20Gallon%20Vertical%20Tank.pdf) [40865](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1100%20Gallon%20Vertical%20Tank.pdf) | D,E,F,G,H,L,T L D,E,F,G,H,T |  |
| 1350 | 71" | 88" | 16"-(63485) | 2"-(60405) | 1 1/2"-(63931) | Black Dark Green | [40860](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1350%20Gallon%20Vertical%20Tank.pdf) [40858](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1350%20Gallon%20Vertical%20Tank.pdf) | H H |  |
| 1525 | 93" | 62" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [43808](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1525%20Gallon%20Vertical%20Tank.pdf) [43810](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1525%20Gallon%20Vertical%20Tank.pdf) | T T |  |
| 1550 | 87" | 67" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green Dark Green | [40627](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1550%20Gallon%20Vertical%20Tank.pdf) [41368](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1550%20Gallon%20Vertical%20Tank.pdf) [40866](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/1550%20Gallon%20Vertical%20Tank.pdf) | D,E,F,G,H,L,P,T L D,E,F,G,H,P,T |  |
| **Black or Green Vertical Water Storage Tanks** | | | | | | | | | |
| **Gallon Capacity** | **Diameter** | **Overall Height** | **Fill Opening** | **Bottom Fitting** | **Top Fitting** | **Color** | **Water Weight  Part No.** | **Avail** |  |
| 2000 | 90" | 84" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [44129](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2000%20Gallon%20X%2090%20Vertical%20Tank.pdf) [44131](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2000%20Gallon%20X%2090%20Vertical%20Tank.pdf) | H H |  |
| 2100 | 87" | 89" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green Dark Green | [44411](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2100%20Gallon%20X%2087%20Vertical%20Tank.pdf) [44415](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2100%20Gallon%20X%2087%20Vertical%20Tank.pdf) [44413](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2100%20Gallon%20X%2087%20Vertical%20Tank.pdf) | D,E,F,G,L,T L D,E,F,G,T |  |
| 2200 | 95" | 80" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green | [44908](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2200%20Gallon%20Vertical%20Tank.pdf) [44910](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2200%20Gallon%20Vertical%20Tank.pdf) | L L |  |
| 2450 | 96" | 86" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [44656](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2450%20Gallon%20Vertical%20Tank%20Water%20Only.pdf) [44658](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2450%20Gallon%20Vertical%20Tank%20Water%20Only.pdf) | T T |  |
| 2500 | 95" | 91" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green Dark Green | [40631](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20X%2095%20Vertica%20Tank.pdf) [41370](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20X%2095%20Vertica%20Tank.pdf) [40867](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20X%2095%20Vertica%20Tank.pdf) | D,E,F,G,H,L,T L D,E,F,G,H,T |  |
| 2500 | 98" | 86" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [42954](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20x%2098%20Vertical%20Tank.pdf) [45396](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20x%2098%20Vertical%20Tank.pdf) | P P |  |
| 2500 | 102" | 79" | 22"-(63679) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green Dark Green | [42040](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20X%20102%20Vertical%20Tank.pdf) [42039](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20X%20102%20Vertical%20Tank.pdf) [44133](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2500%20Gallon%20X%20102%20Vertical%20Tank.pdf) | H,L L H |  |
| 2550 | 93" | 95" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [43812](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2550%20Gallon%20Vertical%20Tank.pdf) [43814](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2550%20Gallon%20Vertical%20Tank.pdf) | T T |  |
| 2950 | 96" | 100" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [44660](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2950%20Gallon%20Vertical%20Tank%20Water%20Only.pdf) [44662](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/2950%20Gallon%20Vertical%20Tank%20Water%20Only.pdf) | T T |  |
| 3000 | 95" | 109" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green Dark Green | [40635](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%2095%20Vertical%20Tank.pdf) [41372](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%2095%20Vertical%20Tank.pdf) [40868](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%2095%20Vertical%20Tank.pdf) | D,E,F,G,H,L,T L D,E,F,G,H,T |  |
| 3000 | 98" | 101" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [42960](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20x%2098%20Vertical%20Tank.pdf) [45397](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20x%2098%20Vertical%20Tank.pdf) | P P |  |
| 3000 | 102" | 93" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [42042](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%20102%20Vertical%20Tank,%2016%20Inch%20Lid.pdf) [42604](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20X%20102%20Vertical%20Tank,%2016%20Inch%20Lid.pdf) | T T |  |
| 3000 | 102" | 93" | 22"-(63679) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green Dark Green | [43140](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20x%20102%20Vertical%20TAnk%2022%20Inch%20Lid.pdf) [42041](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20x%20102%20Vertical%20TAnk%2022%20Inch%20Lid.pdf) [44135](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3000%20Gallon%20x%20102%20Vertical%20TAnk%2022%20Inch%20Lid.pdf) | H,L L H |  |
| 3450 | 96" | 119" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [44664](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3450%20Gallon%20Vertical%20Tank.pdf) [44666](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/3450%20Gallon%20Vertical%20Tank.pdf) | T T |  |
| 4995 | 142" | 89" | 22"-(63679) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [44247](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/4995%20Gallon%20Vertical%20Tank.pdf) [44249](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/4995%20Gallon%20Vertical%20Tank.pdf) | T T |  |
| 5000 | 102" | 152" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green Dark Green | [40641](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20X%20102%20Vertical%20Tank.pdf) [41375](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20X%20102%20Vertical%20Tank.pdf) [40870](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20X%20102%20Vertical%20Tank.pdf) | D,E,F,G,H,L L D,E,F,G,H |  |
| 5000 | 102" | 158" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black Dark Green | [40641-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20X%20102%20Vertical%20Tank%20TX.pdf) [40870-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20X%20102%20Vertical%20Tank%20TX.pdf) | T T |  |
| 5000 (Peanut Can) | 119" | 112" | 22"-(63679) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green | [42044](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20x%20119%20Vertical%20Tank.pdf) [42043](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20Gallon%20x%20119%20Vertical%20Tank.pdf) | L L |  |
| 5000 (Tuna Can) | 141" | 86" | 22"-(63679) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green | [40943-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20x%20141%20Vertical%20Tank%20CA%2022%20Lid.pdf) [41377](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5000%20x%20141%20Vertical%20Tank%20CA%2022%20Lid.pdf) | L L |  |
| 5500 | 102" | 166" | 16"-(63485) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green | [44964](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5500%20Gallon%20Vertical%20Tank.pdf) [44966](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/5500%20Gallon%20Vertical%20Tank.pdf) | L L |  |
| 6600 | 144" | 101" | 22"-(63679) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green | [44117](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6600%20Gallon%20Vertical%20Storage%20Tank%20.pdf) [44119](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6600%20Gallon%20Vertical%20Storage%20Tank%20.pdf) | L L |  |
| 6500\* | 119" | 150" | 16"-(63485) | 2"-(63683) | - | Black CA Green | [43876](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6500%20Gallon%20Vertical%20Tank%20CA%20MN.pdf) [43880](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/6500%20Gallon%20Vertical%20Tank%20CA%20MN.pdf) | L L |  |
| 7750 | 144" | 122" | 22"-(63679) | 2"-(63683) | 1 1/2"-(63931) | Black CA Green | [44121](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/7750%20Gallon%20%20Vertical%20Storage%20Tank.pdf) [44123](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/7750%20Gallon%20%20Vertical%20Storage%20Tank.pdf) | L L |  |
| 10000\* | 141" | 160" | 22"-(63679) | 2"-(63683) | - | Black Dark Green | [43132-WCH](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20WCH.pdf) [43132-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20CA.pdf) [43132-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20TX.pdf) [41379-WCH](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20WCH.pdf) [41379-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20CA.pdf) [41379-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/10000%20Gallon%20Vertical%20Tank%20TX.pdf) | J,L,T J,L,T    T |  |
| 11000\* | 144" | 167" | 22"-(63679) | 2"-(63683) | - | Black Dark Green | [44013](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/11000%20Gallon%20Vertical%20Tank.pdf) [44023](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/11000%20Gallon%20Vertical%20Tank.pdf) | X X |  |
| 12000\* | 141" | 193" | 22"-(63679) | 3"-(62299)  2" reducer (60330) | - | Black Black Dark Green Dark Green | [44810-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/12000%20Gallon%20Vertical%20Tank%20CA.pdf) [44810-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/12000%20Gallon%20Vertical%20Tank%20TX.pdf) [44812-CA](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/12000%20Gallon%20Vertical%20Tank%20CA.pdf) [44812-TX](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/12000%20Gallon%20Vertical%20Tank%20TX.pdf) | L T L T |  |
| 15500\* | 141" | 244" | 22"-(63679) | 3"-(62299)  2" reducer (60330) | - | Black Dark Green | [44814](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/15500%20Gallon%20Vertical%20Tank.pdf) [44816](https://www.norwesco.com/_site_components/uploads/pdfs/Vertical/15500%20Gallon%20Vertical%20Tank.pdf) | L L |  |
| \*Includes one bottom fitting only | | | | | | | | |  |