Specialty Water Tanks

Horizontal Box Water Tank

The low profile design of this tank makes it ideal for use on trailers or in the back of a truck. The slosh reduction ribs provide excellent structural support. It can also be used as a stationary water storage tank.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Horizontal Box Water Tank** | | | | | | | |
| **Gallon Capacity** | **Width** | **Overall Height** | **Length** | **Fill Opening** | **Outlet/Drain Specification** | **Water Only Weight Part No. White** | **Avail** |
| 2400 | 90" | 53" | 150" | 16"-(63485) | 2"-(63683) 2" siphon (60335) | [40912](https://www.norwesco.com/_site_components/uploads/pdfs/Specialty%20Water/2400%20Gallon%20Horizontal%20Bpx%20Tank.pdf) | B,C,T |

Low Profile Water Tanks

The low profile tanks may be used for storage or transport. They are an excellent choice when height limitations are a factor and are the perfect height for putting under your cottage or cabin.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Low Profile Water Tanks** | | | | | | | |
| **Gallon Capacity** | **Width** | **Overall Height** | **Length** | **Fill Opening** | **Outlet/Drain Specification** | **Water Only Weight Part No. White** | **Avail** |
| 1250 | 81" | 38" | 130" | 16"-(63485) | 2"-(63683) 2" siphon (60335) | [40756](https://www.norwesco.com/_site_components/uploads/pdfs/Specialty%20Water/1250%20Gallon%20Low%20Profile%20Water%20Tank.pdf) | E |
| 1275 | 84" | 36" | 126" | 16"-(63485) | 2"-(63683) 2" siphon (60335) | [43011](https://www.norwesco.com/_site_components/uploads/pdfs/Specialty%20Water/1275%20Gallon%20Low%20Profile%20Water%20Tank.pdf) | B,C |
| 1500 | 81" | 44" | 130" | 16"-(63485) | 2"-(63683) 2" siphon (60335) | [41392](https://www.norwesco.com/_site_components/uploads/pdfs/Specialty%20Water/1500%20Gallon%20Low%20Profile%20Water%20Tank.pdf) | E |
| 1600 | 84" | 42" | 126" | 16"-(63485) | 2"-(63683) 2" siphon (60335) | [43013](https://www.norwesco.com/_site_components/uploads/pdfs/Specialty%20Water/1600%20Gallon%20Low%20Profile%20Water%20Tank.pdf) | B,C |