## Slide 1
Whenever the Cepheid Block run count is more than 900 runs, this message will appear.
Vignette 7-
Calibration Alert for the
Cepheid SmartCycler Block

## Slide 2
The Cepheid Software Maintenance Screen will report the “Run Stats” for each I-CORE Module.
If the modules are above 900 runs, contact AME Certified PCR Laboratories for Recalibration.
Vignette 7-
Calibration Alert for the
Cepheid SmartCycler Block

## Slide 3
AME’s Wisconsin Supply Center will send out a replacement block.
Vignette 7-
Calibration Alert for the
Cepheid SmartCycler Block

## Slide 4
The replacement block will include a Calibration Certificate.
Vignette 7-
Calibration Alert for the
Cepheid SmartCycler Block