## Sheet1
DATE REVISED: WN - SEP 2025
UNITARY SYSTEMS
| 2 TON | ODU Type | Tier | Tons | Heat MBH | Configuration | Furnace | ODU | Coil | SEER2 (sys) | SEER2 (odu) | AFUE % | AHRI # | Valve | Gas Stages | Blower
|  |  | GOOD |  |  | Downflow | DD80SN0603AX | DC3SEN2410 | CAPTA2422A3 | 13.8 | 13.4 |  | 215275396
|  |  |  | 2 | 60 | Horizontal | DR80SN0604BX | DC3SEN2410 | CHPTA2426B3 | 13.8 | 13.4 | 80 | 215275346 | TXV | Single | Multi-speed
[6 empty] | Upflow | DR80SN0603AX | DC3SEN2410 | CAPTA2422A3 | 13.8 | 13.4 |  | 215275352
|  |  | BETTER |  |  | Downflow | DD96TC0603BN | DC5SEA2410 | CAPTA2422B3 | 15.2 | 15.2 |  | 216613665
|  |  |  | 2 | 60 | Horizontal | DR96TC0603BN | DC5SEA2410 | CHPTA2426B3 | 15.2 | 15.2 | 96 | 216613673 | TXV | Two-Stage | Variable Speed
[6 empty] | Upflow | DR96TC0603BN | DC5SEA2410 | CAPTA2422B3 | 15.2 | 15.2 |  | 216613665
|  |  | BEST |  |  | Downflow | DC97MC0603BN | DC7TCA2410 | CAPTA2422B3 | 17.5 | 17.2 |  | 215865510
|  |  |  | 2 | 60 | Horizontal | DM97MC0603BN | DC7TCA2410 | CHPTA2426B3 | 17.2 | 17.2 | 97 | 215865563 | TXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC0603BN | DC7TCA2410 | CAPTA2422B3 | 17.5 | 17.2 |  | 215865510
|  |  | FIT (MID) |  |  | Downflow | DC97MC0603BN | DC6VSA241W | CAPEA2418B3 | 18 | 16.2 |  | 215488791
|  |  |  | 2 | 60 | Horizontal | DM97MC0603BN | DC6VSA241W | CHPEA2422B3 | 17.5 | 16.2 | 97 | 215488788 | EXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC0603BN | DC6VSA241W | CAPEA2418C3 | 18 | 16.2 |  | 215488791
|  |  | FIT (HIGH) |  |  | Downflow | DC97MC0603BN | DC9VSA2410 | CAPEA3626B3 | 19 | 19 |  | 217177818
|  |  |  | 2 | 60 | Horizontal | DM97MC0603BN | DC9VSA2410 | CHPEA3026B3 | 19 | 19 | 97 | 217177839 | EXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC0603BN | DC9VSA2410 | CAPEA3626B3 | 19 | 19 |  | 217177818
| 2.5 TON | ODU Type | Tier | Tons | Heat MBH | Configuration | Furnace | ODU | Coil | SEER2 (sys) | SEER2 (odu) | AFUE % | AHRI # | Valve | Gas Stages | Blower
|  |  | GOOD |  | 80 | Downflow | DD80SN0804BX | DC3SEN3010 | CAPTA3022B3 | 13.6 | 13.4 |  | 215275611 |  |  |  | Downflow unavailable at 60 MBH at this tier
|  |  |  | 2.5 | 60 | Horizontal | DR80SN0604BX | DC3SEN3010 | CHPTA3026B3 | 13.8 | 13.4 | 80 | 215275517 | TXV | Single | Multi-speed
[5 empty] | 60 | Upflow | DR80SN0604BX | DC3SEN3010 | CAPTA3022B3 | 13.8 | 13.4 |  | 215275603
|  |  | BETTER |  |  | Downflow | DD96TC0603BN | DC5SEA3010 | CAPTA3626B3 | 15.2 | 15.2 |  | 216613681
|  |  |  | 2.5 | 60 | Horizontal | DR96TC0603BN | DC5SEA3010 | CHPTA3026B3 | 15.2 | 15.2 | 96 | 216613683 | TXV | Two-Stage | Variable Speed
[6 empty] | Upflow | DR96TC0603BN | DC5SEA3010 | CAPTA3626B3 | 15.2 | 15.2 |  | 216613681
|  |  | FIT |  |  | Downflow | DC97MC0603BN | DC6VSS3010 | CAPEA3022B3 | 17.5 | 16.2 |  | 215488475
|  |  |  | 2.5 | 60 | Horizontal | DM97MC0603BN | DC6VSS3010 | CHPEA3026B3 | 17.5 | 16.2 | 97 | 215488509 | EXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC0603BN | DC6VSS3010 | CAPEA3022B3 | 17.5 | 16.2 |  | 215488475
| 3 TON | ODU Type | Tier | Tons | Heat MBH | Configuration | Furnace | ODU | Coil | SEER2 (sys) | SEER2 (odu) | AFUE % | AHRI # | Valve | Gas Stages | Blower
|  |  | GOOD |  |  | Downflow | DD80SN0804BX | DC3SEN3610 | CAPTA3626B3 | 13.8 | 13.4 |  | 215276599
|  |  |  | 3 | 80 | Horizontal | DR80SN0804BX | DC3SEN3610 | CHPTA3630B3 | 13.8 | 13.4 | 80 | 215276555 | TXV | Single | Multi-speed
[6 empty] | Upflow | DR80SN0804BX | DC3SEN3610 | CAPTA3626B3 | 14 | 13.4 |  | 215276557
|  |  | BETTER |  |  | Downflow | DD96TC0804CN | DC5SEA3610 | CAPTA3626C3 | 15.2 | 15.2 |  | 216614859
|  |  |  | 3 | 80 | Horizontal | DR96TC0804CN | DC5SEA3610 | CHPTA3630C3 | 15.2 | 15.2 | 96 | 216614861 | TXV | Two-Stage | Variable Speed
[6 empty] | Upflow | DR96TC0804CN | DC5SEA3610 | CAPTA3626C3 | 15.2 | 15.2 |  | 216614859
|  |  | BEST |  |  | Downflow | DC97MC0804CN | DC7TCA3610 | CAPTA3626C3 | 17.2 | 17.2 |  | 215865604
|  |  |  | 3 | 80 | Horizontal | DM97MC0804CN | DC7TCA3610 | CHPTA3630C3 | 17 | 17.2 | 97 | 215865648 | TXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC0804CN | DC7TCA3610 | CAPTA3626C3 | 17.2 | 17.2 |  | 215865604
|  |  | FIT (MID) |  |  | Downflow | DC97MC0804CN | DC6VSS3610 | CAPEA3626C3 | 16 | 16.2 |  | 215488569
|  |  |  | 3 | 80 | Horizontal | DM97MC0804CN | DC6VSS3610 | CHPEA3626C3 | 16 | 16.2 | 97 | 215488568 | EXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC0804CN | DC6VSS3610 | CAPEA3626C3 | 16 | 16.2 |  | 215488569
|  |  | FIT (HIGH) |  |  | Downflow | DC97MC0804CN | DC9VSA3610 | CAPEA4830C3 | 18.5 | 19 |  | 217282070
|  |  |  | 3 | 80 | Horizontal | DM97MC0804CN | DC9VSA3610 | CHPEA4830C3 | 18 | 19 | 97 | 217282089 | EXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC0804CN | DC9VSA3610 | CAPEA4830C3 | 18.5 | 19 |  | 217282070
| 3.5 TON | ODU Type | Tier | Tons | Heat MBH | Configuration | Furnace | ODU | Coil | SEER2 (sys) | SEER2 (odu) | AFUE % | AHRI # | Valve | Gas Stages | Blower
|  |  | GOOD |  |  | Downflow | DD80SN1005CX | DC3SEN4210 | CAPTA4230C3 | 13.4 | 13.4 |  | 215276707
|  |  |  | 3.5 | 80 | Horizontal | DR80SN1005CX | DC3SEN4210 | CHPTA4230C3 | 13.6 | 13.4 | 80 | 215276686 | TXV | Single | Multi-speed
[6 empty] | Upflow | DR80SN1005CX | DC3SEN4210 | CAPTA4230C3 | 13.8 | 13.4 |  | 215276688
|  |  | BETTER |  |  | Downflow | DD96TC1005CN | DC5SEA4210 | CAPTA4230C3 | 15.2 | 15.2 |  | 216614288
|  |  |  | 3.5 | 80 | Horizontal | DR96TC1005CN | DC5SEA4210 | CHPTA4830C3 | 14.5 | 15.2 | 96 | 216614294 | TXV | Two-Stage | Variable Speed | Horizontal system efficiency notably lower than vertical
[6 empty] | Upflow | DR96TC1005CN | DC5SEA4210 | CAPTA4230C3 | 15.2 | 15.2 |  | 216614288
|  |  | FIT |  |  | Downflow | DC97MC1005CN | DC6VSS4210 | CAPEA4830C3 | 17 | 16.2 |  | 215490168
|  |  |  | 3.5 | 80 | Horizontal | DM97MC1005CN | DC6VSS4210 | CHPEA4830C3 | 16.5 | 16.2 | 97 | 215490190 | EXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC1005CN | DC6VSS4210 | CAPEA4830C3 | 17 | 16.2 |  | 215490168
| 4 TON | ODU Type | Tier | Tons | Heat MBH | Configuration | Furnace | ODU | Coil | SEER2 (sys) | SEER2 (odu) | AFUE % | AHRI # | Valve | Gas Stages | Blower
|  |  | GOOD |  |  | Downflow | DD80TC1005CX | DC3SEN4810 | CAPTA6030C3 | 13.8 | 13.4 |  | 216614204 |  | Two-Stage | Variable Speed | Single stage downflow furnace unavailable
|  |  |  | 4 | 100 | Horizontal | DR80SN1005CX | DC3SEN4810 | CHPTA4830C3 | 13.4 | 13.4 | 80 | 215276756 | TXV | Single | Multi-speed
[6 empty] | Upflow | DR80SN1005CX | DC3SEN4810 | CAPTA6030C3 | 13.5 | 13.4 |  | 215276757 |  | Single | Multi-speed
|  |  | BETTER |  | 100 | Downflow | DD96TC1005CN | DC5SEA4810 | CAPTA6030C3 | 15.2 | 15.2 |  | 216614296
|  |  |  | 4 | 120 | Horizontal | DR96TC1205DN | DC5SEA4810 | CHPTA6030D3 | 15.2 | 15.2 | 96 | 216613945 | TXV | Two-Stage | Variable Speed | Horizontal system at 100 MBH does not meet SEER2 benchmark
[5 empty] | 100 | Upflow | DR96TC1005CN | DC5SEA4810 | CAPTA6030C3 | 15.2 | 15.2 |  | 216614296
|  |  | BEST |  |  | Downflow | DC97MC1005CN | DC7TCA4810 | CAPTA6030C3 | 17.2 | 17.2 |  | 215865252
|  |  |  | 4 | 100 | Horizontal | DM97MC1005CN | DC7TCA4810 | CHPTA4830C3 | 16.7 | 17.2 | 97 | 216760294 | TXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC1005CN | DC7TCA4810 | CAPTA6030C3 | 17.2 | 17.2 |  | 215865252
|  |  | FIT |  |  | Downflow | DC97MC1005CN | DC6VSS4810 | CAPEA4830C3 | 16 | 16.2 |  | 215488618
|  |  |  | 4 | 100 | Horizontal | DM97MC1005CN | DC6VSS4810 | CHPEA4830C3 | 16 | 16.2 | 97 | 215488617 | EXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC1005CN | DC6VSS4810 | CAPEA4830C3 | 16 | 16.2 |  | 215488618
| 5 TON | ODU Type | Tier | Tons | Heat MBH | Configuration | Furnace | ODU | Coil | SEER2 (sys) | SEER2 (odu) | AFUE % | AHRI # | Valve | Gas Stages | Blower
|  |  | GOOD |  |  | Downflow | DC96SN1205DN | DC3SEN6010 | CAPTA6030D3 | 13.6 | 13.4 |  | 215330649
|  |  |  | 5 | 120 | Horizontal | DM80SN1205DX | DC3SEN6010 | CHPTA6030D3 | 13.4 | 13.4 | 80 | 215330640 | TXV | Single | Multi-speed
[6 empty] | Upflow | DM80SN1205DX | DC3SEN6010 | CAPTA6030D3 | 13.6 | 13.4 |  | 215330641
|  |  | BETTER |  |  | Downflow | DD96TC1205DN | DC5SEA6010 | CAPTA6030D3 | 16 | 15.2 |  | 216613946
|  |  |  | 5 | 120 | Horizontal | DR96TC1205DN | DC5SEA6010 | CHPTA6030D3 | 16 | 15.2 | 96 | 216613947 | TXV | Two-Stage | Variable Speed
[6 empty] | Upflow | DR96TC1205DN | DC5SEA6010 | CAPTA6030D3 | 16 | 15.2 |  | 216613946
|  |  | BEST |  |  | Downflow | DC97MC1005CN | DC7TCA6010 | CAPTA6030D3 | 16 | 17.2 |  | 215865282
|  |  |  | 5 | 120 | Horizontal | DM97MC1205DN | DC7TCA6010 | CHPTA6030D3 | 15.5 | 17.2 | 97 | 217655954 | TXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC1205DN | DC7TCA6010 | CAPTA6030D3 | 16 | 17.2 |  | 215865283
|  |  | FIT |  |  | Downflow | DD96TC1205DN | DC9VSA6010 | CAPEA6030D3 | 16 | 19 | 96 | 217109142 |  | Two-Stage |  | Modulating upflow furnace unavailable at 120 MBH
|  |  |  | 5 | 120 | Horizontal | DM97MC1205DN | DC6VSS4810 | CHPEA6030D3 | 16.2 | 16.2 | 97 | 215488612 | EXV | Modulating | Variable Speed
[6 empty] | Upflow | DM97MC1205DN | DC9VSA6010 | CAPEA6030D3 | 16 | 19 | 97 | 217109160 |  | Modulating
NOTES:
- This tool can help you select a system based on capacity, flow direction, and notable features (efficiency, valve type, gas stages, etc).
- All outdoor units on this sheet are COOLING ONLY. If this sheet proves useful, heat pump/dual-fuel systems can be added in the future.
- Configuration can often be determined from floor plans if not clearly stated in the schedule. If in doubt, choose upflow.
- Systems are organized with a general pattern of features and capacities. Whenever a system breaks from the pattern, notes are provided on the right.
- SEER2 ratings for the complete system may differ from ratings for the outdoor unit alone.
- The System Configurator tool can be used to make additional combinations based on this sheet (for example, a different furnace capacity).
- Model numbers from this sheet can be pasted directly into Daikin City for quoting or the System Configurator for additional system options (e.g., different furnaces)
- If selecting a different furnace, ensure the furnace and coil have the same cabinet size (A, B, C, D) listed near the end of the model number (DR96TC1205DN, CAPTA6030D3)
- Accessories to watch for include thermostats, concentric vent kits for furnaces, and low ambient kits and/or compressor savers (hard-start assist) on outdoor units.
NOMENCLATURE GUIDES - NOT yet updated for R32 but mostly still applicable