## Customer Details
PV Plant questionnaire
Name:
Contact Number:
Email:
Address:
What do you want to accomplish with the system?:
High Energy Equipment Questions:
Stove | Gas |  | Electric
Oven | Gas |  | Electric
Geyser 1 | Gas |  | Electric |  | Solar
Geyser 2 | Gas |  | Electric |  | Solar
Geyser 3 | Gas |  | Electric |  | Solar
Do you have any plans to switch electrical appliances over to gas?
| Yes |  | No
Air-Conditioner 1 | BTU Sze:
| Inverter unit: |  | Yes | No
Connected to plug:
Connected to DB with circuit breaker:
Air-Conditioner 2 | BTU Sze
| Inverter unit: |  | Yes | No
Connected to plug:
Connected to DB with circuit breaker:
Air-Conditioner 3 | BTU Sze
| Inverter unit: |  | Yes | No
Connected to plug:
Connected to DB with circuit breaker:
Air-Conditioner 4 | BTU Sze
| Inverter unit: |  | Yes | No
Connected to plug:
Connected to DB with circuit breaker:
Any other high energy quipment?
Electricity Questions
Utility Supply? | Single Phase |  | Three Phase
Do you have any Three Phase Equipment? |  |  | Yes | No
If yes, please list them here
Monthly Bill
Avg energy consumption (kWh per month)
Avg bill (incl VAT)
Other helpful information
How many DB-Boards do you have?
Where is the main DB-Board located?
Possible installation location?
(as close as possible to the main DB-Board)
Do you have LED lights? | Yes | No
System budget? | < R50 000
R50 000 - R100 000
R100 000 - R150 000
R150 000 - R200 000
> R200 000
Where it is possible, please attach pictures of the following:
- All DB-Boards
- Possible installation location area
- Roof area (if solar panels will be installed)
(north facing where possible)
These options are only a guide to help us design the best solution for your needs. Please complete 1
Design Option 1: Backup/Loadshedding system
Options: | Mobile backup trolley
Fixed installation
(with a fixed installation you can extent the system to a bigger system
and add solar panel)
How many?
What do you want to use: | TV
DSTV
HiFi
Floor standing lamp
Internet
Desktop computer
Laptop
(you have to be able to plug the equipment in at the unit)
How many hours:
Design Option 2: Based on average consumption per hour
Please enter expected average usage per hour in watts
Day time (from 8am - 4pm)
Night time (from 4pm - 8am)
Max load at any given time (in watts) |  |  |  | i.e: Microwave = 1800W, Kettle = 2200W
if they are switched on together, load
will be 4000W
Design Option 3: Based on equipment summary
|  |  |  | Day Time / Night Time |  | Total Loads
Appliance |  | Avg Watts | Qty | 8am-4pm | 4pm-8am | Load Day | Load Night
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
-Select- |  | 0 |  | 0 | 0 | 0 | 0
Own defined |  | 0 |  | 0 | 0 | 0 | 0
Own defined |  | 0 |  | 0 | 0 | 0 | 0
Own defined |  | 0 |  | 0 | 0 | 0 | 0
Own defined |  | 0 |  | 0 | 0 | 0 | 0
Own defined |  | 0 |  | 0 | 0 | 0 | 0
Day Usage (for extra avg) |  | 0 |  | 0 | 0 | 0 | 0
Night Usage (for extra avg) |  | 0 |  | 0 | 0 | 0 | 0
[6 empty] | 0 | 0
|  |  |  | System Losses | 10% | 0 | 0
Select equipment or you can add | [5 empty] | 0 | 0
to the list in the "LOAD" tab |  |  | Total Usage per day |  |  | 0
|  |  | Total kWh Usage per day |  |  | 0
|  |  | Total kWhh Usage per 30 days |  |  | 0
Additional Information helping with cost saving
Electricity usage (last 12 months statements)
Month and year | kWh |  | Rand (incl-vat)
Notes

## Loads
-Select- | 0
Floodlight
Floodlight 10W | 10
Floodlight 20W | 20
Floodlight 30W | 30
Floodlight 50W | 50
Floodlight 100W | 100
Lights
2FT Integrated LED Light | 20
4FT Integrated LED Light | 40
5FT Integrated LED Light | 50
E27 - 5W LED Light | 5
E27 - 9W LED Light | 9
B22 - 5W LED Light | 5
B22 - 9W LED Light | 9
E14 - 4W LED Candle Light | 4
Downlight - 3W | 3
Downlight - 6W | 6
Downlight - 12W | 12
Downlight - 18W | 18
Downlight - 24W | 24
Strip Lights / Robe Lights / Flex Lights
LED Strip Light (5m) | 20
LED Robe Light (5m) | 20
LED Neon Flex (10m) | 60
LED Neon Flex RGB (10m) | 80
Security
Electric Fence | 22
Alarm system | 20
Gate Motor - Centurion D5 | 40
Bedroom
Hairdryer | 2000
Electric Shaver | 10
Electric Curlers | 450
Hair straightener | 100
Office Equipment
Desktop PC | 150
Gamers Desktop PC | 450
Laptop | 35
Cell Phone Charger | 10
Router | 12
PC Screen | 30
Living Room
DSTV | 20
LCD TV | 150
Old Plasma TV | 300
LED TV | 60
DVD Player | 50
Home Entertainment Centre | 150
Kitchen Equipment
Combi fridge-freezer A+ (4hours/4hours) | 150 | 4hours/4hours
Combi fridge-freezer C (4hours/4hours) | 250 | 4hours/4hours
Bar Fridge (4hours/4hours) | 90 | 4hours/4hours
Dishwasher (1200W For full cycle or 400W for 3 hours) | 1200 | For full cycle (400W for 3 hours)
Coffee machine | 1600
Microwave oven | 1800
Conventional electric oven | 2500
Kettle | 2000
Toaster | 1400
Hot and Cold Water Dispenser | 550
Laundry Room
Tumble dryer C | 2500
Washing machine A+++ (hot water) | 900
Washing machine B (hot water) | 1350
Washing machine A+++ (cold water) | 180
Washing machine B (cold water) | 270
Iron | 2000
Vacuum Cleaner | 700
Outside
Pump - 1.5kw | 1500
Pump - 0.75kw | 750
Pump - 0.35kw | 350
Fish pond pump - Big | 55
Fish pond pump - small | 20
Geyser
2kw Element | 2000
3kw Element | 3000
Heating and Cooling
Inverter 12000BTU | 1000
Inverter 9000BTU | 500
Roof Fan | 50
VAP cooler (full speed avg) | 1000
VAP cooler (slower speed avg) | 500
Day/Night Split
Day Usage | 0
Night Usage | 0
Own Equipment