## Introduction & Disclaimer
All reasonable precautions have been taken in the preparation of this document, including both technical and non-technical proofing. WV Rural Water Association and all staff assume no responsibility for any errors or omissions.
No warranties are made, expressed or implied with regard to these notes. WV Rural Water shall not be responsible for any direct, incidental or consequential damages arising from the use of any material contained in this program. If you find any errors in this program, please inform WV Rural Water. Whilst every effort is made to eradicate typing or technical mistakes, we apologize for any errors you may detect.
The program provides a guidance plan for preventive maintenance tasks for small water and wastewater systems. This program will help you develop a preventive maintenance program for your system.
Based on your system’s requirements and state regulations, you may add, subtract, or modify tasks in this preventive maintenance program. Refer to your existing monitoring and reporting requirements provided by your state primacy agency.
A preventive maintenance program can help you prevent problems, and can help you build and maintain the technical, managerial, and financial capabilities of your system. It can enhance public health protection, improve your system’s reliability, and reduc
Additional assistance and guidance are available from many sources. Your state primacy agency can help you develop schedules for monitoring and reporting, and other technical assistance providers may be able to contribute training and information.
Please note that this program does not take the place of a complete operation and maintenance manual. The suggested activities do not take the place of state primacy agency requirements. Check with your state primacy agency for more information.
CONTACT WVRWA FOR FURTHER ASSISTANCE.

## Title Page
Preventive Maintenance Plan
For Water and Wastewater Systems
System Name: | Bed Rock PSD
Street Address: | 1 Dino Street
City, State, Zip: | Bed Rock, BFE 12345
Phone: | 123-456-7890
Fax:
Contact: | Fred Flintstone
E-mail: | fred@slatequarry.com
PWS: | 3301232
NPDES: | 21822
Date: | 2007-01-03

## Index
PREVENTIVE MAINTENANCE

## Agencies
AGENCIES
Agency | Phone | Address 1 | Address 2 | City | State | Zip
West Virginia Rural Water Association | 800-339-4513 | 100 Young Street |  | Scott Depot | WV | 25560
WV Health Department Listings
Charleston | 304-558-2981 | Capitol & Washington Streets | 1 Davis Square, Suite 200 | Charleston | WV | 25301-1798
Philippi District | 304-457-2296 | 209 South Main Street |  | Philippi | WV | 26416
Kearneysville District | 304-725-9453 | 44 Wiltshire Rd. |  | Kearneysville | WV | 25430
Wheeling District | 304-238-1145 | 117 Methodist Bldg. | 11th & Chapline St. | Wheeling | WV | 26003
Beckley District | 304-256-6666 | Bair Bldg. Suite 200 | 103 North Kanawha St. | Beckley | WV | 25801
Fairmont District | 304-367-2751 | 107-109 Adams St. | Room 512 | Fairmont | WV | 26554
St. Albans District | 304-722-0611 | 808B St., Suite G |  | St. Albans | WV | 25177
Division of Environmental Protection Listings
Charleston Headquarters | 304-926-0470 | 601 - 57th Street |  | Charleston | WV | 25304
Fairmont | 304-368-3960 | 2031 Pleasant Valley Road |  | Fairmont | WV | 26554
Romney | 304-822-7266 | HC 63, Box 2545, Romney |  | Romney | WV | 26757
Teays | 304-757-1693 | PO Box 662, Teays |  | Teays | WV | 25569
Oak Hill | 304-465-1919 | 116 Industrial Drive |  | Oak Hill | WV | 25901
Parkersburg | 304-420-4635 | 2311 Ohio Avenue |  | Parkersburg | WV | 26101
Wheeling | 304-238-1220 | 131-A Peninsula Street |  | Wheeling | WV | 26003
USDA Rural Develoment Listings
State Office | 304-284-4888 | 75 High Street, Room 320 |  | Morgantown | WV | 26505-7500
Parkersburg Office | 304-420-6666 | P.O. Box 303 |  | Parkersburg | WV | 26102-0303
Elkins | 304-636-2158 | Randolph Center Building | 1200 Harrison Ave., Suite 150 | Elkins | WV | 26241
Beckley | 304-252-5809 | 481 Ragland Road |  | Beckley | WV | 25801
Office of Ground Water & Drinking Water | 202-564-3750 | Ariel Rios Bldg. | 1200 Pennsylvania Ave. NW | Washington | DC | 20460-0003
Infrastructure and Jobs Development Council | 304-558-4607 | 300 Summers St., Suite 980 |  | Charleston | WV | 25301
National Environmental Services Center (NESC) | 800-624-8301 | Box 6064 WV University |  | Morgantown | WV | 26506-6064
WV Public Service Commission | 304-340-0300 | 201 Brooks St. | P.O. Box 812 | Charleston | WV | 26323
Water Development Authority | 304-558-3612 | 180 Association Drive |  | Charleston | WV | 25311-1217
Municipal League | 304-342-5564 | 2020 Kanawha Blvd. |  | Charleston | WV | 25311
County Commissioners' Association | 304-345-4639 | 2309 Washington St. E. |  | Charleston | WV | 25311
Association of State Drinking Water Administrators (ASDWA) | 202-293-7655 | 1025 Connecticut Ave. N. Suite 903 |  | Washington | DC | 20036
US Environmental Protection Agency (EPA) | 202-272-0167 | Ariel Rios Bldg. | 1200 Pennsylvania Ave. NW | Washington | DC | 20460
US EPA Region 3 | 215-814-5000 | 1650 Arch St. (3PM52) |  | Philadelphia | PA | 19103-2029
National Rural Water Association (NRWA) | 580-252-0629 | 2915 So. 13th St. |  | Duncan | OK | 73533
National Ground Water Association | 800-551-7379 | 601 Dempsey Road |  | Westerville | OH | 43081-8978
West Virginia Environmental Training Center | 304-372-7878 | Cedar Lakes |  | Ripley | WV | 25271

## Booster-Lift Stations
BOOSTER-LIFT STATION
Equip ID | Units | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | HP | Amps | KwH | Frame Size | RPM | Service Factor | Date Acquired | PM Frequency | Next Scheduled Maintenance | GPM | TDH | Impeller Diameter

## Building & Grounds
BUILDING & GROUNDS
Equip ID | Units | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | HP | Amps | KwH | Frame Size | rpm | Service Factor | Date Acquired | Next Scheduled Maintenance | GPM | TDH | Impeller Diameter

## Fire Hydrants
FIRE HYDRANTS
Equip ID | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | Date Acquired | Next Scheduled Maintenance | PSI Rating

## Generators
GENERATORS
Equip ID | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | HP | Amps | KwH | Date Acquired | Next Scheduled Maintenance

## Lab Equipment
LAB EQUIPMENT
Equip ID | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | HP | Amps | Date Acquired | Next Scheduled Maintenance

## Manufacturers
MANUFACTURERS
Manufacturer | Phone | Contact Name | Address | City | State | Zip

## Meters
METERS
Equip ID | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | HP | Amps | KwH | Frame Size | rpm | Service Factor | Date Acquired | Next Scheduled Maintenance | GPM | TDH | Impeller Diameter

## Parts Inventory
PARTS INVENTORY
Quantity on Hand | Units | Quantity Required | Quantity to Order | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | HP | Amps | KwH | Frame Size | RPM | Service Factor | GPM | TDH | Impeller Diameter | Date Acquired
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Safety Equipment
SAFETY EQUIPMENT
Equip ID | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | HP | Amps | KwH | Frame Size | rpm | Service Factor | Date Acquired | Next Scheduled Maintenance | GPM | TDH | Impeller Diameter

## Source of Supply
SOURCE OF SUPPLY
Equip ID | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | HP | Amps | KwH | Frame Size | RPM | Service Factor | Date Acquired | GPM | TDH | Impeller Diameter | Date of Last Maint. | Last Maintenance Performed | Next Maintenance Freq. | Next Due Date | Daily | Weekly | Bi-Weekly | Monthly | Bi-Monthly | Semi-Annually | Annually
[22 empty] | X |  | X |  |  | X | X
[23 empty] | X |  | X |  | X | X

## Tanks
TANKS
Equip ID | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | HP | Amps | KwH | Frame Size | rpm | Service Factor | Date Acquired | Next Scheduled Maintenance | GPM | TDH | Impeller Diameter

## Treatment Processes
TREATMENT PROCESSES
Equip ID | Equipment Description | Equipment Category | Vendor | Manufacturer | Model | Model Number | Serial Number | HP | Amps | KwH | Frame Size | rpm | Service Factor | Date Acquired | Next Scheduled Maintenance | GPM | TDH | Impeller Diameter

## Valves
VALVES
Equip ID | Equipment Description | Vendor | Manufacturer | Model | Model Number | Serial Number | Date Acquired | Next Scheduled Maintenance | GPM

## Vehicles
VEHICLES
Vehicle ID | Vehicle Number | Vehicle Make | Vehicle Model | VIN Number | Year
1 | 20 | GMC | Sonoma | hjeoclsjelhg | 1995 | View Service History
2 | 21 | Dodge | Ram | hjmeoflsmnel | 1996 | View Service History
3 | 22 | Ford | F-150 | hsldlkelosdf | 1997 | View Service History
4 | 23 | Chevy | Siverado | hoekslesefa | 1998 | View Service History
5 | 24 | Dodge | Dakota | hoselsnheoo | 1999 | View Service History
6 | 25 | Ford | Ranger | hwlslekfgnso | 2000 | View Service History
7 | 26 | Chevy | Colorado | hvlskenwolsd | 2001 | View Service History
8 | 27 | Dodge | Ram | hboeksngosle | 2002 | View Service History
9 | 28 | Ford | Explorer | hsoekfnclkdls | 2003 | View Service History
10 | 29 | Chevy | Siverado | hbnclsjeolshg | 2004 | View Service History
11 | 30 | Dodge | Dakota | hzlskenslgwo | 2005 | View Service History
12 | 31 | Ford | Ranger | hsleknglskgn | 2006 | View Service History
13 | 32 | GMC | Sonoma | hwodksnsled | 2007 | View Service History
14 | 33 | Dodge | Ram | helsineslgksn | 2008 | View Service History
15 | 34 | Ford | Explorer | hilakwsjsbsg | 2009 | View Service History

## Vendors
VENDORS
Vendor | Vendor Phone | Contact Name | Address | City | State | Zip
Advanced Land & Water Co. | 4107954626 | Mark Eisner | 7540 Main St. Suite 7 | Sykresville | MD | 21784
AE Associates, Ltd. | 3043460505 | Nick Wood | PO Box 607 | Charleston | WV | 25322
Alpha Associates | 3042640051 | Richard Klein | 535 West King St. | Martinsburg | WV | 25401
Alpha Technologies | 3047208050 | Douglas Tate | P.O. Box 1114 | Scott Depot | WV | 25560
American AVK Company | 7757830770 | Chris Holroyd | P.O. Box 2109 | Minden | NV | 89423
American Development Corp. | 8008420764 | John Lauby, Jr. | P.O. Box 385 | Vanceboro | NC | 28586
American Flow Control | 4128511230 | Jack Troutman | 2581 Washington Rd., Suite 220/222 | Pittsburgh | PA | 15241
American Leak Detection of WV | 3049863368 | Duane Shutler | PO Box 228 | Mannington | WV | 26582
American Water Services | 6145796701 | Bill Vernon | 4143 Weaver Court | Hillard | OH | 43026
AMR, Inc. | 2769281712 | David Graf | P.O. Box234 | Rocky Gap | VA | 24366
Analabs, Inc. | 3042554821 | Charles Thompson | PO Box 1235 | Crab Orchard | WV | 25827
Anderson & Associates | 5405525592 | Lance Morgan | 832 West Neville Street, Suite B | Beckley | WV | 25801
Appalachian Software, Inc. | 3047764889 | Walt Frazier | 44 Amber Way | Scott Depot | WV | 25560
Applied Solutions, LLC |  | John Dye, Sr. | 120 South 1st. St | Princeton | WV | 24740
Aqueous Sales, Inc. | 8043790019 | Bob Loughney | 13630 Hailsham Circle | Midlothian | VA | 23113
Atlantic Machinery, Inc. | 8004713584 | Tom Gardner | 2702 Garfield Ave. | Silver Spring | MD | 20910
Backflow Consulting Services, LLC | 3047680021 | Daniel Reed | 333 12th St. | Dunbar | WV | 25064
Bailey & Wyatt, P.L.L.C. | 3043454222 | Mark Troy | 500 Virginia St E. Suite 600 | Charleston | WV | 25301
Bassett & Lowe, Inc. | 3047435573 | Ralph Bassett | 1156 South Main St. | Milton | WV | 25541
Bell Consulting Engr. | 3047578031 | Ryan Owens | P.O. Box 546. | Lexington | KY | 40588
BFMC, Inc. | 7249415386 | Bruce Philipps | 132 Sherwood Dr. Suite 200 | McMurray | PA | 15317
Bill Bailey Insurance Agency, Inc. | 3043754900 | John Bailey | P.O. Box 246 | Williamstown | WV | 26187
BissNuss, Inc. | 2165335531 | Ric Bible | Olde Courthouse Building, Suite 260 | Canfield | OH | 44406
Black Mountain Software, Inc. | 8882728047 | Wayne Carriere | 6167 Honey Bear Rd. | Helena | MT | 59601
Bowles Rice McDavid,Graff & Love, LLP | 3043471100 | Cameron Siegrist | P.O. Box 1386 | Charleston | WV | 25325
Boyles & Hildreth Consulting Eng. | 3049274574 | Shirley Hildreth | PO Box 614 | Spencer | WV | 25276
Brenntag Mid-South, Inc. | 3047274379 | Steve Morris | 319 First Street, North | St. Albans | WV | 25177
Bristol Babcock | 7249402413 | Michael Rozic | 1100 Buckingham St. | Watertown | CT | 6795
Burgess & Niple, Inc. | 3044858541 | Gregory Herrick | 9424 Emerson Ave. | Parkersburg | WV | 26104
C. I. Thornburg | 8009993484 | Nancy Campbell | P.O. Box 2163 | Huntington | WV | 25705
Cerrone & Associates, Inc. | 3042325550 | Manning Frymier | 401 Main St. | Wheeling | WV | 26003
Chapman Technical Group | 3047275501 | Jeff Ekstrom | PO Box 1355 | St. Albans | WV | 25177
Charles Morrow & Associate | 4102514766 | Michael Kennedy | 6023 Williamsburg Parkway | Salisbury | MD | 21801
Control Equipment Co., Inc. | 8005723220 | John Adams | P.O. Box 12694 | Roanoke | VA | 24027
Crescent & Sprague | 7403732331 | Maryon Callihan | P.O. Box 1027 | Marietta | OH | 45750
Crews & Associates, Inc. | 3043441733 | Barry Cunningham | 521 President Clinton Ave. #800 | Little Rock | AR | 72201
D&G Machine Co., Inc. | 3049861020 | Donald White | PO Box 31 | Mannington | WV | 26582
D&S Contractors | 8047526737 | Mike Shepherd | PO Box 6635 | Ashland | VA | 23005
Daniels Law Firm, PLLC | 3043426666 | Annette Morris | P.O. Box 1433 | Charleston | WV | 25325
DAS Group | 7243278979 | Dan Nelson | 305 Plum Industrial Court | Pittsburgh | PA | 15239
Davis Electric Company | 3043638730 | Michael Tarley | P.O. Box 1997 | Fairmont | WV | 26555
Dreier & Maller, Inc. | 6145750065 | Tod Ebetino | 6508 Taylor Rd. S.W. | Reynoldsburg | OH | 43068
Dunn Engineers | 3043423436 | Wayne Hypes | 400 South Ruffner Road | Charleston | WV | 25302
Dutchland, Inc. | 7174428282 | Dave Beiler | P.O. Box 549 | Gap | PA | 17527
E.L. Robinson Engineering Co. | 3047767473 | Randall Lewis | 5088 Washington St. W | Cross Lanes | WV | 25313
Eagle Research Corporation | 3047576565 | Tushar Shah | PO Box 668 | Scott Depot | WV | 25560
Eastern Tank & Utility Services, Inc. | 3043256754 | Teddy Taylor | 145 Krit Lane | Princeton | WV | 24740
Eichelbergers, Inc. | 7177664800 | Ted Gayman | 107 Texaco Rd. | Mechanicsburg | PA | 17050
ESRI | 3046978948 | Rick Lawson | 3002 Merrill Ave. | Huntington | WV | 25702
Ferguson Waterworks | 7403733456 | David Lightner | 103 Industry Rd. | Marietta | OH | 45750
Ferris, Baker Watts Inc. | 3043453421 | Marie Prezioso | 100 Laidley Tower | Charleston | WV | 25301
Fisher Research Laboratory | 2098263292 | Amy Hafer | 200 West Willmott Rd. | Los Bano | CA | 93635
Floyd Browne Group | 3042959304 | Susan Garrison | 1107 Ninth St. | Vienna | WV | 26105
Ford Meter Box Company | 7573452744 | Mark Williams | 6201 Summerset Lane | Williamsburg | VA | 23188
GAI Consultants, Inc. | 3049268100 | Elwood Penn | 3412 Chesterfield Ave. | Charleston | WV | 25304
Geary Associates | 3042572022 | Mark Geary | 106 North Main St. | Petersburg | WV | 26847
Geo-One, Inc. | 6148669010 | Craig Schorling | 6455 E. Livingston Ave. | Reynoldsburg | OH | 43068
Ghosh Engineers, Inc. | 3043435300 | Paul Ghosh | 723 Kanawha Blvd. E. 12th Floor | Charleston | WV | 25301
Gilson Engineering Sales, Inc. | 3043420012 | Jeff Russo | 505 Capitol St. | Charleston | WV | 25301
Godwin Pumps of America, Inc. | 3049840200 | Rick Reynolds | 5329 Sissonville Drive | Charleston | WV | 25312
Goodwin & Goodwin, LLP | 3043467000 | Mike Spiker | P.O. Box 2107 | Charleston | WV | 25328
Greenhorne & O'Mara, Inc. | 3043679401 | Michael Retton | 12 Moran Circle | Fairmont | WV | 26554
Greentree Applied Systems, Inc. | 8592632959 | Marlene Vandeberg | 961 Beasley St. Suite 107 | Lexington | KY | 40509
Griffith & Associates, CPA'S | 3047563600 | Michael D. Griffith | 950 Little Coal River Rd. | Alum Creek | WV | 25003
Gwin Dobson & Foreman, Inc. | 8149435214 | James Balliett | 3121 Fairway Drive | Altoona | PA | 16602
H&S Controls | 3042654433 | Brandy Saltis | Rt. 5 Box 716 | Grafton | WV | 26354
Hach Company | 3049657598 | Teri Merrifield | 619 Rambling Hills Rd. | Elkview | WV | 25071
HNTB Corp. | 3047570888 | Jim Pennington | #3 Mission Way | Scott Depot | WV | 25560
Hornor Brothers Engineers | 3046246445 | Trey Hornor | P.O. Box 386 | Clarksburg | WV | 26302
Hoy Shingleton, Attorney at Law | 3042624773 | Hoy Shingleton | 115 Aikens Ctr Suite #24 | Martinsburg | WV | 25401
Hughes Supply | 3047680086 | Chris Tudor | 2825 Fairlawn Ave. | Dunbar | WV | 25064
Huntley Nyce & Associates | 3042601290 | Walter Sebert | 319 Lutz Ave. | Martinsburg | WV | 25401
Industrial Electric Corp. | 3042522202 | John Rinehart | 229 C and O Shop Rd. | Beaver | WV | 25813
ISG Weirton Inc. | 3047972658 | Ron Orsini | 400 Three Springs Dr. | Weirton | WV | 26062
Jackson Kelly, PLLC | 3043401000 | Samme Gee | P.O. Box 553 | Charleston | WV | 25322
James V. Kelsh, Esq. | 3043431654 | James V. Kelsh | P.O. Box 3713 | Charleston | WV | 25337
JCM Industries, Inc. | 9038322581 | Jennifer Williams | P.O. Box 1220 | Nash | TX | 75569
John P. Place, Inc. | 3043432607 | Mark Place | 90 Clairton Blvd | Pittsburgh | PA | 15236
Kappe Associates | 4123739303 | Paul Alfery | 4268 Northern Pike | Monroeville | PA | 15146
KCI Technologies, Inc. | 3042963611 | Robert Milne, PE | 240 Scott Ave. Suite 2 | Morgantown | WV | 26508
L.A. Gates Company | 3042561640 | Myron Amick | 2302 So. Fayette St. | Beckley | WV | 25801
Learco Equipment Co. | 4122214888 | Lou Arabia | P.O. Box 12730 | Pittsburgh | PA | 15241
M. S. Jacobs & Associates | 3043438906 | Rich Oberst | 1217 Ohio Ave. | Dunbar | WV | 25064
Master Meter, Inc. | 9032970635 | Neal Farmer | 101 Regency Parkway | Mansfield | TX | 76063
Mid Atlantic Storage System, Inc | 7403352019 | Nancy Ellis | 1551 Robinson Road | Washington Ct. House | OH | 43160
Miller Communications, Inc. | 3048633323 | Jan Hutchins | One Wireless Way, Suite 100 | Parkersburg | WV | 26101
Miss Utility of West Virginia | 3043453959 | James Kovach | 2323 Windham Road | South Charleston | WV | 25303
Moody and Associates, Inc. | 8147244970 | Jeff Walentosky | 11548 Cotton Road | Meadville | PA | 16335
Mountaineer Computer | 3043925018 | Jim Copland | PO Box 982 | Lewisburg | WV | 24901
MS Consultant, Inc. | 3043461211 | Muhammad Riaz | 206 Capitol St. 4th Floor | Charleston | WV | 25301
Mueller Co. | 8592290910 | Tony Omohundro | 147 Avawam Dr. | Richmond | KY | 40475
Natgun Corp. | 6147779886 | Jamie Frisbey | 3960 Brown Park Dr. Suite B | Hillard | OH | 43026
National Road Utility Supply, Inc. | 3045470101 | Arthur Musicaro | PO Box A, Rt. 40 | Valley Grove | WV | 26060
Neptune Technology Group | 8034258696 | Mitch Elliott | 408 Chestnut Street | Camden | SC | 29020
Oldcastle Precast, Inc./Packaged Systems, Inc. | 3049843333 | Kevin Blackwell | P.O. Box 13399 | Sissonville | WV | 25360
Panhandle Pipe/Hughes Supply | 3042636986 | Mark Sterling | PO Box 764 | Martinsburg | WV | 25402
Pentree, Inc. | 3044317800 | John Tuggle | PO Box 1309 | Princeton | WV | 24740
Potesta & Associates, Inc. | 3043421400 | Dana Burns | 7012 MacCorkle Ave. S.E. | Charleston | WV | 25304
Precision Pump & Valve | 3047761710 | Jim Landfried | PO Box 7027 | Charleston | WV | 25356
Prosonic Corp. | 8009964949 | James McCombs | 27819 State Rt.7 | Marietta | OH | 45750
ProSource Water Products, Ltd. | 8887725478 | Ed. Hicks | 14680 Pleasant Valley Rd. | Chillicothe | OH | 45601
PW Eagle | 3044729613 | John Sandy | Rt 3 Box 338 A | Buckhannon | WV | 26201
REI Consultants | 3042552500 | Tim Lilly | PO Box 286 | Beaver | WV | 25813
Reliance Laboratories, Inc. | 3048425285 | William Kirk | PO Box 4657 | Bridgeport | WV | 26330
Re-Ox, LLC | 9135839916 | Doug Vineyard | 9179 W. Flamingo Rd., Suite 110 | Las Vega | NV | 89147
Reynolds, Inc. | 5134247287 | Bob Curley | 6451 Germantown Rd. | Middletown | OH | 45042
Robert Rodecker Law Offices, Inc. | 3043431654 | Beth Gardner | PO Box 3713 | Charleston | WV | 25337
Romac Industries, Inc. | 8002587448 | Tye Babb | 6106 Lansgate Rd. | Midlothian | VA | 23112
Ross, Sinclaire & Associates | 5026957353 | Brian Nurick | P.O. Box 398 | Frankfort | KY | 40602
Rummel, Klepper & Kahl, LLP | 3047883370 | David Vanscoy | 1 Grand Central Park Suite 2040 | Keyser | WV | 26726
S&S Engineer | 3043427168 | Ashok M. Sanghavi | 501 Eagle Mountain Road | Charleston | WV | 25311
Sal Chemical Co. Inc. | 3047488200 | Scott Compton | 3036 Birch Drive | Weirton | WV | 26062
Schonstedt Instrument Company | 3047251050 | Ed Maneval | 100 Edmond Rd. | Kearneysville | WV | 25430
Service Pump & Supply | 3044296731 | Danny Vance | PO Box 2097 | Huntington | WV | 25721
Sherwin Williams | 3043771189 | Dennis Bates | 1001 Tower Rd. | Little Hocking | OH | 45742
Southeastern Equipment Co. Inc. | 7404326303 | Amanda Cox | P.O. Box 536 | Cambridge | OH | 43725
Southern Corrosion, Inc. | 2525351777 | Jim Skilton | 738 Thelma Rd. | Roanoke Rapids | NC | 27870
Spilman, Thomas & Battle, PLLC | 3043403800 | Lisa Travis | PO Box 273 | Charleston | WV | 25301
Squibb-Owen Sales, Inc. | 3042426274 | Brian Cox | 2087 1/2 National Road | Wheeling | WV | 26003
Stafford Consultants, Inc. | 3044259555 | C. Dean | PO Box 5849 | Princeton | WV | 24740
State Equipment, Inc. | 3047764405 | Eddie Rowan, Jr. | P.O. Box 3939 | Charleston | WV | 25339
Steptoe & Johnson | 3045988000 | Betsy Spellman | 1085 Van Voorhis Rd. United Ctr. Suite 400 | Morgantown | WV | 26507
Terradon Corp. | 3047558291 | Gary Facemyer | PO Box 519 | Nitro | WV | 25143
Thrasher Engineering | 3046244108 | Holly Amos | PO Box 1532 | Clarksburg | WV | 26302
Tnemec Co. | 8003563041 | Linda Glasser | 357 Flaugherty Run Rd. Suite 105 | Coraopolis | PA | 15108
Triad Engineering, Inc. | 3047550721 | Terry Myers | 4980 Teays Valley Rd. | Scott Depot | WV | 25560
Trombold Equipment Co. | 7246254260 | Rob Trombold | P.O. Box 897 | Mars | PA | 16046
Underwater Services, LTD. | 3047592514 | Mike Taylor | Rt. 1 Box 23 A | Poca | WV | 25159
United Laboratories, Inc. | 3044783117 | Rick DeGroff | Rt. 2 Box 113 | Montrose | WV | 26283
USABlueBook | 8477756901 | Carmen Harris | P.O. Box 9004 | Gurnee | IL | 60031-9006
Utility Marketing | 7403696227 | Bill Miles | 185 Cottswold Dr. | Delaware | OH | 43015
Utility Service & Supply, Inc. | 5135397500 | Mark Beatty | P.O. Box 438 | Monroe | OH | 45054
Utility Service Co., Inc. | 8002233695 | Andy Albertini | P.O. Box 1350 | Perry | GA | 31069
Valtronics, Inc. | 3042735356 | Ken Thompson | P.O. Box 490 | Ravenswood | WV | 26164
Vermeer of West Virginia | 3047685965 | George Jones | PO Box 29 | St. Albans | WV | 25177
View Engineers, Inc. | 3042679759 | Larry Johnson | 125 W. Burke St. | Martinsburg | WV | 25401
W. C. Weil Company | 4124877140 | Danny Lusk | PO Box 7144 | Charleston | WV | 25356
Wastewater Technical Services |  | Glenn Quinn | 18816 Graystone Rd. | White Hall | MD | 21161
Water Development Authority | 3045583612 | Daniel Yonkosky | 180 Association Drive | Charleston | WV | 25311
Welding, Inc. | 3043460763 | Bruce Caswell | PO Box 6007 | Charleston | WV | 25362
Woolpert Consultants | 3047221550 | Steven Cole | 600 6th Ave. #2 | St. Albans | WV | 25177

## Work Order
System Name
Address
City, State, Zip
Work Order
Date Requested |  | Time Requested |  |  | Requested By |  |  |  |  | W.O. Number
Work Type (Circle One)
Corrective |  |  |  | Preventive |  |  | Breakdown
Work Priority (Circle One)
Normal |  |  | Urgent |  |  | Emergency |  |  | Routine
Description of Work Requested
Supervisor's Signature of Approval | [5 empty] | Date of Approval (Hand Written)
Date Completed |  | Time Completed |  |  | Comments
Work Completed
Quantity | Materials Used | [7 empty] | Unit Price |  | Amount
0
0
0
0
0
0
0
Total Materials Cost | [10 empty] | 0
Employees Used | [10 empty] | Hours
Total Hours | [10 empty] | 0

## Vehicle service record
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 20 | MODEL: | Sonoma
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | GMC | VIN NO: | hjeoclsjelhg
|  | YEAR: | 1995 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (2)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 21 | MODEL: | Ram
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Dodge | VIN NO: | hjmeoflsmnel
|  | YEAR: | 1996 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (3)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 22 | MODEL: | F-150
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Ford | VIN NO: | hsldlkelosdf
|  | YEAR: | 1997 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (4)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 23 | MODEL: | Siverado
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Chevy | VIN NO: | hoekslesefa
|  | YEAR: | 1998 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (5)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 24 | MODEL: | Dakota
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Dodge | VIN NO: | hoselsnheoo
|  | YEAR: | 1999 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (6)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 25 | MODEL: | Ranger
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Ford | VIN NO: | hwlslekfgnso
|  | YEAR: | 2000 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (7)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 26 | MODEL: | Colorado
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Chevy | VIN NO: | hvlskenwolsd
|  | YEAR: | 2001 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (8)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 27 | MODEL: | Ram
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Dodge | VIN NO: | hboeksngosle
|  | YEAR: | 2002 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (9)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 28 | MODEL: | Explorer
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Ford | VIN NO: | hsoekfnclkdls
|  | YEAR: | 2003 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (10)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 29 | MODEL: | Siverado
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Chevy | VIN NO: | hbnclsjeolshg
|  | YEAR: | 2004 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (11)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 30 | MODEL: | Dakota
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Dodge | VIN NO: | hzlskenslgwo
|  | YEAR: | 2005 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (12)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 31 | MODEL: | Ranger
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Ford | VIN NO: | hsleknglskgn
|  | YEAR: | 2006 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (13)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 32 | MODEL: | Sonoma
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | GMC | VIN NO: | hwodksnsled
|  | YEAR: | 2007 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (14)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 33 | MODEL: | Ram
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Dodge | VIN NO: | helsineslgksn
|  | YEAR: | 2008 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Vehicle service record (15)
Vehicle Service Record
TOTAL SERVICE COSTS: | 0 | VEHICLE NUMBER | 34 | MODEL: | Explorer
FOR PERIOD: | 01/00/00 to 01/00/00 | VEHICLE MAKE: | Ford | VIN NO: | hilakwsjsbsg
|  | YEAR: | 2009 | LICENSE NO:
| Service Date 1 | Service Date 2 | Service Date 3 | Service Date 4 | Service Date 5 | Service Date 6 | Service Date 7 | Service Date 8 | Service Date 9 | Service Date 10 | Service Date 11 | Service Date 12
DATE:
MILEAGE:
SERVICE: | COST OF SERVICE
Change oil
Lubricate chassis
Change oil filter
Change air filter
Change transmission fluid
Flush cooling system
Add antifreeze
Align wheels
Rotate tires
Replace tires
Adjust brakes
Tune engine
Other service
Other service
TOTAL: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Maintenance
Equipment Maintenance
Equipment ID | Equipment Description | Category | Location