KANKAKEE RIVER METROPOLITAN AGENCY

**OUTLINE FOR ACCEPTANCE OF HAULED-IN NON-HAZARDOUS WASTEWATER (SEPTIC) AT THE KANKAKEE FACILITY**

**The Kankakee facility will not and cannot accept any hazardous wastewater.**

1. KRMA Septic Permit application must be completed/signed/submitted. Once the Agency decides to accept and treat the waste stream, the septic owner/company will be permitted by the Kankakee River Metropolitan Agency. An individualized wastewater discharge permit will be issued and be placed in KRMA’s Industrial Pretreatment Program.
2. Kankakee River Metropolitan Agency Local Limits:

Cadmium 0.131 Lead 1.53 Silver 1.59

Molybdenum 2.00 Nickel 0.83

Hex. Chromium 0.33 Copper 2.22

Cyanide 0.75 pH range 5.5 -10.5

Zinc 5.11 Mercury 0.0010

1. KRMA Septic program requires the purchase of a dump ticket prior to disposing of septic wastewater. Dump tickets are sold based upon tanker capacity and are currently priced at $34.50\* per 1000 gallons. KRMA requests that tickets be purchased in increments of 5 or more.

 \*There is an anticipated increase in ticket price effective May 1, 2020.

1. Kankakee has a designed truck-in wastewater unloading area at the headworks of the facility to accommodate semi-trucks (Two trucks can unload at one time.)

**If you have any questions or need clarification – please contact Melanie Gossett at 815/933-0444 or mgossett@krmawastewater.com**