Manager Report January 14, 2023 to March 4, 2023

·        Miscellaneous

Repaired Floor 4 door hinge

Heat fixed U208

Attached bathroom fan/light cover U101.

Water set to drip in colder units.

Kitchen pipes froze thawed out without breaking U102 and U104

Repaired thermostat U204

Restored U104, U204, U304 and laundry room from water damage.

Restored U310 – Dave Degan

Six more units underway

Reattached dryer vent laundry room

Cleaned behind dryers in laundry room.

Replaced cover on table C2U1

Insulated under bay window U315 & 415 – Frank Sarno

Identified multiple air leaks in fire sprinkler system

·       Managed Vendors

U405 repaired tv - Spectrum

Replaced linoleum with hardwood floor 2 – John Foster

Pillsbury repaired leaks in U304, U410 and U217

Serv Pro delivered fans and dehumidifiers to 10 units

Restoral underway for 10 units (some complete)

Rehung gutter above unit 402 – Frank Sarno

Restored heat U104,204,304 and 404 Living Room – Garrett-Pillsbury

Repaired thermostat U404 – Garrett-Pillsbury

Repaired slow fill toilet – Garrett-Pillsbury