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·        Miscellaneous
                          Repaired Floor 4 door hinge
                     Heat fixed U208
                     Attached bathroom fan/light cover U101.
                     Water set to drip in colder units.
                     Kitchen pipes froze thawed out without breaking U102 and U104
                     Repaired thermostat U204
                     Restored U104, U204, U304 and laundry room from water damage.
                     Restored U310 – Dave Degan
                     Six more units underway
                     Reattached dryer vent laundry room
                     Cleaned behind dryers in laundry room.
                     Replaced cover on table C2U1
                     Insulated under bay window U315 & 415 – Frank Sarno
                     Identified multiple air leaks in fire sprinkler system                              
             
                    
 
          
·       Managed Vendors
U405 repaired tv - Spectrum
Replaced linoleum with hardwood floor 2 – John Foster
Pillsbury repaired leaks in U304, U410 and U217
Serv Pro delivered fans and dehumidifiers to 10 units
Restoral underway for 10 units (some complete) 
Rehung gutter above unit 402 – Frank Sarno
Restored heat U104,204,304 and 404 Living Room – Garrett-Pillsbury
Repaired thermostat U404 – Garrett-Pillsbury
                     Repaired slow fill toilet – Garrett-Pillsbury

