BREWER FLEX CRACK & JOINT SEALANT

COVERAGE CHART

COVERAGE RATES ARE AN AVERAGE

Crack / Joint

Width x Depth

(Inches)

Linear Feet

per Gallon

Crack / Joint

Width x Depth

(Inches)

Linear Feet

per Gallon

Crack / Joint

Width x Depth

(Inches)

Linear Feet

per Gallon

Crack / Joint

Width x Depth

(Inches)

Linear Feet

| per Gallon |
| --- |
| 1/8 X 1/8 | 1232.0 |
| 3/8 X 1/8 | 410.7 |
| 5/8 X 1/8 | 246.4 |
| 7/8 X 1/8 | 176.0 |
| 1/8 X ¼ | 616.0 |
| 3/8 X ¼ | 205.0 |
| 5/8 X 1/4 | 123.2 |
| 7/8 X 1/4 | 88.0 |
| 1/8 X 3/8 | 410.7 |
| 3/8 X 3/8 | 136.9 |
| 5/8 X 3/8 | 82.1 |
| 7/8 X 3/8 | 58.7 |
| 1/8 X ½ | 308.0 |
| 3/8 X 1/2 | 102.7 |
| 5/8 X 1/2 | 61.6 |
| 7/8 X 1/2 | 44.0 |
| 1/8 X 5/8 | 246.4 |
| 3/8 X 5/8 | 82.1 |
| 5/8 X 5/8 | 49.3 |
| 7/8 X 5/8 | 35.2 |
| 1/8 X ¾ | 205.3 |
| 3/8 X 3/4 | 68.4 |
| 5/8 X 3/4 | 41.1 |
| 7/8 X 1/4 | 29.3 |
| 1/8 X 7/8 | 176.0 |
| 3/8 X 7/8 | 58.7 |
| 5/8 X 7/8 | 35.2 |
| 7/8 X 7/8 | 25.1 |
| 1/8 X 1 | 154.0 |
| 3/8 X 1 | 51.3 |
| 5/8 X 1 | 30.8 |
| 7/8 X 1 | 22.0 |
| ¼ X 1/8 | 616.0 |
| ½ X 1/8 | 308.0 |
| ¼ X 1/8 | 205.3 |
| 1 X 1/8 | 154.0 |
| ¼ X ¼ | 308.0 |
| ½ X 1/4 | 154.0 |
| ¼ X 1/4 | 102.7 |
| 1 X 1/4 | 77.0 |
| ¼ X 3/8 | 205.0 |
| ½ X 3/8 | 102.7 |
| ¼ X 1/8 | 68.4 |
| 1 X 3/8 | 51.3 |
| ¼ X ½ | 154.0 |
| ½ X 1/2 | 77.0 |
| ¼ X 1/2 | 51.3 |
| 1 X 1/2 | 38.5 |
| ¼ X 5/8 | 123.2 |
| ½ X 5/8 | 61.6 |
| ¼ X 5/8 | 41.1 |
| 1 X 5/8 | 30.8 |
| ¼ X ¾ | 102.7 |
| ½ X 1/4 | 51.3 |
| ¼ X ¾ | 34.2 |
| 1 X 1/4 | 25.7 |
| ¼ X 7/8 | 88.0 |
| ½ X 7/8 | 44.0 |
| ¼ X 7/8 | 29.3 |
| 1 X 7/8 | 22.0 |
| ¼ X 1 | 77.0 |
| ½ X 1 | 38.5 |
| ¼ X 1 | 25.7 |
| 1 X 1 | 19.3 |

Band Aid

| Configuration | Linear Feet per Gallon |
| --- | --- |

Band Aid

| Configuration | Linear Feet per Gallon |
| --- | --- |
| BAND AID | 1/16” x 2” | 154.0 |
| 3/32” x 2” | 102.6 |
| COVERAGE CHART | 1/16” x 3” | 102.7 |
| 3/32” x 3” | 68.4 |
| (i.e.; material squeegeed on surface) | 1/16” x 4” | 77.0 |
| 3/32” x 4” | 51.4 |

HOW TO COMPUTE POUNDS OF BREWER FLEX® CRACK & JOINT SEALANT NEEDED:

| Total Feet to be filled | Divided by | Linear Feet per Gallon | = |
| --- | --- | --- | --- |

Gallons

| Needed | x |
| --- | --- |

Weight / Gallon*

| (from mfg. data sheet) | = |
| --- | --- |

Pounds

Needed

| for crack or joint | ( |
| --- | --- |

| from chart above | = |
| --- | --- |

| gallons | x |
| --- | --- |

| pounds/gallon* | = |
| --- | --- |

for crack or joint

| for Band-Aid | ( |
| --- | --- |

| from chart above | = |
| --- | --- |

| gallons | x |
| --- | --- |

| pounds/gallon* | = |
| --- | --- |

| for Band-Aid |
| --- |
| TOTAL SEALANT NEEDED | = |

*NOTE*:		Sealant weight per gallon varies between manufacturer and between product types.

Consult your distributor for details.

EXAMPLE: How many pounds of Brewer Flex® Crack & Joint Sealant are needed to fill 10,000 linear feet of crack 3/8” wide x ¼” deep; and having a Band-Aid 2” wide x 1/16” thick? (Brewer Flex® Crack & Joint Sealant weighs an average of 10.0 lbs per gallon).

10,000

| for crack or joint | ( |
| --- | --- |

68.4

| from chart above | = |
| --- | --- |

146.2

| gallons | x |
| --- | --- |

10.0

| pounds/gallon* | = |
| --- | --- |

1462 LB

for crack or joint

10,000

| for crack or joint | ( |
| --- | --- |

154.0

| from chart above | = |
| --- | --- |

64.9

| gallons | x |
| --- | --- |

10.0

| pounds/gallon* | = |
| --- | --- |

649 LB

for crack or joint

TOTAL SEALANT NEEDED:

2111 lbs

Coverage based on 1 gallon = 231 Cubic Inches