SECTION 01 2200 - UNIT PRICES

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section includes administrative and procedural requirements for unit prices.

        - Related Requirements:

          - Section 01 2100 "Allowances" for procedures for using unit prices to adjust quantity allowances.

          - Section 01 2600 "Contract Modification Procedures" for procedures for submitting and handling Change Orders.

      - DEFINITIONS

        - Unit price is an amount incorporated into the Agreement, applicable during the duration of the Work as a price per unit of measurement for materials, equipment, or services, or a portion of the Work, added to or deducted from the Contract Sum by appropriate modification, if the scope of Work or estimated quantities of Work required by the Contract Documents are increased or decreased.

      - PROCEDURES

        - Unit prices include all necessary material, plus cost for delivery, installation, insurance, overhead, and profit.

        - Measurement and Payment: See individual Specification Sections for work that requires establishment of unit prices. Methods of measurement and payment for unit prices are specified in those Sections.

        - Owner reserves the right to reject Contractor's measurement of work-in-place that involves use of established unit prices and to have this work measured, at Owner's expense, by an independent surveyor acceptable to Contractor.

        - List of Unit Prices: A schedule of unit prices is included in Part 3. Specification Sections referenced in the Part 3 "Schedule of Unit Prices" Article contain requirements for materials described under each unit price.

- PRODUCTS (Not Used)

- EXECUTION

      - SCHEDULE OF UNIT PRICES

        - Unit Price No. 1: Patch and repair drywall existing penetrations/openings located above ceiling.

          - Description: Existing wall surface above the finished ceiling has existing penetrations/holes at walls as indicated on architectural drawings.  These penetrations/holes are to be filled in with 5/8” type ‘X’ gypsum board, drywall mud and/or tape to close off openings preventing air passage.  Walls to be patched/repaired at interior face only.

          - Unit of Measurement: Provide cost per square foot unit cost for repairs.

          - Quantity Allowance: Coordinate unit price with allowance adjustment requirements in Section 01 2100 "Allowances."

        - Unit Price No. 2: Remove and reroute electrical conduit and wiring as required for installation of new HVAC Ductwork as shown on Mechanical Drawings.

          - Description: Existing electrical conduit and wiring to be removed and rerouted as required to maintain electrical system as exists due new ductwork installation as shown on the mechanical drawings.

          - Unit of Measurement: Provide cost per linear foot unit cost for rerouting electrical systems.

          - Quantity Allowance: Coordinate unit price with allowance adjustment requirements in Section 01 2100 "Allowances."

END OF SECTION 01 2200