|  |
| --- |
| ADDENDUM |
|  |
| Date Issued: | September 17, 2020 |
| Project: | Intermountain Healthcare – TOSH Central Processing RenovationsTOSH Hospital5848 South 300 East,Murray, Utah 84107 |
| Addendum Number: | 2 |
| The Contractors submitting proposals on the above-captioned project shall be governed by the following addendum, changes and explanations to the drawings and specifications and shall submit their bids in accordance therewith. |

| ItemNumber | General Items Description |
| --- | --- |
| 1 |  Bid process has been reactivated with the following bid schedule:

|  |
| --- |
|  |
|  |
|

|  |  |
| --- | --- |
| GC Invitation to Bid: | September 15, 2020 |
| Construction Documents Available (contact Architect): | September 16, 2020 |
| Pre-Bid Meeting Date/Location1:      TOSH, Central Processing Dept.5848 S. 300 E.Murray, UT 84107  | September 18, 202010:00 – 11:00 AM |
| Questions and Substitution Requests Due  | September 23, 2020 |
| Final Addenda Issued (2 days prior to Bid Date): | September 28, 2020 |
| Bid Due Date: | September 30, 2020; 4:00PM (MDT) |
| General Contractor Notice of Intent to Award: | October 2020 |
| Pre-Construction Kick-Off Meeting; | October 2020 |
| Anticipated Construction Start: | October 2020 |
| Anticipated Substantial Completion/ Certificate of Occupancy; | December 2020 |

 |

 |
| 2 | Contractor to provide “Allowance #1 - $5,000 for the patching and repairing existing drywall penetrations/holes at perimeter walls of the area above the ceiling as indicated on Architectural Plans and Bid Documents. Also contractor to provide unit cost for this work to be used in the accounting of the required repairs. |
| 3 | Contractor to provide “Allowance #2 - $5,000 for the removal and rerouting of existing electrical conduit and circuits located above the ceiling as required for the HVAC ductwork demolition and new installations as indicated on Mechanical Plans. Also contractor to provide unit cost for this work to be used in the accounting of the required work. |

| SheetNumber | Drawings |
| --- | --- |
| **Architectural Drawings** |
| A111 | Demolition Floor Plan Level 1 - Overall |
| A112 | Demolition Ceiling Plan – Overall |
| A113 | Floor Plan Level 1 - Overall |
| A115 | Reflected Ceiling Plan Level 1 - Overall |
| **Mechanical Drawings** |
| MD101 | Mechanical Demo Plan Level 1 |
| MH101 | Mechanical Plan Level 1 |
| MH501 | Mechanical Details/Schedules |

| SpecificationSection | Project Manual |
| --- | --- |
| **Architectural Sections** |
|  | Specification Index |
|  | Combined Bid Form |
| 012100 | Allowances |
| 012200 | Unit Prices |
| 012600 | Contract Modification Procedures |

**Attachments:**

Mechanical description of Addendum #2