Project: Horizon TI – Suite B

Questions for clarification -#2

1) Can we get some more info on the F5, (E), and the (RE) designations on the lights and devices? F5 and E fixtures are existing, RE the need to be relocated.

2) What type of light fixtures are being used in the open bay area? Theses lights are existing. The 3 ER lights will need to be relocated.

3) Will any electrical work be needed in suite A? The only electrical in Suite A would be relocating the light switch that is on the wall that is getting cut out for the new door. Other than that, no. (Please see the attached Photos)

4)  What material will the countertop be made from?  Plastic Laminate

5) The ceiling on level one and two will be 2X2 ceiling grid and tile. Please bid a radar tile.