10-22-2025 Dallesport Water District Minutes

2:30 PM Call Meeting to Order

On the table at the door there is a sign in sheet and a sheet to sign up to speak during public comment.

Pledge of Allegiance

The Dallesport Water District is a public utility operating in the State of Washington pursuant to and in compliance with the Regulatory Codes of Washington and Washington Administrative Codes. They begin with RCW. 80.28 and WAC 480 but are not limited to those sections.

Roll Call: Mr. Clark _X_   Mr. Morris_E_   Mr. Peppel _X_

Quorum: Yes_X_   No__

Any Changes to Agenda: Clark_N_   Morris_E_   Peppel_N_

Agenda Approved: Yes_X_   No__

ACTION ITEM:

Acknowledgement of September 2025 Electronic Fund Transfers:

September 2025 electronic funds transfer total:  $5,325.83

This transfer includes Retirement Taxes, Payroll Taxes, and monthly Excise Tax.

October 2025 Profit and Loss by Class and Profit and Loss Budget vs. Actual Review

Any Questions:    NONE

Commissioner Clark_X_   Commissioner Morris_E_   Commissioner Peppel_X_

Have the Commissioners reviewed the minutes

Commissioner Clark_Y_   Commissioner Morris_E_   Commissioner Peppel_Y_

Motion for Acceptance of October 2025 minutes.

Motion: Mr. Clark__   Mr. Morris_E_   Mr. Peppel_X_

Second: Mr. Clark_X_   Mr. Morris_E_   Mr. Peppel__

Roll Call: Mr. Clark_Y_   Mr. Morris_E_   Mr. Peppel_Y_

Accepted: pass_X_   fail__   unanimous_X_

Motion: M10222025-A   Inaccessibility Fee

The Dallesport Water District is a public utility operating within the State of Washington in compliance with all the rules regulations and laws therein and operating in compliance with all rules and regulations and laws in accordance with the Washington State Department of Health and current emergency directives and declarations.

WHERE AS: The Dallesport Water District Commissioners agree to charge a $20 fee (per attempt) for reoccurring situations where the resident blocks access to the meter box, restricting ability to read the meters, not allowing turn offs for delinquent accounts and/or access for emergency repairs.

Dallesport Water District has consistent issues with some of the residents blocking access to the meter box by parking a vehicle on or over the meter box.  This results in employees needing to crawl under vehicles making it difficult to read the meter and possibly misread it, the meter not being able to be read at all and resulting in the delay of generating charges and printing statements and not allowing shut offs on delinquent accounts.

Motion: Mr. Clark______ Mr. Morris______ Mr. Peppel___X____

Second: Mr. Clark__X____ Mr. Morris______ Mr. Peppel_______

Roll Call: Mr. Clark___X___ Mr. Morris___E___ Mr. Peppel___X____

Accepted: pass___X___ fail______ unanimous_______

Motion: M10222025-B   Light Industrial and Residential Only

The Dallesport Water District is a public utility operating within the State of Washington in compliance with all the rules regulations and laws therein and operating in compliance with all rules and regulations and laws in accordance with the Washington State Department of Health and current emergency directives and declarations.

WHERE AS: The Dallesport Water District Commissioners agree to comply and follow the approved DOH 2019 Water System Plan and provide water to light industrial and residential on the Dallesport Peninsula for future growth.

Dallesport Water District has been contacted to combine all water rights for Murdock, Dallesport and Mt. View for development for an AI data center that would halt all growth that requires water on the peninsula.  This heavy use of water could potentially affect the Dallesport Peninsula aquafer that we draw our water from, drying up future water supply for the residents of Dallesport Water District.

Motion: Mr. Clark______ Mr. Morris______ Mr. Peppel____X___

Second: Mr. Clark___X___ Mr. Morris______ Mr. Peppel_______

Roll Call: Mr. Clark___X___ Mr. Morris__E____ Mr. Peppel____X___

Accepted: pass___X___ fail______ unanimous_______

Motion: M10222025-C     Washington State Audit

The Dallesport Water District is a public utility operating within the State of Washington in compliance with all the rules regulations and laws therein and operating in compliance with all rules and regulations and laws in accordance with the Washington State Department of Health and current emergency directives and declarations.

WHERE AS: The Dallesport Water District Commissioners agree to waive the 2025 State Audit.  Dallesport Water District has had approximately five audits over the past six years with no significant findings, and all recommendations have been implemented.  State audits are not mandatory and guidelines recommend audits every three years, however, due to the previous administration, Dallesport Water District has participated in an audit every year until last year.  To date, Dallesport Water District has paid over $40,000, with an expected expense of $15,000 for this year’s audit.  To help build up the Water District reserves, for major emergency infrastructure repairs required by DOH, the Dallesport Water District Manager discussed with the State Auditor to allow the District to waive this year’s audit until next year, putting the District onto the standard three year schedule.  The State Auditor recommends continuing the audit and to raise the rates $4.00 per customer to cover the cost of this year’s audit.  It is the recommendation of the Manager to forego this year's audit and not to raise rates on the customers.

Motion: Mr. Clark______ Mr. Morris______ Mr. Peppel__X_____

Second: Mr. Clark___X___ Mr. Morris______ Mr. Peppel_______

Roll Call: Mr. Clark___X___ Mr. Morris___X___ Mr. Peppel__X_____

Accepted: pass___X___ fail______ unanimous___X____

Commissioners Signatures

Bill Clark___________________________________

William Morris______________________________

Mark Peppel________________________________

DWD Managers Report Read by Manager Dixon:

Managers’ Report: Oct 2025

Dallesport Crew repaired a major leak in Mt. View, We found a 1 ¼” valve the top was split off, and the line was also cracked on the pipe connected to the blow off.

This looked like it had been broken for a long time. There is a large tree that has roots all around the pipe. The water leak followed the root and was not coming to the surface. There should be better pressure over there now it has been found and repaired.

All the yearly samples have been completed, and results have been sent none had any concerns to date.

The Airport line extension has been completed and pressure tested and sampled, and they all came back good.

We have been going through the meter routes cleaning out the meter boxes making them easier to read. Working on the parts room and vehicles. Winterizing meters and pump houses.

I have been working with Commissioners after discussions with the Auditor. Also keeping the attorney up to date on information coming for the City’s attorney.

Working with the developer on extending the DWD service area with DOH the 100 acres on Tidyman Road using the already approved water system plan for the 1300 homes.

The Manager and the Clerk are looking at the policy and ways to improve the operations. Cutting operation hour winter hours closed on Fridays.

The Attorney stopped by yesterday and let me know that we won the first part of the case. The city has hired two high end attorneys out of Portland. They were trying to claim that there are two contracts. 2011 and 2012 that 2012 has expired and wanted to arbitrate the 2011 contract.

The DWD Attorney stated if you went to law school and have passed the bar you would know that if there is an addendum to a contract the addended document is the new contract, and the first contract is no longer the contract of record. The Judge agreed that we have a good and set a new court date. The next case is to force them to sign over the water rights, He also told the Judge that we are willing to get this resolved.

The Judge commented he was concerned about why the city and county are forcing a small water district fund for the Airport business park. DWD is very encouraged with this Judge, the two Attorneys were not too happy our Attorney showed up flew in from New York as the

one how breaks the contract must pay all attorney fees plus damages. He does plan on showing up in person they will only zoom in. It concerns who is paying the attorney fees for the city and county.

Public Comment: Chairman will call on the public that has signed up to speak.

There was a public discussion regarding the three motions.  All questions were answered regarding the pros and cons of the motions.

The next regularly scheduled meeting of the Dallesport Water District Commission shall be on Wednesday November 19, 2025 (11-19-25) at 2:30 PM at the Dallesport Community Center.

Motion to adjourn the meeting:

Motion: Mr. Clark__   Mr. Morris_E_   Mr. Peppel_X_

Second: Mr. Clark_X_   Mr. Morris_E_   Mr. Peppel__

Roll Call: Mr. Clark_X_   Mr. Morris_E_   Mr. Peppel_X_

Accepted: pass_X_   fail__   unanimous_X__

Meeting adjourn time: ___3:55_____ PM. By Commissioner: ____Bill Clark__________________

:

End time: ________3:55 PM__________